NAME OF WORK:	CONSTRUCTION OF CC DRAINS AND CC TOPPING AT PATHAN PARA, MIRPURKHAS

Estimated Cost: Rs:	2,604,200/-					            Time Limit: _______ Days

Earnest Money: Rs:	     52,084/-						Penalty     : Rs: 500/- P.Day

Tender Cost: Rs. 3000/-

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| 01 | Dismantling of Cement Concrete Plain 1:2:4 | 366.80 Cft | 3327.50 | % Cft | 12,205/- |
| 02 | Earth work excavation undressed lead upto a single throw of Kassi Phawarh or Shovel in Ordinary Soil etc complete | 5082 Cft | 1361.25 | %oCft | 6,918/- |
| 03 | Cement concrete brick or stone ballast 1 1/2" to 2" gauge. | 5082 Cft | 9416.28 | % Cft | 478,535/- |
| 04 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (f) Ratio. 1:2 :4 | 3850 Cft | 14429.25 | % Cft | 555,526/- |
| 05 | Erection and removal of centering for R.C.C or plain cement concrete works for Partal Wood (ii) Vertical | 681 Sft | 3127.41 | % Sft | 21,298/- |
| 06 | Excavation in foundation of Building Bridges and other structures including dagbelling dressing,refilling around structrure with excavated earth Watering and ramming lead upto 5 ft. (b) In ordinary soil. | 6750 Cft | 3176.25 | %oCft | 21,440/- |
| 07 | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering. (i) Ratio. 1: 4 :8 | 1125 Cft | 11288.75 | % Cft | 126,998/- |
| 08 | Pacca brick work in foundation and plinth in: (e) Cement sand mortar 1:6 | 3375 Cft | 11946.36 | % Cft | 403,190/- |
| 09 | Constructing of standard open drains cunette block of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying floating cost of cement 1/32" thick to the exposed face finished smooth curing etc complete as per detailed drawing. TYPE II (B) DRAIN. (C.C 1:2:4 0.74135 CFT PER RFT). | 1500 Rft | 174/- | P.Rft | 261,000/- |
| 10 | Cement plasters 1:4 upto 12' height. (b) ½” thick. | 4230 Sft | 2283.93 | % Sft | 96,610/- |
| 11 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.) (a) R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. | 198 Cft | 337/- | P.Cft | 66,726/- |

| S.NO | # DESCRIPTION OF WORK | QUANTITY | RATE | PER | AMOUNT (Rs) |
| --- | --- | --- | --- | --- | --- |
| 12 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.) | 7.07 Cwt | 5001.7 | P.Cwt | 35,362/- |
| 13 | Cartage of 100 CFT / 5 tons of all material likes one aggregate, spawl, coal, lime, surkhi etc. B.G. Rait fastenings points & crossing Bridges Girders, Pipes, Sheets Raits, M.S. Bars etc. or 1000 Nos brinks, 10’ x 5’ x 3’ or 1000 manuds of fuel wood by trucks or any other means owned by the contractors Cement From Hyderabad Lead 102 Mile Hill Sand Bholari lead 113 Miles Bajri / Stone Ballast from Khanote lead 131 Miles Brick of nearest Kilo Lead 6 Miles | 1621 Bags 6268 Cft 5619 Cft 4879 Cft 45563 Nos | 33.33 2399.96 3051.16 2139.48 617.54 | P.Bag % Cft % Cft % Cft %oNos |  |
| TOTAL |  |  |  |  | 4,119,500 |

Checked and Verified

I/We hereby quote _________ % above/below S.R

Rates in Words: ___________________________________

EXECUTIVE ENGINEER

SINDH KATCHI ABADIS AUTHORITY

GOVERNMENT OF SINDH

We the undersigned do hereby under take to strictly abide all the terms & condition of the SCHEDULE “B” documents which are currently in force for the works of Sindh Katchi Abadis Authority

Signature of Contractor: _______________

Address: 	______________________

______________________

Seal		________________________

SCHEDULE “B” Issued to M/s. ______________________________

Against Pay Order of SCHEDULE “B” Cost No: _____________ Dated ___________ Rs. ____________

And P.O of 2% Earnest Money No. _____________________ Dated ________________ Rs. ___________

Signature

Seal of Issuing Authority