Schedule B

Name of Work: - Construction of Committee Room for meeting Hall in Town Committee

Ubauro.

01. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 624.00 Cft @ Rs: 3176.25 P%0 Cft                                                        Rs:  1982/-

02. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 379.00 Cft @ Rs: 9416.28 P% Cft.                                                        Rs: 35688/-

03. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 499.00 Cft @ Rs: 11948.36 P% Cft                                                         Rs: 59622/-

04. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position   complete   in   all   respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4  Cft.   Shingle   1/8x1/4   Gauge

(Sch: No.6 (A) P-17)

Qty: 141.00 Cft @ Rs: 337.0 P.Cft                                                                  Rs: 47517/-

05. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 6.29 Cwt @ Rs: 5001.70 P.Cwt                                                              Rs:   31484/-

06. Earth filling new surplus in building work

Qty: 1100.00 Cft @ Rs: 3660.0 P%0 Cft                                                          Rs: 3993/-

07.  Supplying & filling pit sand under floor and ploughing in well (Sch: No.29 P-26)

Qty: 220.00 Cft @ Rs: 1141.25 P% Cft                                                             Rs: 2511/-

8. Add extra lead 3 milre

Qty: 1320.00 Cft @ Rs: 779.10 P%0 Cft                                                         Rs: 10284/-

09. Pacca brick work in Ground floor in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 767.00 Cft @ Rs: 21674.36 P% Cft                                                        Rs: 97212/-

10. Supplying and fixing Guarder 8x4”

Qty: 8.33 Cwt @ Rs: 3850 P.Cwt                                                                     Rs: 32071/-

11. Supplying and fixing Tear

Qty: 10.70 Cwt @ Rs: 3575 P.Cwt                                                                 Rs: 38280/-

12. Erection rolled gold

Qty: 19.03 Cwt @ Rs: 186.84 P.Cwt                                                              Rs: 3556/-

13. 2nd Class tile roofing consisting of 4” earth & 1” mud plaster with Gobri leaping over 1/2 “ cement plaster with 34 Lbs of hot bitumen coat sand blinded provided over one layer of 12”x6”x2” tile laid in 1:6 cement mortar i/c 1:2 cement pointing underneath of tiles complete i/n curing etc complete (CSI 02 P-32)

Qty: 521.0 @ Rs: 7607.25 P.Nos                                                                  Rs: 39634/-

14. Supplying almonium doors & windows fixing i/c all types engineering work

Qty: 148.00 Sft @ Rs: 648.10 P.Sft                                                              Rs: 59919/-

15. Supplying iron Grill gate opening (CSI no 31 P-93)

Qty: 49.00 Sft @ 231.60 P.Sft                                                                      Rs: 11348/-

16. Cement Plaster 3/8”

Qty: 2091.00 Sft @ Rs: 2206.60 P% Sft                                                       Rs: 46140/-

17. Cement Plaster 3/8”

Qty: 2091.00 Sft @ Rs: 2197.52   P% Sft                                                      Rs: 45950/-

18. Providing & laying 1” thick CC topping CC 1:2:4 i/c surface finishing &

dividing into the panels (CSI no 16 (c) P-41)

Qty: 440.00 Cft @ Rs: 3275.50 P% Cft                                                       Rs: 14412/-

19. laying white marble flooring fine dressed in the surface without winding set lime

Mortar 1:2 i/c rubbing & polishing of the joints ¾ “thick (CSI no 28 (a) P-42

Qty: 440.00 Sft @ Rs: 567.48 P.Sft                                                           Rs: 249691/-

20. Providing & fixing G.I frame & Choukhats of size 7”x2” or 4 ½ in to 3”

For windows using 20 gauge G.I sheet i/c welded hinges & fixing at site with

Necessary hold fast filling with cement sand slurry of ratio 1:6 & repairing the

Jumps the cost also i/c all carriage tools and plants used in making (CSI no 28 P- 92)

Qty: 18.00 Rft @ Rs: 228.90 P.Rft                                                            Rs: 4120/-

21. Providing & fixing G.I frame & Choukhats of size 7”x2” or 4 ½ in to 3”

For windows using 20 gauge G.I sheet i/c welded hinges & fixing at site with

Necessary hold fast filling with cement sand slurry of ratio 1:6 & repairing the

Jumps the cost also i/c all carriage tools and plants used in making (CSI no 28 P- 92)

Qty: 150.00 Rft @ Rs: 240.50 P.Rft                                                        Rs: 36075/-

22. First class deodar wood  rafts joinery in doors & windows etc fixed in position i/c Choukhats

hold Fast highness iron towers bolt chocks cleats handles & cords with hooks etc complete

(CSI no 7(b) P-57)

Qty: 109.68 Sft @ Rs: 1273.76 P.Sft                                                     Rs: 139706/-

23. White washing ceiling

Qty: 521.00 Sft @ Rs: 442.75 P.Sft                                                        Rs: 2307/-

24. Primary coat

Qty: 2091.00 Sft: @ Rs: 1043.90 P.Sft                                                   Rs: 21828/-

25. Distemper 3 coat

Qty: 2091 Sft @ Rs: 859.90 P% Sft                                                        Rs: 17981/-

26.  Painting guarder

Qty: 924.00 @ Rs: 674.60 P% Sft                                                           Rs: 6233/-

27. Painting Doors & windows

Qty: 220.00 Sft @ Rs: 1160.06 P% Sft                                                    Rs:  2552/-

SUB-ENGINEER                                                  ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                              TOWN COMMITTEE UBAURO