Schedule B

Name of Work: - Supplying and laying GRP pipe line from drainage scheme Khanpur Mohalla

disposal upto Ranwti road to Shaheed Banazeer chowk via bashirabad road to

Disposal scheme Eid Gah Town Committee Ubauro Part-3

01. Dismantling and removing road mantling  (Sch: No.51 P-13)

Qty: 4725.00 Rft @ Rs: 605.0 P% Rft                                                                  Rs: 28586/-

02. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift Upto 5ft (1.52m) & lead

Upto one chain (30.5m) (PHSI No: 1 P-60)

Qty: 4725.00 Cft @ Rs: 3600.0 P%0 Cft                                                            Rs: 17010/-

03. Providing laying UPVC Pressure Pipe of Class ‘D’ (equivalent make) fixing in

trenches i/c cutting fitting and jointing with ‘z’ joint with one rubber ring i/c

testing with water to a head 122 meter or 400 ft. (PHSI No. 3 P-23)

Qty: 630.00 Rft @ Rs: 3023.0 P.Rft                                                                   Rs: 1904490/-

04. (a) CI Bend 90’ (PHSI MI No. 14 P- 13)

Qty: 03.00 Nos @ Rs: 16801.0 P.Nos				                Rs:   50403/-

(b) CI Bend 45’ (PHSI MI No: 14 P-13)

Qty: 03.00 Nos @ Rs: 13441.0 P.Nos				                Rs:  40323/-

05. CI Jibault joints (PHSI No: 15 P- 17)

Qty: 03.00 Nos @ Rs: 2681.25 P.Nos				                  Rs:   8044/-

06. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 8505.0 Cft @ Rs: 2760.0 P%0 Cft                                                            Rs:  23474/-

SUB-ENGINEER                                                 ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                           TOWN COMMITTEE UBAURO