Schedule “B”

Name of work: - Earth work Dry Brick Pavement Muhammad Amin Bhutto Islam Bhutto

Nazar Ahmed Bhutto Ustad kalu various villages UC Jhangal Malik.

01.   Barrow pit excavation undressed lead up to 100. ft in ordinary soil extra 6 mile lead.

(Sch: No.3 (a) P-1)

Qty: 38900.0 Cft @ Rs: 7911.60 %0 P.Cft                                                                Rs: 307761/-

02.   Dressing and leveling of earth work in dressing section etc complete.

(G.Sch: I no 11(b) P-03)

Qty: 38900.0 Cft @ Rs: 187.55 P%0 Cft                                                              Rs: 7296/-

03. Rehandling of earth work, upto lead 50 ft.

(G.Sch: I no 9 (b) P-2)

Qty: 38900.0 Cft @ Rs: 1058.75 P%0 Cft                                                            Rs: 42138/-

04. Supplying & filling pit sand under floor and ploughing in well (Sch: No.29 P-26)

Qty: 4625.0 Cft @ Rs: 1141.25 P% Cft                                                              Rs: 52783/-

05. Dry brick on end edging paving sand grouted i/c preparation of bed by

watering & ramming and ploughing the same proper camber to granted ½” thick

mud plaster. (Sch: No.05 P.46)

Qty: 18500.0 Sft @ Rs: 3823.57 P% Sft.                                                                  Rs: 707360/-

06. Laying bricks on end edging i/c supplying 9x4 ½” x3 ‘ class brick i/c

excavation for with small size parallel to the road i/c lead up to 3 chain

(Sch: No.12 P-4).

Qty: 4000.0 Rft @ Rs: 2482.94 P% Rft.                                                                 Rs:  99318/-

07. Providing & laying RCC pipe and collars of class “B” and fixing in trench i/c

Cutting , fitting  in trench jointing with .(P.H.E I no 2 © P-16)

06” dia

Qty: 24.00 Rft @ Rs: 163.0 P.Rft                                                                   Rs:  3912/-

09” dia

Qty: 18.00 Rft @ Rs: 163.0 P.Rft                                                                  Rs:   2934/-

08. Providing & laying PVC pipes of class “B” “C” & “D” and fixing in trench i/c

Cutting, fixing & jointing with maxphalt composition and jointing with solvent

Cement i/c testing with water to head of 61 meter to 122 meter or 200 ft to 400 ft

(P.H.E I no E (4) P-23)

04” dia

Qty:  18.00 Rft @ Rs: 136.0 P.Rft                                                                    Rs:    2448/-

06” dia

Qty: 24.00 Rft @ Rs: 259.0 P.Rft                                                                      Rs:   6216/-

SUB-ENGINEER                                                 ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                                    TOWN COMMITTEE UBAURO