Schedule B

Part – A Pipe Line

Name of Work: - Amirabad Disposal scheme R.C.C sewerage line to Sim Nala to Wasti Jeewan

shah road to via village Allah Jiwayo Dahar Ubauro Part-2.

01. Excavation for pipe line in the trenches & pits in soft soil i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift Upto 5ft (1.52m) & lead

Upto one chain (30.5m) (PHSI No: 1 P-60)

Qty: 14940.00 Cft @ Rs: 3600.0 P%0 Cft                                                        Rs: 53784/-

02. Excavation for pipe line in the trenches & pits in soft rock i/c trimming &

dressing sides to true alignment & shapes leveling of beds to correct level

& grade cutting joints holes & disposal of surplus earth with in one chain as

directed by engineer in charge, providing fence guard light flags & temporary

crossing for non vehicular traffic where ever required lift Upto 5ft (1.52m) & lead

Upto one chain (30.5m) (PHSI No: 14 P-48)

Qty: 14940 Cft @ Rs: 4200.0 P% Cft                                                              Rs: 62748/-

03. Providing laying RCC Pipe of A.S.TM C-76-62 T/C-76-70 of class II wall B fitting

And joints with rubber ring i/c testing with water to specified pressure.(PHS No 1 P-17)

Qty: 1660.0 Rft @ Rs: 618.0 P.Rft                                                                Rs: 1025880/-

04. Cement concrete plan including placing compacting, finishing and

curing, complete (including screening and washing a stone aggregate,

without shuttering. Ratio 1:4:8 (G.S.I No.5 P-16)

Joints

Qty: 840.00 Cft @ Rs: 11288.75 P% Cft                                                             Rs: 94826/-

05. Refilling the excavated stuff in trenches 6” thick layers i.c watering ramming

to full compaction etc complete (PHSI No: 24 P-27)

Qty: 26892.0 Cft @ Rs: 2760.0 P%0 Cft                                                                   Rs: 74222/-

Part-B Main Hole

01. Excavation for pipe line in the trenches & pits in soft soil i/c trimming

Etc………PHSI No: 1 P-60)

Qty: 1413.0 Cft @ Rs: 3600.0 P%0 Cft                                                              Rs: 5086/-

02. Excavation for pipe line in the trenches & pits in soft soil i/c trimming

Etc………PHSI No: 1 P-60)

Qty: 1413.0 Cft @ Rs: 4200.0 P%0 Cft                                                             Rs: 5934/-

03. Cement concrete plan including placing compacting, finishing and

curing, complete (including screening and washing a stone aggregate,

without shuttering. Ratio 1:4:8 (G.S.I No.5 P-16)

Qty: 353.25 Cft @ Rs: 11288.75.0 P% Cft                                                        Rs: 39878/-

04 R.C.C work in roof slab beams, columns………..

Qty: 971.42 Cft @ Rs: 337.0 P.Cft                                                                    Rs: 327369/-

05 Fabrication of Mild Steel reinforcement force i/c cutting…….

(CSI No7 P-17)

Qty: 43.38 Cwt @ Rs: 5001.70 P.Cwt                                                               Rs: 216973/-

06 Providing C.I main hole cover I.C frame etc (PHSI No 1 P-23)

Qty: 19.63 Cwt @ Rs: 6985.0 P.Cwt                                                                    Rs: 137116/-

07. Erection and removal of centering for RCC or plane cement concrete work

Partial wood. (C.S.I No 19(b) P-17)

Qty: 19.63 Cft @ Rs: 423.13 P.Cwt                                                                     Rs:  8306/-

08. Cement concrete plan i/c compacting finishing and complete i/c screening

and washing stone aggregate without shuttering. Ratio 1:2:4(CSI: No.5 P-16)

Qty: 196.25 Cft @ Rs: 14429.25 P% Cft                                                              Rs: 28317/-

09. Erection and removal of centering for RCC or plane cement concrete work

Partial wood. (C.S.I No 18(b) P-21)

Qty: 300.0 Sft @ Rs: 7000.0 P% Cft                                                                    Rs: 21000/-

10. Rehanding of earth work (a) lead upto single throw of (with 2 mile extra lead)

(CSI No.10 P-03)

Qty: 2826.00 Cft @ Rs: 3025.0 P%0 Cft                                                                    Rs:   8549/-

SUB-ENGINEER                                  ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                TOWN COMMITTEE UBAURO