Schedule B

Name of Work: - Remaining work Construction of Surface Drain and CC Block New Muslim

Colony Ubauro Part-2

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 6 mile lead.

(Sch: No.3(a) P-1)

Qty: 2625.00 Cft @ Rs: 7911.60 P%0 Cft                                            Rs: 20768

02. Dressing and leveling of earth work (Sch: no 11(B) P-3)

Qty: Same as item no 01 = 2625.00 Cft

Qty: 2625.00 Cft @ Rs: 187.550 P%0 Cft                                               Rs:    492/-

03 . Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 300.00 Cft @ Rs: 9416.28 P% Cft.                                                  Rs: 28249/-

04. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 1539.0 @ Rs: 11948.36 P% Cft                                                          Rs: 183882/-

05. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty:  300 Rft @ Rs: 94 P /Rft.                                                                       Rs: 28200/-

06. Cement plaster 1:4 up to 20ft heights 1/2 “

(Sch: No. 11 (B) P.No. 52)

Qty: 1400.0 Sft @ Rs: 2283.93 P% Sft.                                                                      Rs: 31975/-

07. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 4.15 Cwt @ Rs: 5001.70 P.Cwt                                                                         Rs:   20757/-

08. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4 cft. Shingle 1/8x1/4 Gauge

(Sch: No.6 (A) P-17)

Qty: 83.0 Cft @ Rs: 337.0 P% Cft                                                                           Rs: 27971/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 11550.0 Cft @ Rs: 7911.60 P%0 Cft                                                                  Rs: 91379/-

02. Dressing leveling of Earth Work.

(Sch: No.11 (b)   P.03   )

Qty: Same as Item No: 01 = 11550.0 Cft

Qty: 11550.0 @ Rs: 187.55 P%0 Cft                                                                           Rs: 2166/-

03. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 1386.0 Cft @ Rs: 9416.28 P% Cft.                                                                      Rs: 130510/-

04. Laying CC Topping 3” thick

Qty: 4200.0 Sft @ Rs: 4411.28 P% Sft                                                                      Rs: 185296/-

SUB-ENGINEER                              ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                             TOWN COMMITTEE UBAURO

MATERIAL STATEMENT

| Sr. No | Name of Work | Qty: | Cement | Hill Sand | Bajri | Bricks | Steel |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part- A Surface Drain |  |  |  |  |  |  |  |
| 01. | C.C 1:4:8 | 286.50 | 27.21 | 137.52 | 275.04 | ----- | ----- |
| 02. | Pacca Brick work | 750.0 | 22.50 | 207.75 | --- | 10125.0 | ---- |
| 03. | C.C 1:2:4 Golo | 183.50 | 31.19 | 8074 | 161.48 | ----- | ---- |
| 04. | Cement Plaster | 1125.0 | 5.40 | 40.50 | --- | ---- | ---- |
| 05. | R.CC 1:2:4 | 34.37 | 6.04 | 15.12 | 30.24 | ----- | ---- |
| 06. | Steel | 4.46 | --- | ---- | ---- | ---- | 4.46 |
| Part- B Cement Concrete Block |  |  |  |  |  |  |  |
| 01. | CC 1:4:8 | 1996.50 | 189.66 | 958.32 | 1916.64 | ---- | ---- |
| 02. | CC 1:2:4 | 1512.50 | 257.12 | 665.50 | 1331.0 | ---- | ---- |
| Total |  |  | 539.12 | 665.50 | 1331.0 | 10125.0 | 4.46 |
| Say |  |  | 539.0 | 2105.0 | 3714.0 | 10125.0 | 4.46 |

COST OF CARRIAGE

01. Bajri from Shadi shahid 102 miles

1 to 6 miles                                                     Rs: 771.96

96 miles @ Rs: 32.56 P.mile                                  Rs: 3125.76

Rs: 3897.72

3714.0 @ Rs: 3897.72 P% Cft                                                                      = Rs: 144761/-

02. Hill Sand from Sui load 77 miles

1 to 6 miles                                                     Rs:  771.96

71.0 miles @ Rs: 32.56 P.mile                                  Rs: 2311.76

Rs: 3083.72

2105.0 @ Rs: 3083.72 P% Cft                                                                     = Rs: 64912/-

03. Cement from Zeal Park load 297miles

1st to 2 miles                                                          Rs:     7.53

295 miles @ Rs: 0.60                                             Rs: 177.00

Rs: 184.53

539.0 bags @ Rs: 184.53 P.Bag                                                                      = Rs: 99462/-

04. Brick from Kot sabzal load 15 miles

1st to 6 mile                                                           Rs: 617.54

9 miles @ Rs: 26.05 P.mile                                   Rs: 234.45

Rs: 851.99

10125.0 Bricks @ Rs: 851.99 P%0Nos                                                            = Rs: 8626/-

05. Steel from Sukkur load 80 miles

1st to 6 miles                                                          Rs:   771.96

74.0 @ Rs: 32.56 P.mile                                       Rs: 2409.44

Rs: 3181.40/100 = 31.81

4.46 Cwt @ Rs: 31.81 P.Cwt                                                                           = Rs:      142/-

= Rs: 317903/-

ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO

GENERAL ABSTRACT

Part-A Surface Drain                                             Rs: 225945/-

Add 10% above Ceiling                                            + Rs:   22595/-

Rs: 248540/-

Part-B CC Block                                                      Rs: 437647/-

Rs: 686187/-

Add Carriage                                                             + Rs: 317903/-

Total Rs: 1004090/-

Say Rs: 100, 0,000/-