Schedule B

Name of Work: - Construction of Mosque in Town Office Town Ubauro.

01. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil (Sch: No.8 (b) P-4)

Qty:  367.0 Cft @ Rs: 3176.25 P%0 Cft                                                         Rs: 1166/-

02. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 158.0 Cft @ Rs: 9416.28 P% Cft                                                            Rs: 14875/-

03. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 125.00 Cft @ Rs: 11948.25 P% Cft                                                        Rs: 14935/-

04. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect. (I)

Ratio (1:2:4) 90lbs. cement 2 Cft. Sand 4 cft.Shingle 1/8x1/4 Gauge (GSI No.6 (A) P-17).

Qty: 159.00 Cft @ Rs: 337 P.Rft                                                                  Rs: 53583/-

05. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 7.09 Cwt @ Rs: 5001.70 P.Cwt                                                           Rs: 35503/-

06. Supplying & filling pit sand under floor and ploughing in well (Sch: No.29 P-26).

Qty: 600.0 Cft @ Rs: 1141.40 P%0 Cft                                                      Rs: 6848/-

07. Add extra 3 mile…..

Qty: 600.0 Cft @ Rs: 771.10 P%0 Cft                                                       Rs: 4627/-

08. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20)

Qty: 451.00 Cft @ Rs: 12501.10 P% Cft                                                      Rs: 56380/-

09. Supplying Guarder

Qty: 4.66 P.Cwt @ Rs: 3850 P.Cwt                                                                 Rs: 17941/-

10.  Supplying Tear

Qty: 4.218 Cwt @ Rs: 3650 P.Cwt                                                                    Rs: 15398/-

11. 2nd Class Roof Tile

Qty: 236.25 Sft @ Rs: 7605.10 P%0 Cft                                                           Rs: 17967/-

12. Cement plaster 1:4 up to 20ft heights 3/8 “thick (Sch: No. 11 (B) P.No. 51)

Qty: 1346.0 Sft @ Rs: 2283.25 P% Sft                                                                Rs: 30733/-

13. Cement plaster 1:4 up to 20ft heights 1/2 “thick (Sch: No. 11 (B) P.No. 51)

Qty: 1346.0 Sft @ Rs: 2203.10 P% Sft                                                                Rs: 29654/-

14. G.I Frame for doors

Qty: 17.58 Rft @ Rs: 415.0 P.Rft                                                                        Rs: 7296/-

15. G.I Frame for windows

Qty: 87.0 Rft @ Rs: 428.10 P.Rft                                                                         Rs: 37245/-

16. Cement Concrete Block

Qty; 200.0 Sft @ Rs: 4411.25 P% Sft                                                                   Rs: 8823/-

17. 1st Class deodar wood

Qty: = 68.0 Sft @ Rs: 976.25 P.Sft                                                                      Rs: 66385/-

18. Laying CC glaze tile

Qty: 200.0 Sft @ Rs: 36701.25 P% Sft                                                               Rs: 73403/-

PART – B

01. Providing fibre glass

Qty: 01 Nos @ Rs: 22501.0 P.Nos                                                              Rs: 22501/-

02. Providing G.I Pipe

¾ 20 Rft @ Rs: 76.0 P. Rft                                                                        Rs:  1520/-

¼ 30 Rft @ Rs: 105.0 P. Rft                                                                      Rs:  3150/-

03. Providing Valve

Qty: 02 Nos @ Rs: 425.0 P. Nos                                                               Rs:  850/-

04. Providing Bib Clock Qty: 06 Nos @ Rs: 510.0 P. Nos                                                     Rs:  3060/-

SUB-ENGINEER                                            ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                       TOWN COMMITTEE UBAURO