Schedule B

Name of Work: - Construction of Surface Drain and CC Block from House of Pyaro Dhandhu

to house of Abdul Rehman Dhandhu.

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 6 mile lead.

(Sch: No.3(a) P-1)

Qty: 3500.00 Cft @ Rs: 7911.60 P%0 Cft                                            Rs: 27691/-

02. Dressing and leveling of earth work (Sch: no 11(B) P-3)

Qty: Same as item no 01 = 3500.00 Cft

Qty: 3500.00 Cft @ Rs: 187.550 P%0 Cft                                               Rs:    656/-

03. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 750.00 Cft @ Rs: 3176.25 P%0 Cft                                                       Rs:  2382/-

04 . Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 375.00 Cft @ Rs: 9416.28 P% Cft.                                                  Rs: 35311/-

05. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 1125.0 @ Rs: 11948.36 P% Cft                                                         Rs: 134419/-

06. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

Qty:  500 Rft @ Rs: 94 P /Rft.                                                                     Rs: 47000/-

07. Cement plaster 1:4 up to 20ft heights 1/2 “

(Sch: No. 11 (B) P.No. 52)

Qty: 1250.0 Sft @ Rs: 2283.93 P% Sft.                                                                      Rs: 28549/-

08. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4 cft. Shingle 1/8x1/4 Gauge

(Sch: No.6 (A) P-17)

Qty: 83.0 Cft @ Rs: 337.0 P% Cft                                                                           Rs: 27971/-

09. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 4.15 Cwt @ Rs: 5001.70 P.Cwt                                                                          Rs:  20757/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 3300.0 Cft @ Rs: 7911.60 P%0 Cft                                                                  Rs: 26108/-

02. Dressing leveling of Earth Work.

(Sch: No.11 (b)   P.03   )

Qty: Same as Item No: 01 = 3300.0 Cft

Qty: 3300.0 @ Rs: 187.55 P%0 Cft                                                                           Rs:   619/-

03. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 1089.0 Cft @ Rs: 9416.28 P% Cft.                                                                     Rs: 102543/-

04. Laying CC Topping 3” thick Ratio: 1:2:4

Qty: 3300.0 Sft @ Rs: 4411.28 P% Sft                                                                      Rs: 145572/-

SUB-ENGINEER                              ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                             TOWN COMMITTEE UBAURO

MATERIAL STATEMENT

| Sr. No | Name of Work | Qty: | Cement | Hill Sand | Bajri | Bricks | Steel |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Part- A Surface Drain |  |  |  |  |  |  |  |
| 01. | C.C 1:4:8 | 286.50 | 27.21 | 137.52 | 275.04 | ----- | ----- |
| 02. | Pacca Brick work | 750.0 | 22.50 | 207.75 | --- | 10125.0 | ---- |
| 03. | C.C 1:2:4 Golo | 183.50 | 31.19 | 8074 | 161.48 | ----- | ---- |
| 04. | Cement Plaster | 1125.0 | 5.40 | 40.50 | --- | ---- | ---- |
| 05. | R.CC 1:2:4 | 34.37 | 6.04 | 15.12 | 30.24 | ----- | ---- |
| 06. | Steel | 4.46 | --- | ---- | ---- | ---- | 4.46 |
| Part- B Cement Concrete Block |  |  |  |  |  |  |  |
| 01. | CC 1:4:8 | 1996.50 | 189.66 | 958.32 | 1916.64 | ---- | ---- |
| 02. | CC 1:2:4 | 1512.50 | 257.12 | 665.50 | 1331.0 | ---- | ---- |
| Total |  |  | 539.12 | 665.50 | 1331.0 | 10125.0 | 4.46 |
| Say |  |  | 539.0 | 2105.0 | 3714.0 | 10125.0 | 4.46 |

COST OF CARRIAGE

01. Bajri from Shadi shahid 102 miles

1 to 6 miles                                                     Rs: 771.96

96 miles @ Rs: 32.56 P.mile                                  Rs: 3125.76

Rs: 3897.72

3714.0 @ Rs: 3897.72 P% Cft                                                                      = Rs: 144761/-

02. Hill Sand from Sui load 77 miles

1 to 6 miles                                                     Rs:  771.96

71.0 miles @ Rs: 32.56 P.mile                                  Rs: 2311.76

Rs: 3083.72

2105.0 @ Rs: 3083.72 P% Cft                                                                     = Rs: 64912/-

03. Cement from Zeal Park load 297miles

1st to 2 miles                                                          Rs:     7.53

295 miles @ Rs: 0.60                                             Rs: 177.00

Rs: 184.53

539.0 bags @ Rs: 184.53 P.Bag                                                                      = Rs: 99462/-

04. Brick from Kot sabzal load 15 miles

1st to 6 mile                                                           Rs: 617.54

9 miles @ Rs: 26.05 P.mile                                   Rs: 234.45

Rs: 851.99

10125.0 Bricks @ Rs: 851.99 P%0Nos                                                            = Rs: 8626/-

05. Steel from Sukkur load 80 miles

1st to 6 miles                                                          Rs:   771.96

74.0 @ Rs: 32.56 P.mile                                       Rs: 2409.44

Rs: 3181.40/100 = 31.81

4.46 Cwt @ Rs: 31.81 P.Cwt                                                                           = Rs:      142/-

= Rs: 317903/-

ASSISTAN EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO

GENERAL ABSTRACT

Part-A Surface Drain                                             Rs: 225945/-

Add 10% above Ceiling                                            + Rs:   22595/-

Rs: 248540/-

Part-B CC Block                                                      Rs: 437647/-

Rs: 686187/-

Add Carriage                                                             + Rs: 317903/-

Total Rs: 1004090/-

Say Rs: 100, 0,000/-