Schedule B

Name of Work: - Remaining work Construction of Surface Drain and CC Block various

Street Gulshan-e-Habib Colony and others Town Ubauro.

01. Excavation in foundation of building bridges and structure i/c dag

Belling dressing refilling around the structure executes earth watering and

Ramming lead up to one chain lift up to 5ft in ordinary soil

(Sch: No.8 (b) P-4)

Qty: 1312.50 Cft @ Rs: 3176.25 P%0 Cft                                                             Rs:  4169/-

02. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 286.50 Cft @ Rs: 9416.28 P% Cft.                                                                Rs: 26978/-

03. Pacca brick work in foundation in cement sand mortar 1:6

(Sch: No.4 (e) P=20).

Qty: 750.0 @ Rs: 11948.36 P% Cft                                                                      Rs: 89613/-

04. Construction of standard cunntte blocks open drains profile drawing

of cement concrete 1:2:4 situ to the design profile i-e applying flouting cost

of cement 1/32” to the exposed finishing complete as per deleted drawing.

(Sch: No.6 P-58).

S/Drain T-11

Qty:  100 Rft @ Rs: 174 P /Rft.                                                                              Rs: 17400/-

S/Drain T-1

Qty:  300 Rft @ Rs: 94 P /Rft.                                                                                 Rs: 28200/-

05. Cement plaster 1:4 up to 20ft heights 1/2 “

(Sch: No. 11 (B) P.No. 52)

Qty: 1125.0 Sft @ Rs: 2283.93 P% Sft.                                                                    Rs: 25694/-

06. R.C.C Work in roof, slab beams, columns, rafts lintels and other Structural

members laid in situ or precost laid in position complete in all respect.

(I) Ratio (1:2:4) 90lbs. cement 2 cft. Sand 4 cft. Shingle 1/8x1/4 Gauge

(Sch: No.6 (A) P-17)

Qty: 34.37 Cft @ Rs: 337.0 P% Cft                                                                         Rs: 11583/-

07. Fabrication of Mild steel reinforcement for cement concrete i/c cutting,

Laying in position making joined and fastening i/c cost binding wire.

Qty: 4.46 Cwt @ Rs: 5001.70 P.Cwt                                                                       Rs:   22308/-

Part-B Cement Concrete Block

01.  Barrow pit excavation undressed lead up to 100. Ft. in ordinary soil extra 3 mile lead.

(Sch: No.3 (a) P-1)

Qty: 4125.0 Cft @ Rs: 7911.60 P%0 Cft                                                              Rs: 221376/-

02. Dressing leveling of Earth Work.

(Sch: No.11 (b)   P.03   )

Qty: 4125.0 @ Rs: 187.55 P%0 Cft                                                                         Rs:  5248/-

03. Cement concrete Brick or stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(Sch: No.4 (b) P.14)

Qty: 1996.50 Cft @ Rs: 9416.28 P% Cft.                                                                 Rs: 187996/-

04. Cement concrete plan i/c compacting finishing and complete i/c screening

and washing stone aggregate without shuttering. Ratio 1:5:10

(Sch: No.5 P-16)

Qty: 1512.50 Cft @ Rs: 14429.25 P% Cft                                                                  Rs: 218242/-

SUB – ENGINEER                                       ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                   TOWN COMMITTEE UBAURO