Schedule B

Name of Work: - Supplying & laying GRP pipe line from drainage scheme Muslim colony

via Govt: Degree College to Khanpur Disposal scheme collecting Tank

20’ dia.

01. Excavation of well in dry upto 20’ below ground level disposal of soil within one chain

(PHSI No- 01 P-86)

Qty: 2076.00 Cft @ Rs: 2247.58 P%0 Cft                                                                     Rs: 4666/-

02. what sinking of well for depth below spring level by means of all charges for sharing lead….

(CSI No-03 P-87)

(a)  5’ - 10’ depth

Qty: 1570.00 Cft @ Rs: 24200.00 P%0 Cft                                                                  Rs: 37994/-

(b) 10’ – 15’ Depth

Qty: 1570.00 Cft @ Rs: 37230.77 P%0 Cft                                                                  Rs: 58452/-

(c) 15’ – 20’

Qty: 1570.00 Cft @ Rs: 50416.77 P%0 Cft                                                                  Rs: 79154/-

03. R.C.C work in roof slab beams, columns………..

Qty: 721.96 Cft @ Rs: 337.0 P.Rft                                                                            Rs: 243301/-

04. Fabrication of Mild Steel reinforcement force i/c cutting…….

(CSI No7 P-17)

Qty: 28.64 Cwt @ Rs: 5001.70 P.Cwt                                                                      Rs: 143249/-

05. Providing construction joint in concrete work of 9’’ wide (225 mm)

corrugated PVC stop (with Rubs) i/c …… cost of material and laborz

change i/c complete (PHSI No-B2 P-56)

Qty: 113.00 Rft @ Rs: 86.0 P.Rft                                                                               Rs: 9713/-

06. Cement Concrete Brick or Stone ballast 1½ to 2 gauge (Ratio 1:4:8)

(CSI No-04 P-17)

Qty: 519.71 Cft @ Rs: 9416.28 P% Cft                                                                       Rs: 48937/-

07. Cement concrete plan i/c compacting finishing and complete i/c screening

and washing stone aggregate without shuttering. Ratio 1:2:4

(CSI: No.5 P-16)

Ratio 1:3:6

Qty: 254.00 Cft @ Rs: 12595/- P% Cft                                                                        Rs: 31991/-

Ratio 1:2:4

Qty: 509.00 Cft @ Rs: 14429.25 P% Cft                                                                       Rs: 73445/-

08. Bailing or pumping out sub soil water during excavation concreting cost in situ

Concrete for masonry work in foundation (PHSI No-18 P-75)

Qty: 4578.0 Cft @ Rs: 543.0 P% Cft                                                                          Rs: 24859/-

09. Providing and fixing in Portion in foundation 1:3:6 M.S ladder of M.S raibs

Iron 2x2x ¼ 1-0 Past with M.S Bar 3/4 ‘’ dia spared 1-0’ Port-3 coat

(PHSI No-03 P-42

Qty: 18.00 Rft @ Rs: 342.90 P.Rft                                                                                   Rs: 6172/-

10. Supplying DAMPO water proofing (SMI No- 46 P-4)

Qty: 241.78 Kg @ Rs: 125.00 P.Kg                                                                               Rs: 30222/-

SUB-ENGINEER                                    ASSISTANT EXECUTIVE ENGINEER

TOWN COMMITTEE UBAURO                                TOWN COMMITTEE UBAURO