BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

M&R TO FISH FORM OFFICE @ ROHRI DISTRICT SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A” BUILDINGS SCHEDULE ITEMS.

| 1/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | CFT | 3327/50 | %CFT | 3993/- |

| 2/- | Dismantling brick work in lime or cement mortar. (S.I.No:13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 200 | CFT | 1285/63 | %CFT | 2571/- |

| 3/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 776 | SFT | 121/- | %SFT | 939/- |

| 4/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 776 | SFT | 660/- | %SFT | 5122/- |

| 5/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 280 | CFT | 12674/36 | %CFT | 35488/- |

| 6/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1050 | SFT | 2206/60 | %SFT | 23169/- |

| 7/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 240 | CFT | 337/- | P.CFT | 80880/- |

| 8/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13.44 | Cwt | 5001/70 | P.CWT | 67223/- |

| 9/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1050 | SFT | 2197/52 | %SFT | 23074/- |

| 10/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). 2”thick Flooring |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1200 | SFT | 3275/50 | %SFT | 39306/- |

| 11/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1200 | SFT | 1887/40 | %SFT | 22649/- |

Page No:2.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 12/- | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I.No.60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 350 | SFT | 30509/77 | %SFT | 106784/- |

| 13/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 96 | SFT | 902/93 | P.SFT | 86681/- |

| 14/- | PNS, Painting doors and windows any type i/c edges two coats. (S.I.No.4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 212 | SFT | 1160/06 | %SFT | 2459/- |

| 15/- | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 including rubbing and polishing of the joints. 3/4" thick flooring. (S.I.No:28 (a) P-43). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 35 | SFT | 567/48 | P.SFT | 19862/- |

| 16/- | Providing and fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado skirting anf facing removal /tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry , current finishing, cleaning and polishing etc. complete. (S.I.No:68 P-49). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 88 | SFT | 186/04 | P.SFT | 1860/- |

| 17/- | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface). (S.I.No.3 A P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1600 | SFT | 2717/- | %SFT | 43472/- |

| 18/- | Distempering two coats (S.I.No.24 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 630 | SFT | 1079/65 | %SFT | 6802/- |

| 19/- | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No.24 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 60 | SFT | 726/72 | P.SFT | 43603/- |

| 20/- | P.N.S, Painting guard bars gates, iron bars railing etc. complete. (S.I.No. P- ). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | SFT | 1270/83 | %SFT | 1525/- |

| 21/- | Barow pit Excavation lead upto 100’ft. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 48000 | CFT | 1058/75 | %CFT | 50820/- |

|  | PART “A” BUILDINGS SCHEDULER ITEMS TOTAL | RS: | 567600/- |
| --- | --- | --- | --- |

Page No:3.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “B” W/S & S/F SCHEDULE ITEMS.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No.5 P-1). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | No. | 11477/40 | EACH | 11477/- |

| 3/- | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalant). (S.I.No.10 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 4928/- | EACH | 9856/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2533/47 | EACH | 5067/- |

| 5/- | Providing & fixing 24" x 18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. Standard Pattern. (S.I.No.03 P-7). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2376/- | EACH | 4752/- |

| 6/- | Providing & fixing 4" dia. C.I plain bend of the required degree including extra painting to match the colour of the building. (S.I.No.10 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 566/70 | EACH | 3400/- |

| 7/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 4" dia |  | 200 | RFT | 896/17 | P.RFT | 179234/- |
|  | b) 3/4" dia |  | 550 | RFT | 95/79 | P.RFT | 52685/- |

|  | c) 2" dia |  | 220 | RFT | 95/79 | P.RFT | 51260/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 8/- | Supplying/Fixing wash basin mixture of superior quality with c.p head. (S.I.No.14 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2 | Nos. | 3179/- | EACH | 6358/- |

Page No:4.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 9/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 20 | Nos. | 1109/46 | EACH | 22189/- |

| 10/- | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soap tray shelf of approved design I/c cost of screws, nuts etc Complete.. (S.I.No.23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 10322/40 | EACH | 10322/- |

| 11/- | Supplying & fixing C.P Muslim Shower with double Bib cock & ring Pipe etc complete. (S.I.No.19 (a) P-19). \ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | No. | 3432/- | EACH | 3432/- |

| 12/- | Providing and fixing ball valve (with un solded copper ball made to 13BSI. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 2" dia |  | 02 | Nos. | 738/76 | EACH | 2955/- |
|  | b) 1" dia |  | 08 | Nos. | 318/34 | EACH | 1273/- |

|  | PART “A” W/S & S/F SCHEDULER ITEMS TOTAL | RS: | 376593/- |
| --- | --- | --- | --- |

PART “C” P.H. ENGR: SCHEDULE ITEMS.

| 1/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1” dia |  | 120 | RFT | 28/- | P.RFT | 3360/- |
|  | b)1 1/2” dia |  | 200 | RFT | 44/- | P.RFT | 8800/- |
|  | c)4” dia |  | 350 | RFT | 226/- | P.RFT | 79100/- |

| 2/- | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" (1067 mm) depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2' x1-1/2' (457x457 mm) of 1.75 cwt. (88.9 kg) embaded in plain C.C 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc. Complete as per standard specification and drawing. (S.I.No.1 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 14748/- | EACH | 58992/- |

|  | PART “C” P.H. ENGR: SCHEDULE ITEMS TOTAL | RS: | 180492/- |
| --- | --- | --- | --- |

Page No:5.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |
| PART "B" | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C" | ________________%Above/Below P.H.Engr: Schedule Items | Total Rs:- |  |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |

BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M/R TO A.F.C OFFICE AT SUKKUR

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1955 | SFT | 2206/60 | %SFT | 43139/- |

| 2/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1955 | SFT | 2197/52 | %SFT | 429628/- |

| 3/- | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement washing and filling of joints with slurry of white cement pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No. 60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1494 | SFT | 30509/77 | %SFT | 455816/- |

| 4/- | Providing & Fixing false ceiling of themopore in panels or required design and size including frame work of aluminum T-Section hanged with nail wire to ceiling etc complete(C.S.I No:43 P.39). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 349 | SFT | 91/50 | P.SFT | 102755/- |

| 5/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 260 | SFT | 902/93 | P.SFT | 234632/- |

| 6/- | PNS, Painting doors and windows any type i/c edges three coats. (S.I.No.4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 714 | SFT | 2116/41 | %SFT | 15113/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 894417/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F SCHEDULE ITEMS

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |
| 2/- | P/F 22”x16” lavatory basin in white glazed earthen ware complete with and cost of W.I or C.I cantilever brackets 6 inch built into walls painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1 ½” dia rubber plug & chrome plasted brass chain 1¼” dia mollable iron or cp brass union & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Standard or equivalent). (S.I.No.13 P-4). |  |  |  |  |  |  |
|  |  |  | 02 | Nos. | 6237/- | EACH | 12474/- |

| 3/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 1109/46 | EACH | 6651/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2533/47 | EACH | 5066/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 36530/- |
| --- | --- | --- | --- |

PAGE-02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C” P.HEALTH.

| 1/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 4” dia |  | 200 | RFT | 226/- | P.RFT | 45200/- |
|  | b)1 1/4” dia |  | 150 | RFT | 34/- | P.RFT | 6600/- |
|  | c)1” dia |  | 200 | RFT | 28/- | P.RFT | 5600/- |

|  | PART “C” P.H. ENGR: SCHEDULE ITEMS TOTAL | RS: | 57400/- |
| --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |
| PART "B" | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C" | ________________%Above/Below P.H.Engr: Schedule Items | Total Rs:- |  |

|  |  |  |  |  | G. Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |