BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M/R TO CHIEF ENGINEER/SUPERINTENDING ENGINEWER PROVINCIAL BUILDINGS OFFICE SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Supplying and fixing 2 Ton Air Condition Hie made including outer gas charges, labour cartage etc. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. |  | EACH |  |

| 2/- | Supplying and fixing 42” size Samsug L.C./D. Korea made fixing in wall etc. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. |  | EACH |  |

| 3/- | Supplying Office Chairs. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. |  | EACH |  |

| 4/- | Supplying Revolving Chairs. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. |  | EACH |  |

|  | PART “C” PUBLIC HEALTH SCHEDULE ITEMS | RS: | 4520/- |
| --- | --- | --- | --- |

| PART "A) | ___________________ Non Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |

|  |  |  |  |  | G. Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |

BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M/R TO D.H.O OFFICE AT SUKKUR

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3707 | SFT | 121/- | %SFT | 4485/- |

| 2/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3707 | SFT | 660/- | %SFT | 24466/- |

| 3/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3707 | SFT | 2206/60 | %SFT | 81799/- |

| 4/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3707 | SFT | 2197/52 | %SFT | 81462/- |

| 5/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 167 | CFT | 3327/50 | %CFT | 5557/- |

| 6/- | P/L tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I.No.60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1635 | SFT | 30509/77 | %SFT | 498835/- |

| 7/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 22 | SFT | 902/93 | P.SFT | 19856/- |

| 8/- | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface). (S.I.No.3 A P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1257 | SFT | 2717/- | %SFT | 34153/- |

| 9/- | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. 2nd & subsequent coat. (S.I.No:38 P-56). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3287 | SFT | 1948/10 | %SFT | 64034/- |

PAGE-02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 10/- | RCC spouts i/c fixing in position with top & bottom khurras. (S.I.No.68 P-107). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 58 | Nos. | 604/17 | EACH | 6042/- |

| 11/- | POS, Painting doors & windows any type i/c edges 2 coats. (S.I.No.4 P- ). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1965 | SFT | 1160/06 | %SFT | 22795/- |

| 12/- | Distempering two coats (S.I.No.24 P-53). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2682 | SFT | 1043/90 | %SFT | 27997/- |

| 13/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 53.75 | Cwt | 3850/- | P.CWT | 206938/- |

| 14/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 110.53 | Cwt | 3575/- | P.CWT | 395145/- |

| 15/- | Re-handling of earth. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1706 | CFT | 1058/75 | %CFT | 1806/- |

| 16/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3411 | SFT | 3275/50 | %SFT | 111727/- |

| 17/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3411 | SFT | 1887/40 | %SFT | 64379/- |

| 18/- | P.N.S, Painting guard bars gates, iron bars railing etc. complete. (S.I.No. P- ). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 144 | SFT | 1270/83 | %SFT | 1830/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 1653306/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 6166/60 | EACH | 6167/- |
| 2/- | P/F 22”x16” lavatory basin in white glazed earthen ware complete with and cost of W.I or C.I cantilever brackets 6 inch built into walls painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1 ½” dia rubber plug & chrome plasted brass chain 1¼” dia mollable iron or cp brass union & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Standard or equivalent). (S.I.No.13 P-4). |  |  |  |  |  |  |
|  |  |  | 01 | Nos. | 6237/- | EACH | 6237/- |

PAGE-03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 3/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 1109/46 | EACH | 6657/- |

| 4/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1" dia |  | 200 | RFT | 128/55 | P.RFT | 2571/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 21632/- |
| --- | --- | --- | --- |

PART ‘C’ PUBLICH HEALTH SCHEDULE

| 1/- | P/L UPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a)4” dia | 1x20.0 | 20 | RFT | 226/- | P.RFT | 4520/- |

|  | PART “C” PUBLIC HEALTH SCHEDULE ITEMS | RS: | 4520/- |
| --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |
| PART "B" | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C" | ________________%Above/Below P.H.Engr: Schedule Items | Total Rs:- |  |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |