BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

NAME OF WORK:-	ESTIMATE FOR  M/R TO SACHAL SAR MAST PUBLIC LIBRARY @ DISTRICT KHAIRPUR.

| S.No. | QUNAITTY. | Name of item. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

PART-A  “FIRST FLOOR” BULDINGS SCHEDULE ITEMS.

1/ 		Dismantling Cement Concrete plain reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I. No. 20 P. No.11).

Qty: 3419 Cft					@RS:5445/-		% Cft		RS:155701/-

02/-	Dismantling brick work in cement sand mortar etc.

Qty:1248 Cft					@RS: 1285.63		% Cft		RS: 16044/-

03/-	Removing door with chowakats (S.I No: 33(a) P-12).

Qty:10 No’s					@RS:142.18		each		RS:1422/-

04/-	Removing  window with chowakats 	(S.I No:33 (b)P-12)

Qty:10 No’s					@RS:102.85		each		RS:1029/-

05/-	Dismantling C.C Plain 1:2:4) etc.

Qty:481 Cft					@RS: 3327.50		% Cft		RS: 16005/-

06/-	Dismantling glazed or encaustic tile etc (S.I No:55 P-13).

Qty: 2634 Sft					@RS:786.50		% Sft		RS:20716/-

07/-	Removing  Cement or lime Plaster (S.I No:  53 P.No: 13  ).

(A)

Qty: 5296 Sft					@RS:121/-		% Sft		RS:6408/-

08/-	Pacca  Brick  work in  Ground Floor  work  in cement sand mortar (1:6) (S.I No:5 P-25).

Qty:260 Cft					@RS: 12674.36	% Cft		RS: 32953/-

09/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty:6246 Cft					@RS: 337/-		P.Cft		RS: 2104902/-

10/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Qty:349.70					@RS: 5001.70		P.cwt		RS:1749094/-

11/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:6:12). (S.I.No.4 (d) P.No.15).

Qty: 149 Cft					@RS: 8122.95		% Cft		RS: 12103/-

12/-	Applying floating coat of cement 1/32” thick. (S.I No:     P.NO      )

Qty: 5296 Sft					@RS:660/-		% Sft		RS: 34954/-

Page no:2.

| S.No. | QUNAITTY. | Name of item. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

13/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick. (S.I No:     P.NO      )

Qty: 5296 Sft					@RS:2206.60		% Sft		RS: 116862/-

15/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick. (S.I No:     P.NO      )

Qty: 5296  Sft					@RS:2197.52		% Sft		RS:  116381/-

16/-	Providing and fixing G.I frames/chowkhats of size 7”x2” or 4½”x3” for door using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing.   (S.I.No. 28 Page No. 93)

Qty: 139 Rft					@RS:228.90		P.Rft		RS:31817/-

17/-	Providing and fixing G.I frames/chowkhats of size 7”x2” or 4½”x3” for Windows  using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing.   (S.I.No. 28 Page No. 93)

Qty:114 Rft					@RS:240.50		P.Rft		RS:27417/-

18/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty 12367 Cft					@RS:14429.25		% Cft		RS:178346/-

19/-	Laying white marble dado fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty:  120 Sft					@RS:567.48		P.Sft		RS:24128/-

20/-	Providing & Fixing 3/8” thick Marble tiles of approved quality & Colour & shade 8”x4”/6”x4” in door / skitching & face removal (tucking of existing plaster surface etc over ½” thick base of cement mortar (1:3) sefting of tiles in slurry of white cement  slurry curing , finishing cleaning & Polishing etc complete ) (S.I No:      P.NO:     ).

Qty:556 Sft					@RS: 201.07		P.Sft		RS: 111795/-

21/-	Providing and laying tile glazed (6”x 6”1/4”) on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.47)

Qty:1232 Sft					@RS:30509.77		% Sft		RS: 375880/-

22/-	First class deodar wood  wrought joinery  in doors & windows  etc fixed in position  including  3hold fasts hinges  iron  tower bolts chock, cleats  handles  and  cords  with hooks etc complete.

(S.I No: 54 P.NO:  65).

Qty:132 Sft					@RS: 1273.76		P.Sft		RS: 168136/-

23/-	Supplying and fixing in position iron/steel grill of ¾” x ¼” size flat iron of approved design including painting 3 coats etc complete (Weight or not less than 3.7 Lbs/sq feet of finished grill	(S.I No:       P.NO:       ).

Qty:38 Sft					@RS: 180.50		P.Sft		RS: 6859/-

Page no:3.

| S.No. | QUNAITTY. | Name of item. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

24/-	Providing and lying 1” thick C/C topping cement concrete (1:2:4) i/c surface finishing and dividing into panels.  (S.I.No.16 (d) P.No.42) 2” thick.

Qty: 880 Sft					@RS: 3275.50		% Sft		RS: 28824/-

25/-	Supplying & Fixing false ceiling  of plaster , in panels including making frame , work of deodar wood including painting with soligia paint.(S.NO:52 P.NO:64).

Qty:273 Sft					@RS: 25293.42	% Sft		RS: 69051/-

26/-	Providing & Fixing plaster of pairs ceiling border of 8” -10” with of specified design & thickness i/c fixing besides ceiling with nails/screws with jetties.(S.I No:44 P.NO:39).

Qty:67 Rft					@RS: 104.22		P.Rft		RS:6983/-

27/-	Distempering 03 coats over one coat of white wash.

Qty:6216 Sft					@RS: 1496.28		% Sft		RS:93009/-

28/-	Galvanized wire gauze fixed  to chowakats with ¾” s  deodar strps.

Qty:955 Sft					@RS: 190.72		P.Sft		RS: 182138/-29/-	Painting Old Surface Painting Door & Windows any type 02 coats.

Qty:1474 Sft					@RS: 1160.06		% Sft		RS: 17099/-

34/-	Painting guard bars gets iron bars grating , railing including standard braces (etc) and similar open work. (S.I NO:4(d)P.NO:69).

Qty:209 Sft					@RS: 977.40		% Sft		RS: 2043/-

35/-	P/L HALA pattern tiles glazed 8”x8”x¼” on floor of wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc. complete i/c cutting

Qty: 824 sft					@Rs:34520.31		% Sft		RS:284447/-

===================

PART “A” FIRST FLOOR BUILDINGS SCHEDULE ITEMS TOTAL 	RS: 5992546/-

| PART "A(I+II)” |  | ________________%Above/Below Buildings Schedule Items |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | G. Total Rs:- |  |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |