BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M/R TO CENTRAL INCHARGE OFFICE (FOOD) SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Dismantling Sun dry brick masonry. (S.I.No.10 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 209 | CFT | 378/13 | %0CFT | 790/- |

| 2/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 286 | CFT | 12674/36 | %CFT | 36249/- |

| 3/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6.87 | Cwt | 3850/- | P.CWT | 26450/- |

| 4/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 6.48 | Cwt | 3575/- | P.CWT | 23166/- |

| 5/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Qty item No.3+4 | (6.87 + 6.48) | 7.945 | CFT | 186/34 | P.CWT | 2488/- |

| 6/- | Removing cement or lime plaster. (S.I.No.53 P-14). \ |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 990 | SFT | 121/- | %SFT | 1198/- |

| 7/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2118 | SFT | 2206/60 | %SFT | 46736/- |

| 8/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2118 | SFT | 2197/52 | %SFT | 46543/- |

| 9/- | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leeping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc. (S.I.No.2 P-32). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 379 | SFT | 7607/25 | %SFT | 28831/- |

| 10/- | Providing & Fixing false ceiling of thermopole in panels or required design and size including frame work of aluminum T-Section hanged with nail wire to ceiling etc complete(C.S.I No:43 P.39). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 168 | SFT | 91/50 | P.SFT | 15372/- |

| 11/- | Distempering three coats (S.I.No.24 P-60). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 996 | SFT | 1079/65 | P.SFT | 10753/- |

Page No:2.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 12/- | Colour washing 2 coats over one coat of white wash. (S.I.No: 25 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 696 | SFT | 1303/17 | %SFT | 9070/- |

| 13/- | PNS, Painting doors and windows any type i/c edges two coats. (S.I.No.4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 236 | SFT | 1160/06 | %SFT | 2738/- |

| 14/- | First class deodar wood wrought, joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. (S.I.No:7 (b) P-57). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 68 | SFT | 1273/76 | P.SFT | 86616/- |

| 15/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:6:12). (S.I.No:4 (d) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 40 | CFT | 8122/95 | %CFT | 3249/- |

| 16/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1680 | SFT | 3275/50 | %SFT | 55028/- |

| 17/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 280 | SFT | 1887/40 | %SFT | 5285/- |

|  | PAR T “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 400562/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 6166/60 | EACH | 6167/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No.5 P-1). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Nos. | 11477/40 | EACH |  |

Page No:3.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 3/- | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalant). (S.I.No.10 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 4928/- | EACH | 4928/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2533/47 | EACH | 3533/- |

| 5/- | Providing & fixing 24" x 18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. Standard Pattern. (S.I.No.03 P-7). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2376/- | EACH | 2376/- |

| 6/- | Providing & fixing 4" dia. C.I plain bend of the required degree including extra painting to match the colour of the building. (S.I.No.10 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 566/70 | EACH | 1133/- |

| 7/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 20 | RFT | 73/21 | P.RFT | 1464/- |
|  | b) 3/4" dia |  | 120 | RFT | 95/79 | P.RFT | 11495/- |

| 8/- | Supplying/Fixing wash basin mixture of superior quality with c.p head. (S.I.No.14 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 3179/- | EACH | 3179/- |

| 9/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1109/46 | EACH | 4438/- |

| 10/- | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soap tray shelf of approved design I/c cost of screws, nuts etc Complete.. (S.I.No.23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 10322/40 | EACH | 10322/- |

Page No:4.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | Supplying & fixing fiber glass tank of approved quality and design and wall thickness as specified I/c cost of nuts, bolts and fixing in plateform of cement concrete 1: 3: 6 and making connections for in -let, & ou-let & over flow pipes etc. complete. 250 gallons wall thickness (S.I.No.03 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 21989/61 | EACH | 21990/- |

|  | PAR T “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 71023/- |
| --- | --- | --- | --- |

PART “C” P.HEALTH.

| 1/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1” dia |  | 120 | RFT | 28/- | P.RFT | 3360/- |

| 2/- | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" (1067 mm) depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2' x1-1/2' (457x457 mm) of 1.75 cwt. (88.9 kg) embaded in plain C.C 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc. Complete as per standard specification and drawing. (S.I.No.1 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 14748/- | EACH | 29496/- |

|  | TOTAL | RS: | 32856/- |
| --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |
| PART "B" | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C" | ________________%Above/Below P.H.Engr: Schedule Items | Total Rs:- |  |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |