BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

CONSTRUCTION OF DISPENSARY AT ARRORE DISTRICT SUKKUR (PROVIDING INTERNAL W/S & S/F AND DRAINAGE).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C” W/S & S/F SCHEDULE ITEMS.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 6166/60 | EACH | 18500/- |

| 2/- | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into wall, painted white in two coast after a primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P brass traps malloable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection and making good in cement concrete 1: 2: 4 (Standard pattern). (S.I.No.8 P-3). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 4253/70 | EACH | 4254/- |

| 3/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 05 | Nos. | 1109/46 | EACH | 5547/- |

| 4/- | Providing & fixing C.I trap with 4" dia inlet and 4" dia outlet of the approved self cleaning design with a C.I grating with or without a vent arm including cast of making requisite number of holes in walls, plinth & floor for Pipe connection and making good cement concrete 1:2 :4. (S.I.No.21 P-5). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 1671/58 | EACH | 1672/- |

| 5/- | S/F Nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection. (S.I.No.23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 447/15 | EACH | 1789/- |

| 6/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 89 | RFT | 73/21 | P.RFT | 6516/- |
|  | b) 3/4" dia |  | 124 | RFT | 95/79 | P.RFT | 11878/- |

| 7/- | Providing and fixing Handle Valve (China). (S.I.No.5 P-17). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 271/92 | EACH | 401/- |

P.No.02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 8/- | Supplying & fixing fiber glass tank of approved quality and design and wall thickness as specified I/c cost of nuts, bolts and fixing in plateform of cement concrete 1: 3: 6 and making connections for in -let ,& ou-let & over flow pipes etc. complete. 250 gallons wall thickness 4.0 mm (S.I.No.03 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 21989/61 | EACH | 21990/- |

|  | PART “C” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 72547/- |
| --- | --- | --- | --- |

PART “B” P.HEALTH.

| 1/- | Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" (1067 mm) depth with walls of B.B in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick, inside of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2' x1-1/2' (457x457 mm) of 1.75 cwt. (88.9 kg) embaded in plain C.C 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc. Complete as per standard specification and drawing. (S.I.No.1 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 14748/- | EACH | 58992/- |

| 2/- | Providing, Laying uPVC Pipes fixing in trench i/c cutting, fitting and jointing. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| a. | 4” dia |  | 34 | RFT | 226/- | P.RFT | 7684/- |
| b. | 6” dia |  | 87 | RFT | 486/- | P.RFT | 42282/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 108958/- |
| --- | --- | --- | --- |

PART “A” U.GT .SCOK PIT BUILDINGS SCHEDDULE ITEMS.

| 1/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 674 | CFT | 3176/25 | %0CFT | 2141/- |

| 2/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:5:10). (S.I.No:4 (d) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 85 | CFT | 8694/95 | %CFT | 7391/- |

| 3/- | Pacca brick work in foundation and plinth in Cement sand mortar 1:6 (S.I.No. 4 P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 229 | CFT | 11948/36 | %CFT | 27362/- |

P.No.03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 4/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:6:12). (S.I.No:4 (d) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 305 | CFT | 8122/95 | %CFT | 24775/- |

| 5/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 260 | SFT | 2206/60 | %SFT | 5737/- |

| 6/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Same Qty item No. 5 | 260 | SFT | 2197/52 | %SFT | 5714/- |

| 7/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 994 | SFT | 3275/50 | %SFT | 32558/- |

| 8/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) RCC work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 58 | CFT | 337/- | P.CFT | 19546/- |

| 9/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3.77 | Cwt | 5001/70 | P.CWT | 18856/- |

|  |  |  |  |  | RS: |  | 144080/- |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PART "A) |  | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |  |  |  |
|  | PART "B" |  | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |  |  |  |
|  | PART "C" |  | ________________%Above/Below P.H.ENGR: Schedule Items | Total Rs:- |  |  |  |  |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |