BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

M/R TO A.D.C. COLONY SUKKUR (REPAIR OF BUNGALOW NO:D-9,11).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2430 | CFT | 3176/25 | %0CFT | 7718/- |

| 2/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 930 | CFT | 9416/28 | %CFT | 87571/- |

| 3/- | Pacca brick work in foundation & plinth (1:6) (S.I.No:4©P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 630 | CFT | 11948/36 | %CFT | 75275/- |

| 4/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 490 | CFT | 12674/36 | %CFT | 62104/- |

| 5/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 11.30 | Cwt | 5001/70 | P.CWT | 56519/- |

| 6/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) RCC work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 910 | CFT | 337/- | P.CFT | 306670/- |

| 7/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2300 | SFT | 2206/60 | %SFT | 50752/- |

| 8/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2300 | SFT | 2197/52 | %SFT | 50543/- |

| 9/- | Fist class deodar wood wrought, joinery in doors and windows etc, fixxed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. (b) 1 3/4" thick. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 980 | SFT | 1273/76 | P.SFT | 124828/- |

| 10/- | Earth work for outlets Excavation refilling ramming and puddling. (c ) Channels discharge from 101-200 cusecs. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1620 | SFT | 1512/50 | %SFT | 2450/- |

| 11/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:5:10). (S.I.No:4 (d) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 350 | CFT | 8694/95 | %CFT | 30432/- |

| 12/- | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (S.I.No:24 P-43). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 200 | SFT | 27678/86 | %SFT | 55358/- |

| 13/- | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick including finishing. (S.I.No:37 P-45). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 500 | SFT | 28253/61 | %SFT | 158220/- |

| 14/- | Painting new surface:- painting doors and windows any type three coats. (S.I.No:5© P-70). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 196 | SFT | 2116/41 | %SFT | 4148/- |

|  | BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 969031/- |
| --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |

BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

M/R TO CHIEF ENGINEER CAMP OFFICE AT SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Dismantling brick work in lime or cement mortar. (S.I.No.13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 806 | CFT | 1285/63 | %CFT | 10632/- |

| 2/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 338 | SFT | 5445/- | %SFT | 18404/- |

| 3/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 523 | CFT | 12674/36 | %CFT | 66287/- |

| 4/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 60 | CFT | 3176/25 | %0CFT | 191/- |

| 5/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 18 | CFT | 9416/28 | %CFT | 1695/- |

| 6/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 5489 / 112 | 49.00 | Cwt | 5001/70 | P.CWT | 245083/- |

| 7/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) RCC work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 734 | CFT | 337/- | P.CFT | 247358/- |

| 8/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4173 | SFT | 121/- | %SFT | 5049/- |

| 9/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 4173 | SFT | 660/- | %SFT | 27541/- |

| 10/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 4173 | SFT | 2206/60 | %SFT | 92081/- |

| 11/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 4173 | SFT | 2197/52 | %SFT | 91703/- |

| 12/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | NET QTY: | 1422 / 112 | 12.69 | Cwt | 3850/- | P.CWT | 48557/- |
| 13/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
|  | NET QTY: | 1237 / 112 | 11.04 | Cwt | 3575/- | P.CWT | 39468/- |

Page No:2.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 14/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Qty item No.12+13 | 12.69+11.04 | 23.73 | CFT | 186/34 | P.CWT | 4419/- |

|  | BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 898468/- |
| --- | --- | --- | --- |

| PART "A) | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |

|  |  |  | G. Total Rs:- |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
| CONTRACTOR |  |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |