## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- M&R TO HIGH COURT BUILDING AT SUKKUR. (REPAIR OF E.I RESIDENCE QUARTERS).
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEMS
1 | 100 | Wiring for light or fan point with 3/.029 PVCinsulated wire in 20mm (3/4’’) channel patti on surface as required (S.No. 129 P-15). | 910 | P.No | 91000
2 | 20 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-3/.029 copper conductor in ¾’’ dia PVC conduit on surface. | 121 | P.M | 2420
3 | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾’’ dia PVC conduit on surface (S.I.No:3 P- No:1) | 171 | P.Mtr | 8550
4 | 72 | Providing & fixing two pin 5amp plug & flush type (S.I.No:225 P- No:33) | 83 | P.No | 5976
5 | 100 | Providing & fixing one way SP 5amp switch flush type(S.I.No:219 P- No:33) | 54 | P.No | 5400
6 | 80 | Providing & fixing Brass Battern holder c(S.I.No:232 P- No:33) | 70 | P.No | 5600
7 | 100 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 (4mm2) copper conductor in ¾’’ dia PVC conduit on surface (S.I.No:4 P- No:1). | 200 | P.Mtr | 20000
8 | 12 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No:222 P- No:33) | 162 | P.No | 1944
9 | 5 | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No:202 P- No:30) | 916 | P.No | 4580
10 | 1 | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63amp DP (TB-5S) on prepared board as required. (S.I.No:202 P- No:30) | 2456 | P.No | 2456
11 | 50 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1’’ dia PVC conduit on surface (S.I.No:6 P- No:1). | 428 | P.Mtr | 21400
|  |  | TOTAL :- |  | 169326
PART "B" OLD SCHEDULE ITEMS
1 | 56 | P/Fenergy sever superior quality including fixing on existing holder etc complete.(S.I.No:6 P- No:33) | 497 | Each | 27832
2 | 16 | P/F mild steel bar fan clamp 15.8 mm (5/8")dia suitable for RCC roof (S.I.No:1 (c) P- No:14) | 141.01 | Each | 2256.16
3 | 1 | P/F distribution metal board double shutter to accommodate circuit breakers including painting with enemel paint and for other simmilar job on surface (S.I.No:18 P- No:13) | 1426.33 | P.Sft | 1426.33
|  |  | TOTAL :- |  | 31514.49
Amount Total (CSR)
Part "A" |  | % Above / Below ____________ | Total Amount
Part "B" |  | % Above / Below ____________ | Total Amount
Total "A+B"
NON SCHEDULE ITEMS
1 | 5 | Rewinding & Repair of ceiling fan with capicitor ball bearing etc |  | Each
2 | 10 | S/F A.C ceiling fan 56" size i/c fixing & wiring connection etc complete |  | Each
3 | 10 | S/F LED light round / square shape i/c wiring connection 80 watts |  | Each
4 | 5 | S/F LED Light square / round shape 18 watts |  | Each
5 | 6 | S/F Capicitor 3.5 |  | Each
TOTAL :-
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
PROVINCIAL BUILDINGS DIVISION
SUKKUR