

**KARACHI WATER AND SEWERAGE BOARD**

**OFFICE OF THE EXECUTIVE ENGINEER (W/D)**

**(JAMSHED TOWN EAST )**

SUBJECT: - **REPLACEMENT OF 4”DIA A.C PIPE** Issued to M/s.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

**LINE BY 110 MM P.E PIPE LINE AT** Receipt No.\_\_\_\_\_Dated:\_\_\_\_\_\_\_\_\_ **DEHLI MERCANTILE SOCIETY FOR** Amount of Rs. 1000/- Time limit 20 days.

**IMPROVEMENT OF WATER SUPPLY** Sig.of Issuing Authority.\_\_\_\_\_\_\_\_\_\_\_\_­­­­­­­­­­­­­­­­­­ **IN JAMSHED TOWN.**

**Estimate Cost Rs.6, 74,089/=**

**Tender Cost Rs.1000/=**

**Time Limit 20 days**

**Penalty Rs.1000/=**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.NO** | **DESCRIPTION** | **QUANTITY** | **RATE** | | **PER**  **UNIT/ ITEM** | **AMOUNT** |
| **RUPEES IN**  **FIGURES** | **RUPEES IN**  **WORDS** |
| **1.** | Dismantling and removing road matte ling. | 3700 Cft |  |  | %Cft |  |
| 2. | Excavation for pipe line in trenches and pits in all kind of soils of murum including trimming and dressing sides of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). | 5550 Cft |  |  | %oCft |  |
| 3. | Excavation for pipe line in trenches and pits in wet silt clay or mud including trimming and dressing sides of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain (30.5m). | 9250 Cft |  |  | %0Cft |  |
| 4. | P/L & fixing in trench i/c fitting jointing & testing its complete in all respect the high Density polyethylene P.E. pipe (HDPE-100) for S/S confirming ISO-4427/ Din-8074-8075 B.S.3580 & PSI 3051 (PN-10 ………………………..110 MM P.E .pipe. | 1850 Rft |  |  | p/Rft |  |
| 5. | Full hire charges of the pumping set per day inclusive of wage of driver and assistant fuel or electric energy plate forms required for placing pumps etc. at lower depth with suction and delivery pipes for pumping out water found at various depths from trenches including the cost of erection and dismantling after completion of the job. Hire charges of pumping set out water from 10 deep trench. | 22 days |  |  | /day |  |

Can’t Page No.2…

Page No….. (2).

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 6. | Providing C.I Sluice Valve heavy pattern (Test pressure21.0 Kg/Sq-com or 300 Ibs/Sq.inch (imported) ….4”dia.C.I.S.valve. | 01 No |  |  | Each |  |
| 7. | Fixing of sluice valves with 2cast iron tail pieces one end flanged and other with socked including the cost of nuts bolts and rubber packing, labour etc complete…………….4”dia. C.I. S. Valve | 01 No |  |  | Each |  |
| 8. | Refilling the excavated stuff in trenches 6” thick layer including watering ramming to full compaction etc. complete. | 14547.71 Cft |  |  | %0Cft |  |
|  | |  | **Total Rs.** | | | |

EXECUTIVE ENGINEER (W/D)

JAMSHED TOWN, K.W. &.S.B

Total Bid Amounting to Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Inwards).\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

E-Mail Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Telephone No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

** KARACHI WATER AND SEWERAGE BOARD**

**OFFICE OF THE EXECUTIVE ENGINEER (W/D)**

**(JAMSHED TOWN EAST )**

SUBJECT: - **REPLACEMENT OF 4”DIA A.C PIPE** Issued to M/s.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_.

**BY 110 MM P.E PIPE LINE IN DIFFE-** Receipt No.\_\_\_\_\_Dated:\_\_\_\_\_\_\_\_\_ **RENT PLACES BLOCK-2 & BLOCK-6** Amount of Rs. 500/- Time limit 10 days.

**PECHS FOR IMPROVEMENT OF** Sig.of Issuing Authority.\_\_\_\_\_\_\_\_\_\_\_\_­­­­­­­­­­­­­­­­­­ **WATER SUPPLY IN JAMSHED TOWN.**

**Estimate Cost Rs.4,47,495/=**

**Tender Cost Rs.500/=**

**Time Limit 10 days**

**Penalty Rs.500/=**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.NO** | **DESCRIPTION** | **QUANTITY** | **RATE** | | **PER**  **UNIT/ ITEM** | **AMOUNT** |
| **RUPEES IN**  **FIGURES** | **RUPEES IN**  **WORDS** |
| **1.** | Dismantling and removing road matte ling. | 2370 Cft |  |  | %Cft |  |
| 2. | Excavation for pipe line in trenches and pits in all kind of soils of murum including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain ( 30.5m). | 4965 Cft |  |  | %oCft |  |
| 3. | Excavation for pipe line in trenches and pits in wet soils clay or mud including trimming and dressing site of true alignment and shape leveling of bed of trenches to correct level and grade, cutting ,joints holes and disposal of surplus earth within a one chain as directed by the engineering Incharge. Providing fence, lights flags and temporary crossing for non non-vehicular traffic wherever required lift up to 5 ft (1.52m) lead up to one chain (30.5m). | 5015 Cft |  |  | %0Cft |  |
| 4. | P/L & fixing in trench i/c fitting jointing & testing its complete in all respect the high Density polyethylene P.E. pipe (HDPE-100) for S/S confirming ISO-4427/ Din-8074-8075 B.S.3580 & PSI 3051 (PN-10 ………………………..110 MM P.E .pipe | 1160 Rft |  |  | p/Rft |  |
| 5. | Full hire charges of the pumping set per day inclusive of wage of driver and assistant fuel or electric energy plate forms required for placing pumps etc. at lower depth with suction and delivery pipes for pumping out water found at various depths from trenches including the cost of erection and dismantling after completion of the job. Hire charges of pumping set out water from 10 deep trench. | 30 days |  |  | /day |  |

Can’t Page No.2.

Page No….. (2).

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 6. | Refilling the excavated stuff in trenches 6” thick layer including watering ramming to full compaction etc. complete. | 9821.90 Cft |  | |  | %0Cft |  |
|  | |  | | **Total Rs.** | | | |

EXECUTIVE ENGINEER (W/D)

JAMSHED TOWN, K.W. &.S.B

Total Bid Amounting to Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

(Inwards).\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

E-Mail Address.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Telephone No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_