| NAME OF WORK :- | REPAIR AND RENOVATION OF MAIN KITCHEN AND MAKING & FIXING SOLID TEAK WOOD FLOOR IN CHIEF SECRETARY CAMP OFFICE AT CHIEF SECRETARY HOUSE KARACHI. |  |
| --- | --- | --- |

“SCHEDULE “B“

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | PART (A) SCHEDULE ITEMS |  |  |  |  |
| 1 | Dismantling glazed or encaustic tiles etc. ( SI.55 / P-13 ). | 402.30 Sft | 786/50 | %Sft | 3164/- |
|  | Rupees (Seven hundred eighty six & Ps. Fifty ) only. |  |  |  |  |
| 2 | Niylon wire gauge 144 mesh per square inch fixed to Chowkats ( SI.63-B / P-66 ). | 11.76 Sft | 74/94 | P.Sft | 881/- |
|  | Rupees (Seventy four & Ps. Ninety four) only. |  |  |  |  |
| 3 | Providing & fixing welded wire mesh square shape ( ½-18 gauge ) with coating fixed to chowkhat with ¾” deodar strips & screws.( SI.68-A / P-67 ). | 11.76 Sft | 155/58 | P.Sft | 1830/- |
|  | Rupees (One hundred fifty five & Ps. Fifty eight) only. |  |  |  |  |
| 4 | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 296.34 Sft | 226/88 | %Sft | 672/- |
|  | Rupees (Two hundred twenty six & Ps. Eighty eight) only. |  |  |  |  |
| 5 | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 296.34 Sft | 1772/38 | %Sft | 5252/- |
|  | Rupees (One thousand seven hundred seventy two & Ps. Thirty eight) only. |  |  |  |  |
|  | Part (A) Total Rs. |  |  |  | 11,799/- |
|  | PART (B) ELECTRIC SCHEDULE |  |  |  |  |
| 1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm ( ¾” ) PVC conduit recessed in the wall or column as required.( SI.124 / P-15 ). | 15 Nos | 1130/- | P.Point | 16950/- |
|  | Rupees (One thousand one hundred thirty) only. |  |  |  |  |
| 2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm ( ¾” ) PVC conduit recessed in the wall or column as required.( SI.126 / P-15 ). | 01 No | 985/- | P.Point | 985/- |
|  | Rupees (Nine hundred eighty five) only. |  |  |  |  |
| 3 | Providing & fixing Bakelite ceiling rose with two terminals .( SI.228 / P-33 ). | 02 Nos | 72/- | P.P | 144/- |
|  | Rupees (Seventy two ) only. |  |  |  |  |
|  | Part (B) Total Rs. |  |  |  | 18,079/- |
|  | PART (C) NON-SCHEDULE ITEM |  |  |  |  |
| 1 | Dismantiling/Removing of White Ant Eatan Wooden Floor then inside (Floor) Lasani Sheet removing step by step and dumping out side Chief Secretary Camp Office then removing out side of Chief Secretary House with the help of Trolley i.e. all cost of Labour and Tools as per need etc complete | 374.0 Sft |  | P.Sft |  |
| 2 | Providing Laying full body proecetain Mate Glazed Tiles (Spanish) PASTA BLANCA 20x60 cm as approved colour and designed jointed in white cement and laid over 1:2 grey cement sand mortar or stile bond 3/4" thide i.e. finishing filling joints with white cement or matching colour tile grout in desired shape with finishing i.e. cutting of tile in proper profile on floor or wall surface i.e. all cost of labour, material & carriage etc complete. | 499.56 Sft |  | P.Sft |  |
| 3 | Solid wood red marinde (Seasons), Cabinets with gola & frame (Carcass color wooden) including imported hydrolic, hings handles, channels etc complete Makng & fixing wooden window with chowkats making fixing new Jaffery door with fitting etc complete the job. | 01 Job |  | P/Job |  |
| 4 | Accessories for Cabinet (All Imported) Quotation Attached) |  |  |  |  |
| i | Lef -932 Gleam Cleaner 100 MM | 01 No |  | Each |  |
| ii | CMV- 02 Ss Plate peck, pull out care case | 02 Nos |  | Each |  |
| iii | Fgv -219 Pull out Trolly wire basket-(2) | 01 No |  | Each |  |
| iv | CMV 15 short Unit 640-72mm S/Steel W/ch | 01 No |  | Each |  |
| v | CMV-54 RAWER, C Pull out 900 MM steel | 02 Nos |  | Each |  |
| vi | CMV-36 Cap Holder 6 Hook (S/Steel) | 03 Nos |  | Each |  |
| vii | CMV-27 DRAWE, A, Pull out with General Sli | 02 No |  | Each |  |
| viii | CMV-27 DRAWE, Divider Tray 900 mm (10 c) | 01 No |  | Each |  |
| ix | MTX-717 Door single Hook | 02 Nos |  | Each |  |
| x | MTX-666 Storage shelt Basket | 01 No |  | Each |  |
| xi | MTX-345 Cutlery Tray 5 Pocket | 02 Nos |  | Each |  |
| xii | 82- Brown Doors Closure 45 Kg (Japan) | 03 Nos |  | Each |  |
| xiii | NWI-596 Cylinderical Privacy Lock set An | 05 Nos |  | Each |  |
| xiv | Lock-111 Entrance Single hoot Latch Lock | 01 No |  | Each |  |
| 5 | Appliances for Main Kitchen (All Imported) (Quotation Attached) |  |  |  |  |
| i | 05 Burner Hob (900 mm) Di-Cast Grill. | 01 No |  | Each |  |
| ii | Hood (900 mm) Grescent glass | 01 No |  | Each |  |
| iii | Steel Sink (12 mm) Bowl Single Tray with Tap | 01 No |  | Each |  |
| iv | Oven (600 mm) Built in (Malaysian) | 01 No |  | Each |  |
| v | Micro Wave (600 mm) Built in Italian | 01 No |  | Each |  |
| 6 | Providing and Fabricating & Fixing n position of 1st class Burma teak wood (solid wood) paneled size as per instruction of consultant and the approval of Chief Secretary Sindh i.e. Providing Laying Lasani sheet inside floor after performing of Anti Termite treatment by drilling and injecting method and refilling of floor Hole. After perparing providing laying teak flooring 3/4" thick wooden tiles with fine finishing i.e. all cost, labour material, carriage ect complete. | 374.0 Sft |  | P.Sft |  |
| 7 | Providing and Laying Step by Step French Polishing of Door, Windows, Ventilators, Cupboard, Cabinet , Floor, Stair & Jaffery work etc including preparing surface with zero no sand paper & them surface polishing by using indian lakh dana, spirit, Thinner, Chandras, Pigment, ICI Laquar hardner, ICI sealer Tarpin oil as per required etc polishing as satisfaction with the Consultant and approval Chief Secretary House Authority ect complete. | 569.57 Sft |  | P.Sft |  |
| 8 | Providing Fixing Pre Bottle Trap fine quality with necessary pre fitting for wash basin or kitchen sink as directed by the Consultant with the approval of Competent Authority of Chief Secretary House, Karachi i.e. all cost of labour material and carriage ect complete. | 01 No |  | Each |  |
| 9 | Providing Fixing Ceiling Fan 56" Sweep Pak/Royal/GFC or Equivalent good quality fan i.e. carriage from Shop to Site of work i.e. fixing charges with necessary internal wiring and electric connection as directed by the Engineer Incharge. | 01 No |  | Each |  |
| 10 | Providing Fixing Exhaust Fan 18" Dia metal body in/c making hole in walls (if required) to required size i.e. cutting, chiseling & making edges with cement sand mortar 1:4 (Pak Millat Royal or Equival quality) make in/c removing dismantle material from site to out side of premises in proper place and necessary electric wiring and connection as directed by the Engineer Incharge. | 01 No |  | Each |  |
| 11 | Providing and Fixing Multi Purpose Universal Plug 3 Pin 13 amps imported or Equal quality with fixing of fine quality concealled Board i.e. necessary services & internal Electric Wiring and Connection etc complete & internal Electric Wiring and connection etc complete. | 11 Nos |  | Each |  |
| 12 | Supplying/Fixing of Fancy Switch/Socket imported make with fancy Sheet i.e. fixing with fine quality concealled based with approved shape & design i.e. necessary screws & internal Electric wiring and connection etc complete. | 08 Nos |  | Each |  |
| 13 | Providing/Fixing UPVC Soil & vent pipe 4" dia pipe AGM or Pak Arab make sch 40 (E) without fittings, which will be paid separately after excavation of earth up to 3'-0 ft deep and check the level for proper water flow & refinishing the same, in/c jointing pipes with deamer & then solution. The rate includes all cost of labour, material & carriage etc complete as directed by teh Engineer Incharge. | 11.58 Rft |  | P.Rft |  |
| 14 | Providing & Fixing UPVC fittings make (Pak Arab) (Sch-40-E) jointed with best quality solution make (EZ) in/c all cost of Excavation & refinishing the same & Material, Labour & T&P etc complete 4" dia plain bend. | 03 Nos |  | Each |  |
| 15 | Providing and Fixing UPVC fitting (Pak Arab) (Sch-40-E) jointed with best quality solution make (EZ) in/c all cost of material & labour T&P etc complete 4" dia plain Tee /Y - Tee. | 01 No |  | Each |  |
| 16 | Providing & Fixing G.I. Pipe IIL (L) or Equivalent with fittings i/c cutting pipes and making thread as per required and making requisite nos of Hole in stone Masonary wall upto 24” thick for pipe connection and making good in cc 1:2:4 as directed by the Engineer Incharge. | 25.34 Rft |  | P.Rft |  |
| 17 | Providing and Fixing Fancy Long Handle Door Lock (Imported) "Yale" (From J.B. Saeed) as approved shape, design and make by the Competent Authority of Chief Secretary House i.e. all cost of labour, material and carriage etc complete. | 01 No |  | Each |  |
|  |  |  | “C” Total Rs. |  |  |
|  |  |  | “B” Total Rs. |  |  |
|  |  |  | “A” Total Rs. |  |  |
|  |  | Grand Total Rs. |  |  |  |
|  |  | Say Rs. |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with  reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |