DETAILED WORKING ESTIMATE FOR FOR UP-GRADATION OF RURAL HEALTH CENTRE CHUHAR JAMALI TO THE LEVEL OF TALUKA HOSPITAL SHAH BUNDER @ CHUHAR JAMALI

(24 BADED & MUSAFIR KHANA) DISTRICT THATTA/SUJAWAL

(MUSAFIR KHANA ONLY)

INTERNAL WATER SUPPLY & SANITARY FITTINGS.

SCHEDULE “B” to BID

| S.No; | Item of Work. | Quantity | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |
|  | P/F orisa type white or color glazed earthen ware W.C pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requisite number of holes in wall , plinth and floor and making good in cement concrete 1:2:4 .W.C pan orisa type 23” with plastic tank of low down 3 gallons C.I trap and C.I thumble (Superior quality).With 4” dia C.I trap 1 x 2 = 2 Nos. | 2 Nos. | 5728.20 | Each. | 11456.00 |
|  | P/F 22”x16” lavatory basin with glazed earthen ware complete with and i/c cost of W.I or C.I cantilever brackets 6” built into wall, painted with 2coats after a primary coat of red lead pigment, a pair of ½ rubber plug and chrome brass plate of approved design pattern, 1-1/4dia meloable iron C.P brass stop, malleable iron or brass union and making required no of holes in walls, plain and floor for pipe connection and making good in cement concrete 1:2:4..(Standard Pattern). (S.I.No.8, P-3) 1 x 2 = 2 Nos. | 2 Nos. | 4694.80 | Each | 9390.00 |
|  | Providing and fixing Steel sink stainless local make complete with cost iron or wraught iron brackets 6” built in wall 1-1/2” rubber plug chrome plated brass chain ½” C.P. brass waste, with ½” P.V.C. pipe waste and making required number of holes in wall and olkinth and floor for pipe connection and making good in cement concrete 1:2:4. Steel sink stainless size 33”x18”local make(standard Pattern). (S.I.No.21 (c), P-5) 1 x 2 = 2 Nos. | 2 Nos. | 1561.45 | Each. | 3123.00 |
|  | P/F 6”x4”or 6”x3” C.I floor trap of approved self and design with a screwed down with or without a vent arm complete & making requisite number of holes in wall plinth with c.c 1:2:4. (S.I No. 23 P-5) 1 x 6 = 6 Nos. | 6 Nos. | 2042.43 | Each | 12255.00 |
|  | P/F in position nyloon connection complete with ½”dia brass stop cock with pair of brass nuts and lining joints to nyloon connection. (S.I.No.26,.P-06) 1 x 4 = 4 Nos. | 4 Nos. | 447.15 | Each | 1789.00 |
|  | Providing and fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1” long C.P brass screws. Towel rail 36” long ¾” dia round or square (Superior quality.) 1 x 2 = 2 Nos. | 2 Nos. | 210.10 | Each | 420.00 |

| S.No; | Item of Work. | Quantity | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |
|  | P/F 24”x12” beveled mirror of Belgium glass complete with 1/8” thick hard board & c.p screw fixed to wooden pleat . (S.I No. 3 P-No-7). a) Standard Pattern. 1 x 2 = 2 Nos. | 2 Nos. | 1161.60 | Each | 2323.00 |
|  | P/F 4” dia. soil & vent pipe i/c cutting fitting i/c extra painting to match the colour of the building.(S.I No. 1 Page No-8). 2 x 12 = 24 Rft. | 24 Rft | 333.29 | P.Rft. | 7999.00 |
|  | P/F clamps of the approved design to 4”dia C.I pipe sockets i/c the cost of cutting and making good to wall or M.S bolts and nuts 4” into walls i/c pipes distance pieces extra painting to match the colour of the building. (S.I.No.2,.P-8) 1 x 2 = 2 Nos. | 2 Nos. | 72.16 | Each. | 144.00 |
|  | P/F 4”x4”x4” dia C.I branches of the required degree with access door rubber washer 1/8” thick & bolts, nuts i/c extra painting to much the colour of the building.(S.I No. 5 ,Page No-8). 1 x 3 = 3 Nos. | 3 Nos. | 702.00 | Each. | 2106.00 |
|  | P/F 4”” dia C.I plain bend cutting, fitting and extra painting to the match the colour of the building. 1 x 3 = 3 Nos. | 3 Nos. | 599.60 | Each | 1799.00 |
|  | P/F 4” dia C.I terminal guard i/c extra painting to the match the colour of the building. (S.I No. 11, P-9). 1 x 2 = 2 Nos. | 2 Nos. | 389.70 | Each. | 779.00 |
|  | P/F 3”x3”x3” dia c.i branches of the required degree with access door rubber washer 1/8” thick and bolts i.c extra painting to match the colour of the building. (S.I No. 17 Page No-9). 1 x 2 = 2 Nos. | 2 Nos. | 177.70 | Each. | 355.00 |
|  | P/F 3”” dia C.I plain bend cutting, fitting and extra painting to the match the colour of the building. 1 x 2 = 2 Nos. | 2 Nos. | 599.60 | Each | 1199.00 |

| S.No; | Item of Work. | Quantity | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |
|  | Providing G.I. pipe and specials clamps i/c cutting, fitting and i/c the cost of breaking through walls and roof 6” built into walls and making good etc painting two coats after cleaning the pipe with white zink paint with pigment to match the colour of the building and testing with water to a head of 200ft and handling (Internal) (S.I No.1 Page No-11). (a) ½”dia pipe. 1 x 60 = 60 Rft. (b) 3/4” dia 1 x 100 = 100 Rft. | 60 Rft. 100 Rft. | 73.21 95.79 | P.Rft P.Rft. | 4393.00 9579.00 |
|  | ## Providing and fixing C.P. brass shower rose with ½” or 3/4” inlet with detachable lid 4” / 6” dia Superior Quality (S.I.No.5, P-13). 1 x 2 = 2 Nos. | 2 Nos. | 225.95 | Each. | 452.00 |
|  | P/F full way gun metal valves with wheels threaded flanged with rubber washers. .(S.I.No.6 (B),P.14). ½” , dia. 1 x 3 = 3 Nos. | 3 Nos. | 91.95 | Each. | 276.00 |
|  | S/F long bib cock of superior quality with C.P. head ½”dia. (S.I No.15 (a) Page No-15). 1 x 6 = 6 Nos. | 6 Nos. | 211.00 | Each. | 1266.00 |
|  | P/F 6”x4” C.C gully trap with 4” out let complete with 4” thick 1:2:4 for C.C. Bad ½” thick cement plaster (1:3) to the kerb C.I. grating 6”x6” & C.I cover 12”x12”(1/ side) frame. (S.I No. 1 a (i) P-21). 1 x 2 = 2 Nos. | 2 Nos. | 316.70 | Each | 633.00 |
|  | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nuts, bolts and fixing in platform of cement concrete 1:3:6 and making connection for inlet and out let and over pipes etc complete. 350 Gallons wall thickness 4.50 mm. (S.I No.3 (a) P-18). 1 x 2 = 2 Nos. | 2 Nos. | 30778.42 | Each. | 61557.00 |

| 21. | P/L R.C.C pipe and colours of class”B’ fixing in trenches i/c cutting and fitting and jointing with max phaltic composition and cement mortar (1:1) i/c testing with water to head of 15’ft (6”dia). (S.I No. 2 (a) Page No-15+16). 6”dia pipe. a) 6” dia 1x50.0 = 050 Rft. b) 9” dia 1x150.0 = 150 Rft. | 050 Rft 150 Rft | 199.25 250.60 | P.Rft P.Rft | 9963.00 37590.00 |
| --- | --- | --- | --- | --- | --- |

|  | S.No; |  | Item of Work. |  |  | Quantity | Rate. |  | Unit. | Amount. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 22. |  |  | Construction of main hole or inspection chamber for the required dia of circular sewer 3’-6” depth with walls of B.B in cement mortar 1:3 cement plaster ½” tb: inside walls and over branches and cannels i/o fixing C.I. M.hole cover with frame of clear opening 1x14 of 1.75 cwt embedded in plain C.C 1:2:4 from the face of wall and fixing 1”dia M.S steps 6” wide projection at 12”C/C duly painted etc complete as per specification and drawing No:DP/1 of P.H.E southern zone. (S.I No. 1 Page No-39). Main Holes 2 x 4 = 8 Nos. | 8 Nos. |  | 14748.00 |  | Each | 117984.00 |  |
|  |  |  |  |  |  |  |  | Total :- |  | Rs. 2,98,830/00 |  |

| CONTRACTOR | ASSISTANT ENGINEER BUILDINGS SUB-DIVISION SUJAWAL/SHAH BUNDER | EXECUTIVE ENGINEER BUILDING DIVISION SUJAWAL. |
| --- | --- | --- |