DETAILED WORKING ESTIMATE FOR CONSTRUCTION OF MEDICAL DISPENSARY

TO VILLAGE ABDUL RAZZAQUE HINGORJO DISTRICT SUJAWAL.

SCHEDULE “B” to BID

| S.No. | Description of Items. |  |  |  | Qty: |  |  |  | Rate |  |  |  | Unit |  |  | Amount |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PART "¦B" INTERNAL WATER SUPPLY, SANITARY FITTINGS I/C DRAINAGE. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. |  | P/F European type white glazed earthen ware wash done W.C pan complete with and i/c black plastic seat.(Best Qty:) and lid with c.p brass hinges best quality and buffers 3 gallons plastic flushing cistern with internal fitting with fitting and clamps ¾” dia and cutting & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4. (S.I.No 4, P- 2) (Foreign Quality). Bath i/s 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 11477.40 |  |  |  |  | Each. |  | 11477.00 |  |  |  |  |
| 2. |  | P/F orisa type white or color glazed earthen ware W.C pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requisite number of holes in wall , plinth and floor and making good in cement concrete 1:2:4 .W.C pan orisa type 23” with plastic tank of low down 3 gallons C.I trap and C.I thumble (Superior quality).With 4” dia C.I trap. (S.I.No.3.A ( I ), P-2) Lav: i/s 1 x 2 = 2 Nos. |  |  |  | 2 Nos. |  |  |  | 5836.60 |  |  |  |  | Each. |  | 11673.00 |  |  |  |  |
| 3. |  | P/F 22”x16” lavatory basin in white glazed earthen ware complete with and i/c cost of W.I or C.I cantilever brackets 6” built into wall, painted with 2coats after a primary coat of red lead pigment, a pair of ½ rubber plug and chrome brass plate of approved design pattern, 1-1/4dia meloable iron C.P brass stop, malleable iron or brass union and making required no of holes in walls, plain and floor for pipe connection and making in cement concrete 1:2:4. Add extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed (Foreign or equivalent). (S.I No. 12,Page No-4). Lav: Bath i/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 4694.80 |  |  |  |  | Each. |  | 14085.00 |  |  |  |  |
| 4. |  |  | P/F 15”x12” beveled mirror of Belgium glass complete with 1/8” thick hard board & c.p screw fixed to wooden pleat . (S.I No. 4 P-No-7). Bath i/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 1161.60 |  |  |  | Each |  | 3485.00 |  |  |  |  |
| 5. |  |  | S/F concealed tee stop cock superior quality with C.P head 1/2" dia (S.I.No.22,P.No.18). Bath/Lav: 1 x 6 = 6 Nos. |  |  |  | 6 Nos. |  |  |  | 843.92 |  |  |  | Each |  | 5064.00 |  |  |  |  |
| 6. |  |  | S/F concealed stop cock superior quality with C.P head 1/2" dia (S.I.No.21,P.No.18). 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 509.24 |  |  |  | Each |  | 1529.00 |  |  |  |  |
| 7. |  |  | S/F swan type pillar cock of superior quality with crystal head. (S.I.No.18 (b),P.No.16). Lav:/Bath i/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 795.30 |  |  |  | Each |  | 2386.00 |  |  |  |  |
| 8. |  |  | S/F Jet shower with rod of superior quality with C.P. head ½”dia.(S.I No. 17,P. No-15). Bath i/s 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 1142.24 |  |  |  | Each |  | 1142.00 |  |  |  |  |
| S.No. | Description of Items. |  |  |  | Qty: |  |  |  | Rate |  |  |  | Unit |  |  | Amount |  |  |  |  |  |
| 9. |  |  | S/F long bib cock of superior quality with C.P. head ½”dia. (S.I No.15 (a) Page No-15). Bath/Lav: 1 x 6 = 6 Nos. |  |  |  | 6 Nos. |  |  |  | 337.92 |  |  |  | Each |  | 2028.00 |  |  |  |  |
| 10. |  | P/F 4” dia bend of the required degree with access door rubber washer 1/8” thick and bolts and nuts and extra painting to match the colour the of building. (S.I No. 5 ,P. No-9). Bath/Lav: i/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 702.00 |  |  |  |  | Each |  | 2106.00 |  |  |  |  |
| 11. |  | P/F (4x4x4”) dia G.I Plug tee bend of the required degree with access door rubber washer 1/8” thick and bolts and nuts and extra painting to match the colour the of building. (S.I No. 5 ,P. No-9). Bath/Lav: o/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 704.00 |  |  |  |  | Each |  | 2113.00 |  |  |  |  |
| 12. |  | P/F 4”x4”x4” dia C.I branches of the required degree with access door rubber washer 1/8” thick & bolts, nuts i/c extra painting to much the colour of the building.(S.I No. 5 ,Page No-8). Bath/Lav: 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 585.30 |  |  |  |  | Each |  | 1756.00 |  |  |  |  |
| 13. |  |  | P/F 6”x4”or 6”x3” C.I floor trap of approved self and design with a screwed down with or without a vent arm complete & making requisite number of holes in wall plinth with c.c 1:2:4. (S.I No. 20 P-6). Lav:/Bath i/s 1 x 3 = 3 Nos. |  |  |  | 3 Nos. |  |  |  | 2042.50 |  |  |  | Each |  | 6127.00 |  |  |  |  |
| 14. |  |  | Providing and fixing chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1” long C.P brass screws. Towel rail 36” long ¾” dia round or square (Superior quality.) (S.I No.1, P-7). Bath i/s 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 1412.95 |  |  |  | Each |  | 1412.00 |  |  |  |  |
| 15. |  |  | S/F soap tray of made of plastic of superior quality with and daring with fine finishing with C.P screws etc complete. (S.I.No.6.P-8) Bath i/s 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 169.40 |  |  |  | Each |  | 169.00 |  |  |  |  |
| 16. |  |  | Providing G.I. pipe and specials clamps i/c cutting, fitting and i/c the cost of breaking through walls and roof 6” built into walls and making good etc painting two coats after cleaning the pipe with white zink paint with pigment to match the colour of the building and testing with water to a head of 200ft and handling (Internal) (S.I No.1 Page No-11). (a) ½”dia pipe. 1x2x50.0 = 100 Rft. (b) ¾”dia pipe. 1x2x50.0 = 100 Rft. |  |  |  | 100 Rft. 100 Rft. |  |  |  | 73.21 95.79 |  |  |  | P.Rft P.Rft |  | 7321.00 9579.00 |  |  |  |  |
| 17. |  |  | P/L R.C.C pipe and colours of class”B’ fixing in trenches i/c cutting and fitting and jointing with max phaltic composition and cement mortar (1:1) i/c testing with water to head of 15’ft (6”dia). (S.I No. 2 (a) Page No-15+16). 6”dia pipe. D.Line 1x2x50.0 = 100 Rft. |  |  |  | 100 Rft |  |  |  | 199.25 |  |  |  | P.Rft |  | 19925.00 |  |  |  |  |
| S.No. | Description of Items. |  |  |  | Qty: |  |  |  | Rate |  |  |  | Unit |  |  | Amount |  |  |  |  |  |
| 18. |  |  | Construction of main hole or inspection chamber for the required dia of circular sewer 3’-6” depth with walls of B.B in cement mortar 1:3 cement plaster ½” tb: inside walls and over branches and cannels i/o fixing C.I. M.hole cover with frame of clear opening 1x14 of 1.75 cwt embedded in plain C.C 1:2:4 from the face of wall and fixing 1”dia M.S steps 6” wide projection at 12”C/C duly painted etc complete as per specification and drawing No:DP/1 of P.H.E southern zone. (S.I No. 1 Page No-39). Main Holes 1 x 6 = 6 Nos. |  |  |  | 6 Nos. |  |  |  | 14748.00 |  |  |  | Each |  | 88488.00 |  |  |  |  |
| 19. |  | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nuts, bolts and fixing in platform of cement concrete 1:3:6 and making connection for inlet and out let and over pipes etc complete. 350 Gallons wall thickness 4.00 mm. (S.I No.3 (b), Page No-21). Bath/Lav: 1 x 2 = 2 Nos. |  |  |  | 2 Nos. |  |  |  | 30773.42 |  |  |  |  | Each. |  | 61546.00 |  |  |  |  |
| 20. |  | P/F in position nyloon connection complete with ½”dia brass stop cock with pair of brass nuts and lining joints to nylon connection. (S.I.No.23, P-06) Bath/Lav: i/s 1 x 6 = 6 Nos. |  |  |  | 6 Nos. |  |  |  | 447.15 |  |  |  |  | Each |  | 2683.00 |  |  |  |  |
| 21. |  |  | P/F soil & vent pipe 4” dia. i/c cutting fitting i/c extra painting to match the colour of the building.(S.I No. 1 Page No-9) Bath/Lav: i/s (U/F) 1x2x10.0 = 20 Rft. |  |  |  | 20 Rft |  |  |  | 333.20 |  |  |  | P.Rft |  | 6666.00 |  |  |  |  |
| 22. |  | Supplying & Fixing Piston Pump set 1 H.P Single Phase 220 Volts with (1”x1”) suction & delivery (local make) (N-Schedule Items). Pump 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 3575.00 |  |  |  |  | Each |  | 3575.00 |  |  |  |  |
| 23. |  | P/F Water Pumping Set 2 H.P Mono Block Single Phase 220 Volts with 1-1/2” x1-1/2” suction & delivery 120 Ft head i/c making C.C 1:3:6 plate form of required size & fixing with nuts & bolts etc complete in all respect. (N-Schedule Items). Water Pump 1 x 1 = 1 No. |  |  |  | 1 No. |  |  |  | 5235.31 |  |  |  |  | Each |  | 5235.00 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total :- |  |  |  | Rs. 2,71,870/00 |  |  |  |

| CONTRACTOR | ASSISTANT ENGINEER BUILDING SUB-DIVISION MIRPUR BATHORO/JATI. | EXECUTIVE ENGINEER BUILDING DIVISION SUJAWAL. |
| --- | --- | --- |