## Schedule B
SCHEDULE "B"
Renovation / Rehabilitation & Addition Facilities Assistant Engineer Buildings Sub-Division
Dadu Johi & Assistant Engineer Buildings Electric Sub-Division Dadu. (E.I.Work)
S. NO. | ITEMS OF WORKS | QNTY: | RATE | UNIT | AMOUNT
1 | Wiring for light or fan point with 3/0.29 PVC insulated wire in 20mm (3/4") channel Patti on surface as required. (S.NO:P-129 P-15) | 60 | 910 | Per.Point | 54600
|  | NOS | ( Rs: Nine hundred ten only ).
2 | Wiring for Plug point with 3/0.29 PVC insulated wire in 20mm (3/4") PVC conduit on surface as required. (S.NO:P-125 P-15) | 20 | 669 | Per.Point | 13380
|  | NOS | ( Rs: Six hundred sixty nine only ).
3 | Providing & Laying (MAIN or SUB MAIN) PVC insulated with size 2-7/0.29 conpper conductor in 3/4" dia PVC conduit on surface.(SNO:A-03 P-01) | 50 | 171 | Per Mtr. | 8550
|  | P.MR | ( Rs: One hundred Seventy one only ).
4 | Providing & Laying (MAIN or SUB MAIN) PVC insulated with size 2-7/0.44 conpper conductor in 3/4" dia PVC conduit in the wall or column as required (SNO:B-12 P-02) | 100 | 341 | Per Mtr. | 34100
|  | P.MR | ( Rs: Three hundred forty one only ).
5 | Providing & Fixing One Way SP 10/15 amp switch surface type.(S.NO:A-218 P-33) | 15 | 58 | Per.Point | 870
|  | NOS | ( Rs:Fifty eight only ).
6 | Providing & Fixing Two Pin 5 amp Plug & Socket (S.NO:A-222 P-33) | 20 | 80 | Per.Point | 1600
|  | NOS | ( Rs:Eighty only ).
7 | Providing & Fixing Circuit Breaker 6.10.15.20.30.40.50 & 63 Amp SP (TB-5S) on prepared board as required.(S.NO:P-203 P-31) | 5 | 916 | Per.Point | 4580
|  | NOS | ( Rs:Nine hundred sixteen only ).
8 | Providing & Fixing Brass Pendant Lamp holder.(S.NO:B-229 P-33) | 6 | 74 | Per.Point | 444
|  | NOS | ( Rs:Seventy four only ).
9 | Providing & Fixing Circuit Breaker 6.10.15.20.30.40.50 & 63 Amp DP (TB-5S) on prepared board as required.(S.NO:P-204 P-31) | 2 | 2456 | Per.No | 4912
|  | NOS | ( Rs:Two thousand four hundred fifty six only ).
10 | Providing & Fixing Brass Ceiling Fan 56" (Good Quality) .(S.NO:B-235 P-34) | 8 | 3185 | Per.No | 25480
|  | NOS | ( Rs:Three thousand one hundred eighty five only ).
|  | TOTAL RS:- |  |  | 148516
(( P A R T "B" ))
1 | P/F.Distribution board D/S to accommodate circuit breacker i/c painting with enamiled paint and for other similar job ib surfac | 1 |  | PSFT
SFT
2 | P/F.Surface type 3 pin 15 amper s.p surface type plug switch and shoe unit prepared on board etc complete | 2 |  | EACH
NOS
3 | P/F.Energy Saver superior Qulity including fixing on existing holder | 6 |  | EACH
NOS
4 | P/F.Wall bracket fancy light type S/Quality including necessary electric connection and fixing on wall or ceiling etc | 4 |  | EACH
NOS
5 | P/Fixing Pilot Lamps | 3 |  | EACH
NOS
6 | Supply / Fixing LED Light 18 watts etc complete | 5 |  | Each
Nos
7 | Supply / Fixing LED Light 12 watts etc complete | 22 |  | Each
Nos
8 | Supply / Fixing LED Light 06 watts etc complete | 14 |  | Each
Nos
9 | Remote Bell | 2 |  | Each
Nos
10 | Electric Bell | 3 |  | Each
Nos
11 | S/F.Fan Rod 3/4 dia 3'-4'-4'1/2 ft i/c thirds etc complete. | 8 |  | Each
Nos
TOTAL RS:-
Note:- Quantities/Rates can be changed after Technical sanction is received from competent authority.
Contractor
EXECUTIVE ENGINEER
BUILDINGS DIVISION DADU