## Schedule B
SCHEDULE "B"
Renovation / Rehabilitation & Additional Facilities to BHU at Phulji Village Taluka Johi
(E.I.Work)
S. NO. | ITEMS OF WORKS | QNTY: | RATE | UNIT | AMOUNT
1 | Wiring for light or fan point with 3/0.29 PVC insulated wire in 20mm (3/4") channel Patti on surface as required. (S.NO:P-129 P-15) | 60 | 910 | Per.Point | 54600
|  | Nos | ( Rs:Nine hundred ten only ).
2 | Wiring for Plug point with 3/0.29 PVC insulated wire in 20mm (3/4") PVC conduit on surface as required. (S.NO:P-125 P-15) | 15 | 669 | Per.Point | 10035
|  | NOS | ( Rs: Six hundred sixty nine only ).
3 | Providing & Laying (MAIN or SUB MAIN) PVC insulated with size 2-7/0.29 conpper conductor in 3/4" dia PVC conduit on surface.(SNO:A-03 P-01) | 250 | 171 | Per Mtr. | 42750
|  | P.MR | ( Rs: One hundred Seventy one only ).
4 | Providing & Laying (MAIN or SUB MAIN) PVC insulated with size 2-7/0.44 conpper conductor in 3/4" dia PVC conduit in the wall or column as required (SNO:B-12 P-02) | 300 | 341 | Per Mtr. | 102300
|  | P.MR | ( Rs: Three hundred forty one only ).
5 | Providing & Fixing One Way SP 10/15 amp switch surface type.(S.NO:A-218 P-33) | 60 | 58 | Per.Point | 3480
|  | NOS | ( Rs:Fifty eight only ).
6 | Providing & Fixing Two Pin 5 amp Plug & Socket (S.NO:A-222 P-33) | 15 | 80 | Per.Point | 1200
|  | NOS | ( Rs:Eighty only ).
7 | Providing & Fixing Circuit Breaker 6.10.15.20.30.40.50 & 63 Amp SP (TB-5S) on prepared board as required.(S.NO:P-203 P-31) | 10 | 916 | Per.Point | 9160
|  | NOS | ( Rs:Nine hundred sixteen only ).
8 | Providing & Fixing Circuit Breaker 6.10.15.20.30.40.50 & 63 Amp DP (TB-5S) on prepared board as required.(S.NO:P-204 P-31) | 1 | 2456 | Per.Point | 2456
|  | NOS | ( Rs:Two thousand four hundred fifty six only ).
9 | Providing & Fixing Circuit Breaker 3.5.10.15.20.& 30 Amp TP (XS-30NS[NB]) on prepared board as required.(S.NO:P-205 P-31) | 1 | 5301 | Per.Point | 5301
|  | NOS | ( Rs:Five thousand three hundred one only ).
10 | Providing & Fixing Bakelite ceiling Rose with two terminals.(S.NO:B-228 P-33) | 15 | 72 | Per.Point | 1080
|  | NOS | ( Rs:Seventy two only ).
11 | Providing & Fixing Brass Pendant Lamp holder.(S.NO:B-229 P-33) | 30 | 74 | Per.Point | 2220
|  | NOS | ( Rs:Seventy four only ).
12 | Providing & Laying (MAIN or SUB MAIN) PVC insulated with size 2-7/0.36 (4mm2)conpper conductor in 3/4" dia PVC conduit on surface.(SNO:A-04 P-01) | 100 | 200 | Per Mtr. | 20000
|  | P.MR | ( Rs:Two hundred only ).
13 | Providing & Fixing Brass Ceiling Fan 56" (Good Quality) .(S.NO:B-235 P-34) | 10 | 3185 | Per.No | 31850
|  | NOS | ( Rs:Three thousand one hundred eighty five only ).
14 | Providing & Fixing AmpMeters Size 96/96mm Direct 15A, 30A 50A.60A,&100 A as required & as per instruction of E.I.(S.NO:A-284 P-41) | 1 | 1054 | Per.No. | 1054
|  | NOS | ( Rs:One thousand fifty four only ).
15 | Providing & Fixing VoltMeter Size 96/96mm 500 as required & as per instruction of E.I.(S.NO:B-285 P-41) | 1 | 999 | Per.No. | 999
|  | NOS | ( Rs:Nine hundred ninty nine only ).
16 | Wiring for Call bell point with 3/0.29 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.NO:P-128 P-15) | 2 | 1764 | Per.Point | 3528
|  | NOS | ( Rs:One thousand Seven hundred sixty four only ).
17 | Construction of RCC Foundation as per following specification & instruction of E.I for 31ft/40ft long tubular pole Excavation of soft/hard soil 3'x3'x5.5' stone soiling 3'x3'x6" Making lean in the ratio of 1:4:8 Length of MS bolts 6 1/2' (3/4"dia) 4 nos & making thread on MS rod Template 16"x16"x1/4 Rings 1/4" dia round bar 4 nos to the welded with MS rod RCC foundation rotio 1:2:4 with apprpriate size 2'x2'x6.5' (S.NO:P-139 P-19) | 3 | 15168 | Per.Point | 45504
|  | Nos | ( Rs:fifteen thousand one hundred sixty eight only ).
|  | TOTAL RS:- |  |  | 337517
(( P A R T "B" ))
1 | P/F.Distribution board D/S to accommodate circuit breacker i/c painting with enamiled paint and for other similar job ib surfac | 4 |  | PSFT
SFT
2 | P/F.Surface type 3 pin 15 amper s.p surface type plug switch and shoe unit prepared on board etc complete | 6 |  | EACH
NOS
3 | P/F.Energy Saver superior Qulity including fixing on existing holder | 30 |  | EACH
NOS
4 | P/F.Wall bracket fancy light type S/Quality including necessary electric connection and fixing on wall or ceiling etc | 10 |  | EACH
NOS
5 | P/F.Milled steel barss fan clamps 15/8mm ( 5/8" ) dia suitable for R.C.C or Roof etc complete | 4 |  | EACH
NOS
6 | P/Fixing Pilot Lamps | 3 |  | EACH
NOS
7 | P/F,T.P.I change Over switch volts 100 ampers on prepa: board | 1 |  | Each
Nos
8 | S/Fxing Exhust fan 12"sweep for A/C supply 220 volts single phase | 2 |  | Each
Nos
9 | P/Installing Connecting & testing of road light fixture IP 66 rating lamp component SGP-338 philps appeared type with 25 volts SON-T lamp high priority amodized aluminum reflector highpressure die cost i/c hoisting complete with all installation accessories as approved by the Engineer parts shouls be Germany Make are equivalent quality | 3 |  | Each
Nos
10 | P/I A.C Fancy road light Pole 20 ft hight to ground level with fancy arm bracket Impection window i/c (15x15") 4mm this squire pase plate 4 Nos 4mm round holes nut & bolts silver panint complete set (fancy Assambleled )changes of Loading tranportations changes fram factory to site. | 3 |  | Each
Nos
TOTAL RS:-
Note:- Quantities/Rates can be changed after Technical sanction is received from competent authority.
Contractor
EXECUTIVE ENGINEER
BUILDINGS DIVISION DADU