## Gym Khana
Schedule (B) Additional / Facilities Alteration and Provision of Missing Facilities Gym Khana Dadu.(Constt: of Additional Rooms)
Sr: No. | Item of work | Quantity |  | Rate | Unit | Amount
1 | Excavation in foundation of buildings bridges & other structures i/c dagbelling dressing refilling around structure with excavated earth watering & ramming lead upto 5'ft: (a) In ordinary soil (SI No:18(b) P-4) | 9057 | Cft | 3176.25 | %0Cft | 28767.2962
(Rs:Three thous: one hund: Seventy six & Ps: Two five)only
2 | C.C Brick or stone ballast 1-1/2" to 2" gauge Ratio 1:4:8 (SI No:4(b) P-15) | 3734 | Cft. | 9416.28 | %Cft | 351603.8952
(Rs:Nine thous: four hund: sixteen & Ps:Two eight) only
3 | RCC work 1:2:4 i/c all labour and material except the cost of steel reinf: & its labour for bending & binding which will be paid separately. This rate also i/cs all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening & washing of shingle) (a) RCC work in roof slabs beams, coloumns, rafts lintels and other structural members laid in situ or precast laid in position complete in all respects.(SI No:6(a)(i) P-16/17) | 6288 | Cft | 337 | P.Cft | 2119056
(Rs: Three hundres thirty seven)only
4 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making of joints and fastenings i/c cost of binding wire (also i/cs removal of rust from bars)(b) Tor bars. (SI No:8(b) P-17) | 251.52 | Cwt | 5001.7 | P.Cwt | 1258027.584
(Rs: Five thous:one & Ps: Seven zero)only
5 | Pacca brick work in foundation & Plinth in cement sand mortar ratio 1:6. (SI No:4(i-e) P-20/21) | 2975 | Cft. | 11948.36 | %Cft | 355463.71
(Rs:Eleven thous: nine hund: forty eight & Ps:Thirty six) only
6 | Filling, watering and ramming earth in floor with surplus earth from foundation lead upto one chain & lift upto 5'ft: (SI No:21 P.4) | 6038 | Cft | 1512.5 | %0Cft | 9132.475
(Rs:TOne thous: five hund: twelve & Ps: Five zero)only
7 | Filling, watering and ramming earth under floor with new earth (excavated from outside) lead upto one chain & lift upto 5'ft: (SI No:22 P-4) | 2522 | Cft | 3630 | %0Cft | 9154.86
(Rs:Three thous: Six hund: thirty)only
8 | Pacca brick work in ground floor in cement sand mortar ratio 1:6 (SI.No:5 (i-e) P-21) | 4487 | Cft. | 12674.36 | %Cft | 568698.5332
(Rs:Twelve thous: six hund: seventy four & Ps:Three six) only
9 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for doors & windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (SI No:28 & 29 P-93)
| Windows frames | 600 | Rft | 240.5 | P.Rft | 144300
(Rs:Two hund: forty & Ps:Fifty) only
10 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for doors & windows using 20 gauge G.I sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (SI No:28 & 29 P-93)
| Door Frames. | 359 | Rft | 228.9 | P.Rft | 82175.1
(Rs:Two hund: twenty eight & Ps:Ninty) only
11 | Ist: class deodar wood wrought, joinery work in doors & windows etc, fixed in position i/c chowkats hold fasts, hinges iron tower bolts chocks, cleats, handles and cords with hooks etc. (Deodar panelled or panelled and glazed or fully glazed) (b) 1-3/4" thick (SI No:7(b) P-65) (Only shutters). | 720 | Sft | 902.93 | P.Sft | 650109.6
(Rs:Nine hund: two & Ps:Nine three) only
12 | S/F in position Aluminium channels framing for hinged doors or Alcop made with 5mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, stoppers etc (b) Deluxe model (Bronze) (SI No:83(b) P-108) | 42 | Sft | 1507.66 | P.Sft | 63321.72
(Rs: One thous: five hund: Seven & Ps:Sixty six) only
13 | S/F in position Aluminium channels framing for sliding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) Deluxe model (Bronze) (SI No:84(b) P-108) | 108 | Sft | 1647.69 | P.Sft | 177950.52
(Rs: One thous: six hund: forty seven & Ps" Sixty nine) only
14 | S/F in position iron/steel grill of 3/4"x1/4" size flate iron of approved design i/c painting 3-coats etc complete (weight not to be less than 3.7 Lbs: / square foot of finished grill) (SI No. 26 P.93) | 311 | Sft | 180.5 | P.Sft | 56135.5
(Rs:One hund: eighty & Ps: Five zero) only
15 | Cement plaster 1:6 upto 20'ft: height 1/2" thick.(SI No:13(b) P-52) | 15852 | Sft. | 2206.6 | %Sft. | 349790.232
(Rs:Two thous: two hund: six & Ps: Six zero) only
16 | Cement plaster 1:4 upto 20'ft: height 3/8" thick.(SI No:11(a) P-52) | 15852 | Sft. | 2197.52 | %Sft. | 348350.8704
(Rs:Two thous: one hund: ninty seven & Ps: Five two) only
17 | Laying white marble 3/4" thick flooring fine dressed in the surface without winging set in lime mortar 1:2 i/c rubbing and polishing of the joints.(SI No:28(a) P-43) | 1200 | Sft | 567.48 | P.Sft | 680976
(Rs:Five hund: sixty seven & Ps: Four eight) only
18 | P/F 3/8" thick marble tiles of approved quality and colour shade size 8"x4" / 6"x4" in Dado skirting and facing removal/tucking of existing plaster surface etc, over 1/2" thick base of cement mortar 1:3 setting mortar base i/c filling the joints and washing the tiles with white cement slurry, curing, finishing, cleaning and polishing etc complete.(SI No:68(i) P-49) For New work. | 494 | Sft | 186.04 | P.Sft | 91903.76
(Rs:One hund: eighty six & Ps: Zero four) only
19 | Laying floor of approved with glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (SI No:24 P-43) | 293 | Sft. | 27678.86 | %Sft. | 81099.0598
(Rs:Twenty seven thous: six hund: seventy eight & Ps:Eight six) only
20 | Glazed tiles Dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing. (SI No:38 P-45) | 1449 | Sft. | 28299.3 | %Sft. | 410056.857
(Rs:Twenty eight thous: two hund: ninty nine & Ps: Three zero) only
21 | Providing & laying 2" thick topping cement concrete (1:2:4) i/c surfce finishing & dividing into panels. (SI No:16 P-42). | 249 | Sft. | 3275.5 | %Sft. | 8155.995
(Rs:Three thous: two hund: seventy five & Ps: Five zero) only
22 | Two coats of bitumen laid hot using 34-lbs: for %sft. Over roof and blinded with sand at one Cft per %sft. (SI No:13 P-35) | 249 | Sft. | 1887.4 | %Sft. | 4699.626
(Rs:One thous: Eight hund: eighty seven & Ps: Four zero) only
23 | Primary coat of chalk under distemper. (SI No:23 P-54) | 18801 | Sft. | 442.75 | %Sft. | 83241.4275
(Rs:Four hund: forty two & Ps: Seven five) only
24 | Distempering three coats. (SI No:24(c) P-54) | 18801 | Sft. | 1079.65 | %Sft. | 202984.9965
(Rs:One thous:Seventy nine & Ps: Six five) only
25 | PNS & painting with weather coat i/c rubbing the surface with rubbing brick/ sand paper filling the voids with chalk / plaster or paris and then painting with weather coat of approved make two coats.(SI No:38 P-56) | 4896 | Sft. | 1948.1 | %Sft. | 95378.976
(Rs:One thous: nine hund: forty eight & Ps:One Zero) only
26 | PNS & Painting of doors & windows any type (i/c edges) 3-coats (SI No:5(c) P.70) | 1440 | Sft. | 2116.41 | %Sft. | 30476.304
(Rs: Two thous: one hund: Sixteen & Ps: Forty one) only
27 | PNS & Painting guard bars, gates iron bars grattings, railings i/c standard braces (etc) and similar open work 3-coats (SI No:5(d) P.70). | 311 | Sft. | 1270.83 | %Sft. | 3952.2813
(Rs:One thous: two hund: Seventy & Ps: Eighty three) only
28 | Laying Floors or Dado coloured porcelien tiles size 24"x24" in white cement & laid over 1:3 cement mortar 3/4" thick i/c finishing as per instructions of engineer incharge. (R.A.Approved) | 1100 | Sft | 320 | P.Sft | 352000
(Rs:Three hund: twenty) only
|  |  |  | Total:- |  | 8616963.1792
(Part B) W/S S/F & Drainage
1 | P/F squatting type white glazed of flushing cistern with internal fitting & flush pipe with bend & making req: No:of holes in walls plinth & floor for pipe connections & making good in C.C 1:2:4 (A)(i) W.C pan of not less than 23" clear opening between flashing rims & 3-gallons flushing tank with 4"dia C.I trap.(SI No:1(a-i) P-1) | 4 | No | 5044.6 | Each | 20178.4
(Rs: Five thous: forty four & Ps: Six Zero)only
2 | Supply & Fixing of Comot Best Quality (RAA) | 2 | No | 5339 | Each | 10678
(Rs: Five thous: three hund thirty nine)only
3 | P/F 4" dia C.I soil & vent pipe i/c cutting & fitting & extra painting to match the colour of the building. (SI No:1 P-9) | 100 | Rft | 333.29 | P.Rft | 33329
(Rs:Three hund:thirty three & Ps:Twenty nine) only
4 | P/F 6"x2" or 6"x3" C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making req: No; of holes in walls plinth & floor for pipe connection and making good in C.C 1:2:4. (SI No:20 P-6) | 6 | No | 2024.43 | Each | 12146.58
(Rs: Two thous: twenty four & Ps:Four three)only
5 | Providing G.I pipes, special & clamps etc i/c fixing cutting & fitting complete with & i/c the cost of breaking through walls & roof, making good etc, painting two coats after cleaning the pipe etc, with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling.(SI No:1 P-12)
a) | 1/2" dia pipe. | 100 | Rft | 73.21 | P.Rft | 7321
(Rs:Seventy three & Ps:Twenty one) only
b) | 1" dia pipe | 100 | Rft | 128.55 | P.Rft | 12855
(Rs:One hund: twenty eight & Ps:Fifty five) only
c) | 3/4" dia pipe | 300 | Rft | 95.79 | P.Rft | 28737
(Rs:Fifty nine & Ps:Seventy nine) only
6 | S/F Long bib cock of crystal head with c.p head 1/2" dia (SI No:13(b) P-19) | 12 | No | 1384.24 | Each | 16610.88
(Rs:One thous: three hund: eighty four & Ps: Twenty four) only
7 | S/F cancealed stop cock of superior quality with crystal head 1/2" dia (SI No:11(b) P-18) | 12 | No | 1184.24 | Each | 14210.88
(Rs:One Thous: One hund: Eighty four & Ps:Two four) only
8 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6 inche built into wall, painted white in two coats after a primary cost of red lead paint a pair of 1/2" dia chrome plate trap 1-1/2" dia rubber plug & chrome plated chain 1-1/4" dia malloable iron or c.p brass trap malloable iron or brass union & making req: No: of holes in walls plinth & floor for pipe connection and making good in C.C 1:2:4 (Standard pattern) (SI No:12 P-4) | 6 | No | 4694.8 | Each | 28168.8
(Rs: Four thous: six hund: ninty four & Ps: Eight zero)only
9 | Add: extra for labour for providing & fixing of earthen ware pedestal white or colour glazed (Standard pattern) (SI No:9 P-3) | 6 | No | 938.47 | Each | 5630.82
(Rs: Nine hund: thirty eight & Ps:Forty seven) only
10 | S/F Swan type pillar cock of superior quality with crystal head 1/2" dia (SI No:16(b) P-19) | 6 | No | 877.8 | Each | 5266.8
(Rs:Eight hund: seventy seven & Ps:Eight zero) only
11 | S/F Fibre glass tank of approved quality and design and wall thickness as specified i/c cost of nuts bolts & fixing in plateform of cement concrete 1:3:6 and making connections for in-let, out-let and over flow pipes etc complete. (SI No: 3 P-21) | 300 | Gal | 87.95 | P.Gal: | 26385
(Rs:Eighty seven & Ps: Ninty five) only
12 | P/F Water pumping set of 2-HP, 2800 RPM single phase 220-Volts 1-1/2"x1-1/2" suction and delivery 40'ft: head i/c base plate and also making C.C 1:3:6 plateform of required size and fixing with nuts. (RAA) | 1 | No | 10000 | Each | 10000
(Rs: Ten thousand) only
13 | Providing RCC pipe with collars class (B) and digging the trenches to required depth and fixing in position i/c cutting fitting and jointing with maxphat composition & cement mortar 1:1 and testing with water pressure to a head of 4 feet above the top of the highest pipe and refilling with excavated staff.(SI No:2 P-23)
| 6" dia RCC pipe | 300 | Rft | 199.25 | P.Rft | 59775
(Rs:One hund: ninty nine & Ps: Twenty five) only
14 | Constructing of Man hole or inspection chamber for the required dia of circular sewer and 3'-6" depth with wall of B.B in cement mortar 1:3 cement plastered 1:3 1/2" thick inside of walls & 1" thick over benching and channel i/c fixing man hole cover with frame of clear opening 1-1/2'x1-1/2' if 1.75 Cwt: (88.90Kg:) embedded in plain C.C 1:2:4 and fixing 1" dia M.S steps 6" wide projecting 4" from the face of wall at 12" C/C duly painted etc complete as per specification & drawing No:D.P/1 of Public Health Circle Southern Zone (4"x12" dia 2'x2'x3'-6") (PHSI No:1 P-39) (Without cover) | 6 | No | 7763 | Each | 46578
(Rs: Seven thous: seven hund: sixty three) only
15 | P/F 24"x18" bevelled edge mirror of belgium glass complete with 1/8" thick hardboard and c.p screws fixed to wooden pleat. (Superior Quality) (SI No:3(b) P-7) | 4 | No | 2376 | Each | 9504
(Rs:Three thous: three hund: seventy six) only
16 | P/F 4" dia C.I off-sets of various length i/c extra painting to match the colour of the building (SI No:8 P-10) | 6 | No | 702 | Each | 4212
(Rs:Seven hund: two) only
17 | P/F 4" dia C.I plain bend of the required degree i/c extra painting to match the colour of the building (SI No:10 P-10) | 6 | No | 566.7 | Each | 3400.2
(Rs:Five hund: sixty six & Ps:Seven zero) only
18 | P/F handle valves (China) (SI No:5 P-17)
| 3/4" dia | 6 | No | 271.92 | Each | 1631.52
(Rs:Two hund: seventy one & Ps:ninty two) only
19 | S/F wash basen mixture of superior quality with crystal head 1/2" dia. (SI No:14(b) P-19) | 6 | No | 3179 | Each | 19074
(Rs:Three thous: one hund: Seventy nine) only
20 | S/F Jet shower with rod of superior quality with c.p head 1/2" dia (SI No:15 P-19) | 6 | No | 1142.24 | Each | 6853.44
(Rs:One thous: one hund: forty two & Ps: Twenty four) only
21 | P/F in position nyloon connections complete with 1/2" dia brass stop cock with pair of brass nuts and lining joints to nyloon connection. (SI No:23 P-6) | 12 | No | 447.15 | Each | 5365.8
(Rs: Four hund: forty seven & Ps:Fifteen) only
22 | P/F 4"x4" dia C.I branch of the required degree with access doors, rubber washer 3/8" thick & bolts & nuts & extra painting to match the colour of the building. (SI No:3 P-9) | 6 | No | 702 | Each | 4212
(Rs:Seven hund: two) only
23 | P/F 4"x4"x4 dia C.I plain branch of the required degree i/c extra painting to match the colour of the building. (SI No7 P-9) | 6 | No | 704.2 | Each | 4225.2
(Rs: Seven hund: two & Ps:Two zero) only
|  |  |  | Total:- |  | 396349.32
Note:- Quantities/Rates can be changed after Technical sanction is received from competent authority.
Contractor
EXECUTIVE ENGINEER
BUILDINGS DIVISION DADU