NOTICE INVITING TENDERS

Sealed Bids are re-invited from the interested bidders/ suppliers/ contractors/ firms for procurement/execution of the following works in the light of SPPRa Rule 2010 due to reason that previous N.I.T was not published in Newspapers.

LIST OF WORK IS ATTACHED.

- All the contractor/intended participant firms can purchase the separate set tenders on payment of tender fee for each work from the date of publication of NIT in Newspapers/SPPRA website upto 19.05.2016 @01:00 PM. The same will be received back on 20.05.2016 upto 02:00 PM and the same will be opened on same day @ 02:00 PM in presence of the contractors and committee.

- Eligibility conditions for intending participants are as under:-

- Registration with Pakistan Engineering Council in the relevant field of specialization of work and to the extend of tender amount of each work.

- Bio data of Engineers and technical staff working with the firm.

- Documentary evidence of work executed / works in progress and certificate of satisfactory completion or works by the employers.

- List of works in progress indicating cost of each work and copy of letter of award or work.

- List of machinery and equipment available with documentary evidence of its ownership certificate of bank showing credit worthiness alongwith Bank statement.

- All contractors/ Firms having produced Pakistan Engineering Council Certificate for the current year may be allowed to participate in the tenders after submitting Solvency Certificate and other required documents as per SPPRA Rule 2010.

- Registration with income Tax Department (NTN Certificate) / Sale Certificate where required and copy of C.N.I.C. at the time of submission bids.

- Undertaking on affidavit that firm is not involved in any litigation or abandoned any work in the Department.

- The bidders should submit earnest money as shown against each work in shape of call Deposit prepared from the scheduled bank in favour of the undersigned.

- Affidavit to the effect that the firm / contractor have not been black listed previously by any executing agency.

- Affidavit with effect that all documents/ particulars/ information furnished are true correct.

- In case of the firm, list of partners/ partnership deed, giving full particulars of Directors/ proprietors or other connected alongwith Power of Attorney. In case being sole proprietors such undertaking on affidavit be furnished.

- In case of works costing below 4.00 (M) the condition @ Sr. No.02 will not be applicable.

- The bidders should produce registration with Sindh Revenue Board in light of SPPRA Rue 2010 amended rule 46 (1) (iii) of 2014.

Terms and condition of the Tenders.

- No conditional tenders will be entertained.

- No tenders without Call Deposit will be considered.

- The competent authority reserve the right to reject any or all bids subject to provisions of SPPRA Rule 2010.

- IF, the tenders are un-responded the same will be issued and opened in the presence of the undersigned and the committee on the following date and time.

- In case any member or procurement committee happens to be out of head quarters the bids will be received back and opened on next day.

| S.No. | Sale of Bank Tenders | Open or the Tenders |
| --- | --- | --- |
|  | 26.05.2016 (02:00 PM) | 26.05.2016 (02:00 PM) |

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

No.GB:/Tender:/    1942		/2016, 		Mirpurkhas 		dated 		29.04.2016

Copy forwarded to:-

  - The Director (A&F) Government of Sindh, Sindh Public Procurement Regulatory Authority, Block-8, Sindh Secretaries 4-A Court Road Karachi for publicity on SPPRA website/CD attached.

  - The Director of information (Advertisement) Public Relation Department Government of Sindh, Block No.96, Sindh Secretariat Karachi, 6-copies of the advertisement for the publication in English, Urdu & Sindh Newspapers on insertion only.

  - The Inspector General of Police Sindh Karachi.

  - Accountant / Reader Range Office Mirpurkhas.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

LIST OF WORK

| S.# | Name of Works | Estimate Cost | Bid Security | Tenders Fee | Completion Period |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

  - Rehabilitation of 		       5.00(M)      0.10(M)	3000		2 months

Police Club Mirpurkhas

  - M&R to Facilitation Centre 	       5.00(M)      0.10(M)	3000		2 months

Mirpurkhas

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

NOTIFICATION – PROCUREMENT COMMITTEE.

A Procurement Committee with the following composition, in terms of Rule-7 of Sindh Public Procurements Rule 2010, is hereby constituted of procurement of “Works” in the office of the Deputy Inspector General of Police Mirpurkhas Range excluding procurement involving foreign exchange with the following composition.

1.	Mr. Attiq-ur-Rehman	      	DSP/HQrs M’Khan 	 	Chairman

2.	Mr. Muhammad Sharif Shar	DSP/SDPO Sindhri		Member

3.	Mr. Abdul Rauf Arian	 	Assistant Engineer, 		Member

Building Sub-Division,

Shujaabad Mirpurkhas

The functions and responsibilities of the Committee, in terms of Rule-7 & 8 of SPPRA 2010 shall be as under:-

- Preparing of bidding documents.

- Carrying out Technical as well as Financial Evaluation of the bids.

- Preparing Evaluation report as provided in Rule-45.

- Making recommendation for the award of contact to the competent authority and:

- Perform any other function ancillary and incidental to the above.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

No.GB:/Tender:/    1943		/2016, 		Mirpurkhas 		dated 		29.04.2016

1. 		Copy submitted to the Inspector General of Police, Sindh, Karachi for favour of kind information.

2. 		The Director (A&F) Government of Sindh, Sindh Public Procurement Regulatory Authority Block-8, Sindh Secretaries 4-A Court Road, Karachi.

Copy to the following for information and necessary action.

- The DSP/HQrs and DSP/SDPO Sindhri district, Mirpurkhas..

- The Assistant Engineer, Building Sub-Division Shujaabad, Mirpurkhas.

- Accountant/ Reader Range Office Mirpurkhas.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

NOTIFICATION

With the approval of competent authority a complaint redressal Committee in terms of Rule-31 of Sindh Public Procurement Rules 2010 is hereby constituted as under:

1.	Mr. Attiq-ur-Rehman	      	DSP/HQrs M’Khan 	 	Chairman

2.	Mr. Muhammad Sharif Shar	DSP/SDPO Sindhri		Member

3.	Mr. Abdul Rauf Arian	 	Assistant Engineer, 		Member

Building Sub-Division,

Shujaabad Mirpurkhas

The function and responsibilities of the Committee in terms of Rule-31 of Sindh Public Procurement Rules 2010.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

No.GB:/Tender:/    1941		/2016, 		Mirpurkhas 		dated 		29.04.2016

Copy forwarded to:

- The Director (A&F) Government of Sindh, Sindh Public Procurement Regulatory Authority Block-8, Sindh Secretaries 4-A Court Road, Karachi.

- The Inspector General of Police, Sindh Karachi for favour of his kind information.

- Copy to Notice Board / Accounts Branch.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

ANNUAL  PROCUREMENT  PLAN

The below mentioned N.I.Ts have been invited.

- No.GB:/Tender/1942 dated 29.04.2016.

The other N.I.Ts. shall be invited when as receive the Administrative Approval and funds available from concerned quarter.

(JAVED A. ODHO) PPM, PSP

Deputy Inspector General of Police,

Mirpurkhas Range

| Estimate for Rehabilitation of Police club Mirpurkhas |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule "B". |  |  |  |  |  |  |  |  |  |  |
| Sr. No: | Items of Work. |  |  | Qty: |  |  | Rate. |  | Unit. | Amount. |
|  | Part (A) Buildings Schedule Items. |  |  |  |  |  |  |  |  |  |
| 1 | Dismantling CC Plain 1:2:4 (S.I. No.19, P-10) |  |  | 1489 |  | CFT | 3327.50 |  | % CFT | 49546 |
| 2 | Removing Cement or Lime Plaster (S.I. No.53/P-13) |  |  | 2741 |  | SFT | 121.00 |  | % SFT | 3317 |
| 3 | Scarping ordinary distemper oil bound distemper or paint on walls S.I.No.54 P-13) |  |  | 6705 |  | SFT | 226.88 |  | %SFT | 15212 |
| 4 | Pacca Brick work in Ground Floor in Cement sand mortar 1:6:S.I.5, P-21) |  |  | 31 |  | CFT | 12674.36 |  | %CFT | 3929 |
| 5 | First class deodar wood wrought, Joinery in doors and windows etc. fixed in position including chowkhats hold fasts, hinges, iron tower bolts, chocks, chocks, cleats, handles and cords with hook etc, Deodar panelled or paneled and glazed or fully glazed (b) 1-3/4” think (S.I No.7 P-58) |  |  | 43 |  | SFT | 902.93 |  | P.Sft | 36831 |
| 6 | Cement Plaster 3/8” think Ratio 1:4 upto 20’ height S.I. No.11 P-52) |  |  | 3483 |  | SFT | 2197.52 |  | %SFT | 76540 |
| 7 | C.C. Plain 1:3:6 I/C placing compacting finishing and curing complete (I/C screening and washing of stone aggregate) w/o shuttering (S.I.#5 P-16 |  |  | 536 CFT |  |  | 12595.00 |  | %CFT | 67509 |
| 8 | Hard wood railing of any shape and design including bends and corners fixed in position including polishing complete as directed (a) Shishman wood |  |  | 27 SFT |  |  | 375.78 |  | P.SFT | 10146 |
| 9 | Excavation in foundation building bridge and other structure i/c degbelling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 feet (c) in ordinary |  |  | 1080 CFT |  |  | 3176.25 |  | %0CFT | 3430 |
| 10 | C.C. bricks or stone blast 1 ½” to 2” gaze ratio 1:4:8 |  |  | 470 CFT |  |  | 9416.28 |  | %CFT | 44257 |
| 11 | Pacca brick work in foundation or plinth cement sand mortor 1:6 |  |  | 608 CFT |  |  | 11948.36 |  | %CFT | 72646 |
| 12 | Filling water and remaining earth under floor with surface from foundation leaf upto 5’ |  |  | 720 CFT |  |  | 1512.50 |  | %0CFT | 1089 |
| 13 | Supping and filling sand under floor plugging in walls |  |  | 711 CFT |  |  | 1171.25 |  | %0CFT | 8114 |
| 14 | P/L C.C topping (1:2:4) I/C surface finishing and dividing into penal 2” |  |  | 810 SFT |  |  | 3275.50 |  | %SFT | 26532 |
|  | (B) 2” thick first floor |  |  | 4124 SFT |  |  | 3502.38 |  | %SFT | 144438 |
| 15 | P/F bitumen felt paper of 60 Lbs obver roof including clearing of roof with wire brush and removing dust applying bitumen coats at the rate of 34 Lbs per % Sft as premix inter coats and then laying flet paper with 10% over laps then applying and spreading hill sand at the rate of 1 cft for 100 sft., |  |  | 4124 Sft |  |  | 54.70 |  | P.SfT | 225583 |
| 16 | Facing water spouts or parnala |  |  | 20No. |  |  | 211.75 |  | Each | 4235 |
| 17 | Door closure aluminum door (i) single action good quality |  |  | 5 no. |  |  | 5000.00 |  | Each | 25000 |
| 18 | P/f relining for curtain with deodar wooden putty i/e fixed in wall with screws etc complete |  |  | 84 RFT |  |  | 347.49 |  | P.RFT | 29189 |
| 19 | S/F window printed bilnds (H/V) with plain designs and of approved color i/c fixing in windows with necessary accessories |  |  | 756 SFT |  |  | 91.11 |  | P.SFT | 68879 |
| 20 | Glazing with panes (24 oz to 26 oz) using putty and deodar wooden 1st class fillets |  |  | 117 SFT |  |  | 163.90 |  | P.SFT | 19176 |
| 21. | Carriage of 100 Cft/5 tons of all material like stone aggregate spowl, coal lime surkhi etc BG Rail fastenings points and crossing bridges Girders, pipes sheets rail MS Bar etc. or 1000 No. Bricks 10”x5”x3” No. tiles 12”x6x2” or 150 CFT of timber or 100 mounds of fuel wood by trucks or any other means owners owned by the contractor (SI#1/P-1 Schedule of carriage) Lead4 Mile) |  |  | 1489 CFT |  |  | 649.86 |  | %CFT | 9676 |
| 22 | Primary coats of chalks under distemper |  |  | 415 SFT |  |  | 442.75 |  | %SFT | 1837 |
| 23 | Distempering three coats on walls |  |  | 415 SFT |  |  | 1079.65 |  | %SFT | 4481 |
| 24 | Preparing the surface and painting with finish i/c rubbing the surface with bathy (silicon carbide brick) filling the voids with Zink/chalk / plaster of Paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (new surface) 2nd & subsequent coat (S.I No.36 (b), p-55) New Surface |  |  | 7585 SFT |  |  | 3444.38 |  | %SFT | 261256 |
| 25 | Preparing the s/p with weather coat i/c rubbing the surface with rubbing/sand paper filling the voids with chalk / plaster of paris and then painting with weather coat of approved new surface |  |  | 4436 SFT |  |  | 2567.95 |  | %SFT | 139594 |
| 26 | Painting New Surface painting doors and windows any type 03-coats (S.I No.36 (b) (c-ii) P-68) New Surface |  |  | 84 SFT |  |  | 2116.41 |  | %SFT | 1778 |
| 27 | Painting old surface painting doors and windows any type 03-coats (S.I No.36 (b) (c-ii) P-68) Old Surface |  |  | 1258 SFT |  |  | 1652.21 |  | %SFT | 20911 |
|  |  |  |  |  |  |  |  |  | TOTAL | 1375131 |
| (B) civil work schedule items |  |  |  |  |  |  |  |  |  |  |
| 1 | P/Fixing G.I Framers/chowkhats of size 7”x2” or 4 ½” x 3” for Doors using 20 Gauge G/I Sheet I/C Welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 repairing the jumps. The cost also i/c all carriage tools and plants used in making and fixing |  |  | 18 RFT |  |  | 228.90 |  | P/RFT | 4120 |
| 2 | P/Fixing G.I Framers/chowkhats of size 7”x2” or 4 ½” x 3” for Doors using 20 Gauge G/I Sheet I/C Welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry or ratio 1:6 repairing the jumps. The cost also i/c all carriage tools and plants used in making and fixing |  |  | 9 RFT |  |  | 240.50 |  | P/RFT | 2165 |
| 3 | P/Fixing in positiong iron/ steel grill of ¾” x 1x4” size flat iron approved design including painting three coats etc complete |  |  | 32 SFT |  |  | 180.50 |  | P.SFT | 5776 |
| 4. | M/F grating in opening including fixing at site with flat iron 2” x 3/8” and ¾’ sq bars at 4” centre to centre |  |  | 80 SFT |  |  | 293.15 |  | P.SFT | 23452 |
| 5 | P/f iron collapsible gate chennal framing of section ¾ x 5/16 at 4” i/c revitted with ¾” x 1/8” flat iron patti placed diagonally and provided with tap and bottom |  |  | 84 SFT |  |  | 387.04 |  | P.SFT | 32511 |
|  |  |  |  |  |  |  |  |  | TOTAL | 68024 |
| (C) Part –C (Civil Work) Schedule Items) |  |  |  |  |  |  |  |  |  |  |
| 1 | Lying floor of approved white glazed tiles ¼” thick in white cement 1.2 over ¾” Thick cement mortar 1.2 complete (S.I.No.24, P42) |  |  | 415 SFT |  |  | 27678.86 |  | %SFT | 114867 |
| 2 | White glazed tiles ¼” thick dado joined in white cement and laid over 1:2 cement sand motar ¾” thick i/c finishing |  |  | 2085 SFT |  |  | 28253.61 |  | %SFT | 589088 |
| 3 | Supplying and fixing in position aluminum channels farming for sliding windows and ventilators of alop mode with 5 mm think tined glass glazing (Belgium) & Aluminum fly screen i/c handles stoppers and locking arrangements etc. complete (b) Deluxe model (Bronze) |  |  | 194 SFT |  |  | 1507.66 |  | P/SFT | 292486 |
| 4. | Galvanized wire gauze fixed to chowkhats with ¾” deodar strips and screws |  |  | 472 SFT |  |  | 190.72 |  | P.SFT | 90020 |
| 5 | Fixing expanded metal with 1” deodar wooden strips and screws |  |  | 472 SFT |  |  | 296.50 |  | P.SFT | 139736 |
|  |  |  |  |  |  |  |  |  | TOTAL | 1226197 |
|  | (C) Part –C (Civil Work) Schedule Items) |  |  |  |  |  |  |  |  |  |
| 1 | Cement plaster ½” think in cement sand mortar ratio 1:4 i/c floating coat of cement with SBR Chemical upto 20’ height with smooth finish i/c curing etc complete as directed by the Engineer Incharge (Rates includes all cost of Material, Labour & Cartage (R.A) |  |  | 3483 SFT |  |  | 4768.72 |  | %SFT | 166095 |
| 2 | Providing and laying Master granite tiles fully glaze jointed in white cement and lid over 1:2 grey cement mortar ¾” thick in/c finishing and filling of joint with slurry of white cement or tile grout in desired shape in/c cutting tiles to proper profile. The rate includes all cost of labour, material and cartage as directed by Engineer incharge (on floor or facing ) size 24” x room floor |  |  | 2954 SFT |  |  | 462.00 |  | P.SFT | 1364748 |
| 3 | p/f gypsum board flase ceiling sheet size 2’x2 (DFB Brand or equivalent) in panels or required designed including mortal suspension system frame work of aluminum T/L Section hanged with nails wire to ceiling etc. complete including cartage at site wastage and necessary holes for lighting arrangements and inspection panel as directed by Engineer Room Ceiling |  |  | 2097 SFT |  |  | 167.60 |  | P/SFT | 351457 |
| 4 | Providing and laying Guttca brick facing 2-1/4” 9 2-1/4” size of approved designed set in cement sand mortar 1:3: 1” thick i/c filling the joint with white cement slurry using colour pigment for matching i/c leveling smooth finishing currying and scaffolding etc. complete as per specification and the rate includes all cost of labour material and cartage as directed by |  |  | 414 SFT |  |  | 477.33 |  | P/SFT | 197615 |
|  |  |  |  |  |  |  |  |  | TOTAL | 2079915 |
| N O T E :- |  |  |  |  |  |  |  |  |  |  |
| 1) | Only hill sand will be used. |  |  |  |  |  |  |  |  |  |
| 2) | Premium on non schedule item will not be allowed. |  |  |  |  |  |  |  |  |  |
| 3) | Cartage of any item either supplied y the Department if the contractor will be not allowed. |  |  |  |  |  |  |  |  |  |
| 4) | Water arrangement will be made by the contractor at his own risk and cost. |  |  |  |  |  |  |  |  |  |
| 5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders. |  |  |  |  |  |  |  |  |  |
| 6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively without any reimbursement claim again his account. |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Deputy Inspector General of Police Mirpurkhas Range |  |  |  |
| Contractor |  |  |  |  |  |  |  |  |  |  |

| COMPARATIVE STATEMENT. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Work :- |  | Estimate For M&R to Repair / Renovation of DIGP Office/allied Branches . |  |  |  |  |  |  |
|  |  |  |  |  |  | Rs. | /- | /- |
| Sr. No. | Name of Contractor. |  |  |  | Date of Receipt of Tender. | Rate Qouted by the Contractor. | Remarks. |  |
| 01. |  |  |  |  |  |  |  |  |
| 02. |  |  |  |  |  |  |  |  |
| 03. |  |  |  |  |  |  |  |  |
| 04. |  |  |  |  |  |  |  |  |
| 1. | Certified that the tenders entered above were properly sealed. |  |  |  |  |  |  |  |
| 2. | Certified that the tenders have been opened in the presence of the Contractors and Member of the Committee. |  |  |  |  |  |  |  |

(Rizwan Ahmed Shaikh)				(Muhammad Manthar Bhayo)

Assistant Engineer, (Member)			                  DSP/Admn, (Member)

Building Sub-Division, Shujaabad Mirpurkhas		  Range Office Mirpurkhas.

(Malik Muhammad Usman)

A/DIGP Mirpurkhas Range 	(Chairman)

| PERCENTAGE RATE TENDER AND CONTRACT FOR THE WORK. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Issued To. |  |  |  |  |  |  |  |  |
|  |  |  |  | DR. Amount Rs. |  |  |  |  |  |  | /- |  |
|  |  |  |  | DR. No. |  |  |  |  | DT: |  |  |  |
|  |  |  |  | Issue Date: |  |  |  |  | OP: DT: |  |  |  |
|  |  |  |  |  |  | Deputy Inspector General of Police Mirpurkhas Range |  |  |  |  |  |  |
| I / We hereby tender for the execution for the Government of Sindh here in before and herein after referred to as "GOVERNMENT" of the work specified in the Under written memorandum within the time specified in such memorandum at the rate of ______________________________________________________________ percent below / above the estimate rate entered in Schedule "B" of memorandum showing items of work to be carried out in accordance in all respect with the specification, design, drawing and instructions in writing. |  |  |  |  |  |  |  |  |  |  |  |  |
| MEMORANDUM. |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | General Description : |  |  |  |  | Estimate For M&R to Repair / Renovation of DIGP Office / allied branches |  |  |  |  |  |  |
| 2 | Estimate Cost : |  |  |  |  | 1,500,000 |  |  |  |  | /- |  |
| 3 | Earnest Money : |  |  |  |  | 30,000 |  |  |  |  | /- |  |
| 4 | Security Deposit i/c Earnest Money @ 6% : |  |  |  |  | 90,000 |  |  |  |  | /- |  |
| 5 | Percent if any to be Deducted from Bills at 4% : |  |  |  |  | 60,000 |  |  |  |  | /- |  |
| 6 | Time allowed for the work then date of written order to be commence. |  |  |  |  | 0 -Months. |  |  |  |  |  |  |
|  |  |  |  | Deputy Inspector General of Police Mirpurkhas Range |  |  |  |  |  |  |  |  |
| CONTRACTOR UNDER TAKING. |  |  |  |  |  |  |  |  |  |  |  |  |
| In case my / our tender is accepted I / We agree to fill up and sing the regular B-I Tender Form within a week I / We hereby under take to abide by all terms and conditions incorporated in the printed B-I Tender Form as well as the additional clauses appended and the special conditions as mentioned in the Schedule "A" or work order. Under take to Executive the above noted work and regulation in force. |  |  |  |  |  |  |  |  |  |  |  |  |
| CD No: Dated: Amount: Branch: |  |  |  |  |  |  |  |  |  |  |  |  |
| SCHEDULE "B" ATTACHED. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | CONTRACTOR |  |  |  |  |  |  |  |  |

| Estimate For M&R to Repair / Renovation of DIGP Office/allied Branches . |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Abstract Sheet. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr. No: | Items of Work. |  | Qty: |  |  | Rate. |  |  | Unit. |  | Amount. |  |  |
|  | Part (A) Buildings Schedule Items. |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lying floor of approved white glazed tiles ¼” thick in white cement 1.2 over ¾” Thick cement mortar 1.2 complete (S.I.No.24, P43) |  | 1,780 |  | Sft | 27678.86 |  |  |  | %Sft |  | 942,684 |  |
| 2 | Supplying fixing false ceiling of plaster of paints in panels I/C making frame wok of Deodar wood I/C painting with Soligia paint (S.I. No.52, P-64) |  | 1,721 |  | Sft | 25293.42 |  |  |  | %Sft |  | 435.300 |  |
| 3 | Preparing the surface and painting with finish i/c rubbing the surface with bathy (silicon carbide brick) filling the voids with Zink/chalk / plaster of Paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (new surface) 2nd & subsequent coat (S.I No.36 (b), p-55) |  | 8,320 |  | Sft | 2717.00 |  |  |  | %Sft |  | 226.054 |  |
| 4 | Painting old surface (c) painting doors and windows any type 02-coats (S.I No.36 (b) (c-ii) P-68) |  | 2,560 |  | Sft | 1160.06 |  |  |  | %Sft |  | 29.698 |  |
| 5 | Providing and laying topping cement concrete 1:2:4 including surface finishing and diving panels (b) 1-1/2” thick topping (S.I. No.16 (b) P-42) |  | 6,830 |  | Sft | 2548.29 |  |  |  | %Sft |  | 174.048 |  |
| 6 | Two coats of bitumen laid hot using 34-Lbs for % Sft: over roof and blinded with sand at one Cft: per % Sft: (S.I. No.13 P-35) |  | 5,630 |  | Sft | 1887.40 |  |  |  | %Sft |  | 106.261 |  |
|  |  |  | G. TOTAL:- |  |  |  |  |  |  |  |  | 1,464,045 |  |
|  |  |  | SAY: |  |  |  |  |  |  |  |  | 1,465,000 |  |
|  |  |  |  |  |  | Deputy Inspector General of Police Mirpurkhas Range |  |  |  |  |  |  |  |
| Contractor |  |  |  |  |  |  |  |  |  |  |  |  |  |