| BIDDING DATA (This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents). (a). Name of Procuring Agency: EXECUTIVE ENGINEER (b). Brief Description of Works Open Draniage System @ Village Muhammad YasiN Ghori. (c).Procuring Agency’s address:- PUBLIC HEALTH ENGG; DIVISION MIRPURKHAS (d). Estimated Cost:-1.000 MILLIONS. (e). Amount of Bid Security:- 0.050 MILLION (Fill in lump sum amount or in % age of bid amount /estimated cost, but not exceeding 5%) (f).Period of Bid Validity (days):- 60 days (Not more than sixty days). (g).Security Deposit:-(including bid security):- 10% of Bid Value (in % age of bid amount /estimated cost equal to 10%) (h). Percentage, if any, to be deducted from bills :- 08% (i). Deadline for Submission of Bids along with time :- Time: upto 01:00 pm on 31-05-2016 (j). Venue, Time, and Date of Bid Opening:- 31-05-2016 Venue: O/O the Executive Engineer, Public Health Engg: Division Mirpurkhas. Time upto 02:00 pm Date 31-05-2016 (k). Time for Completion from written order of commence: - 03 MONTHS. (L).Liquidity damages:- ____________________(0.05 of Estimated Cost or Bid cost per day of delay, but total not exceeding 10%). (m). Deposit Receipt No:_________________ Date:_____________ Amount:_______________ (Rupees ________________________________________________________________) Executive Engineer, Public Health Engg: Division Mirpurkhas OFFICE OF THE EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS OFFICE OF THE EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |  |
| --- | --- |

TENDER FOR THE WORK

Issue to M/s _______________________Tender fee for Rs.___________________ Received

Vide  D.R No .__________Dated: ______________ Dated of opening of Tender __________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MIRPURKHAS.

I/We hereby tender the execution for the  Open Draniage System @ Village

Muhammad YasiN Ghori. under written memorandum within the specified time in such

memorandum at.  …………Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B”

Memorandum showing items of work to be carried out and in all respect with the specification designed

and instructions writing referred to in Rule thereof.

a).	General Description				As above..

b).	Estimated Cost:				Rs: 1.000     Millions

c).	Earnest Money 5% Call Deposit:		Rs:  0.050    Million

g).	Time of Completion				03               Month

Should be this tender be accepted I/We hereby agree to abide be the fullfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Mirpurkhas. deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division … Mirpurkhas. on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tenderer or is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Mirpurkhas. will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS. |
| --- | --- |

Bill of Quantity

Open Draniage System @ Village Muhammad YasiN Ghori

| S.# | DESCRIPTION | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

- Dismantling & removing road metaling (GSI No. 51 P-14).

2400.00 Cft		@Rs: 605/-		P % Cft			Rs: 14520/-

- Excavation for pipe line in trench and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain or as directed by Engineer Incharge providing fence guards lights flags and temporary crossing for non vehicular traffic wherever requirement lift upto 5’ ft (1.542 m) (PHSI NO.1 P-96).

- Cft 		@ Rs: 3600/-		P % 0 CFT			Rs: 9230/-

- Excavation for pipe lines in trenches, and pits in wet soil clay or mud i/c trimming and dressing sides to true alignment and shape levelling of beds of trenches to correct level and grade, cutting joints holes and disposal of surplus earth within a one chain as directed by Engineering Incharge, providing fence guards, lights, flags and temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto  one chain (30.50 m).

2525.00 Cft		@Rs:5400/-			P%oCft		Rs:13635/-

4.	Excavation for tank and reservoirs in Slushy / Daldaly soil / clay 	or mud i/c trimming and dressing site to true alignment / design section / profile and shape leveling  of bed of tank to correct level and grade.  including laying of earth in 6” inch layers for construction of banks and dressing and disposal of surplus: Excavated earth within one chain as directed Engineer In charge. Including providing fence guards lights flags where ever required left up to 5 feet (1.52 m) and lead upto one chain (30.5 m) (PHSI No.14 P-52).

1262.0 Cft		@Rs: 10800/-		P%0Cft			Rs: 13630/-

5.	Providing, Laying, Jointing RCC Pipes of ASTM i/c earth work and dewatering in wet and slushy soil i/c sand/Bajri bedding 1” thick with proper compaction etc complete (PHSI No.B1  P-14 ).

400.00 Rft		@Rs. 412/- 			P. Rft			Rs. 164800/-

6.	Bailing or pumping out-soil water dressing excavation concreting cost insite trench or masonry work in pendle i/c (PHSI No.18 P-75).

1262.00 Rft		@Rs. 543/- 			P.% Rft			Rs. 6853/-

7. 	Providing & fixing driving open timbering to trenches for depth upto 10 ft.

800.00 Sft		@Rs. 8340/- 			P% Sft			Rs. 66720/-

| S.# | DESCRIPTION | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

8.	Refilling excavated stuff in trench 6” thick layers i/c watering ramming to full compaction etc complete (PHSI No. 24 P-77).

5716.00 cft 		@ Rs: 2760/-		P %0 Cft			Rs: 15776/-

9. 	Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing stone aggregate  without shuttering (GSI No.50(I) P-17).1:4:8

99.00 Cft		@Rs: 11288/75			P%Cft		Rs: 11176/-

10. 	RCC work i/c all labor and material except the cost of steel reinforcement and its labor for bending and binding which 	will be paid separately. This rate also includes all kinds of 	forms moulds lifting shuttering curing rendering and finishing the exposed surface i/c the exposed including screening and washing of shingle (a) RCC work in roof slabs beams columns rafts lintels and other structural members laid in situ or laid in 	position complete in all respect ratio (1:2:4) 90 Lbs cement 2 Cft sand 4 Cft shingle 1/8” to ¼” gauge (GSI No.6 P-18).

715.00 Cft		@Rs: 337/-			PCft			Rs: 240955/-

11.	Fabrication of mild steel reinforcements for cement concrete including Cutting bending laying in position making joint and fastenings including cost of binding wire also include removal of rust from bars (GSI No.7 P17).

28.727 Cwt		@Rs: 5001/70		P.Cwt				Rs: 143684/-

12. 	C.I main Hole Cover & Surface Boxes with frame Heavy type for all sizes.

498.00 Kgs		@Rs: 85/kg		P.Kg				Rs: 42330/-

13.	Providing & Fixing R.C.C Man Hole Cover.

- Nos 		@Rs: 1881/18		P.Cwt				Rs: 11287/-

14.	Carriage of earth 3 mile

2400.00 Cft		@Rs: 579/41-			P%Cft			Rs: 13906/-

--------------										TOTAL:-		RS:768502/-

.

CONDITIONS:

- The rate should inclusive of all the taxes ie Sales Tax, Octroi, royalties etc, if any.

- No separate carriage will be allowed to the firms/contractors.

- No premium will be allowed on non schedule items.

- Steel shuttering will be used in RCC works.

- For RCC & Plain cement concrete the mixture machine will be used.

- The testing of the work will be arranged by the contractor at his own cost, no separate payment will be made.

- Any error or omission in the specification item will be governed by the relevant specification and schedule items.

- The decision of the undersigned shall be final and binding on all the parties in any dispute

| CONTRACTOR: | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS |
| --- | --- |