| BIDDING DATA (This section should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents). (a). Name of Procuring Agency: EXECUTIVE ENGINEER (b). Brief Description of Works Extension of rising main for drainage shame muzaffarabad O/M. (c).Procuring Agency’s address:- PUBLIC HEALTH ENGG; DIVISION MIRPURKHAS (d). Estimated Cost:-0.500 MILLIONS. (e). Amount of Bid Security:- 0.250 MILLION (Fill in lump sum amount or in % age of bid amount /estimated cost, but not exceeding 5%) (f).Period of Bid Validity (days):- 60 days (Not more than sixty days). (g).Security Deposit:-(including bid security):- 10% of Bid Value (in % age of bid amount /estimated cost equal to 10%) (h). Percentage, if any, to be deducted from bills :- 08% (i). Deadline for Submission of Bids along with time :- Time: upto 01:00 pm on 30-05-2016 (j). Venue, Time, and Date of Bid Opening:- 30-05-2016 Venue: O/O the Executive Engineer, Public Health Engg: Division Mirpurkhas. Time upto 02:00 pm Date 30-05-2016 (k). Time for Completion from written order of commence: - 03 MONTHS. (L).Liquidity damages:- ____________________(0.05 of Estimated Cost or Bid cost per day of delay, but total not exceeding 10%). (m). Deposit Receipt No:_________________ Date:_____________ Amount:_______________ (Rupees ________________________________________________________________) Executive Engineer, Public Health Engg: Division Mirpurkhas OFFICE OF THE EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS OFFICE OF THE EXECUTIVE ENGINEER PUBLIC HEALTH ENGINEERING DIVISION THATTA |  |
| --- | --- |

TENDER FOR THE WORK

Issue to M/s _______________________Tender fee for Rs.___________________ Received

Vide  D.R No .__________Dated: ______________ Dated of opening of Tender __________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

MIRPURKHAS.

I/We hereby tender the execution for the  Extension of rising main for

drainage shame muzaffarabad O/M under written memorandum within the specified time in such memorandum at.  …………Percent

ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to

be carried out and in all respect with the specification designed and instructions writing referred to in

Rule thereof.

a).	General Description				As above..

b).	Estimated Cost:				Rs: 0.500     Millions

c).	Earnest Money 2% Call Deposit:		Rs:  0.025    Million

g).	Time of Completion				03               Month

Should be this tender be accepted I/We hereby agree to abide be the fullfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Mirpurkhas. deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division … Mirpurkhas. on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tenderer or is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Mirpurkhas. will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION MIRPURKHAS. |
| --- | --- |

Bill of Quantity

| S.# | DESCRIPTION | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

Extension of rising main for drainage shame muzaffarabad O/M

- Dismantling & removing road metaling (GSI No. 51 P-14).

575.00 Cft		@Rs: 605/-		P % Cft			Rs: 3479/-

- Providing PVC Pipes of Class ‘B’ (equivalent make) fixing in trench i/c cutting fitting and jointing  with ‘Z’ joint with one rubber ring i/c testing with water to head of 61 meter or 200 ft.

900 Sft         		@Rs: 402/-		P.Rft	 	 	     Rs: 361800/-

- Excavation for pipe line in trench and pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of surplus earth within one chain or as directed by Engineer Incharge providing fence guards lights flags and temporary crossing for non vehicular traffic wherever requirement lift upto 5’ ft (1.542 m) (PHSI NO.1 P-96).

8437.00 Cft 		@ Rs: 3600/-		P % 0 CFT			Rs: 30373/-

- C.I Special for PVC Pressure Pipe.

Bend 900

8” Dia

1.0 No        		@Rs: 3312/50	        		Each			Rs: 3312/-

- Making Jointing to PVC Special fitting (include laying of specials and cost of solvent cement) of required Diameter and testing the joint along with PVC Pipe Line B,C,&D Class to be specified pressured and making good to all leaky joint etc complete.(GHSI No.N-1 P-41).

8” dia

1.0 Joint			@Rs: 110/-		P.J			Rs: 110/=

- Refilling the Excavated stuff in trenches 6” thick layers i/c Watering ramming to full compaction etc complete (P.H.S.I No 24 P-53).

7594.00 Cft            	@Rs: 2760/=            		P% o Cft               	Rs: 20959/=

-------------------

TOTAL: -		RS: 420033/-

ASSISTANT ENGINEER

PUBLIC HEALTH ENGG: SUB-DIV-

MIRPURKHAS