**KARACHI WATER & SEWERAGE BOARD**

**OFFICE OF THE EXECUTIVE ENGINEER NORTH NAZIMABAD TOWN (SEW)**

Estimate amount : Item Rate basis

Time limit : 20 days

Penalty for delay : 1000/- P/day

Tender Cost : 1000/-

Date of Opening : \_\_\_\_\_\_\_\_\_\_\_\_

Name of Work:- **PROVIDING AND FIXING RCC RING SLAB FOR NORTH NAZIMABAD SEWERAGE KW&SB.**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S. No** | **Description of Work** | **QTY** | **Rate** | | **Per Unit / Item** | **Amount in Rupees** |
| **Rupees in Figures** | **Rupees in Words** |
| 1 | Manufacturing and Supplying of RCC Ring Slab of 21” dia inside 36” dia outside 7.5” width and 6” thick including 3/8” dia tor steel bars two concentric rings with 3/8” 8 Nos. cross linked bars welded and two sunk type hooks coasted in 1:1-1/2:3 concrete with embedded 15 kg C.I. frame in perfect position i/c transportation charges for an average lead or 20 km per an average lead of 20 km per trip from casting yards to Town Office (A minimum of 25 Slab per trip will be transported). | 344 Nos. |  |  | Each |  |
| 2. | Shifting to the site and fixing of 36” dia ring slab in perfect position on damaged manholes i/c cutting of damage portion of manhole in proper shape and laying of cement morter of 2” thickness and dis posal of debris. | 344 Nos. |  |  | Each |  |

Total Amount Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_/=

. Executive Engineer (Sew)

North Nazimabad Town, KW&SB

NOTE:- Contractor will abide all existing rules / terms & condition of SPPRA Rules-2010

I/We hereby Quoted an Amount of Rs..\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ On item rate basis.

In wards(\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_)

Signature of Contractor \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Cell No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**BIDDING DATA**

|  |  |  |  |
| --- | --- | --- | --- |
| (a) | Name of Procuring Agency | KW&SB | |
| (b) | Brief Description of Work | **PROVIDING AND FIXING RCC RING SLAB FOR NORTH NAZIMABAD SEWERAGE KW&SB.** |
| ( c) | Procuring Agency Address | North Nazimabad. | |
| (d) | Estimate Cost | On item rate basis | |
| (e) | Amount of Bid Security | 2% Earnest Money | |
| (f) | Period of Bid Validity | 90 Days | |
| (g) | Security Deposit  (including Bid Security) | 10% | |
| (h) | Venue, Time and Date of Bid Opening | The Tender in sealed cover super scribed with the name of the work should be dropped in the Tender Box kept in office of the Director Design C.O.D Filter Plant near Masjid Baitul Mukaram Gulshan-e-Iqbal, Karachi on \_\_\_\_\_\_\_-2016 at 2.30 PM by Procurement Committee | |
| (i) | Deadline for submission of Bid along with time. | \_\_\_\_\_\_\_\_-2016 \_at 2.00 PM | |
| (j) | Time for completion from written order commence | 20 Days | |
| (k) | Liquidity damage | Rs.1000/- per day of delay | |
| (l) | Bid issued to Firm | M/s. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | |
| (m) | Deposit Receipt No. & Date | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | |

Amount: Rs. 1000/=

Authority Issuing Bidding Document

Executive Engineer (Sew)

North Nazimabad Town, KW&SB

**TENDER**

**DOCUMENTS**

**PROVIDING AND FIXING RCC RING SLAB FOR NORTH NAZIMABAD SEWERAGE KW&SB.**

**KARACHI WATER & SEWERAGE BOARD**

|  |
| --- |
| **DocumentsPictures_KWSBOFFICE OF THE EXECUTIVE ENGINEER (SEW) NORTH NAZIMABAD**  **KARACHI WATER & SEWERAGE BOARD** |

***No. KW&SB/EE/N.N.T/SEW/2016/ Dated: / /2016***

**NOTICE INVITING TENDER THROUGH WEBSITE**

**(ON ITEM RATE BASIS)**

*Sealed Tender is invited singe stage one Envelop System as per SPPRA Rule-2010 for the mentioned below:*

**ESTIMATE COST BELOW 1.00. Million**

|  |  |  |
| --- | --- | --- |
| **S.No** | **DETAIL** | **CONDITIONS** |
| 01. | Name of work | 1. **PROVIDING AND FIXING RCC RING SLAB FOR NORTH NAZIMABAD SEWERAGE KW&SB.** 2. **CLEANING INSIDE SEWERAGE LINES COMPLETELY RESTORING ORIGINAL SILT PREE 15” DIA OF PIPE LINE BY THE LABOUR AND EQUIPMENT FROM MUNAWAR HOSPITAL TO TAMOURIA MASJID BLOCK-H NORTH NAZIMABAD.** 3. **MANUFACTURING AND SUPPLYING RCC M/HOLE COVER 21” DIA, 24” DIA & 30” DIA FOR NORTH NAZIMABAD.** |
| 02. | Eligibility of Firm | 1. 3 Year Experience Certificate of Similar job must be attached with the Tender. 2. Tender cost **Rs.1000/-** (Non Refundable) in shape of pay order in favor of KW&SB. 3. Sindh Revenue Board Certificate. 4. Minimum Turnover of at least Three Years |
| 03. | Tender can be Purchasing | Accounts Officer (Revenue) KW&SB Head Office at 1st Floor Old KBCA Annexy Building Behind Civic Centre Gulshan-e-Iqbal, Karachi from 09:00 A.M to 01:00 P.M. |
| 04. | Bid Security | 2% of quoted amount in shape of pay order/ bank draft in favor of Karachi Water & Sewerage Board. |
| 05. | Last date of issuing | W.e.f 1st Hosting Date to **\_\_\_\_\_\_\_\_\_\_\_\_** from 9.00 am to 1.00 pm. |
| 06. | Date and time of submission and opening of Tender | Submission at 2.00 PM on **\_\_\_\_\_\_\_\_\_\_\_\_** & will be opened at 2.30 PM on the same day |
| 07. | Place of opening | The Procurement Committee-I KW&SB at the office of the Director Design / Convener C.O.D Filter Plant near Masjid Baitul Mukaram Gulshan-e-Iqbal, Karachi. |
| 08. | Source of Funding | Own Funds of KW&SB for Current F.Y 2015-16 |
| 09. | Scope of Work | Improvement of Sewerage System |
| 10. | Estimate Cost. | 1. **Rs.8,49,573/-** 2. **Rs.7,21,191/-** 3. **Rs.9,50,011/-** |

**EXECUTIVE ENGINEER (SEW) NORTH NAZIMABAD TOWN KW&SB**

***CONDITIONS*:**

1. *Tender would be downloaded from SPPRA website.*
2. *The participants must quote the rates both in words and figures Incomplete / conditional tenders will not be accepted.*
3. *In case the date of opening is declared as a public holiday by the Government, or non-working day due to any reason, the next official working day shall be deemed to be the date for submission and opening of tenders at the same time.*
4. *The procuring agency may reject all or any bids subject to the relevant provisions of SPPRA-2010 Rules.*
5. *Conditional bid cannot be accepted.*
6. *Debarred contractors bid cannot be accepted.*
7. *Bid must be in sealed cover and experience certificate for 1 year of similar nature of job must be attached with the bid.*
8. *Bid security of relevant amount*
9. *3 years’ experience certificate of similar nature of job, turnover last 3years.*
10. *Sind Board Revenue Certificate.*
11. *Turnover of at least Three Years*

**KARACHI WATER & SEWERAGE BOARD**