**Govt. Boys Primary School, Mehar Shah Qubo**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No.** | **Description** | **Estimated Quantity** | **Total No. of Electrical Items to be delivered School as per schedule** | **Destination** |
| 01 | **CEILING FAN**  80 Watts 220 Volts AC Size 56” standard quality. | 20 |  | The supplier will be required to deliver the items at GBPS, MEHAR SHAH QUBO i.e consignee end in safe and sound condition. |
| 02 | **CEILING FAN**  80 Watts 220 Volts AC Size 48” standard quality. | 05 |  |
| 03 | **EXHAUST FAN**  Size 16” standard quality. | 40 |  |
| 04 | **EXHAUST FAN**  Size 18” standard quality | 20 |  |
| 05 | **EXHAUST FAN**  Size 24” standard quality | 20 |  |
| 06 | **Tube Light**  40 Watts complete with Chowk and Tuble | 40 |  |
| 07 | **Tube Light**  40 Watts Tuble. | 40 |  |
| 08 | **Tube Light**  40 Watts Chowk without starter. | 00 |  |
| 09 | **Energy Saver Superior Quality**  25 Watts including fixing on existing holder etc complete. | 10 |  |
| 10 | **Energy Saver Superior Quality**  45 Watts including fixing on existing holder etc complete. | 10 |  |
| 11 | **Solar Plate**  150 Watts 2 X 4 feet | 20 |  |  |
| 12 | **Solar Plate Engle Iron Stand**  2 x 4 feet & 1 ½ “ Englar Iron Frame | 20 |  |  |
| 13 | **Dry Battery**  180 Amper Superior Quality | 20 |  |  |
| 14 | **Dry Battery**  200 Amper Superior Quality | 10 |  |  |
| 15 | **CEILING FAN**  12 Volts DC Size 56” standard quality. | 20 |  |  |
| 16 | **Energy Saver Superior Quality**  12 Volts DC. | 40 |  |  |
| 17 | **Light**  12 Volts DC | 40 |  |  |

**Section V. Technical Specifications**



**Technical Specifications**

|  |
| --- |
| **OFFICE OF THE HEAD MASTER, GOVT. BOYS PRIMARY SCHOOL, MEHAR SHAH QUBO TALUKA SHIKARPUR DISTIRCT SHIKARPUR** |
|  |
|  |

**List for Purchase of *Other (Electrical Appliances)* Items**

**Under One Time Grant for the Year 2015-16**

|  |  |  |  |
| --- | --- | --- | --- |
| **S.No** | **DESCRIPTION** | **SPECIFICATION OFFERED** | **ACCOUNTING UNIT** |
| **SCHOOL *Other (Electrical Appliances)*** | |  |  |
| 01 | **CEILING FAN**  80 Watts 220 Volts AC Size 56” standard quality. | 20 |  |
| 02 | **CEILING FAN**  80 Watts 220 Volts AC Size 48” standard quality. | 05 |  |
| 03 | **EXHAUST FAN**  Size 16” standard quality. | 40 |  |
| 04 | **EXHAUST FAN**  Size 18” standard quality | 20 |  |
| 05 | **EXHAUST FAN**  Size 24” standard quality | 20 |  |
| 06 | **Tube Light**  40 Watts complete with Chowk and Tuble | 40 |  |
| 07 | **Tube Light**  40 Watts Tuble. | 40 |  |
| 08 | **Tube Light**  40 Watts Chowk without starter. | 00 |  |
| 09 | **Energy Saver Superior Quality**  25 Watts including fixing on existing holder etc complete. | 10 |  |
| 10 | **Energy Saver Superior Quality**  45 Watts including fixing on existing holder etc complete. | 10 |  |
| 11 | **Solar Plate**  150 Watts 2 X 4 feet | 20 |  |
| 12 | **Solar Plate Engle Iron Stand**  2 x 4 feet & 1 ½ “ Englar Iron Frame | 20 |  |
| 13 | **Dry Battery**  180 Amper Superior Quality | 20 |  |
| 14 | **Dry Battery**  200 Amper Superior Quality | 10 |  |
| 15 | **CEILING FAN**  12 Volts DC Size 56” standard quality. | 20 |  |
| 16 | **Energy Saver Superior Quality**  12 Volts DC. | 40 |  |
| 17 | **Light**  12 Volts DC | 40 |  |

**Price Schedule in Pak. Rupees**

Name of Bidder . IFB Number . Page of \_\_\_ \_

DISTRICT SHIKARPUR.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| **Item** | **Description** | **Country of origin** | **Estimated Quantity** | **Unit price DDP**  **named place** | **Unit Price in Words** | **Total DDP**  **per item** | **Unit price of Delivered duty paid (DDP) to final destination plus price of other incidental services if required** |
| ***OTHERS (ELECTRICAL APPLIANCES)*** | |  |  |  |  |  |  |
| 01 | **CEILING FAN**  80 Watts 220 Volts AC Size 56” standard quality  . |  | 20 |  |  |  |  |
| 02 | **CEILING FAN**  80 Watts 220 Volts AC Size 48” standard quality. |  | 05 |  |  |  |  |
| 03 | **EXHAUST FAN**  Size 16” standard quality. |  | 40 |  |  |  |  |
| 04 | **EXHAUST FAN**  Size 18” standard quality |  | 20 |  |  |  |  |
| 05 | **EXHAUST FAN**  Size 24” standard quality |  | 20 |  |  |  |  |
| 06 | **Tube Light**  40 Watts complete with Chowk and Tuble |  | 40 |  |  |  |  |
| 07 | **Tube Light**  40 Watts Tuble. |  | 40 |  |  |  |  |
| 08 | **Tube Light**  40 Watts Chowk without starter. |  | 00 |  |  |  |  |
| 09 | **Energy Saver Superior Quality**  25 Watts including fixing on existing holder etc complete. |  | 10 |  |  |  |  |
| 10 | **Energy Saver Superior Quality**  45 Watts including fixing on existing holder etc complete. |  | 10 |  |  |  |  |
| 11 | **Solar Plate**  150 Watts 2 X 4 feet |  | 20 |  |  |  |  |
| 12 | **Solar Plate Engle Iron Stand**  2 x 4 feet & 1 ½ “ Englar Iron Frame |  | 20 |  |  |  |  |
| 13 | **Dry Battery**  180 Amper Superior Quality |  | 20 |  |  |  |  |
| 14 | **Dry Battery**  200 Amper Superior Quality |  | 10 |  |  |  |  |
| 15 | **CEILING FAN**  12 Volts DC Size 56” standard quality. |  | 20 |  |  |  |  |
| 16 | **Energy Saver Superior Quality**  12 Volts DC. |  | 40 |  |  |  |  |
| 17 | **Light**  12 Volts DC |  | 40 |  |  |  |  |

Signature of Bidder

*Note:* In case of discrepancy between unit price and total, the unit price shall prevail.



**FINANCIAL PROPOSAL**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| |  | | --- | |  | |  |  |  |  |
|  | | | | |
| **OFFICE OF THE HEAD MASTER, GOVT. BOYS PRIMARY SCHOOL, MEHAR SHAH QUBO** | | | | |
|  | | | | |
| **List for Purchase of *Others (Electrical Appliances)* Items** | | | | |
| **Under One Time Grant 2015-16** | | | | |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr.#** | **Description** | **Estimated Quantity** | **Unit price** | **Total Price** |
| **DISTRICT SHIKARPUR** | | | | |
| 01 | **CEILING FAN**  80 Watts 220 Volts AC Size 56” standard quality. | 20 |  |  |
| 02 | **CEILING FAN**  80 Watts 220 Volts AC Size 48” standard quality. | 05 |  |  |
| 03 | **EXHAUST FAN**  Size 16” standard quality. | 40 |  |  |
| 04 | **EXHAUST FAN**  Size 18” standard quality | 20 |  |  |
| 05 | **EXHAUST FAN**  Size 24” standard quality | 20 |  |  |
| 06 | **Tube Light**  40 Watts complete with Chowk and Tuble | 40 |  |  |
| 07 | **Tube Light**  40 Watts Tuble. | 40 |  |  |
| 08 | **Tube Light**  40 Watts Chowk without starter. | 00 |  |  |
| 09 | **Energy Saver Superior Quality**  25 Watts including fixing on existing holder etc complete. | 10 |  |  |
| 10 | **Energy Saver Superior Quality**  45 Watts including fixing on existing holder etc complete. | 10 |  |  |
| 11 | **Solar Plate**  150 Watts 2 X 4 feet | 20 |  |  |
| 12 | **Solar Plate Engle Iron Stand**  2 x 4 feet & 1 ½ “ Englar Iron Frame | 20 |  |  |
| 13 | **Dry Battery**  180 Amper Superior Quality | 10 |  |  |
| 14 | **Dry Battery**  200 Amper Superior Quality | 10 |  |  |
| 15 | **CEILING FAN**  12 Volts DC Size 56” standard quality. | 40 |  |  |
| 16 | **Energy Saver Superior Quality**  12 Volts DC. | 40 |  |  |
| 17 | **Light**  12 Volts DC | 40 |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| |  | | --- | |  | |  |  |  |  |
|  | | | | |

NAME OF SUPPLIER

ADDRESS

DATE

|  |  |  |
| --- | --- | --- |
|  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| |  | | --- | |  | |  |  |  |  |
|  | | | | |