## Sheet1
NAME OF WORK : - REPAIR / RECONSTRUCTION / RENOVATION OF ELEMENTARY / PRIMARY & SECONDARY
SINGER CHOWRANGI LANDHI KATRACHI ( ELECTRIFICATION WORK ) | LOCAL BODIES SCHOOLS IN KARACHI GBPS 14 B/L , ORANGI TOWN, KARACHI
ELECTRIFICATION WORK )
SCHEDULE OF PRICE
S.NO. | ITEM OF WORK. | QTY |  | RATE | UNIT | AMOUNT
1 | Wiring for light or fan point with 3/.029 PVC insulated
wire in 20 mm (3/4")PVC conduit recessed in the
| wall column as required.(S.I.NO: P-15/124). | 70 | Point | 1130 | P.P | 79100
2 | Wiring for plug point with 1/1.13(3/.029)PVC inslated
wire in 20 mm (3/4")PVC conduit recessed in the wall
| or column as required. ( S.I.No: P-15/126 ). | 11 | Nos | 985 | Each | 10835
3 | Wiring for call bell point with 3/.029 PVC insulated
wire in 20 mm (3/4")PVC conduit recessed in the
| wall column as required.(S.I.NO: P-15/124). | 2 | Nos | 1764 | Each | 3528
4 | Providing & Laying ( Main or Sub-Main) PVC insulated
with size 2-7/.029 copper conductor in 3/4" dia PVC
| conduit recessed in the wall or column as required. | 360 | Mtr. | 222 | P.Mtr. | 79920
5 | Providing & Laying ( Main or Sub-Main) PVC insulated
with size 2-7/.036 copper conductor in 3/4" dia PVC
| conduit recessed in the wall or column as required. | 40 | Mtr. | 252 | P.Mtr. | 10080
6 | Providing & Laying ( Main or Sub-Main) PVC insulated
with size 2-7/.044 copper conductor in 3/4" dia PVC
| conduit recessed in the wall or column as required. | 70 | Mtr. | 341 | P.Mtr. | 23870
7 | Providing & Laying ( Main or Sub-Main) PVC insulated
with size 4-7/.044( 6mm2) copper conductor in 1-1/2"
dia PVC conduit recessed in the wall or column as
| required ( S.No:P-6/40 ) | 60 | Mtr. | 613 | P.Mtr. | 36780
8 | P/F circiut breaker 6,10,15,20,30,40,50 & 63 amps
| SP (TB-5S) on prepared board as required. | 20 | Nos | 916 | Each | 18320
9 | P/F circiut breaker 3,5,10,15,20 & 30 amps TP (XS-30Ns
| (NB) on prepared board as required.(S.NO:P-31/205) | 2 | Nos. | 5301 | Each | 10602
10 | P/F circiut breaker 15,2,30,40,50 & 60 amps TP (XS-100
| CS (CB) on prepared board as required.(S.NO:P-31/206) | 2 | Nos | 5521 | Each | 11042
12 | P/F Bakelite ceiling rose with two terminals. | 70 | Nos. | 72 | Each | 5040
|  |  |  | Total Rs: |  | 289117
AT PAR
G.Total
S.NO. | ITEM OF WORK. | QTY |  | RATE | UNIT | AMOUNT
NON-SCHEDULE ITEM. ( PART-B )
1 | P/F flush type fancy type switch 10 Amps i/c:plastic
| board imprted made etc complete. | 70 | Nos |  | Each
2 | P/F flush type 2 pin plug socket 10 Amps with fancy
| type board and sheet i/c:necessary connection. | 11 | Nos |  | Each
3 | P/F flush type 3 pin plug socket 5 Amps with fancy
| type board and sheet i/c:necessary connection. | 2 | Nos |  | Each
4 | P/F flush type 3 pin plug socket 15 Amps with fancy
| type board and sheet i/c:necessary connection. | 2 | Nos |  | Each
5 | P/F ceiling FAN 56" Sweep improrted make with
| necessary electric connection etc complete. | 13 | Nos |  | Each
6 | P/F fan dimmer fancy type imported . | 13 | Nos |  | Each
7 | P/F Wall light imported make with metal base &
| double holder i/c necessary connection etc . | 6 | Nos |  | Each
8 | P/F Energy Saver superior quality i/c:fixing on existing
| holder etc complete as a approved y Engineer/Incharge. | 6 | Nos |  | Each
9 | P/F distribution board 18" SWG double shuter for
accommodate circiut breaker and busbar i/c painting
| with enemelled paint as approved by Engineer/ Incharge | 4 | Sft |  | P.Sft
10 | P/F Pannel board with heavy duty guage metal sheet D.S
| to accommodate circiut breaker bus bars etc. | 2 | Sft |  | P.Sft
11 | P/F L.E.D light 8" square / circle shop ( 09 ) watts
| in plastic cover fany type ( china make). | 37 | Nos |  | Each
12 | P/F L.E.D Tube light 18 watts ( Light emitting Diod)
classification with L.E.D driver complete plastic
| covered and base etc complete. | 10 | Nos |  | Each
Total Part-B Rs:
Total Part-A Rs:
G.Total Rs:
| ( CONTRACTOR SIGNATURE ) |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I,
KARACHI