## SCHEDULE B First Floor
NAME OF WORK |  | OFFICE BUILDING FOR BUREAU OF SUPPLY & PRICE, BLOCK-A AT UNIVERSITY ROAD KARACHI. (ELECTRIFICATION WORK)
SCHEDULE "B"
S:# | Description of Item |  |  | Qty. |  | Rate | Unit | AMOUNT
SCHEDULE ITEM:
1 | Wiring for light of fan point with 3/0.29 pvc insulated wire in 20 mm 3/4 pvc conduct recessed in the wall or column as required (S.I.No: P-15/124) |  |  | 80 | Point | 1130 | P.P | 90400
2 | Wiring for plug point with 1/1.13(3/0.29) pvc insulated wire in 20mm 3/4 PVC conduct recessed in the wall or col. As required (S.I.No: P-15/126). |  |  | 20 | Nos. | 985 | Each | 19700
3 | Wiring for call bell with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduct recessed in the wall or col. As required (S.I.No: P-15/124) |  |  | 1 | Nos | 1764 | Each | 1764
4 | P/F one way SP 5amp switch flush tupe (S.No-219-P/33) |  |  | 80 | Nos. | 54 | P.Mtr. | 4320
5 | P/F Two Pin SP 5amp switch flush type (S.No-222-P/33) |  |  | 20 | Nos. | 80 | P.Mtr. | 1600
6 | P/F Three Pin SP 5amp switch flush type (S.No-223-P/33) |  |  | 15 | Nos. | 91 | P.Mtr. | 1365
7 | P/F Three Pin 10/15 5amp switch flush type (S.No-223-P/33) |  |  | 60 | Nos. | 151 | P.Mtr. | 9060
8 | Providing & Laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required. |  |  | 700 | Mtr. | 222 | P.Mtr. | 155400
9 | Providing & Laying (Main or Sub Main) PVC insulated with size 2-7/.044 copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required. |  |  | 250 | Mtr. | 341 | P.Mtr. | 85250
10 | Providing & Laying (Main or Sub Main) PVC insulated with size 4-7/.064 (16mm2) copper conductor in 1-1/2" dia PVC conduit recessed in the wall or coloumn as required.(S.No:P-6/42) |  |  | 82 | Mtr. | 1213 | P.Mtr. | 99466
11 | P/F circuit breakers 6,10,15,20,30,40,50 & 63 amps SP (TB-5S) on a prepared board as required. |  |  | 3 | Nos. | 916 | Each | 2748
12 | P/F circuit breakers 125,1150,200,& 225 (100 AMPS) TP (XS-225NS) on a prepared board as required.(S.No:P-31/208) |  |  | 1 | Nos. | 25541 | Each | 25541
13 | P/F Bakelite eiling rose with two terminals. |  |  | 130 | Nos. | 72 | Each | 9360
[6 empty] | Total: |  | 505974
AT PAR
[6 empty] | GRAND TOTAL RS: |  | 505974
ABOVE / BELOW ________________________
CONTRACTOR SIGNATURE __________________
NON-SCHEDULE ITEM: ( PART-B )
1 | P/F distribution board doble shuter for accommodate circiut breaker and busbar i/c painting with enemelled paint as approved by Engineer / Incharge. |  |  | 4 | Nos. | 1850 | Each | 7400
2 | P/F mild Steel bar fan clamp 15.8 mm (5/8") dia suitable for RCC roof a approved by Engineer / Inhcharge. |  |  | 20 | Nos. | 180 | Each | 3600
3 | P/F ceiling FAN 56" Sweep imported make with necessary electric connection etc complete. |  |  | 20 | Nos. | 5600 | Each | 112000
4 | P/F fane dimmer fancy type imported. |  |  | 20 | Nos. | 250 | Each | 5000
5 | P/F Ceiling / Wall light imported make with metal base & double holder i/c necessary conection etc complete. |  |  | 22 | Nos. | 1800 | Each | 39600
6 | P/F Energy Sever superior quality i/c: fixing on existing holder etc complete as a approved by Engineer / Incharge. |  |  | 22 | Nos. | 600 | Each | 13200
7 | Telephone point with 0.6 mm2 pair telephone cable in 20mm dia PVC condiut recessed in the slabe / Wall complete with necessary connection etc. |  |  | 220 | Mtr | 225 | P/Mtr | 49500
8 | P/F NET point with cat-6, NET cable in 20mm dia PVC recessed in slab / Wall complete with accessories etc |  |  | 210 | Mtr | 190 | P/Mtr | 39900
9 | P/F T.V point with RG-7 Co-oxide cable in 20mm dua PVC recessed in slab/Wall complete with accessories. |  |  | 160 | Mtr | 195 | P/Mtr | 31200
10 | P/F connect telephone / Netr T.V out let on 1.5mm thick sheet plate / steel box of apropriate dimension recessed in the wall requried. |  |  | 30 | Mtr | 350 | P/Mtr | 10500
11 | P/F L.E.D Tube light 18 watts (SON) 4ft: with instalation on wall/ceiling as approved by Engineer / Incharge (Philips or Equipment) |  |  | 18 | Nos. | 2900 | Each | 52200
12 | P/F L.E.D Panel light 18 watts square (Shape square 3"(6500 K) in shap installation on wall/ceiling as approved by Engineer / Incharge ( Product code ET-1411) |  |  | 7 | Nos. | 2100 | Each | 14700
13 | P/F L.E.D Panel light (MxSQR) 12 watts square (Shape square 3"(6500 K) in shap installation on wall/ceiling as approved by Engineer / Incharge ( Product code ET-1411) |  |  | 8 | Nos. | 1900 | Each | 15200
14 | S/F Split unit Air Condition 1800 BTU (2.00 Ton) capacity i/c Gas, iron breaket, condiser outer, with thermostate, refrigerant, charging electric works & hanging 7 Commissioning making point etc completed make by KENWOOD/Hair/Grace or Equivelant as per |  |  | 1 | No. | 100000 | Each | 100000
[6 empty] | Part -B | Total Rs. | 494000
[6 empty] | Part -A | Total Rs. | 505974
[6 empty] | Grand Total Rs. |  | 999974
[6 empty] | Say Rs: |  | 0.99997
| ( CONTRACTOR SIGNATURE ) |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-1
KARACHI