## Karsaz F O
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
KARSAZ FLYOVER, K.M.C.
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.5.410 Milion
Bid Security: Rs.0.1082 Million
Tender Cost: Rs. 3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical
Accessories at Karsaz Flyover, KMC.
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.5.410 Million
e) | Amount of Bid Security. | Rs.0.1082 Million
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Installation of LED lights and Electrical Accessories at Karsaz Flyover, KMC.
Estimated Cost. Rs.5.410 Million
2% Earnest Money. Rs.0.1082 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One Hundred
| volts 2.5mm2. | 180 | Mtr. | 178 | Seventy Eight.
2 | Providing and Llaying (Main or Sub Main) PVC insulated
| PVC sheeted with 4 core copper conductor 600/1000volts |  |  |  | One Thousand
| size 16mm2. | 57 | Mtr. | 1300 | Three Hundred
3 | Providing and fixing of M.S tubular pole as per
following specification to be fixed on pre cast
foundation with the help of hydraulic crane and
manual labour.
6MTR (6" dia) x3MTR (5" dia) x3MTR (4" dia)= 40ft.
Wall thickness 8 SWG.
Base plate 18"x18"x3/4"
Hole 4 Nos stiffeners 4 Nos 9-1/2"x4-1/2"x1/2"
Making window in the pole required size with LN
| Key provision. |  |  |  | Thirty Seven
| Two coats red oxide ( 2coat) as rust preventive |  |  |  | Thousand
| and of required oil paint (2 coat) as per site |  |  |  | Seven Hundred
| requirement and instruction of Engineer Incharge. | 1 | No. | 37797 | Ninty Seven
4 | Construction of RCC foundation as per following specification
and instructionof Engineer Incharge for 31ft./40ft. Long
tubular pole.
Excavation of soft/hard soil 3'x3'x5.5ft.
Stone soiling 3'x3'x6" making lean in the ratio 1:4:8
Length of MS bolts 6-1/2'(3/4" dia) 4Nos and making
thread on MS rod .
| Template 16"x16"x1/4". |  |  |  | Fifteen Thousand
| Rings 1/4" dia round bar 4 Nos to the welded with MS rod. |  |  |  | One Hundred
| RCC foundation ratio 1:2:4 with appropriate size 2'x2'x6.5'. | 1 | Job | 15168 | Sixty Eight
5 | Manufacutirng Providing and Fixing GI Double Arm
canopy type with the help of hydraulic crane and manual
labour as per site requirement instruction of Engineer
Incharge with following following specification.
| GI pipe 2" dia 10 SWG 5ft. Long. |  |  |  | Three Thousand
| MS Canopy 5" dia 1' long with nuts & bolts. | 1 | No | 3086 | Eighty Six
6 | P/F Ciruit breaker 15, 20, 30, 40, 50, 60 & 75 & |  |  |  | Nine Thousand
| 100 Amps T.P(XS-100NS) on prepared board as required. | 1 | No. | 9261 | Two Hundred
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
7 | Jointing work of 10mm/16mm unarmoured cable with complete
| jointing kit(RAYCHEM) excavation in hard/soft soil 3ft deep |  |  |  | Three Thousand
| & 1.5ft wide etc complete in all respect as per instruction |  |  |  | Four Hundred
| of Engineer incharge. | 5 | No. | 3451 | Fifty One
Eleven Thousand
8 | P/F Magnetic contractor F.C 65 (100A) as required |  |  |  | Six Hundred
| and as per instruction of E/I. | 1 | No | 11645 | Fourty Five
9 | P/F 10 Amps Photo Cell (National Japan)
after removing of existing burnt/damage/old photo cell after
| disconnection of main power supply and reconnection the |  |  |  | Four Thousand
| same after fixing of photo cell as required as per instruction of |  |  |  | Four Hundred
| Engineer Incharge. | 1 | No | 4494 | Ninty Four
NON SCHEDULE ITEMS.
10 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 45 | No.
11 | Painting of street light/high mast pole up to 40 ft with bracket
with two coats of ICI oil paint with the help of hydraulic
crane and manual labour as per site requirement and
| instruction of E/I. | 28 | No.
12 | Cable termination / connection, testing & commissioning
4 core /3 core/3-1/2 core PVC / armoured at both ends
inside the junction box with suitable 4x100 Amps PVC
| connector complete in all respect as required. | 10 | No.
13 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 175 | Mtr.
14 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 4 | Job
15 | Dismantling of street light fitting 250 and pole watts with the
help of manual labour Including the cost of loading, unloading
& transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 48 | No.
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
KARSAZ FLYOVER, K.M.C.
Estimated Cost. Rs.5.410 Million
2% Earnest Money. Rs.0.1082
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## Bill
PREPARED AT CONTRACTOR’S REQUEST
Quantity | Quantity |  |  |  | A M O U N T
executed | executed up | ITEMS | Rate | Per | Up to | Since last | Remarks
since last | to date as per |  |  |  | date | Certificate
Certificate | measurement
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| Subject: | Improvement/Rehabilitatin of Street lighting |  |  | Dt. Of st.
|  | System of Mai Kolachi LMC. |  |  | Dt. Of Com.
Dt. Of Meas.
| Firm: | M/s. Falcon Engineering, Karachi.
1 | 3 | P/F 10 Amps Photo Cell (National Japan) | 4500 | No. |  | 13500
2 |  | P/F magnetic contractor as per following specification
(Green power/LG/Muller)
a) | 2 | FC 50 | 9310 | No. |  | 18620
b) | 1 | FC 65 | 13080 | No. |  | 13080
c) | 1 | FC 80 | 16710 | No. |  | 16710
3 | 5 | P/F coil For FC-50 magnetic contractor. | 2055 | No. |  | 10275
4 | 2 | P/F coil For FC-65 magnetic contractor. | 2830 | No. |  | 5660
5 | 1 | P/F coil For FC-80 magnetic contractor. | 2830 | No. |  | 2830
6 | 67 | Making of CC work with ratio 1:2:4 and curing
(07 days) as per site requirement and instruction
|  | of E/I. | 210 | Cft. |  | 14070
7 |  | P/L under ground or over head (Main or Sub Main)
PVC/PVC insulated copper conductor (AGE/Pioneer/
Pakistan Cable Ltd./Universal Make) of following size
for light connection at the height of 40/50ft. With help
of Hydraulic Crane and manual labour
a) | 30 | 185mm Four Core Armored. | 12480 | Mtrs. |  | 374400
b) | 48 | 16mm four core. | 1325 | Mtrs. |  | 63600
c) | 89 | 6mm two core. | 240 | Mtrs. |  | 21360
d) | 178 | 10mm two core. | 380 | Mtrs. |  | 67640
8 |  | P/L (Main or Sub Main) of PVC Insulated copper conductor
(AGE/Pioneer/Pakistan Cable Ltd./Universal make) of
the following size for light connection at the height of
as per site requirement.
a) | 88 | 2.5mm two core. | 120 | Mtrs. |  | 10560
b) | 358 | 2.5mm three core. | 180 | Mtrs. |  | 64440
c) | 89 | 4mm two core. | 172 | Mtrs. |  | 15308
9 | 20 | P/F 4 Nos.copper crimping Ferule for 16 to 35 mm
armoured/unarmoured cable jointing with punching
tool and skilled labour.Work i/c fault tracing,
testing,commissioning,taping with tape and proper
termination etc complete as per site requirement
|  | and instruction of E/I. | 1195 | Job |  | 23900
10 | 8 | P/F 4 Nos.copper crimping Ferule for 70 to 185 mm
armoured/unarmoured cable jointing with punching
tool and skilled labour.Work i/c fault tracing,
testing,commissioning,taping with tape and proper
termination etc complete as per site requirement
|  | and instruction of E/I. | 1900 | Job |  | 15200
11 | 35 | P/F Lamp 400 watts (Son) Philips / Oslo
/ Clipsal at the height up to 40 ft with the help
|  | of hydraulic crane and manual labour. | 2000 | No. |  | 70000
12 | 25 | P/F ballast 400 watts (Son) Philips / Oslo /
Clipsal at the height up to 40 ft with the help
|  | of hydraulic crane and manual labour. | 4910 | No. |  | 122750
13 | 25 | P/F igniter 400 watts (Son) Philips / Oslo /
Clipsal at the height up to 40 ft with the help of
|  | hydraulic crane and manual labour. | 400 | No. |  | 10000
14 | 110 | Excavation and back filling hard/soft rock soil as
required up to 3 ft as per site requirement and
|  | instruction of E/I. | 14 | Cft. |  | 1540
15 | 2 | P/F Lamp 1000 watts (HPIT) Philips / Oslo
/ Clipsal at the height up to 50 ft with the help
|  | of hydraulic crane and manual labour. | 8810 | No. |  | 17620
16 | 1 | P/F Ballast 1000 watts (HPIT) Philips / Oslo
/ Clipsal at the height up to 50 ft with the help
|  | of hydraulic crane and manual labour. | 10450 | No. |  | 10450
17 | 1 | P/F igniter 1000 watts (HPIT) Philips / Oslo /
Clipsal at the height up to 50 ft with the help of
|  | hydraulic crane and manual labour. | 4100 | No. |  | 4100
987613
|  | Ded. 8% R/Money. |  |  |  | 79009.04
908603.96
|  | Ded. 6% I/Tax. |  |  |  | 59256.78
849347.18
TOTAL VALUE WORK DONE TO DATE -------------------------------
Add % above/below the schedule rates -----------------------------
Deduct Deduct 7 ½% Retention Money--------
Net Money-------------
Deduct value of work above on last Certificate -------------------------------
Vide P. No. of M. Book No. ---------------
Balance Rs. --------
Rates examined by
………………Calculations checked by
Contractor
Certified that the above measurement are correct and were taken by me on
And are recorded on page of my measurement Book No. of
Oversea
Certified that the foregoing claim is correct and that 50% of the measurement were checked
by me on and that the work has been satisfactorily performed.
____________________________ | Assistant Engineer
Printed at: CDGK Printing Press

## Shaheed F.O
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
SHAHEED-E-MILLAT FLYOVER, K.M.C.
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.7.910 Million
Bid Security: Rs.0.1582 Million
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical
Accessories at Shaheed-e-Millat Flyover, KMC.
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.7.910 Million
e) | Amount of Bid Security. | Rs.0.1582 Million
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Installation of LED lights and Electrical Accessories at Shaheed-e-Millat Flyover, KMC.
Estimated Cost. Rs.7.910 Million
2% Earnest Money. Rs.0.1582 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One Hundred
| volts 2.5mm2. | 180 | Mtr. | 178 | Seventy Eight.
2 | Providing and fixing of M.S tubular pole as per
following specification to be fixed on pre cast
foundation with the help of hydraulic crane and
manual labour.
20FT (6" dia) x5.5FT (5" dia) x5.5FT (4" dia)= 31ft.
Wall thickness 8 SWG.
Base plate 18"x18"x3/4"
Hole 4 Nos stiffeners 4 Nos 9-1/2"x4-1/2"x1/2"
Making window in the pole required size with LN
Key provision.
| Two coats red oxide ( 2coat) as rust preventive |  |  |  | Thirty Six Thousand
| and of required oil paint (2 coat) as per site |  |  |  | Six Hundred
| requirement and instruction of Engineer Incharge. | 2 | Each | 36697 | Ninty Seven
3 | Manufacutirng Providing and Fixing GI Double Arm
canopy type with the help of hydraulic crane and manual
labour as per site requirement instruction of Engineer
Incharge with following following specification.
| GI pipe 2" dia 10 SWG 5ft. Long. |  |  |  | Three Thousand
| MS Canopy 5" dia 1' long with nuts & bolts. | 2 | No | 3086 | Eighty Six.
4 | P/F Ciruit breaker 15, 20, 30, 40, 50, 60 & 75 & |  |  |  | Nine Thousand
| 100 Amps T.P(XS-100NS) on prepared board as required. | 2 | No. | 9261 | Two Hundred
Sixty One
5 | Jointing work of 10mm/16mm unarmoured cable with complete
| jointing kit(RAYCHEM) excavation in hard/soft soil 3ft deep |  |  |  | Three Thousand
| & 1.5ft wide etc complete in all respect as per instruction |  |  |  | Four Hundred
| of Engineer incharge. | 10 | No. | 3451 | Fifty One
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
6 | P/F Magnetic contractor F.C 65 (100A) as required |  |  |  | Eleven Thousand
| and as per instruction of E/I. | 2 | No | 11645 | Six Hundred
Forty Five
7 | P/F 10 Amps Photo Cell (National Japan)
after removing of existing burnt/damage/old photo cell after
| disconnection of main power supply and reconnection the |  |  |  | Four Thousand
| same after fixing of photo cell as required as per instruction of |  |  |  | Four Hundred
| Engineer Incharge. | 2 | No | 4494 | Ninty Four
NON SCHEDULE ITEMS.
8 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 67 | No.
9 | Painting of street light pole up to 31 ft with two coats
of ICI oil paint as per site requirement and with bracket
| i/c of Hydraulic Crane as per instruction of E/I. | 27 | No.
10 | Cable termination / connection, testing & commissioning
4 core /3 core/3-1/2 core PVC / armoured at both ends
inside the junction box with suitable 4x100 Amps PVC
| connector complete in all respect as required. | 16 | No.
11 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 600 | Meter
12 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 16 | Job
13 | Dismantling of street light fitting 250 and pole watts with the
help of manual labour Including the cost of loading, unloading
and transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 60 | No.
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
SHAHEED-E-MILLAT FLYOVER, K.M.C.
Estimated Cost. Rs. 7.910 Million
2% Earnest Money. Rs.0.1582 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## Hassan Sq F.O
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
HASSAN SQUIRE FLYOVER, KMC
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.
Bid Security: Rs.
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical
Accessories at Hassan Squaire Flyover, KMC
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost.
e) | Amount of Bid Security.
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
KARACHI METROPOLITAN CORPORATION
ENGINEERING DEPARTMENT
Subject: Installation of LED lights and Electrical Accessories at Hassan Squire Flyover, KMC.
Estimated Cost. Rs.
2% Earnest Money. Rs.
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One Hundred
| volts 2.5mm2. | 180 | Mtr. | 178 | Seventy Eight.
2 | Providing and Llaying (Main or Sub Main) PVC insulated
| PVC sheeted with 4 core copper conductor 600/1000volts |  |  |  | One Thousand
| size 16mm2. | 20 | Mtr. | 1300 | Three Hundred
Nine Thousand
3 | P/F Ciruit breaker 15, 20, 30, 40, 50, 60 & 75 & |  |  |  | Two Hundred
| 100 Amps T.P(XS-100NS) on prepared board as required. | 1 | No. | 9261 | Sixty One
4 | Jointing work of 10mm/16mm unarmoured cable with complete
| jointing kit(RAYCHEM) excavation in hard/soft soil 3ft deep |  |  |  | Three Thousand
| & 1.5ft wide etc complete in all respect as per instruction |  |  |  | Four Hundred
| of Engineer incharge. | 8 | No. | 3451 | Fifty One
Eleven Thousand
5 | P/F Magnetic contractor F.C 65 (100A) as required |  |  |  | Six Hundred
| and as per instruction of E/I. | 1 | No | 11645 | Forty Five
6 | P/F 10 Amps Photo Cell (National Japan)
after removing of existing burnt/damage/old photo cell after
| disconnection of main power supply and reconnection the |  |  |  | Four Thousand
| same after fixing of photo cell as required as per instruction of |  |  |  | Four Hundred
| Engineer Incharge. | 1 | No | 4494 | Ninty Four
NON SCHEDULE ITEMS.
7 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 56 | No.
8 | Painting of street light/high mast pole up to 40 ft with bracket
with two coats of ICI oil paint with the help of hydraulic
crane and manual labour as per site requirement and
| instruction of E/I. | 34 | No.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
9 | Cable termination / connection, testing & commissioning
4 core /3 core/3-1/2 core PVC / armoured at both ends
inside the junction box with suitable 4x100 Amps PVC
| connector complete in all respect as required. | 15 | No.
10 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 225 | Meter
11 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 6 | Job
12 | Dismantling of street light fitting 250 and pole watts with the
help of manual labour Including the cost of loading, unloading
& transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 56 | No.
Total Tentive Cost
KARACHI METROPOLITAN CORPORATION
ENGINEENG DEPARTMENT
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
HASSAN SQUIRE FLYOVER, K.M.C.
Estimated Cost. Rs.
2% Earnest Money. Rs.
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## Stadium
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
STADIUM S FLYOVER, KMC
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.6.450 Million
Bid Security: Rs.0.129 Million
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical
Accessories at Stadium Flyover, KMC
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.6.450 Million
e) | Amount of Bid Security. | Rs.0.129 Millioon
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
KARACHI METROPOLITAN CORPORATION
ENGINEERING DEPARTMENT
Subject: Installation of LED lights and Electrical Accessories at Stadium Flyover, KMC.
Estimated Cost. Rs.6.450 Million
2% Earnest Money. Rs.0.129 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One Hundred
| volts 2.5mm2. | 180 | Mtr. | 178 | Seventy Eight.
2 | Providing and Llaying (Main or Sub Main) PVC insulated
| PVC sheeted with 4 core copper conductor 600/1000volts |  |  |  | One Thousand
| size 16mm2. | 30 | Mtr. | 1300 | Three Hundred
Nine Thousand
3 | P/F Ciruit breaker 15, 20, 30, 40, 50, 60 & 75 & |  |  |  | Two Hundred
| 100 Amps T.P(XS-100NS) on prepared board as required. | 1 | No. | 9261 | Sixty One
4 | Jointing work of 10mm/16mm unarmoured cable with complete
| jointing kit(RAYCHEM) excavation in hard/soft soil 3ft deep |  |  |  | Three Thousand
| & 1.5ft wide etc complete in all respect as per instruction |  |  |  | Four Hundred
| of Engineer incharge. | 7 | No. | 3451 | Fifty One
Eleven Thousand
5 | P/F Magnetic contractor F.C 65 (100A) as required |  |  |  | Six Hundred
| and as per instruction of E/I. | 1 | No | 11645 | Forty Five
6 | P/F 10 Amps Photo Cell (National Japan)
after removing of existing burnt/damage/old photo cell after
| disconnection of main power supply and reconnection the |  |  |  | Four Thousand
| same after fixing of photo cell as required as per instruction of |  |  |  | Four Hundred
| Engineer Incharge. | 1 | No | 4494 | Ninty Four
NON SCHEDULE ITEMS.
7 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 56 | No.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
8 | Painting of street light/high mast pole up to 40 ft with bracket
with two coats of ICI oil paint with the help of hydraulic
crane and manual labour as per site requirement and
| instruction of E/I. | 30 | No.
9 | Cable termination / connection, testing & commissioning
4 core /3 core/3-1/2 core PVC / armoured at both ends
inside the junction box with suitable 4x100 Amps PVC
| connector complete in all respect as required. | 20 | No.
10 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 330 | Meter
11 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 6 | Job
12 | Dismantling of street light fitting 250 and pole watts with the
help of manual labour Including the cost of loading, unloading and
transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 56 | No.
KARACHI METROPOLITAN CORPORATION
ENGINEENG DEPARTMENT
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
STADIUM FLYOVER, K.M.C.
Estimated Cost. Rs.6.450 Million
2% Earnest Money. Rs.0.129 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## LIST
S.NO. | NAME OF WORK |  | AMOUNT.
1 | Installation of LED lights and Electrical
| Accessories at Karsaz Flyover, KMC. |  | Rs. | 5910394
2 | Installation of LED lights and Electrical
| Accessories at Shaheed-e-Millat Flyover, KMC. |  | Rs. | 8417866
3 | Installation of LED lights and Electrical
| Accessories at Hassan Squaire Flyover, KMC |  | Rs. | 6578455
4 | Installation of LED lights and Electrical
| Accessories at Time Medicos Flyover, KMC |  | Rs. | 6561929
5 | Installation of LED lights and Electrical
| Accessories at F.T.C Flyover, KMC. |  | Rs. | 7230895
6 | Installation of LED lights and Maintenance of existing
| light at PAF Chapter Flyover Expressway, KMC |  | Rs. | 6218892
7 | Maintenance of existing street lights of Services Road
at Super Highway from Afghan Basti to
| Maymar More, KMC. |  | Rs. | 5225034
|  | Grand Total: | Rs. | 46143465

## FTC F.O
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
F.T.C S FLYOVER, KMC
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.7.230 Million
Bid Security: Rs.0.1446 Million
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical
Accessories at F.T.C. Flyover, KMC
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.7.230 Million
e) | Amount of Bid Security. | Rs.0.1446 Million
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Installation of LED lights and Electrical Accessories at F.T.C Flyover, KMC.
Estimated Cost. Rs.7.230 Million
2% Earnest Money. Rs.0.1446 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One Hundred
| volts 2.5mm2. | 175 | Mtr. | 178 | Seventy Eight.
Nine Thousand
2 | P/F Ciruit breaker 15, 20, 30, 40, 50, 60 & 75 & |  |  |  | Two Hundred
| 100 Amps T.P(XS-100NS) on prepared board as required. | 1 | No. | 9261 | Sixty One
3 | Jointing work of 10mm/16mm unarmoured cable with complete
| jointing kit(RAYCHEM) excavation in hard/soft soil 3ft deep |  |  |  | Three Thousand
| & 1.5ft wide etc complete in all respect as per instruction |  |  |  | Four Hundred
| of Engineer incharge. | 5 | No. | 3451 | Fifty One
Eleven Thousand
4 | P/F Magnetic contractor F.C 65 (100A) as required |  |  |  | Six Hundred
| and as per instruction of E/I. | 1 | No | 11645 | Forty Five
5 | P/F 10 Amps Photo Cell (National Japan)
after removing of existing burnt/damage/old photo cell after
| disconnection of main power supply and reconnection the |  |  |  | Four Thousand
| same after fixing of photo cell as required as per instruction of |  |  |  | Four Hundred
| Engineer Incharge. | 1 | No | 4494 | Ninty Four
NON SCHEDULE ITEMS.
6 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 62 | No.
7 | Painting of street light pole up to 31 ft with two coats
of ICI oil paint as per site requirement and with bracket
| i/c of Hydraulic Crane as per instruction of E/I. | 36 | No.
8 | Cable termination / connection, testing & commissioning
4 core /3 core/3-1/2 core PVC / armoured at both ends
inside the junction box with suitable 4x100 Amps PVC
| connector complete in all respect as required. | 15 | No.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
9 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 350 | Meter |  |  |  | 2940
10 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 10 | Job
11 | Dismantling of street light fitting 250 and pole watts with the
help of manual labour Including the cost of loading, unloading and
transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 62 | No.
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
F.T.C. FLYOVER, K.M.C.
Estimated Cost. Rs.7.230 Million
2% Earnest Money. Rs.0.1446 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## Captain
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
CAPTAIN FAREED BUKHARI SHAHEED ROAD FROM SHAHRAH-E-FAISAL
ALLAHWALA CHOWRANGI.
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.4.00 Million
Bid Security: Rs.0.08Million.
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of LED lights and Electrical Accessories
at Captain Fareed Bukhari Shaheed Road from
Shahrah-e-Faisal to Allahwala Chowrangi.
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.4.00 Million
e) | Amount of Bid Security. | Rs.0.08 Million.
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Maintenance of existing street lights of Services Road Super Highway from Afgan Basti
towards Maymar More, KMC.
Estimated Cost. Rs.4.00 Million
2% Earnest Money. Rs.0.08 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
| PVC Sheeted with three core copper conductor 300/500 |  |  |  | One hundred
| volts 2.5mm2. | 174 | Mtr. | 178 | Seventy eight | Sr.No.65
2 | Providing and fixing of M.S tubular pole as per
following specification to be fixed on pre cast
foundation with the help of hydraulic crane and
manual labour.
20FT (6" dia) x5.5FT (5" dia) x5.5FT (4" dia)= 31ft.
Wall thickness 8 SWG.
Base plate 18"x18"x3/4"
Hole 4 Nos stiffeners 4 Nos 9-1/2"x4-1/2"x1/2"
Making window in the pole required size with LN
| Key provision. |  |  |  | Thirty six
| Two coats red oxide ( 2coat) as rust preventive |  |  |  | Thousand
| and of required oil paint (2 coat) as per site |  |  |  | Six hundred
| requirement and instruction of Engineer Incharge. | 1 | Each | 36697 | Ninty seven | Sr. No.132
3 | Manufacutirng Providing and Fixing GI Double Arm
canopy type with the help of hydraulic crane and manual
labour as per site requirement instruction of Engineer
Incharge with following following specification.
| GI pipe 2" dia 10 SWG 5ft. Long. |  |  |  | Three Thousand
| MS Canopy 5" dia 1' long with nuts & bolts. | 4 | No | 3086 | Eighty six | Sr. No.147
4 | Construction of RCC foundation as per following specification
and instructionof Engineer Incharge for 31ft./40ft. Long
tubular pole.
Excavation of soft/hard soil 3'x3'x5.5ft.
Stone soiling 3'x3'x6" making lean in the ratio 1:4:8
Length of MS bolts 6-1/2'(3/4" dia) 4Nos and making
| thread on MS rod . |  |  |  | Fifteen
| Template 16"x16"x1/4". |  |  |  | Thousand
| Rings 1/4" dia round bar 4 Nos to the welded with MS rod. |  |  |  | One hundred
| RCC foundation ratio 1:2:4 with appropriate size 2'x2'x6.5'. | 4 | No | 15168 | Sixty eight | Sr. No.139
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
NON SCHEDULE ITEMS.
5 | Providing and fixing of LED street light 140 Watts
Make Oslo/Pierlite/ Philips with internal wiring complete
in all respect at the height with the help of
| hydraulic crane and instruction of Engineer Incharge | 32 | No.
6 | Painting of street light pole up to 31 ft with two coats
of ICI oil paint as per site requirement and with bracket
| i/c of Hydraulic Crane as per instruction of E/I. | 12 | No.
7 | Providing/Hanging of Over head Almunium conductor for
restoring electric supply as per following specification and
requirement the help of motorized lifter or crane and skilled
labou, proper safty /care of moving vehicles complete as per
instruction of Engineer Incharge.
| A)(Goofer) | 1500 | Mtr
8 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 36 | Job
9 | Dismantling of street light fitting 250 watts with the
help of manual labour Including the cost of loading, unloading and
transportation from site to KMC workshop the same at the
| height upto 40 ft as per site requirement and instruction of E/I. | 27 | No.
10 | Dismantling of street light pole 31 ft long or less pre cast
foundation / grouted type with the help of hydraulic
crane and manual labour i/c the cost of loading,
unloading and transportation from CDGK workshop or
one site to another site as per site requirement and
| instruction of Engineer incharge. | 2 | No.
11 | M/P/Installation the distribution board alongwith locking
arrangement made from Ms.Sheet 16 SWG.
The size of the box should be as per installed
accessories. The board should be as powder quoted,
water proof and dust proof with ICI Primer coat. After
fixing the floowing electric control system inside the
box, the box should be installed at the given place with
clamps and nuts bolts. the following control
accessories will be installed.
1-75 Amps circuit breaker (Tersaski/LG/Muiller)
1- Magnetic contractor FC.65
(Green power /LG/Muller).
| 1-10 Amps Photo Cell (National Japan). | 2 | Job
12 | Fixing of given all ltype of hight mast pole 40/50ft. On given
pere cast foundation as per following specification i/c the
cost of loading unloading and trnasportation from KMC
Workshop or one site to another site with the help of
| Hydraulic crane and manual labour. | 3 | Job
INSTALLATION OF L.E.D LIGHTS AND ELECTRICAL ACCESSORIES AT
CAPTAIN FAREED BUKHARI SHAHEED ROAD FROM SHAHRAH-E-FAISAL
ALLAHWALA CHOWRANGI.
Estimated Cost. Rs.4.00 Million
2% Earnest Money. Rs.0.08 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## S.H.W
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
MAINTENANCE OF EXISTING STREET LIGHTS OF SERVICES ROAD AT
SUPER HIGHWAY FROM AFGHAN BASTI TOWARDS MAYMAR MORE, KMC
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.3.50 Million
Bid Security: Rs.0.07 Million.
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Maintenance of Existing Street Lights of Services
Road at Super Highway (from Afgan Basti towards
Maymar More, KMC.
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.3.50 Million
e) | Amount of Bid Security. | Rs.0.07 Million.
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Maintenance of existing street lights of Services Road Super Highway from Afgan Basti
towards Maymar More, KMC.
Estimated Cost. Rs.3.50 Million
2% Earnest Money. Rs.0.07 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | Providing & laying (Main or Sub Main) PVC insulated
PVC Sheeted with three core copper conductor 300/500
| volts 2.5mm2. | 448 | Mtr. | 178 | 79744 | Sr.No.65
2 | P/F 250Watt (Son-T) the height as per site requirement
| and instruction of Engineer Incharge. | 58 | No. | 1240 | 71920 | Sr. No.174
3 | P/F 250Watt (Son-T) Chowk @ the height with the help of
| hydraulic crane as per site requirement and instruction of E/I. | 53 | No. | 3990 | 211470 | Sr. No.176
4 | P/F 250Watt (Son) Ignitor in all respect at the height
upto 40ft with the help of hydraulic crane and manual labour
| as per site requirement and instruction of E/I. | 53 | No. | 1119 | 59307 | Sr. No.178
NON SCHEDULE ITEMS:
5 | M/P/Installation the distribution board alongwith locking
arrangement made from Ms.Sheet 16 SWG.
The size of the box should be as per installed
accessories. The board should be as powder quoted,
water proof and dust proof with ICI Primer coat. After
fixing the floowing electric control system inside the
box, the box should be installed at the given place with
clamps and nuts bolts. the following control
accessories will be installed.
1-75 Amps circuit breaker (Tersaski/LG/Muiller)
1- Magnetic contractor FC.65
(Green power /LG/Muller).
| 1-10 Amps Photo Cell (National Japan). | 4 | Job
6 | P/F of street light fitting 250 watts Velocity or equalent
(SON-T) (Philips/Oslo/Pier Lite) with linternal wiring
At the height upto 31/40 ft with the help of hydraulic crane
| and as per site requirement instruction of E/I. | 20 | No.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
7 | Providing and fixing of set of Shakle insulator "D" Iron clamp
(G.I)" U"-Clamp with nuts bolts and washers with the help of
motorized lifter or crane and skilled labour, proper safety/care
| of moving vehicles complete as per instruction of E.I. | 200 | Job
8 | Providing and Laying Almunium conductor Dog with the help
| of hydraulic crane and manual labour etc complete as required. | 8000 | Mtr.
9 | P/F of stay with stay wire including cost of making c.c.
| foundation and excavation etc complete as required. | 6 | Job
10 | Painting of street light/high mast pole up to 40 ft with bracket
with two coats of ICI oil paint with the help of hydraulic
crane and manual labour as per site requirement and
| instruction of E/I. | 70 | No.
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
MAINTENANCE OF EXISTING STREET LIGHTS OF SERVICES ROAD AT
SUPER HIGHWAY FROM AFGHAN BASTI TOWARDS MAYMAR MORE, KMC
Estimated Cost. Rs.3.50 Million
2% Earnest Money. Rs.0.07 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________

## Decorative
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
TENDER REFERENCE NO. DC/K/(E)/P.A/172/2016
BILL OF QUANTITIES
INSTALLATION OF DECORATIVE LIGHTS UNDER THE FLYOVER
OF DISTRICT EAST.
NOTE:
The Condition of contract will be available KMC website (www.karachicity.gov.pk).
Estimate Cost: Rs.3.50 Million
Bid Security: Rs.0.07 Million.
Tender Cost: Rs.3000/-Each
BIDDING DATA
(Thissection should be filled in by the Engineer/Procuring Agency before issuance of the Bidding Documents)
a) | Name of Procuring Agency: | Karachi Metropolitan Corporatyion, (KMC)
b) | Brief Description of work: | Installation of Decorative lights under the
Flyover District East.
c) | Procuring Agency Address: | 4th Flood Civic Centre, Engineering Deptt.
KMC Karachi.
d) | Estimated Cost. | Rs.3.50 Million
e) | Amount of Bid Security. | Rs.0.07 Million.
f) | Period of Bid Validity (days). | 90 days.
g) | Security Deposit (Including bid Security. | 10% of the total cost (2% of bid amount plus
8% from the bill.)
h) | Percentage, if any, to be deducted from Bills. | 8%
i) | Deadline for submission of bid along with time. | As per NIT
j) | Venue, Time and Date of bid Opening. | Deputy Commissioner District East,KMC
Office near Mashriq Centre, Karachi.
k) | Liquidity damages: | Single Stage One Envelop Method.
l) | Method of Prolcurement.
m) | Deposit Recipt No Date & Amount.
MINIMUM QUALIFICATION/ELIGIBILITY CRITERIA
The evidence /documents of the following minimum qualification /cligibility criteria will be
checked during opening process of tender & if any one is missing then the tender will be summarily rejected
at the moment by the tender opening committee
Eligibility /Minimum Qualification Criteria:
i) Valid PEC in C-6 (EE-4) (EE-6) and above category in relevant field.
ii) Electric Contractor License from Electric Inspector, Government of Sindh.
iii) NIT Certificate.
iv) Valid Professional TAX.
v) Registered with Sindh Revenue Board.
vi) Affidavit that frim has not balck listed ever.
vii) Having minimum Experience of 3 Years in relevant field.
viii) Bid Security, as mentioned in the NIT & Bidding Documents, is furnished.
Signature of the Bidder with Stamp
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
Subject: Installation of Decorative lights under the Flyover District East.
Estimated Cost. Rs.3.50 Million
2% Earnest Money. Rs.0.07 Million
Tender Cost. Rs.3000/-Each.
S.# | Description | Qty | Unit | Rate | Rate | Total
|  |  |  | in figure | in words | Amount.
1 | P/L (Main or Sub Main) of PVC Insulated & PVC sheeted |  |  |  | Two hundred
| with two core copper conductor 300/500 volts size 6mm2. | 285 | Mtr. | 233 | Thirty three | Sr. No.62
2 | P/L (Main or Sub Main) of PVC Insulated &
| PVC sheeted with two core copper conductor |  |  |  | Three hundred
| 300/500 volts size 10mm2. | 210 | Mtr. | 375 | Seventy five | Sr. No.63
3 | Providing & Fixing of flood light 400Watts (HPIT) having IP 65
clasification with 400watts lamp, choke, capacitor, igniter and
| internal wiring complete in all respect at the height up to 40ft.with |  |  |  | Sixteen Thousand
| the help hydraulic crane and manual labour as per site requirement |  |  |  | Nine hundred
| and instruction of Engineer incharge. | 8 | No | 16980 | Eighty | Srt.No.167
4 | P/F 250Watt (Son) Ignitor in all respect at the height |  |  |  | One thousand
| upto 40ft with the help of hydraulic crane and manual labour |  |  |  | One hundred
| as per site requirement and instruction of E/I. | 6 | No. | 1119 | Ninteen | Sr. No.178
5 | Providing & Fixing 400Watts (HPIT) lamp @ the height |  |  |  | Two thousand
| with the help of hydraulic crane as per site requirement and |  |  |  | Three hundred
| instruction of Engineer Incharge. | 9 | Nos. | 2380 | Eighty | Sr. No.185
6 | Providing & Fixing 400Watts (HPIT) chowk @ the height |  |  |  | Four thousand
| with the help of hydraulic crane as per site requirement and |  |  |  | Three hundred
| instruction of Engineer Incharge. | 6 | Nos. | 4375 | Seventy five | Sr. No.186
NON SCHEDULE ITEMS.
7) a) | P/F BCP42018xLED-HB/RGB 100-240V 10CE CQC-VAYA
| LINEAR COLOR, WIDE, 1.0M, CE/CQC. | 40 | Nos.
b) | P/F 6 Port DMX/RDM Splitter & Repeater Unit PHILIPS
| SHOWLINE RDM-6WALL (RB-6 WM). | 2 | Nos.
c) | P/F SSLCTR LRC 9641 I CLOR PLAYER. | 2 | Nos.
8 | Providing and laying Robe light with flusher complete
| in all respect as per approval site Engineer Incharge. | 45 | Mtr
9 | Providing and fixing of Tube Rod 40Watts Make Philips | 88 | No
10 | Providing and fixing of Chowk 40Watts Make Philips. | 88 | No
11 | Providing and Fixing of Starter 40Watts Make Philips. | 83 | No
OFFICE OF THE DEPUTY COMMISSIONER KARACHI EAST
INSTALLATION OF DECORATIVE LIGHTS UNDER THE FLYOVER
OF DISTRICT EAST.
Estimated Cost. Rs.3..50 Million
2% Earnest Money. Rs.0.07 Million
Tender Cost. Rs.3000/-Each.
I//We hereby qoted as follows:
1 | PART - A: |  |  |  | Rs._________________
(Items Based on S/R.)
| _____________%Above/Below/At Par the S/R. |  |  |  | Rs._________________
2 | PART - B.
| (Items Based on O/R) |  |  |  | Rs._________________
|  | Grand Total: |  |  | Rs._________________
The total amount is Rs. _______________________ (Rupees: _______________________________
| (In Figure.) |  |  |  | (In words.)
_______________________________________________________________ for complete job.
I/We have attached a pay order bearing No.____________________________Dated: _______________
issued from ______________________________________amounting to Rs.__________________as per NIT
(Name of Bank).
Completion Time : 120 Days.
Penalty per day Rs.3,000/-
Note:
All rates quoted including the total amount of the bid shall be in figures & words (both).
All corrections/overwriting shall be clearly re-written with initials & duly stamped by the bidder.
The bid shall be properly signed, named & stamped by the authorized person of the firm and
authorization letter for signatory shall be enclosed with the tender by the authorized Person, if
othe than the signatory of the firm.
All prevailing rules regarding condition of contract will be applieable.
Signature of the Contractor with Stamp
Address:______________________