## Schedule B
Name of Work: Construction of CMW School/ Hostel DHQ Hospital at Mithi
UNDER MNCH PROGRAM SINDH
SCHEDULE "B"
Sr# | Description | Quantity | Rate | Unit | Amount
PART A - GROUND FLOOR
(I) CIVIL WORK
1 | Excavation in foundation of building and bridges and other structures including dagbelling, dressing filling around structure with excavated earth watering & ramming lead upto one chain and lift upto 5 ft: In hard soil or soft moorum. (S.I# 18c P#4) | 7502.96 | 3554.38 | %0Cft | 26668.371
2 | Cement concrete plain including placing compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8 (S.I#5i P#16) | 2356.85 | 11288.75 | %Cft | 266058.9044
3 | P/L single layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer Incharge. (S.I#38 P#38) | 3946.33 | 10.7 | P.Sft | 42225.731
4 | Fabrication of mild steel reinforcement for cement concrete including cutting bendind laying in position making joints and fastening including cost of binding wire (also includes removal of rust from bars) (S.I#8b P#17)
| (A) Tor Steel | 277.688 | 5001.7 | P.Cwt | 1388912.0696
5 | Reinforced cement concrete work including all labour andmaterial except the cost of steel reinforcement and its labour for bending and binding which willbe paid separately. The rate includes all kinds of forms, moulds, lifting, centering, shuttering, curing, rendering and finishing the exposed surface. (including screening and washing of shingle) R.C.C. work in roof slab, beams, column, rafts,lintels and other structural members laid in situ or precast laid in position complete in all respects.(i) Ratio 1:2:4 90 Lbs of cement. 2 Cft sand and 4 Cft shingle 1/8" to 3/4" gauge. (S.I#6i P#17) | 5578.45 | 337 | Cft | 1879937.65
6 | Pacca brick work in foundation In cement sand mortar. 1:6 ratio (S.I#5i(e) P#21) | 3334.59 | 11948.36 | %Cft | 398428.8177
7 | P/L vertical DPC 3/4"thick cement plaster 1:2 bitumen at (20 lbs per % sft) S.I NO.70/CH-18 /P-107 | 6215.16 | 2760.99 | %Sft | 171599.9461
8 | Supplying & filling sand under floor & plughing in walls. (S.I#29 P#26) | 11723.42 | 1141.25 | %Cft | 133793.5308
9 | Bitumen coating to plastered or C.C surface. (S.I#9 P#71) | 507 | 778.09 | %Sft | 3944.9163
10 | Pacca brick work in super structure In cement sand mortar. 1:6 ratio (S.I#5i(e) P#21) | 2909.58 | 12674.36 | %Cft | 368770.6437
11 | Cement plaster 1:5 upto 20' Ft: height 1/2" Thick (S.I#12b P#52) | 8633.5 | 2241.8 | %Sft | 193545.803
12 | Cement plaster 1:4 upto 20' Ft: height 3/8" Thick (S.I#11a P#52) | 7384.11 | 2197.52 | %Sft | 162267.2941
13 | Providing and Fixing GI Fixed /Choukhats of size 7" x 2" or 4 1/2 " x 3" for Doors using 20 gauge GI Sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs .The cost also i/c all carriage tools and plants used in making and fixing. (S.I#29 P#93) | 243.5 | 228.9 | Rft | 55737.15
14 | Providing and fixing in position 1-1/2" thick Teak wood ply shutters of 2nd class deodar wood skeleton (Solid) styles and rails core of partal wood and Teak ply wood (3 ply) on both sides. (Except Door Frame) (S.I#57 P#65) | 323.5 | 811.73 | Sft | 262594.655
15 | Providing and fixing decorative plaster of paris corners. (S.I#44 P#39) | 773.84 | 104.22 | Rft | 80649.6048
16 | Providing and fixing decrative plaster of paris fan ceiling flower. (S.I#45 P#39) | 10 | 346.5 | Each | 3465
17 | Priming coat of chalk distemper .(S.I#23 P#54) | 3410.01 | 442.75 | %Sft | 15097.8193
18 | Providing and applying 3 coats of distemper to internal plastered surfaces of approved colour and shade . (S.I#24c P#54) | 3410.01 | 1079.65 | %Sft | 36816.173
19 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbiderubbing brick ) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coat s wit matt finish of approved make etc.: complete. (new surface). (S.I#36a,b P#55) | 7384.11 | 3444.38 | %Sft | 254336.808
20 | Khaprial of cement concrete 12" * 8" *1" of approved design/shape laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2. (S.I#40 P#38) | 157.48 | 3645.65 | %Sft | 5741.1696
21 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick/ sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. (S.I#38a,b P#56) | 157.48 | 2567.95 | %Sft | 4044.0077
22 | S/F iron steel grill of 3/4" x 1/4" field iron of approved design one coat of red oxide paint and 3 coat of approved enamel paint(fine finish) complete expert drawings.(S.I#30 P#94) | 481.63 | 194.16 | Sft | 93513.2808
23 | Supplying and fixing in position Aluminium Channels framing for sliding windows & ventilators of Alcop made with 5 m.m thick tinted glass glazing (BELGIUM) and Aluminium fly screen handles stoppers and locking arrangements etc, complete. Delux Model (Bronze) (S.I#84b P#108) | 481.63 | 1647.69 | P.Sft | 793576.9347
24 | Supplying & fixing window printed blinds (Hor/Vet) with plain design and of approved colour i/c fixing in windows with necessary accessories. (S.I# 71 P#67) | 481.63 | 91.11 | P.Sft | 43881.3093
25 | Providing and laying HALA or Pattern tiles glazed 6" * 6" *1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement morter 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc, complete including cutting tiles to proper profile. (S.I#61 P#48) | 127.68 | 47651.56 | %Sft | 60841.5118
26 | Providing & fixing colour Crete to wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire3 and temite resitance (upto 20' -0 height). (S.I#44 P#56) | 5753.86 | 6319.5 | %Sft | 363615.1827
27 | Layng floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cemewnt mortoar 1:2 (S.I# 25 P#43) | 3400.37 | 27747.06 | %Sft | 943502.7041
28 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4"thick including finishing. (S.I#38 P#45) | 1105.05 | 28299.3 | %Sft | 312721.4146
29 | Providing anti termite treatment by spraying/sprinkling/spreading neptachlar 0.5% emulsion as an overall preconstruction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer incharge. (S.I#92 P#109) | 3946.33 | 9.74 | P.Sft | 38437.2542
30 | S/F Ply wood door lock fancy (S.I#21 P#60) | 13 | 1786.13 | Each | 23219.69
31 | Providing & fixing stainless steel railing 2" dia, 3 ft high for stair case/corridoor,of approved shape and design i/c bends & corners, with post i/c fixing in wall, plinth,CC/RCC with screws, nails, putty or clips screwed in gitties at any height, place etc complete. (Non Schedule Item) | 24 |  | P.Rft
Total Rs.
| Add:Premium Below / Above/ At PAR All items Except following |  |  | Rs.
| Add: 10% above on Item Steel |  |  | Rs.
| Add: 10% above on Item Steel Grill |  |  | Rs.
| Deduct: 20% below on Item Glazed tile floor |  |  | Rs.
| Deduct: 20% below on Item Glazed dado |  |  | Rs.
| Deduct: 20% below on Item Aluminum windows |  |  | Rs.
| Deduct: 20% below on Item Ply doors |  |  | Rs.
|  | Sub Total PART (I) |  | Rs.
(II) INTERNAL WATER SUPPLY & S/FITTING
1 | Providing and fixing European type white glazed earthen ware wash down W.C. pan complete with & including the cost of white/black plastic seat (Best quality) and lid with C.P. brass hinges bestquality and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphon fitting 1 ½” dia white porcelain enameled flush bend ¾” dia and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. (Foreign quality). (ICL or equivalent). (S.I#5 P#5) | 1 | 11477.4 | Each | 11477.4
2 | Providing and fixing squatting type white glazed earthen ware W.C. pan with front flush inlet & complete with including the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. W.C pan orisa type 23" with plastic tank of low down 3 gallons. with 4" dia earthen ware trap and plastic thumble. (S.I# 3 P#2) | 2 | 6166 | Each | 12332
3 | Providing and fixing 24”x18” lavatory basin in white glazed earthen ware complete with & including the cost of W.I. or C.I. cantilever bracket 6 inches built into wall, painted white in two coats after a primary coat of red lead paint, a pair of 1-1/2” dia chrome plated pillar taps, 1-1/2” rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or C.P. brass traps malleable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4 (Foreign Equivalent). Add extra for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or equivalent). (S.I# 10,11 P# 3) | 3 | 7461.47 | Each | 22384.41
4 | Providing and fixing 6”x4” or 6”x3” floor trap of the approved self cleaning design with a C.I. screwed down grating with or without a vent arm including cost of making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. (S.I# 20 P#6) | 8 | 2042.43 | Each | 16339.44
5 | Supplying & fixing bath room accessories set (7 piece) i/c towel rod, brush holder, soap tray shelf, of approved design i/c cosy of screws , nuts etc complete. (Master Made) (S.I#23 P#19) | 3 | 10322.4 | Each | 30967.2
6 | Supplying & fixing shower rose (S.I#15 P#19) | 3 | 1142.24 | Each | 3426.72
7 | Supplying & fixing in position bib cock.1” dia brass bib cock. (S.I#13b P#19) | 6 | 1384.24 | Each | 8305.44
8 | Providing and fixing handle valves
| 1/2" Dia (S.I#5i P#17) | 3 | 200.42 | Each | 601.26
| 3/4" Dia (S.I#5ii P#17) | 4 | 271.92 | Each | 1087.68
9 | S/F wash basin mixture.(S.I#14b P#19) | 3 | 3179 | Each | 9537
10 | S/F muslim shower (S.I#19b P#19) | 3 | 3432 | Each | 10296
11 | S/F Cancealed T. Stop Cock (S.I#12b P#18) | 12 | 889.46 | Each | 10673.52
12 | Providing G.I. pipes specials and clamps etc. including fixing cutting and fittings complete with and including the cost of breaking through walls and roof making good etc. painting 2 coats after cleaning the pipe etc. with white zinc paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling.
| 1/2" Dia (S.I#1a,2a P#14,15) | 85.73 | 67.88 | P.Rft | 5819.3524
| 3/4" Dia (S.I#1b,2b P#14,15) | 58.25 | 90.36 | P.Rft | 5263.47
| 1" Dia (S.I#1c,2c P#14,15) | 271 | 122.2 | P.Rft | 33116.2
13 | Providing and fixing UPVC soil and waste and rain water pipe including all fitting clamp and special such and bend plugs reducer I/c all related and enamel paint to all external pipes complete in all repestes 4" dia. (Non Schedule Item) | 137.98 |  | P.Rft
14 | Providing and Fixing UPVC vent pipe I/c all fitting clamp cowls and enamal paint complete in all repest 4" dia (Non Schedule Item) | 23.25 |  | P.Rft
15 | Providing and laying PVC pressure pipe I/c all fitting and special such as tees, reducers, union, elbow, socket bends completed in all respect 3/4" inner dia (Non Schedule Items) | 160 |  | P.Rft
Total Rs.
| : ____% Below / above (Expect Item# 12 to 15) |  |  | Rs.
| _____% Below / Above on G.I pipes item No.12 |  |  | Rs.
|  | Sub Total PART (II) |  | Rs.
(III) INTERNAL ELECTRIFICATION
1 | Wiring for light or fan point with 3/-029 pvc insulated wire in 20mm pvc conduit on surface as required. (S.I# 123 P#15) | 65 | 797 | Each | 51805
2 | Wiring for plug point with 3/.029 pvc insulated wire in 20mm pvc conduit on surface as requried. (S.I# 126 P#15) | 18 | 669 | Each | 12042
3 | Providing & fixing Brass Ceiling Fan 56" (Good Quality) (S.I# 235 P#34) | 9 | 3185 | Each | 28665
4 | Wiring of group control of light directly from DB to Board with 2/7/0.29 sqmm + 1x3/29 sqmm in appropriate size of concealed PVC conduit. (Non Schedule Item) | 8 |  | Each
5 | Wiring of 15 Amp switch socket unit from DB to first outlet with following size of 2/7/0.36 single core PVC insulated wire and EEC of 1x3/29 insulated wire in appropriate specified size of consealed PVC condute. (Non Schedule Item) | 5 |  | Each
6 | Wiring of group control of circuit directly from DB to MCB with 4/7/0.44 sqmm + ECC 1x2/7/0.29 sqmm appropriate size of concealed PVC condute (Non Schedule Item) | 8 |  | Each
7 | Fluoresent light fixture putty fitting 1-40 watts install light choke low voltage pupose I/c Bulb of 100 watt (approved by Engineer Incharge) (Non Schedule Item) | 8 |  | Each
8 | Custom design ceiling light fixture for ceiling or stair including Bulb of 100 watts approved by Engineer in charge. (Non Schedule Item) | 12 |  | Each
9 | Fancy design wall mounted single arm light including bulb of 100 watt (approved by engineer incharge). (Non Schedule Item) | 9 |  | Each
10 | Blink light head fillings of costing aluminum one side of mercury polished with 100 watt Bulb. (Non Schedule Item) | 8 |  | Each
11 | Following 5 Amp one way switches including 18 SWG sheet steel back boxes recessed in the wall or coloumn complete in all respect. (Non Schedule Item) | 65 |  | Each
12 | 5A 2 Pin switch socket unit make including 18 SWG sheet steel back boxes and plug etc complete. (Non Schedule Item) | 18 |  | Each
13 | 15 AMP 3 pin switch socket unit inluding 18 SWG sheet steel back boxes etc complete. (Non Schedule Item) | 5 |  | Each
14 | Fan hook pesco make for ciling fan and chandelier. (Non Schedule Item) | 9 |  | Each
15 | Providing and fixing of Buzzer 220 volt single plick 50 Hz as approved by engineer. (Non Schedule Item) | 1 |  | Each
16 | Providing and Fixing of push button for buzzer as approved by engineer incharge. (Non Schedule Item) | 1 |  | Each
17 | Supply and installation commissioning of Distribution Board with hinged door locking arrangement (3 nos. RVB phase indicator and line cap terminals including neutral and ground ins bar of short circuits powder coated complete etc (Approved by Engineer Incharge) (Non Schedule Item) | 1 |  | Each
18 | Suppl;y and installation of circuit breaker of TP RVB in coming Base Tarasoki Brand 63 Amp 10 KA 440 volt. (Non Schedule Item) | 1 |  | Each
19 | Supply and installation of circuit breaker SP M.L outgoing tarasaki brand 0 to 30 Amp 220 volt (Non Schedule Item) | 8 |  | Each
20 | P/F service wire 7/0.44 4 core | 175 |  | Rft
21 | Pendent Ceiling light fixture round shape chain hanging with pendent holder including 100 watt bulb. (Non Schedule Item) | 1 |  | Each
Total Rs.
|  | Sub Total PART (III) |  | Total Rs.
ABSTRACT
PART A - GROUND FLOOR
(I) | Civil Work
(II) | Internal Water Supply
(III) | Internal Electrification
| Sub Total PART "A" Ground Floor | Rs.
PART B - FIRST FLOOR
(I) CIVIL WORK
1 | Fabrication of mild steel reinforcement for cement concrete including cutting bendind laying in position making joints and fastening including cost of binding wire (also includes removal of rust from bars) (S.I#8b P#17)
| (A) Tor Steel | 196.03 | 5001.7 | P.Cwt | 980483.251
2 | Reinforced cement concrete work including all labour andmaterial except the cost of steel reinforcement and its labour for bending and binding which willbe paid separately. The rate includes all kinds of forms, moulds, lifting, centering, shuttering, curing, rendering and finishing the exposed surface. (including screening and washing of shingle) R.C.C. work in roof slab, beams, column, rafts,lintels and other structural members laid in situ or precast laid in position complete in all respects.(i) Ratio 1:2:4 90 Lbs of cement. 2 Cft sand and 4 Cft shingle 1/8" to 3/4" gauge. (S.I#6i P#17) | 3683.29 | 337 | P.Cft | 1241268.73
3 | Pacca brick work in super structure In cement sand mortar. 1:6 ratio (S.I#5i(e) P#21) | 4003.09 | 12674.36 | %Cft | 507366.0377
4 | Cement plaster 1:5 upto 20' Ft: hieght 1/2" Thick (S.I#12b P#52) | 9793.41 | 2241.8 | %Sft | 219548.6654
5 | Cement plaster 1:4 upto 20' Ft: hieght 3/8" Thick (S.I#11a P#52) | 8761.88 | 2197.52 | %Sft | 192544.0654
6 | Providing and Fixing GI Fixed /Choukhats of size 7" x 2" or 4 1/2 " x 3" for Doors using 20 gauge GI Sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs .The cost also i/c all carriage tools and plants used in making and fixing. (S.I#29 P#93) | 206 | 228.9 | P.Rft | 47153.4
7 | Providing and fixing in position 1-1/2" thick Teak wood ply shutters of 2nd class deodar wood skeleton (Solid) styles and rails core of partal wood and Teak ply wood (3 ply) on both sides. (Except Door Frame) (S.I#57 P#65) | 266 | 811.73 | P.Sft | 215920.18
8 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick/ sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. (S.I#38a,b P#56) | 219.07 | 2567.95 | %Sft | 5625.6081
9 | Supplying and fixing in position Aluminium Channels framing for sliding windows & ventilators of Alcop made with 5 m.m thick tinted glass glazing (BELGIUM) and Aluminium fly screen handles stoppers and locking arrangements etc, complete. Delux Model (Bronze) (S.I#84b P#108) | 578.58 | 1647.69 | P.Sft | 953320.4802
10 | S/F iron steel grill of 3/4" x 1/4" field iron of approved design one coat of red oxide paint and 3 coat of approved enamel paint(fine finish) complete expert drawings.(S.I#30 P#94) | 599.58 | 194.16 | Sft | 116414.4528
11 | Supplying & fixing window printed blinds (Hor/Vet) with plain design and of approved colour i/c fixing in windows with necessary accessories. (S.I# 71 P#67) | 554.83 | 91.11 | P.Sft | 50550.5613
12 | Priming coat of chalk distemper .(S.I#23 P#54) | 3655.03 | 442.75 | %Sft | 16182.6453
13 | Providing and applying 3 coats of distemper to internal plastered surfaces of approved colour and shade . (S.I#24c P#54) | 3655.03 | 1079.65 | %Sft | 39461.5314
14 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbiderubbing brick ) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coat s wit matt finish of approved make etc.: complete. (new surface). (S.I#36a,b P#55) | 8761.88 | 3444.38 | %Sft | 301792.4423
15 | Providing and fixing decorative plaster of paris corners. (S.I#44 P#39) | 770.84 | 104.22 | P.Rft | 80336.9448
16 | Providing and fixing decrative plaster of paris fan ceiling flower. (S.I#45 P#39) | 9 | 346.5 | Each | 3118.5
17 | Layng floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cemewnt mortoar 1:2 (S.I# 25 P#43) | 3237.62 | 27747.06 | %Sft | 898344.364
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4"thick including finishing. (S.I#38 P#45) | 1031.53 | 28299.3 | %Sft | 291915.7693
19 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into panels. 2" Thick (S.I#16c P#42) | 3208.97 | 3275.5 | %Sft | 105109.8123
20 | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at on Cft per %sft. (S.I#13 P#35) | 3208.97 | 1887.4 | %Sft | 60566.0998
21 | Providing and laying HALA or Pattern tiles glazed 6" * 6" *1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement morter 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc, complete including cutting tiles to proper profile. (S.I#61 P#48) | 356.9 | 47651.56 | %Sft | 170068.4176
22 | Providing & fixing colour Crete to wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire3 and temite resitance (upto 20' -0 height). (S.I#44 P#56) | 5576.25 | 6319.5 | %Sft | 352391.1188
23 | Khaprial of cement concrete 12" * 8" *1" of approved design/shape laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2. (S.I#40 P#38) | 219.07 | 3645.65 | %Sft | 7986.5255
24 | S/F Ply wood door lock fancy (S.I#21 P#60) | 12 | 1786.13 | Each | 21433.56
25 | Providing anti termite treatment by spraying/sprinkling/spreading neptachlar 0.5% emulsion as an overall preconstruction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer incharge. (S.I#92 P#109) | 4000 | 9.74 | P.Sft | 38960
26 | Providing & fixing deodar wooden wardrob i/c boxing with back shelves, shutters drawers and brass fitting such as handles locking arrangement, hanger rod, shoes rod, and mirro measuring 2'x1' complete as per approved design. (S.I# 24 P#61) | 650 | 2364.63 | P.Sft | 1537009.5
27 | S/F ornamental Glass work in geometrical shape with glue, white cement i/c writting letters at any height as directed by engineer incharge. (Non Schedule Item) | 70 |  | P.Sft
28 | Providing and fixing 4" dia down UPVC pipe for rain water. (Non Schedule Item) | 208 |  | P.Rft
29 | Providing & fixing stainless steel railing 2" dia, 3 ft high for stair case/corridoor,of approved shape and design i/c bends & corners, with post i/c fixing in wall, plinth,CC/RCC with screws, nails, putty or clips screwed in gitties at any height, place etc complete. (Non Schedule Item) | 117.91 |  | P.Rft
Total Rs.
_________% Premium Below / Above/ At PAR All items Except following
| _________% above / below on Item Steel |  |  | Rs.
| _________% above / below on Item Steel Grill |  |  | Rs.
| _________% above / below on Item Glazed tile floor |  |  | Rs.
| _________% above / below on Item Glazed dado |  |  | Rs.
| _________% above / below on Item Aluminum windows |  |  | Rs.
| _________% Above / below on Item Ply doors |  |  | Rs.
|  |  | Sub Total PART (I) | Rs.
(II) INTERNAL WATER SUPPLY & S/FITTING
1 | Providing and fixing European type white glazed earthen ware wash down W.C. pan complete with & including the cost of white/black plastic seat (Best quality) and lid with C.P. brass hinges bestquality and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphon fitting 1 ½” dia white porcelain enameled flush bend ¾” dia and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. (Foreign quality). (ICL or equivalent). (S.I#5 P#5) | 1 | 11477.4 | Each | 11477.4
2 | Providing and fixing squatting type white glazed earthen ware W.C. pan with front flush inlet & complete with including the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. W.C pan orisa type 23" with plastic tank of low down 3 gallons. with 4" dia earthen ware trap and plastic thumble. (S.I# 3 P#2) | 2 | 6166 | Each | 12332
3 | Providing and fixing 24”x18” lavatory basin in white glazed earthen ware complete with & including the cost of W.I. or C.I. cantilever bracket 6 inches built into wall, painted white in two coats after a primary coat of red lead paint, a pair of 1-1/2” dia chrome plated pillar taps, 1-1/2” rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or C.P. brass traps malleable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4 (Foreign Equivalent). Add extra for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or equivalent). (S.I# 10,11 P# 3) | 3 | 7461.47 | Each | 22384.41
4 | Providing and fixing 6”x2” or 6”x3” floor trap of the approved self cleaning design with a C.I. screwed down grating with or without a vent arm including cost of making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. (S.I# 20 P#6) | 8 | 2042.43 | Each | 16339.44
5 | Supplying & fixing bath room accessories set (7 piece) i/c towel rod, brush holder, soap tray shelf, of approved design i/c cosy of screws , nuts etc complete. (Master Made) (S.I#23 P#19) | 3 | 10322.4 | Each | 30967.2
6 | Supplying & fixing in position bib cock.1” dia brass bib cock. (S.I#13b P#19) | 6 | 1384.24 | Each | 8305.44
7 | Supplying & fixing shower rose (S.I#15 P#19) | 3 | 1142.24 | Each | 3426.72
8 | S/F wash basin mixture.(S.I#14b P#19) | 2 | 3179 | Each | 6358
9 | S/F sink mixture (S.I#17 P#19) | 1 | 2745.6 | Each | 2745.6
10 | S/F muslim shower (S.I#19b P#19) | 2 | 3432 | Each | 6864
11 | S/F Cancealed T. Stop Coack (S.I#12b P#18) | 10 | 889.46 | Each | 8894.6
12 | Providing and fixing steel sinks stainless local make complete with cast iron or wrought iron brackets 6 inches built into wall, 1-1/2” rubber plug and chrome plated brass chain 1-1/2” C.P. brass waste with 1-1/2” P.V.C. waste pipe & making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. a) Steel sink stainless size 33”x18” local make (Standard pattern). (S.I#19c P#6) | 1 | 5712.3 | Each | 5712.3
13 | Providing G.I. pipes specials and clamps etc. including fixing cutting and fittings complete with and including the cost of breaking through walls and roof making good etc. painting 2 coats after cleaning the pipe etc. with white zinc paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling.
| 1/2" Dia (S.I#1a,2a P#14,15) | 85.73 | 67.88 | P.Rft | 5819.3524
| 3/4" Dia (S.I#1b,2b P#14,15) | 58.25 | 90.36 | P.Rft | 5263.47
| 1" Dia (S.I#1c,2c P#14,15) | 271 | 122.2 | P.Rft | 33116.2
14 | Providing and fixing UPVC soil and waste and rain water pipe including all fitting clamp and special such and bend plugs reducer I/c all related and enamel paint to all external pipes complete in all repestes 4" dia. (Non Schedule Item) | 145 |  | P.Rft
15 | Providing and Fixing UPVC vent pipe I/c all fitting clamp cowls and enamal paint complete in all repest 4" dia (Non Schedule Item) | 20 |  | P.Rft
Total Rs.
| _______% above/Below (Expect Item# 13,14,15) |  |  | Rs.
| ______% above/ Below on G.I pipes item No.13 |  |  | Rs.
|  | Sub Total PART (II) |  | Rs.
PART (III) INTERNAL ELECTRIFICATION
1 | Wiring for light or fan point with 3/-029 pvc insulated wire in 20mm pvc conduit on surface as required. (S.I# 123 P#15) | 65 | 797 | Each | 51805
2 | Wiring for plug point with 3/.029 pvc insulated wire in 20mm pvc conduit on surface as requried. (S.I# 126 P#15) | 18 | 669 | Each | 12042
3 | Providing & fixing Brass Ceiling Fan 56" (Good Quality) (S.I# 235 P#34) | 10 | 3185 | Each | 31850
4 | Wiring of group control of light directly from DB to Board with 2/7/0.29 sqmm + 1x3/29 sqmm in appropriate size of concealed PVC conduit. (Non Schedule Item) | 8 |  | Each
5 | Wiring of 15 Amp switch socket unit from DB to first outlet with following size of 2/7/0.36 single core PVC insulated wire and EEC of 1x3/29 insulated wire in appropriate specified size of consealed PVC condute. (Non Schedule Item) | 5 |  | Each
6 | Wiring of group control of circuit directly from DB to MCB with 4/7/0.44 sqmm + ECC 1x2/7/0.29 sqmm appropriate size of concealed PVC condute. (Non Schedule Item) | 8 |  | Each
7 | Fluoresent light fixture putty fitting 1-40 watts install light choke low voltage pupose I/c Bulb of 100 watt (approved by Engineer Incharge). (Non Schedule Item) | 16 |  | Each
8 | Custom design ceiling light fixture for ceiling or stair including Bulb of 100 watts approved by Engineer in charge. (Non Schedule Item) | 12 |  | Each
9 | Fancy design wall mounted single arm light including bulb of 100 watt (approved by engineer incharge). (Non Schedule Item) | 4 |  | Each
10 | Blink light head fillings of costing aluminum one side of mercury polished with 100 watt Bulb. (Non Schedule Item) | 8 |  | Each
11 | Following 5 Amp one way switches including 18 SWG sheet steel back boxes recessed in the wall or coloumn complete in all respect. (Non Schedule Item) | 71 |  | Each
12 | 5A 2 Pin switch socket unit make including 18 SWG sheet steel back boxes and plug etc complete. (Non Schedule Item) | 18 |  | Each
13 | 15 AMP 3 pin switch socket unit inluding 18 SWG sheet steel back boxes etc complete. (Non Schedule Item) | 8 |  | Each
14 | Fan hook pesco make for ciling fan and chandelier. (Non Schedule Item) | 10 |  | Each
15 | Providing and fixing of Buzzer 220 volt single plick 50 Hz as approved by engineer. (Non Schedule Item) | 1 |  | Each
16 | Providing and Fixing of push button for buzzer as approved by engineer incharge. (Non Schedule Item) | 1 |  | Each
17 | Supply and installation commissioning of Distribution Board with hinged door locking arrangement (3 nos. RVB phase indicator and line cap terminals including neutral and ground ins bar of short circuits powder coated complete etc (Approved by Engineer Incharge). (Non Schedule Item) | 1 |  | Each
18 | Supply and installation of circuit breaker of TP RVB in coming Base Tarasoki Brand 63 Amp 10 KA 440 volt. (Non Schedule Item) | 1 |  | Each
19 | Supply and installation of circuit breaker SP M.L outgoing tarasaki brand 0 to 30 Amp 220 volt. (Non Schedule Item) | 8 |  | Each
20 | Pendent Ceiling light fixture round shape chain. (Non Schedule Item) | 1 |  | Each
Total Rs.
Rs.
|  | Sub Total Part (III) |  | Rs.
PART (IV) - INTERNAL GAS FITTINGS
1 | Providing G.I. pipes specials and clamps etc. including fixing cutting and fittings complete with and including the cost of breaking through walls and roof making good etc. painting 2 coats after cleaning the pipe etc. with white zinc paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling.
| 1/2" Dia (S.I#1a,2a P#14,15) | 450 | 67.88 | P.Rft | 30546
2 | P/F brass gas cock of superior quality 1/2 dia. (Non Schedule Item) | 4 |  | Each
3 | Providing and fixing fancy type Gas Light of superior quality 1/c making connection with existing gas line. (Non Schedule Item) | 2 |  | Each
4 | Providing and fixing stainless steel Gas burnar double super quality. (Non Schedule Item) | 2 |  | Each
Total Rs.
| ___________% Above / Below on Item#1 |  |  | Rs.
|  | Sub Total Part (IV) |  | Rs.
ABSTRACT
PART B - FIRST FLOOR
(I) | Civil Work | Rs.
(II) | Internal Water Supply | Rs.
(III) | Internal Electrification | Rs.
(IV) | Internal Gas Fittings | Rs.
| Sub Total PART "B" | Rs.
PART C - EXTERNAL DEVELOPMENT
PART (I) - PAVED COURT YARD
1 | Excavation in foundation of building and bridges and other structures including dagbelling, dressing filling around structure with excavated earth watering & ramming lead upto one chain and lift upto 5 ft: In hard soil or soft moorum. (S.I# 18c P#4) | 231.75 | 3554.38 | %0Cft | 823.7276
2 | Cement concrete plain including placing compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8 (S.I#5i P#16) | 112.57 | 11288.75 | %Cft | 12707.7459
3 | Pacca brick work in foundation and plinth In cement sand mortar. 1:5 ratio. (S.I#4I(d) P#21) | 114.33 | 12176.08 | %Cft | 13920.9123
4 | Supplying & filling sand under floor & plughing in walls. (S.I#22 P#4) | 1788 | 1141.25 | %Cft | 20405.55
5 | Supplying & filling sand under floor & plughing in walls. (S.I#29 P#26) | 309.88 | 3630 | %0Cft | 1124.8644
6 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into panels. 2" Thick (S.I#16c P#42) | 229 | 3275.5 | %Sft | 7500.895
7 | Supply levelling and dressing making lawn including grass, manure and maintance for one month. (S.I#42,43 P#103) | 619.77 | 453.75 | %Sft | 2812.2064
PART (II) - PLINTH PROTECTION, PATH, EXTERNAL LAWN
8 | Supplying & filling sand under floor & plughing in walls. (S.I#29 P#26) | 12700 | 1141.25 | %Cft | 144938.75
9 | Cement concrete plain including placing compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8 (S.I#5i P#16) | 2393.96 | 11288.75 | %Cft | 270248.1595
10 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into panels. 2" Thick (S.I#16c P#42) | 4787.91 | 3275.5 | %Sft | 156827.9921
11 | Supply levelling and dressing making lawn including grass, manure and maintance for one month. (S.I#42,43 P#103) | 224 | 453.75 | %Sft | 1016.4
PART (III) - EXTERNAL WATER SUPPLY & DRAINAGE
12 | Excavation for pipe line in trenches and pits in sandy soils i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and garde where ever required lift upto 5ft and lead upto one chain. (S.I# 2 P# 60) | 846 | 3750 | %0Cft | 3172.5
13 | P/L and jointing RCC sewer pipes in trenches to correct alignment grade and level at any depth as shown on drawings i/c cuttings, wastage and jointing materials, the pipe shall be manufactured by approved method as specified and duly tested by hydraulic or smoke test i/c demolition and restorage of roads / walkways where required as per details / plans or as instructed by the engineer
| 6" Dia internal (S.I#2c P#24) | 211.5 | 199.25 | P.Rft | 42141.375
14 | Constructing manhole or inspection chanmber for the required diameter of circular sewer and 3'-6" depth with wall of B.B in cement sand mortar 1:3 cement plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c fixing manhole cover with frame (S.I# 1 P# 46) | 12 | 14748 | Each | 176976
15 | P/F 1 HP electirc motor with pump I/c finishing fitting complete also provide electric connection with wire switch etc complete. (Non Schedule Item) | 1 |  | Each
16 | Construction of pump room including grill gate with lock fittings coloring etc complete etc. (Non Schedule Item) | 1 |  | Each
17 | Providing and laying PVC pressure pipe I/c all fitting and special such as tees, reducers, union, elbow, socket bends completed in all respect 1/2" inner dia (Non Schedule Item) | 650 |  | P.Rft
PART (IV) - EXTERNAL ELECTRIFICATION
18 | Supply and installation of foundation of pole with 1:2:4 cement concrete ratio by (1 1/2x1 1/2x5') and color of two coat at main supply pole. (Non Schedule Item) | 1 |  | Each
19 | Supply and installation of bluck light fitting with half size mercury fish glass shade with G.I nut with bolts etc complete as required by engineer incharge. (Non Schedule Item) | 16 |  | Each
20 | Supply and installation of single arm fancy bracket light with 125W bulb and holder I/c shade and capacitor HRC I/e complete as rquired (Gate Light) (Non Schedule Item) | 4 |  | Each
21 | Providing installing and testing of earth point with 1'x1'x1/8 mm thick copper plate buried 10 feet deep in ground including all reuired excvation and back filling etc. (Non Schedule Item) | 1 |  | Each
Total Rs.
| ______% Above / Below / At PAR on all items except follwing following |  |  | Rs.
| _______% above / below 0n RCC Pipe item No.12 |  |  | Rs.
|  | Sub Total Part (C) |  | Rs.
PART D - COMPOUND WALL
1 | Excavation in foundation of building and bridges and other structures including dagbelling, dressing filling around structure with excavated earth watering & ramming lead upto one chain and lift upto 5 ft: In hard soil or soft moorum. (S.I# 18c P#4) | 2000 | 3554.38 | %0Cft | 7108.76
2 | Cement concrete plain including placing compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8 (S.I#5i P#16) | 500 | 11288.75 | %Cft | 56443.75
3 | Pacca brick work in foundation and plinth In cement sand mortar. 1:5 ratio (S.I#4I(d) P#21) | 2072 | 12176.08 | %Cft | 252288.3776
4 | Damp proof course with cement sand and shingle concrete (1:2:4) including 2-coats of asphaltic mixture. (S.I#28a P#19) | 592 | 2586.12 | %Sft | 15309.8304
5 | Pacca brick work other than building i/c striking of joints upto 20' hieght (S.I#7(I)c P#22) | 2921.84 | 12899.7 | %Cft | 376908.5945
6 | Cement plaster 1:5 upto 20' Ft: hieght 1/2" Thick (S.I#12b P#52) | 10074.94 | 2241.8 | %Sft | 225860.0049
7 | Cement plaster 1:4 upto 20' Ft: hieght 3/8" Thick (S.I#11a P#52) | 10074.94 | 2197.52 | %Sft | 221398.8215
8 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick/ sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. (S.I#38a,b P#56) | 10074.94 | 2567.95 | %Sft | 258719.4217
9 | S/Fixing broken glasses on courtyars walls including 1:3:6 cement concrete coping. (S.I#61 P#105) | 500 | 70.44 | P.Rft | 35220
10 | Making & fixing steel grated door with 1/16" thick sheeting i/c angle iron frame 2"x2" 3/8" & 3/4" sq bar 4" c/c with locking arrangement. (S.I#24 P#92) | 105 | 726.72 | P.Sft | 76305.6
11 | Preparing surface and painting gaurd bars gates, iron bars, gratting, railings (including standard braces etc) and similar open work. (S.I#5d P#70) | 210 | 1270.83 | %Sft | 2668.743
|  |  |  | Total Rs. | 1528231.9036
| ______% Above / Below / At PAR on all items except follwing following |  |  | Rs.
| _______% above / Below on Steel grated door |  |  | Rs.
|  | PART D - Sub Total |  | Rs.
Name of Work: Construction of Guard Room at CMW School Mithi
SCHEDULE "B"
Sr# | Description | Quantity | Rate | Unit | Amount
PART E - GUARD ROOM
(I) CIVIL WORK
1 | Excavation in foundation of building and bridges and other structures including dagbelling, dressing filling around structure with excavated earth watering & ramming lead upto one chain and lift upto 5 ft: In hard soil or soft moorum. (S.I# 18c P#4) | 789 | 3554.38 | %0Cft | 2804.4058
2 | Cement concrete plain including placing compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering. Ratio 1:4:8 (S.I#5i P#16) | 217.5 | 11288.75 | %Cft | 24553.0312
3 | P/L single layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer Incharge. (S.I#38 P#38) | 180 | 10.7 | P.Sft | 1926
4 | Fabrication of mild steel reinforcement for cement concrete including cutting bendind laying in position making joints and fastening including cost of binding wire (also includes removal of rust from bars) (S.I#8b P#17)
| (A) Tor Steel | 24.76 | 5001.7 | P.Cwt | 123842.092
5 | Reinforced cement concrete work including all labour andmaterial except the cost of steel reinforcement and its labour for bending and binding which willbe paid separately. The rate includes all kinds of forms, moulds, lifting, centering, shuttering, curing, rendering and finishing the exposed surface. (including screening and washing of shingle) R.C.C. work in roof slab, beams, column, rafts,lintels and other structural members laid in situ or precast laid in position complete in all respects.(i) Ratio 1:2:4 90 Lbs of cement. 2 Cft sand and 4 Cft shingle 1/8" to 3/4" gauge. (S.I#6i P#17) | 516.25 | 337 | Cft | 173976.25
6 | Pacca brick work in foundation In cement sand mortar. 1:6 ratio (S.I#4(e) P#21) | 315.16 | 11948.36 | %Cft | 37656.4514
7 | Pacca brick work in super structure In cement sand mortar. 1:6 ratio (S.I#5i(e) P#21) | 349.69 | 12674.36 | %Cft | 44320.9695
8 | Vertical Damp proof course 3/4" with cement sand and shingle concrete (1:2:4) including 2-coats of asphaltic mixture. (S.I#70 P#107) | 432 | 2760.99 | %Sft | 11927.4768
9 | Supplying & filling sand under floor & plughing in walls. (S.I#29 P#26) | 224.6 | 1141.25 | %Cft | 2563.2475
10 | Bitumen coating to plastered or C.C surface. (S.I#9 P#71) | 46.88 | 778.09 | %Sft | 364.7686
11 | Cement plaster 1:5 upto 20' Ft: height 1/2" Thick (S.I#12b P#52) | 745.5 | 2241.8 | %Sft | 16712.619
12 | Cement plaster 1:4 upto 20' Ft: height 3/8" Thick (S.I#11a P#52) | 565 | 2197.52 | %Sft | 12415.988
13 | Providing and Fixing GI Fixed /Choukhats of size 7" x 2" or 4 1/2 " x 3" for Doors using 20 gauge GI Sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs .The cost also i/c all carriage tools and plants used in making and fixing. (S.I#29 P#93) | 34 | 228.9 | Rft | 7782.6
14 | Providing and fixing in position 1-1/2" thick Teak wood ply shutters of 2nd class deodar wood skeleton (Solid) styles and rails core of partal wood and Teak ply wood (3 ply) on both sides. (Except Door Frame) (S.I#57 P#65) | 283.5 | 811.73 | Sft | 230125.455
15 | Providing and fixing decorative plaster of paris corners. (S.I#44 P#39) | 72 | 104.22 | Rft | 7503.84
16 | Providing and fixing decrative plaster of paris fan ceiling flower. (S.I#45 P#39) | 1 | 346.5 | Each | 346.5
17 | Priming coat of chalk distemper .(S.I#23 P#54) | 341.98 | 442.75 | %Sft | 1514.1164
18 | Providing and applying 3 coats of distemper to internal plastered surfaces of approved colour and shade . (S.I#24c P#54) | 431.98 | 1079.65 | %Sft | 4663.8721
19 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbiderubbing brick ) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coat s wit matt finish of approved make etc.: complete. (new surface). (S.I#36a,b P#55) | 565.5 | 3444.38 | %Sft | 19477.9689
20 | Khaprial of cement concrete 12" * 8" *1" of approved design/shape laid flat in 1:2 grey cement mortar over a bed of 3/4" thick grey cement mortar 1:2. (S.I#40 P#38) | 26.72 | 3645.65 | %Sft | 974.1177
21 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick/ sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. (S.I#38a,b P#56) | 26.72 | 2567.95 | %Sft | 686.1562
22 | S/F iron steel grill of 3/4" x 1/4" field iron of approved design one coat of red oxide paint and 3 coat of approved enamel paint(fine finish) complete expert drawings.(S.I#30 P#94) | 35.75 | 194.16 | Sft | 6941.22
23 | Supplying and fixing in position Aluminium Channels framing for sliding windows & ventilators of Alcop made with 5 m.m thick tinted glass glazing (BELGIUM) and Aluminium fly screen handles stoppers and locking arrangements etc, complete. Delux Model (Bronze) (S.I#84b P#108) | 35.75 | 1647.69 | P.Sft | 58904.9175
24 | Supplying & fixing window printed blinds (Hor/Vet) with plain design and of approved colour i/c fixing in windows with necessary accessories. (S.I# 71 P#67) | 35.75 | 91.11 | P.Sft | 3257.1825
25 | Providing and laying HALA or Pattern tiles glazed 6" * 6" *1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement morter 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc, complete including cutting tiles to proper profile. (S.I#61 P#48) | 35.64 | 47651.56 | %Sft | 16983.016
26 | Providing & fixing colour Crete to wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire3 and temite resitance (upto 20' -0 height). (S.I#44 P#56) | 1108.25 | 6319.5 | %Sft | 70035.8587
27 | Layng floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cemewnt mortoar 1:2 (S.I# 25 P#43) | 180 | 27747.06 | %Sft | 49944.708
28 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4"thick including finishing. (S.I#38 P#45) | 135.65 | 28299.3 | %Sft | 38388.0004
29 | Providing anti termite treatment by spraying/sprinkling/spreading neptachlar 0.5% emulsion as an overall preconstruction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer incharge. (S.I#92 P#109) | 180 | 9.74 | P.Sft | 1753.2
30 | Providing and laying 1" thick topping of cement concrete (1:2:4) including surface finishing & dividing into panels. 2" Thick (S.I#16c P#42) | 135.56 | 3275.5 | P.% Sft | 4440.2678
31 | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at on Cft per %sft. (S.I#13 P#35) | 135.56 | 9.74 | P.Sft | 1320.3544
|  |  |  | Total Rs. | 978106.6515
| Premium ____% Below / Above / At PAR on all items except following |  |  | Rs.
| ______% above/Below on Item Steel |  |  | Rs.
| ______% above / Below on Item Steel Grill |  |  | Rs.
| ______% Above / below on Item Glazed tile floor |  |  | Rs.
| ______% Above / below on Item Glazed dado |  |  | Rs.
| ______% Above / below on Item Aluminum windows |  |  | Rs.
| ______% Above / below on Item Ply doors |  |  | Rs.
|  |  | Sub Total PART (I) | Rs.
(II) INTERNAL WATER SUPPLY
1 | Providing and fixing squatting type white glazed earthen ware W.C. pan with front flush inlet & complete with including the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. W.C pan orisa type 23" with plastic tank of low down 3 gallons. with 4" dia earthen ware trap and plastic thumble. (S.I# 3 P#2) | 1 | 6166 | Each | 6166
2 | Providing and fixing 24”x18” lavatory basin in white glazed earthen ware complete with & including the cost of W.I. or C.I. cantilever bracket 6 inches built into wall, painted white in two coats after a primary coat of red lead paint, a pair of 1-1/2” dia chrome plated pillar taps, 1-1/2” rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or C.P. brass traps malleable iron or brass unions and making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4 (Foreign Equivalent). Add extra for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or equivalent). (S.I# 10,11 P# 3) | 1 | 7461.47 | Each | 7461.47
Nos.
3 | Providing and fixing 6”x2” or 6”x3” floor trap of the approved self cleaning design with a C.I. screwed down grating with or without a vent arm including cost of making requisite number of holes in walls, plinth & floor for pipe connection & making good in cement concrete 1:2:4. (S.I# 20 P#6) | 2 | 2042.43 | Each | 4084.86
4 | Supplying & fixing bath room accessories set (7 piece) i/c towel rod, brush holder, soap tray shelf, of approved design i/c cosy of screws , nuts etc complete. (Master Made) (S.I#23 P#19) | 1 | 10322.4 | Each | 10322.4
5 | Supplying & fixing shower rose (S.I#15 P#19) | 1 | 1142.24 | Each | 1142.24
6 | Supplying & fixing in position bib cock.1” dia brass bib cock. (S.I#13b P#19) | 2 | 1384.24 | Each | 2768.48
7 | Providing and fixing handle valves (china)
| 1/2" Dia (S.I#5i P#17) | 2 | 200.42 | Each | 400.84
| 1" Dia (S.I#5ii P#17) | 2 | 271.92 | Each | 543.84
8 | Providing G.I. pipes specials and clamps etc. including fixing cutting and fittings complete with and including the cost of breaking through walls and roof making good etc. painting 2 coats after cleaning the pipe etc. with white zinc paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling.
| 1/2" Dia (S.I#1a,2a P#14,15) | 31.17 | 67.88 | P.Rft | 2115.8196
| 3/4" Dia (S.I#1b,2b P#14,15) | 58.25 | 90.36 | P.Rft | 5263.47
| 1" Dia (S.I#1c,2c P#14,15) | 80 | 122.2 | P.Rft | 9776
9 | Providing and fixing UPVC soil and waste and rain water pipe including all fitting clamp and special such and bend plugs reducer I/c all related and enamel paint to all external pipes complete in all repestes 4" dia. (Non Schedule Item) | 38.66 |  | P.Rft
10 | Providing and Fixing UPVC vent pipe I/c all fitting clamp cowls and enamal paint complete in all repest 4" dia (Non Schedule Item) | 8 |  | P.Rft
Total Rs.
______% Above/ Below on G.I pipes
______% Above/Below (Except Item# 8, 9 & 10)
Sub Total PART (II)
(III) INTERNAL ELECTRIFICATION
1 | Wiring for light or fan point with 3/-029 pvc insulated wire in 20mm pvc conduit on surface as required. (S.I# 123 P#15) | 9 | 797 | Each | 7173
2 | Wiring for plug point with 3/.029 pvc insulated wire in 20mm pvc conduit on surface as requried. (S.I# 126 P#15) | 2 | 669 | Each | 1338
3 | Providing & fixing Brass Ceiling Fan 56" (Good Quality) (S.I# 235 P#34) | 1 | 3185 | Each | 3185
4 | Wiring of group control of light directly from DB to Board with 2/7/0.29 sqmm + 1x3/29 sqmm in appropriate size of concealed PVC conduit. (Non Schedule Item) | 1 |  | Each
5 | Wiring of 15 Amp switch socket unit from DB to first outlet with following size of 2/7/0.36 single core PVC insulated wire and EEC of 1x3/29 insulated wire in appropriate specified size of consealed PVC condute. (Non Schedule Item) | 1 |  | Each
6 | Wiring of group control of circuit directly from DB to MCB with 4/7/0.44 sqmm + ECC 1x2/7/0.29 sqmm appropriate size of concealed PVC condute (Non Schedule Item) | 1 |  | Each
7 | Fluoresent light fixture putty fitting 1-40 watts install light choke low voltage pupose I/c Bulb of 100 watt (approved by Engineer Incharge) (Non Schedule Item) | 1 |  | Each
8 | Fancy design wall mounted single arm light including bulb of 100 watt (approved by engineer incharge). (Non Schedule Item) | 1 |  | Each
9 | Blink light head fillings of costing aluminum one side of mercury polished with 100 watt Bulb. (Non Schedule Item) | 2 |  | Each
10 | Following 5 Amp one way switches including 18 SWG sheet steel back boxes recessed in the wall or coloumn complete in all respect. (Non Schedule Item) | 10 |  | Each
11 | 5A 2 Pin switch socket unit make including 18 SWG sheet steel back boxes and plug etc complete. (Non Schedule Item) | 2 |  | Each
12 | 15 AMP 3 pin switch socket unit inluding 18 SWG sheet steel back boxes etc complete. (Non Schedule Item) | 1 |  | Each
13 | Supply and installation commissioning of Distribution Board with hinged door locking arrangement (3 nos. RVB phase indicator and line cap terminals including neutral and ground ins bar of short circuits powder coated complete etc (Approved by Engineer Incharge) (Non Schedule Item) | 1 |  | Each
14 | Suppl;y and installation of circuit breaker of TP RVB in coming Base Tarasoki Brand 63 Amp 10 KA 440 volt. (Non Schedule Item) | 1 |  | Each
15 | Supply and installation of circuit breaker SP M.L outgoing tarasaki brand 0 to 30 Amp 220 volt (Non Schedule Item) | 1 |  | Each
16 | Fan hook pesco make for ciling fan and chandelier. (Non Schedule Item) | 1 |  | Each
Total Rs.
|  | Sub Total PART (III) |  | Rs.
ABSTRACT
PART - GUARD ROOM
(I) | Civil Work | Rs.
(II) | Internal Water Supply | Rs.
(III) | Internal Electrification | Rs.
| Sub Total PART- GUARD ROOM | Rs.
GENERAL ABSTRACT
Part- GUARD ROOM
| GRAND TOTAL | Rs.
TERMS & CONDITIONS:
1 | Any error or omation in the schedule B will be governed by the schedule of rates in force.
2 | No premium shall be allowed item based on market rates and sanction by the competent authority out side the schedule of rates in force.
3 | Nothing shall be paid for cartage for any material what so ever brouught at the site of work i/c materials cartage from Government stores.
4 | The materials for use in the work or the finished product can be got tested from any approved laboratory at the direction of Executive Engineer Buildings or his representative in all expenses in connection with such testing shall be born by the contractor.
Provincial Program Director
| Contractor |  | MNCH Program Sindh Karachi
Name of Work: Construction of CMW School/ Hostel DHQ Hospital at Mithi
UNDER MNCH PROGRAM SINDH
SCHEDULE "B"
GENERAL ABSTRACT
| Part A - Ground Floor | Rs.
| Part B - First Floor | Rs.
| Part C - External Development | Rs.
| Part D - Compound Wall | Rs.
| Part E- Guard Room | Rs.
| GRAND TOTAL | Rs.
CONTRACTOR