BD-3

Appendix-D to Bid

BILL OF QUANTITIES (SAMPLE)

Bill No. 1 Road Work

# NAME OF WORK:- Construction of road from Usman Behan to Chotiaryoon road mile 12/4-20/4, and Remaining work mile 0/0-12/4.

(Remaining work).

| S.NO: | Item of work. | Qty. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

1.	cut.

Earth work excavation in ashes, sand, soft soil or silt clearance including all lifts and lead.

1204960 Cft	@ RS: 1663.75 P % oCft					RS: 2004752/-

(Rs. One thousand six hundred sixty three & paisa seventy five)only

2.	fill

Earth work excavation in ashes, sand, soft soil or silt clearance including all lifts and leads, including dressing in levelling of earth work to design section etc complete (ashes, sand, silt or soft soil) including earth work compaction by sheep foot roller moisture content upto 85% density modified AASHO.

981174 Cft	@ RS: 3206.13 P % Cft					RS: 3145771/-

(Rs. Three thousand two hundred six & paisa one three) only

3.	FORMATION

Earth work for road embankment by bulldozers including ploughing mixing clod breaking dressing and compacting with optimum moisture contents lead upto 100’ and lift upto5’ in all types of soil except risk compaction 95-100% density.

(a)	95-100% density

132800 Cft	@ RS: 11977.82 P % oCft					RS: 1590654/-

(Rs. Eleven thousand nine hundred seventy seven & paisa eight two)only

(b)	85-100% density

492103 Cft	@ RS: 9448.05 P % oCft					RS: 4649414/-

(Rs. Nine thousand four hundred forty eight & paisa zero five)only

4.	SUB BASE COURSE

Preparing sub base course by supplying and spreading stone metal 1-1/2”-2” gauge of approved quality from approved quarry in required thickness to proper camber and grade including hand packing, filling voids with 20 Cft pit/canal sand and having plasticity index not more than 6% suitable quality watering and compacting to achieve 98-100% density as per modified AASHO specification Rate includes all cost of materials, T&P and carriage upto site of work.

72800 Cft	@ RS: 9340.58   % Cft					RS: 6799942/-

(Rs. Nine thousand three hundred forty & paisa five eight) only

| S.NO: | Item of work. | Qty. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

4.	BRICK ON END EDGING.

Laying on bricks on end edging including supply of 	9”x4½”x3” 1st class burnt bricks excavation for laying 	edging with small size parallel to the road Rate includes all cost of materials labour and carriage the site of work.

25700 Rft	@ RS: 3125.90 P % Rft					RS: 803356/-

(Rs. Three thousand one hundred twenty five & paisa nine zero) only

5.	BASE COURSE

Preparing base course by supplying and spreading stone metal of approved quality properly graded to maximum size 1-1½” in 	required thickness to proper camber and grade including supplying and spreading 15 Cft screening & non plastic quarry fines filling depressions with stone metal after initial rolling including watering	andcompacting the same as to achieve 100% density asper modified AASHO specification (Rate includes providing & using templates, screen, forms as directed) Rate includes all cost of materials T&P and carriage upto site of work.

101400 Cft	@ RS: 10641.55 P % Cft					RS: 10790532/-

(Rs. Ten thousand six hundred forty one & paisa fifty five) only

6.	tripple surface treatment.

Providing surface dressing 3 coats on new or existing surface with 40+25+14=79 lbs of bitumen of 80-100 and penetration 5.50+2.75+1.50=9.75 Cft crush bajri of 3/8”-3/4” gauge including cleaning the road surface rolling after each coat etc complete Rate includes all cost of materials T&P and carriage upto site of work.

186300 Sft	@ RS: 4283.54 P %Sft					RS: 7980235/-

(Rs. Four thousand two hundred eighty three & paisa five four) only

____________

Total for Bill No. 1.						Grand Total 	          Rs. 37764656/-

(Carried forwarded to Summary Page

Add/Deduct __________% above/below						Rs:

Deduct Difference cost bitumen 65.70 Tons			          		(-) 	Rs. 1231744/-

@ Rs. 18748 Per ton Rupees Thirteen Thousands thirteen only)

Note: No premium is allowed on difference cost of bitumen and Bricks.

____________

Grand Total 		Rs.

CONTRACTOR 					         Executive Engineer

Provincial Highways Division

Sanghar

BILL OF QUANTITIES (SAMPLE)

Bill No. 3 Culverts and Bridges/First and subsequent Floors.

# SCHEDULE-B

PART-B (TOE WALL.)

# NAME OF WORK:- Construction of road from Usman Behan to Chotiaryoon road mile 12/4-20/4, and Remaining work mile 0/0-12/4.

(Remaining work).

| S. No | Item of work | Quantity | Cft | Rs: | Rate | Units | Rs: | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

1.	Excavation in foundation of building/bridge and otherstructure i/c degbilling refilling around the structure with excavated earth watering and ramming lead upto one chainand life upto  5 feet (in ordinary soil)

800 Cft      	@ RS: 3176.25 P 0%oCft					RS: 2541/-

(Rupees: Three thousand one hundred seventy six & paisa twenty five) only

2.     	Cement Concrete bricks or stone ballast 1½”-2” gauge ratio 1:4:8

2400 Cft	@ RS: 9416.28 P %oCft					RS: 225991/-

(Rupees: Nine thousand four hundred sixteen & paisa twenty eight) only

3.	Pucca brick work in foundation and plinth in cement   sand mortar ration 1:4

13700 Cft   	@ RS: 12501.41P.%oCft					RS: 1712693/-

(Rs. Twelve thousand five hundred one &paisa forty one) only

4.	Cement plaster 1:3 upto 20’ height ½” thick.

2300 Sft      	@ RS: 2344.59 P % Cft					RS: 53926/-

(Rs. Two thousand three hundred forty four &paisa fifty nine) only

5.	Erection and removal of centering for RCC or CC plain (b) vertical wood

100 Sft	 	@ RS: 3127.41 % Sft						RS: 3127/-

(Rs. Three thousand one hundred twenty seven & paisa forty one) only

6.	Cement concrete plain including placing compacting finishing and curring complete 	including screening and washing of stone aggregate without shuttering ratio 1:2:4.

57 Cft	 	@ RS: 14429.25 % Sft					RS: 8225/-

(Rs. Fourteen thousand four hundred twenty nine &paisa two five)only

___________

Grand Total toe wall 200 Rft   	RS: 2006503/-

Total for Bill 3

Add/Deduct __________% above/below						Rs:

____________

Grand Total 		Rs.

CONTRACTOR						  EXECUTIVE ENGINEER

PROVINCIAL HIGHWAY DIVISION

# SANGHAR

BD-3

Appendix-D to Bid

BILL OF QUANTITIES (SAMPLE)

Bill No.

# NAME OF WORK:- Construction of road from Usman Behan to Chotiaryoon road mile 12/4-20/4, and Remaining work mile 0/0-12/4.

(New Work 12/4-20/4).

(Part-B)

| S.NO: | Item of work. | Qty. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

1.	cut.

Earth work excavation in ashes, sand, soft soil or silt clearance including all lifts and lead.

21689600 Cft	@ RS: 1663.75 P % oCft					RS: 36086072/-

(Rs. One thousand six hundred sixty three & paisa seventy five)only

2.	fill

Earth work excavation in ashes, sand, soft soil or silt clearance including all lifts and leads, including dressing in levelling of earth work to design section etc complete (ashes, sand, silt or soft soil) including earth work compaction by sheep foot roller moisture content upto 85% density modified AASHO.

5589313 Cft	@ RS: 3206.13 P % Cft					RS: 17920064/-

(Rs. Three thousand two hundred six & paisa one three) only

3.	FORMATION

Earth work for road embankment by bulldozers including ploughing mixing clod breaking dressing and compacting with optimum moisture contents lead upto 100’ and lift upto5’ in all types of soil except risk compaction 95-100% density.

(a)	95-100% density

1914300 Cft	@ RS: 11977.82 P % oCft					RS: 22929141/-

(Rs. Eleven thousand nine hundred seventy seven & paisa eight two)only

(b)	85-100% density

758700 Cft	@ RS: 9448.05 P % oCft					RS: 7168236/-

(Rs. Nine thousand four hundred forty eight & paisa zero five)only

4.	SUB BASE COURSE

Preparing sub base course by supplying and spreading stone metal 1-1/2”-2” gauge of approved quality from approved quarry in required thickness to proper camber and grade including hand packing, filling voids with 20 Cft pit/canal sand and having plasticity index not more than 6% suitable quality watering and compacting to achieve 98-100% density as per modified AASHO specification Rate includes all cost of materials, T&P and carriage upto site of work.

391600 Cft	@ RS: 9773.64   % Cft					RS: 38273574/-

(Rs. Nine thousand seven hundred seventy three & paisa six four) only

| S.NO: | Item of work. | Qty. | Rate. | Unit. | Amount. |
| --- | --- | --- | --- | --- | --- |

4.	BRICK ON END EDGING.

Laying on bricks on end edging including supply of 	9”x4½”x3” 1st class burnt bricks excavation for laying 	edging with small size parallel to the road Rate includes all cost of materials labour and carriage the site of work.

87000 Rft	@ RS: 3230.10 P % Rft					RS: 2810187/-

(Rs. Three thousand two hundred thirty & paisa one zero) only

5.	BASE COURSE

Preparing base course by supplying and spreading stone metal of approved quality properly graded to maximum size 1-1½” in 	required thickness to proper camber and grade including supplying and spreading 15 Cft screening & non plastic quarry fines filling depressions with stone metal after initial rolling including watering	andcompacting the same as to achieve 100% density asper modified AASHO specification (Rate includes providing & using templates, screen, forms as directed) Rate includes all cost of materials T&P and carriage upto site of work.

391600 Cft	@ RS: 11123.45 P % Cft					RS: 43559430/-

(Rs. Eleven thousand one hundred twenty three & paisa four five) only

6.	tripple surface treatment.

Providing surface dressing 3 coats on new or existing surface with 40+25+14=79 lbs of bitumen of 80-100 and penetration 5.50+2.75+1.50=9.75 Cft crush bajri of 3/8”-3/4” gauge including cleaning the road surface rolling after each coat etc complete Rate includes all cost of materials T&P and carriage upto site of work.

783100 Sft	@ RS: 4318.74 P %Sft					RS: 33820053/-

(Rs. Four thousand three hundred eighteen & paisa seven four) only

____________

Total for Bill No. 1.						Grand Total 	          Rs. 202566757/-

(Carried forwarded to Summary Page

Add/Deduct __________% above/below						Rs:

Deduct Difference cost bitumen 276.18 Tons			 	(-) 	Rs. 5177823/-

@ Rs. 18748 Per ton Rupees Thirteen Thousands thirteen only)

Note: No premium is allowed on difference cost of bitumen and Bricks.

____________

Grand Total 		Rs.

CONTRACTOR 					         Executive Engineer

Provincial Highways Division

Sanghar

BD-3

Appendix-D to Bid

BILL OF QUANTITIES (SAMPLE)

Bill No. 3 Culverts and Bridges/First and subsequent Floors.

# SCHEDULE-B

PART-B (3’ SPAN RCC CULVERT 15 Nos.)

# NAME OF WORK:- Construction of road from Usman Behan to Chotiaryoon road mile 12/4-20/4, and Remaining work mile 0/0-12/4.

(New Work 12/4-20/4).

# (Part B Culvert)

| S. No | Item of work | Quantity | Cft | Rs: | Rate | Units | Rs: | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

1.	Excavation in foundation of building/bridge and otherstructure i/c degbilling refilling around the structure with excavated earth watering and ramming lead upto one chainand life upto  5 feet (in ordinary soil)

1374 Cft      	@ RS: 2722.50 P 0%oCft					RS: 3741/-

(Rupees: two thousand seven hundred twenty two & paisa five zero) only

2.     	Cement Concrete bricks or stone ballast 1½”-2” gauge ratio 1:4:8

306 Cft	@ RS: 9416.28 P %oCft					RS: 28814

(Rupees: Nine thousand four hundred sixteen & paisa twenty eight) only

3.	Pucca brick work in foundation and plinth in cement   sand mortar ration 1:4

590 Cft   	@ RS: 12501.41P.%oCft					RS: 73758/-

(Rs. Twelve thousand five hundred one &paisa forty one) only

4.	Cement Concrete plain i/c placing compacting finishing and currying etc complete

screening  and washing of stone aggregate w/o shuttering ratio 1:3:4.

91 Cft      	@ RS: 14429.25 P % Cft					RS: 13131/-

(Rs. Fourteen thousand four hundred twenty nine &paisa twenty five) only

5.      	Fabrication of mailed steel rein four cement for cement concrete including cutting bending and laying in position making joints and fastening removal of rust from bars.

6.71 Cwt      	@ RS: 4820.20 P. Cwt					RS: 32344/-

(Rs. Four thousand eight hundred twenty & paisa twenty) only

6.    	RCC work i/c all labour and material except the cost of steel reinforcement & its labour for bending and bindings which will be paid separately. This rates also i/cs all kind forms, moulds lifting shuttering curing rendering and insisting the exposed surface (including screening and 	washing of shingle) RCC work in roof, slab beams columns, rafts lintels & other structural members laid in situ precut in position ratio 1:2:4

107 Cft	@ RS: 337.00 P Cft						RS: 36059/-

(Rs. Three hundred thirty seven)only

7.	Erection and removal of centering for RCC or CC plain (b) vertical wood

28 Sft	 	@ RS: 3127.41 % Sft						RS: 876/-

(Rs. Three thousand one hundred twenty seven & paisa forty one) only

| S. No | Item of work | Quantity | Cft | Rs: | Rate | Units | Rs: | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

5.	Cement plaster 1:3 upto 20’ height 1/2" thick

319 Sft	 	@ RS: 2344.59 % Sft						RS: 7479/-

(Rs. Two thousand three hundred forty four &paisa fifty nine)only

4.	Brick on edge flooring laid in 1:6 cement sand mortar over of ½” thick.

90 Sft		@ RS: 5256.63 P.%Sft					RS: 4731/-

(Rs. Five thousand two hundred fifty six & paisa sixty three) only

___________

Grand Total of 1 No culvert   	RS: 200933/-

Total for Bill 3				Grand Total of 15 Nos culvert  	RS: 3013995/-

Add/Deduct __________% above/below						Rs:

____________

Grand Total 		Rs.

CONTRACTOR						  EXECUTIVE ENGINEER

PROVINCIAL HIGHWAY DIVISION

# SANGHAR

BILL OF QUANTITIES (SAMPLE)

Bill No. 3 Culverts and Bridges/First and subsequent Floors.

# SCHEDULE-B

PART-B (TOE WALL.)

# NAME OF WORK:- Construction of road from Usman Behan to Chotiaryoon road mile 12/4-20/4, and Remaining work mile 0/0-12/4.

(Par-B). New Work 12/4-20/4.

| S. No | Item of work | Quantity | Cft | Rs: | Rate | Units | Rs: | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

1.	Excavation in foundation of building/bridge and otherstructure i/c degbilling refilling around the structure with excavated earth watering and ramming lead upto one chainand life upto  5 feet (in ordinary soil)

8000 Cft      	@ RS: 3176.25 P 0%oCft					RS: 25410/-

(Rupees: Three thousand one hundred seventy six & paisa twenty five) only

2.     	Cement Concrete bricks or stone ballast 1½”-2” gauge ratio 1:4:8

24000 Cft	@ RS: 9416.28 P %oCft					RS: 2259907/-

(Rupees: Nine thousand four hundred sixteen & paisa twenty eight) only

3.	Pucca brick work in foundation and plinth in cement   sand mortar ration 1:4

136995 Cft   	@ RS: 12501.41P.%oCft					RS: 17126307/-

(Rs. Twelve thousand five hundred one &paisa forty one) only

4.	Cement plaster 1:3 upto 20’ height ½” thick.

23000 Sft      	@ RS: 2344.59 P % Cft					RS: 539256/-

(Rs. Two thousand three hundred forty four &paisa fifty nine) only

5.	Erection and removal of centering for RCC or CC plain (b) vertical wood

1000 Sft	 	@ RS: 3127.41 % Sft					RS: 31274/-

(Rs. Three thousand one hundred twenty seven & paisa forty one) only

6.	Cement concrete plain including placing compacting finishing and curring complete 	including screening and washing of stone aggregate without shuttering ratio 1:2:4.

565 Cft	 	@ RS: 14429.25 % Sft				RS: 81525/-

(Rs. Fourteen thousand four hundred twenty nine &paisa two five)only

___________

Grand Total toe wall 200 Rft       RS: 20063679/-

Total for Bill 3

Add/Deduct __________% above/below						Rs:

____________

Grand Total 		Rs.

CONTRACTOR						  EXECUTIVE ENGINEER

PROVINCIAL HIGHWAY DIVISION

# SANGHAR