PUBLIC HEALTH ENGINEERING DEPARTMENT

GOVERNMENT OF SINDH

PUBLIC HEALTH ENGINEERING DIVISION TANDO MUHAMMAD KHAN

BIDDING DOCUMENTS WITH FINANCIAL PROPOSAL

FOR

NAME OF WORK:-	Construction of Surface Drains Type A & B i/c C.C. Block for Rural Drainage Scheme Nabi Bux Leghari District Tando Muhammad Khan

| Name of Department: | Public Health Engineering Department. |
| --- | --- |
| Name of Procuring Agency: | Executive Engineer, Public Health Engg: Division Tando Muhammad Khan |

Document  issued to:-	____________________________________________________________

TENDER FOR THE WORK

Issue to M/s_______________________Tender fee for Rs.___________________ Recieved Vide.___________________ D.R No.__________Dated:_____________ _______________________________ Dated of opening of Tender_____________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVN:

TANDO MUHAMMAD KHAN

I/We hereby tender the execution for the Construction of Surface Drains Type A & B i/c C.C. Block for Rural Drainage Scheme Nabi Bux Leghari District Tando Muhammad Khan under written memorandum within the specified time in such memorandum at.

Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to be carried out and in all respect with the specification designed and instructions writing referred to in Rule thereof.

a).	General Description: Drainage Schemes Nabi Bux Leghari

b).	Estimated Cost:				Rs: 4.839 Millions

c).	Earnest Money 2% Call Deposit:		Rs: 0.097

g).	Time of Completion				6 Months

Should be this tender be accepted I/We hereby agree to abide be the fulfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Tando Muhammad Khan deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division Tando Muhammad Khan on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tender is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Tando Muhammad Khan will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

| BILL OF QUANTITY |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ( B )DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES. |  |  |  |  |  |  |  |  |  |  |  |  |
| Name Of Work:- |  |  |  |  | CONSTRUCTION OF SURFACE DRAINS TYPE -A & B I/C C.C BLOCK FOR RURAL DRAINAGE SCHEME NABI BUX LEGHARI DISTT: TANDO MUHAMMAD KHAN (P-II) |  |  |  |  |  |  |  |
| S: # | ITEM |  |  |  |  |  |  |  | QUANTITY | RATE | UNIT | AMOUNT |
|  | GROUP "A" SURFACE DRAINS |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Excavation in foundation of building bridges and other structure i/c dagbelling dressing, filling around the structure with excavated earth wateringand ramming lead upto 5' ft. (b) in ordinary soil) (GSI No. 18(b), P/4). |  |  |  |  |  |  |  | 10670.83 Cft | Rs:-3176/25 | P.%0 Cft | Rs:- 33893/- |
| 2 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/17). i) 1:4:8 |  |  |  |  |  |  |  | 2137.60 Cft | Rs:-11288/75 | P.% Cft | Rs:- 241308/- |
| 3 | Pucca brik work in foundation and plinth in cement sand morter 1:6.(G.S.I.No: 4(I) P/3. |  |  |  |  |  |  |  | 5999.40 Cft | Rs:-11948/36 | P.% Cft | Rs:- 716830/- |
| 4 | Construction of standrad open drain cunette block of cement concrete (1:2:4) in situ to the design profile I/c cost of mould as per drawing I/c applying of floating coats of cement 1/32" thick to exposed face finished smooth curring etc complete as per detailed rawing. (P.H.S.I.No: D (1) P/58). |  |  |  |  |  |  |  |  |  |  |  |
|  | Type-I |  |  |  |  |  |  |  | 2120.0 Rft | Rs:- 94/- | P.Rft | Rs:- 199280/- |
|  | Type-II |  |  |  |  |  |  |  | 1140.0 Rft | Rs:-174/- | P.Rft | Rs:- 198360/- |
| 5 | Cement plaster 1:4 upto 12' height 1/2" thick . (G.S.I.No: 11 (b) P/57). |  |  |  |  |  |  |  | 10258.80 Sft | Rs:-2283/93 | P.% Sft | Rs:- 234304/- |
| 6 | R.C.C work I/c all labour & material except the cost of steel reinforcement & its labour of binding bending which will be paid separately. This rate also I/c all kind of forms mould lifting shuttering curing rendering and washing of shinmgle(a) R.C work in roof slab beams columns rafts lintel & other structure members laid in situ or prcast laid in position complete in all respect Ratio1:2:4 90 Lbs cement 2 Cft sand 4Cft shingle 1/8" to 1/4" gauge. (G.S.I.No:6 P/17) |  |  |  |  |  |  |  | 397.17 Cft | Rs:-337/- | P.Cft | Rs:- 133846/- |
| 7 | Fabrication of mild steel reinforcement for C.C I/c cutting bending laying position making & jointing I/c cost of bending laying in position making fastening I/c cost of binding wire also I/c removal of rust from bars. (G.S.I.No: 7 (ii) P/19). |  |  |  |  |  |  |  | 14.18 Cwt | Rs:-5001/70 | P.Cwt | Rs:- 70947/- |
|  |  |  |  |  |  |  |  |  |  | TOTAL | "A" | Rs: 1828769/- |
|  | GROUP "B" C.C BLOCK |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Barrow pit excavation umdressed lead up to 100 ft (a) ordinary Soil.(G.S.I.No:3 P/1. |  |  |  |  |  |  |  | 21929.0 Cft | Rs:-2117/50 | P.%0 Cft | Rs:- 46435/- |
| 2 | Earth work compection (soft ordinary or hard soil) laying earth in 6" layer levelling & dressing etc complete (b) ordinary Soil.(G.S.I.No: 13 (a) P/3. |  |  |  |  |  |  |  | 21929.0 Cft | Rs:-354/- | P.%0 Cft | Rs:- 7763/- |
| 3 | Carriageof 100 cft/5 tons of all material like stone aggrate spawl ,coal,lime,surkhi etc BG Rail fastening and crossing bridge, Girders,Pipes, Sheets,Raiks ,M.S.Bars etc or 1000 NosBriks10"x5"x3" or 1000 Nos Tiles,12"x6"x2" or 150 cft of Timbers or 100 Munds of fuel wood by truks or any other meen owned by the contractor. |  |  |  |  |  |  |  | 21929.0 Cft | Rs:-579/41 | P.% Cft | Rs:- 127059/- |
| 4 | Erection &Removal of centering for R.C.C or plain cement concrete work of Partal wood (Second class ) vertical. (Partal wood) (G.S.I.No: 19 P/18). |  |  |  |  |  |  |  | 1249.0 Cft | Rs:-3127/41 | P.% Sft | Rs:- 39061/- |
| 5 | Cement concrete brick or stone ballast 11/2" to 2" gauge ratio 1:4:8.(G.S.I.No:4 P/16). |  |  |  |  |  |  |  | 8606.40 Cft | Rs:-9416/28 | P.% Cft | Rs:- 810403/- |
| 6 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/16). |  |  |  |  |  |  |  | 6520.0 Cft | Rs:-14429/25 | P.% Cft | Rs:- 940787/- |
|  |  |  |  |  |  |  |  |  |  |  | TOTAL | Rs:- 1971508/- |
|  | Total ( A+B ) Rs:- 3800277/- |  |  |  |  |  |  |  |  |  |  |  |
|  | ________%Above/Below on the rates of CSR |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Amount to be added/deducted on the basis Of premium quoted_______________Total |  |  |  |  |  |
|  | Total ( A+B) Rs:- _____________________________________________________ _____________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
|  | CONDITION |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 |  | Any error provision in description of item,qty and unit will be governed by relevent schdule of rates and relevent rates analysis |  |  |  |  |  |  |  |  |  |
|  | 2 |  | The decision of the Superintending Engineer will be install and biding and all the parties in any shape. |  |  |  |  |  |  |  |  |  |
|  | 3 |  | The rate should be inclusive of all taxes |  |  |  |  |  |  |  |  |  |
|  | 4 |  | No separate caring will be paid |  |  |  |  |  |  |  |  |  |
|  | 5 |  | No premium will be allowed on Non-schedule item |  |  |  |  |  |  |  |  |  |
|  | CONTRACTOR |  |  |  |  |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |  |  |  |