## Summary
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
SUMMARY OF EXTERNAL WORKS
S. No. | Particular | Total Amount
11.1 | Amount of Civil Works
11.2 | Amount of Plumbing Works
11.3 | Amount of Electrical Works
Total Amount of Works | Amount of Building Works | * * *
#REF!
Note : | * * * This amount shall be caried over to Main Summary (Package-II)
|  | Area | 36320
|  | P. Sft. | #VALUE!

## Sum Ext. Civil
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
EXTERNAL WORKS
SUB-SUMMARY OF CIVIL WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
11.1.1 | External Works | 54831025.0853 |  |  | ----
| Amount of Schedule Items | 54831025.0853 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Civil Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of External Works

## Ext. Works - Civil
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
A | Road Works
1 | Compaction of Natural Ground upto a depth of 20cm (8" inch) below the natural ground level compacted upto 90% density modified AASHTO. (Page No.1, Item No.2) | %Sft | 177.56 | 433627 | 769948.1012
2 | Preparation of sub-grade including earth ecavation or filling to an average depth of 9" dressing to camber and consolidation with power roller. (Page No. 2, Item No.9) | %Sft | 526.28 | 159885 | 841442.778
3 | Preparing sub-base course by supplying and spreading stone metal 1-1/2" to 2" guage of approved quality from approved quarry in required thickenss to proper camber and grade including hand packing filling voide with 20 cft of pit/canal sand having plasticity index not more than 6% of suitable quslity watering and compacting to achieve 98-100% denaity as per modified AASHO specifiecation (Rate includes all cost of materials T&P and carriage upto 3 chains) (Page No.3 Item No.11-a) | %Cft | 4381.76 | 77923 | 3414398.8448
4 | Preparing base course i/c supplying and spreading stone metal of approved quality properly graded to maximum size of 1-1/2" in required thickness to proper camber and grade including supplying and spreading 15 Cft: screenings and non plastic quarry fines, filling depressions with stone metal after initial rolling including watering and compaction the same so as to achieve 100% density as per modified AASHTO specifications. (Rate includes providing and using templates, camber plates, screens, forms as directed. (Rate includes all cost of materials T&P and carriage upto 3 chins). (Page No.5, Item No.13-a) | %Cft | 5252.41 | 52891 | 2778052.1731
5 | Applying priming coat or tact coat with approved binder at the required rate including cleaning the road surface throughly, heating to the required temperature and spraying the binder with pressure as directred etc. complete. (Page No.12 Item No.31) | %Sft | 64.96 | 159885 | 103861.296
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
6 | Providing Bitumen for prime coat i/c cartage upto site of work. (Page No. 7, Item No. 123-I sch. of cartage 2011 V-III Part-III) | Ton | 86363.75 | 159 | 13731836.25
7 | 2" thick Aspahlt Concrete Wearing Course Plant Mix: Laying to proper line and grade plant mixed Asphalt concrete paver finished (Hydraulic/Electronic control) Prepared to specified fomula according to job mix formula approved by Engineer incharge including rolling and finishing to properline, grade level and camber etc,(Machinery with POLs cost of material carriage). (Page No.10 Item No.24-B) | %Sft | 8274.73 | 159885 | 13230052.0605
B | Walk Way
1 | Providing and fixing precast Edge Block 3750 PSI industrial Made size 6 inches thick x 12 inches long x 12 inches high including the cost of cartage, excavation form work for haunching 1450 PSI lean concrete, 2250 PSI concrete for hauching 1:4 cement sand mortor. (Page No.16 Item No.14) | P.Rft | 297.01 | 20429 | 6067617.29
2 | Earth work embankment from borrow pits including laying in 6" layers, clod breaking ramming dressing complete led upto 100 ft. lift upto 5 ft. (Inordinary soil) (Page No.1 Item No.5) | %0Cft | 2208.37 | 478605 | 1056936.9238
3 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge. (b) Ratio 1:4:8 [Page No.15, Item No.4(B)] | %Cft | 9416 | 9286 | 874369.76
4 | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (Page No.49, Item No.72) | P.Sft | 223.97 | 6460 | 1446846.2
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city / quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (Page No.49, Item No.71) | P.Sft | 199.77 | 19864 | 3968231.28
6 | Laying soft soil / sand in 6" layers, levelling, dressing & watering for compaction etc. complete. (Page No.18, Item No.24-b(b) | %0Cft | 354 | 13323 | 4716.342
7 | Preparing the surface and painting with enamel paint (including 2nd & subsequent coat) (Page No.73, Item No.31-A + B + B) | %Sft | 1449.14 | 20995 | 304246.943
C | Lawn
1 | Lavelling, dressing and making lawns. (Page No.103, Item No.42) | %Sft | 181.5 | 263729 | 478668.135
2 | P/L Cow dung manure (Page No.104, Item No.44) | %Cft | 289.12 | 4602 | 13305.3024
3 | Turfing slops of banks or lawns with grass sods including ploughing laying, setting and watering (Turf got from within a distance of 5 miles and maintenance for 15 days) (Page No.5, Item No.27) | %Sft | 1210 | 263729 | 3191120.9
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
D | Septic / Soakage Pit
1 | EXCAVATION IN SOFT SOIL
1.1 | Excavation for pipe line in trenches and pits in all kind of soils of murum i/c trimming and dressing sides to true alignment and shap levelling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer incharge. Providing fence guards, light, flags and temporary crossings for non-vehiclar traffic where ever required lift upto 5'ft. (1.52m) and lead upto one chain (30.5m) (Page N0. 62 Item No. 5) | %0Cft | 4650 | 3605 | 16763.25
1.2 | Add for additional lift of every three ft or part there of in item No.1 to 15(A&B) for excavation for pipelines & storage tanks trenches and pits. 5'0"ft to 8'-0" (Page No. 62, 74 Item No. 5, 16) | %0Cft | 5200 | 2163 | 11247.6
1.3 | Add for additional lift of every three ft or part there of in item No.1 to 15(A&B) for excavation for pipelines & storage tanks trenches and pits. 8'-0"ft to 11'-0" (Page No. 62,74,74 Item No. 5,16,16) | %0Cft | 5750 | 2163 | 12437.25
1.4 | Add for additional lift of every three ft or part there of in item No.1 to 15(A&B) for excavation for pipelines & storage tanks trenches and pits. 11'-0"ft to 14'-0" (Page No. 62,74,74,74 Item No. 5,16,16,16) | %0Cft | 6300 | 2163 | 13626.9
1.5 | Add for additional lift of every three ft or part there of in item No.1 to 15(A&B) for excavation for pipelines & storage tanks trenches and pits. 14'-0"ft to 17'-0" (Page No. 62,74,74,74 Item No. 5,16,16,16,16) | %0Cft | 6850 | 2163 | 14816.55
1.6 | Add for additional lift of every three ft or part there of in item No.1 to 15(A&B) for excavation for pipelines & storage tanks trenches and pits. 17'-0"ft to 20'-0" (Page No.62,74,74,74 Item No.5,16,16,16,16,16) | %0Cft | 7400 | 2163 | 16006.2
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
2 | IMPORTED EARTH FILLING
| Filling watering and ramming earth under floor with new earth excavated from outside lead upto one chain and lift upto 5 ft. (Page No. 4, Item No. 22) lead 5 feet. | %0Cft | 3630 | 3800 | 13794
3 | BITUMEN COATING
| Bitumen coating to plastered and cement concrete surface. (Page No. 71, Item No. 9) | %Sft | 778.09 | 475 | 3695.9275
4 | CC 1:4:8
| Cement concrete brick or stone ballast 1-1/2" to 2" guage. (Page No. 16, Item No. 5-i) Ratio 1:4:8 | %Cft | 11288.75 | 361 | 40752.3875
5 | CC 1:2:4 (FINISH FLOOR)
| Cement concrete plain including placing compacting, finishing and curing complete including screening and washing of stone aggregate without shuttering. (Page No. 16, Item No. 5-F) Ratio 1:2:4 | %Cft | 14429.25 | 570 | 82246.725
6 | PUCCA BRICK WORK
| Pacca brick work in ground floor in; (Specs. 21.1 Cement Sand Mortar (1:6). [Page No. 21, Item No. 5(c)] | %Cft | 13227.41 | 25 | 3306.8525
7 | REINFORCED CEMENT CONCRETE
| Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering. (Page No. 16, Item No. 6) | Cft | 337 | 3135 | 1056495
(a). | R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
(i). | Ratio (1:2:4) 90 Lbs. Cement 2 Cft. Sand 4 Cft. Shingle ⅛" to ¼" gauge [Page No. 16, Item No. 6(a)I]
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
8 | STEEL REINFORCEMENT
| Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including the cost of binding wire (also includes removal of rust from bars) (Page No. 17, Item No. 8-a) Tor bar | Cwt | 4820.2 | 47 | 226549.4
| (b) TOR Steel | Cwt | 5001.7 | 190 | 950323
9 | 1/2" THICK SURFACE RENDERING
| Cement Sand Plaster 1:4 upto 20' height (Specs. 25.1-25.6) (a). ½" thick (Page No. 52, Item No. 11-b) | %Sft | 2283.93 | 1710 | 39055.203
10 | 3/4" THICK SURFACE RENDERING
| Cement Sand Plaster 1:4 upto 20' height (Specs. 25.1-25.6) (a). ½" thick (Page No. 52, Item No. 11-c) | %Sft | 3015.76 | 475 | 14324.86
11 | FLOORING
| Stone filling dry hand packed as filling under flooring. (Page No. 31, Item No. 16) | %Cft | 3300 | 342 | 11286
12 | TERMITE PROOFING
| Providing Anti-termmite by Neptachlar 0.5% Emulsion as an overall per construction treatment in slab type construction under the slab and along attached perches or entrance etc,complete as per directions of Enginner Incharge. (Page No.109 Item No.92) | Per Sft | 9.74 | 760 | 7402.4
13 | Providing C.I Manhole cover & farme i/c cost of material ect. (Page No.35 Item No.J-1) | Cwt | 1 | 6635 | 6635
14 | C.I. VENTILATOR
| P/F C.I. ventilator (weight not less than 80 Lbs/each) in tank roof of approved design with water tight joint i/c painting etc. complete. (Page No. 55 Item No. 4) | Per Sft | 4870 | 3 | 14610
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 54831025.0853
* | This Amount is carried over to sub-summary of Civil Work (External Works)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.1.1: External Works - Civil Works
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
A | Lawn
1 | Providing and spreading sweet earth 9" thick i/c levelling & dressing etc. complete | Cft |  | 23110
2 | Supplying and planting the specified plants as per requirements with and including excavating the pits duly filled with sweet earth mixed with cow dung manure, placing the plant in secured position, watering and maintenance for 6 months etc. complete in all respect as approved and directed by the each architect. Note: Cost of supply sweet earth and manure will be paid separately. | Nos. |  | 427
B | Septic / Soakage Pit
1 | Providing and fixing in RCC walls M.S/ Mild steel foot rest 3/4" dia of 24 inches length and 6 inches projected respect as per instruction of engineer. | Each |  | 33
2 | Construction of 8'-0" dia soakge pit as per drawing and specification complete in all respect as per instruction of the Engineer | Each |  | 2
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Civil Work (External Works)

## Sum Ext. Plumbing
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
EXTERNAL WORKS
SUB-SUMMARY OF PLUMBING WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
11.2.1 | External Works | 7699313.2775 |  |  | ----
| Amount of Schedule Items | 7699313.2775 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Plumbing Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of External Works

## Ext Plumbing
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.2.1: External Works - Plumbing Works
PLUMBING WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | EXCAVATION
| Excavation for pipe line in terenches and pit in all kind of soils of murum including trimming and dressing sides to true alignment and shape levelling of bed of terenches to correct level and grade,cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards,light,flags and temporary crossings for non-vehicular traffic where ever required lift upto 5'ft (1.52m) and lead uptop one chain(30.5m) (Page No.62 Item No.5) | %oCft | 4650 | 20187 | 93869.55
2 | BED CONCRETE
| Cement concrete plain including compactiog finishing and curing complete including screening and washing at stone aggreate with shuttering.(Page No.16 Item No.5-i) 1:4:8 | %Cft | 11288.75 | 1211 | 136706.7625
3 | BACK FILLING
| Filling,watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5Ft (Page # 4 Item # 21 | %oCft | 1512.5 | 16150 | 24426.875
4 | RCC PIPE
Providing RCC pipe woth collars class "B" and digging the trenches to required depth & fixing in position including cutting, fitting & jointing with maxphalt composition & cement mortar 1:1 and testing with water pressure to a head of 4 feet above the top of the highest pipe & refilling with excavated stuff.
| 6" dia pipe (Page No. 24 Item No. 2-c) | Rft | 199.25 | 1211 | 241291.75
| 9" dia pipe (Page No. 24 Item No. 2-d) | Rft | 250.6 | 2850 | 714210
| 12" dia pipe (Page No. 24 Item No. 2-e) | Rft | 401.97 | 1900 | 763743
| 15" dia pipe (Page No. 24 Item No. 2-f) | Rft | 510.11 | 1475 | 752412.25
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.2.1: External Works - Plumbing Works
PLUMBING WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | MANHOLE
| Constructing manhole for the required dia of circular sewer and 7'-9" depth with walls of BB in cement mortor 1:3 cement plastered 1:3 ,1/2" thick over benching and channel i/c fixing C.I manhole cover with frame of clear opening 2"x2"(610x610 mm) of 4.5 cwt embaded in plain C.C 1:2 and two way reinforced 6" thickness i/c fixing 1"(25 mm) dia M.S steps 6" (150 mm) wide projecting 4" ( 102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc, complete as per standard specification and drawing.(page No 47 itemNo 2-a) 4"to 9" dia 4' x 3'-0" x 7'-9" | Each | 42745 | 66 | 2821170
6 | SEWERAGE CONNECTION
| Making connection with the existing manholes including the bost of cutting holes in wall making them good in cement concrete 1:2:4 and making the required channel etc.complete.(Page No.31 Item No.3) | Each | 180 | 133 | 23940
7 | WATER CONNECTION
| Making the connection with public Health mains for the house hold filling with M.S clamps,socket screw etc complete.(Page No.18 Item No.10 c) | Each | 526.9 | 24 | 12645.6
8 | VALVES
Providing and fixing full way gun metal balves with wheel threaded or flabged ends with rubber washer.
| 3" dia (Page No.17 Item No.4-b-viii) | Each | 1940.84 | 6 | 11645.04
| 2" dia (Page No. 17 Item No. 4-b-vi) | Each | 1025.42 | 24 | 24610.08
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.2.1: External Works - Plumbing Works
PLUMBING WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
9 | MAN HOLE
| Constructing manhole or inspection chamber for the required diameter of circular sewer and 3'-6" depth with walls of BB in cement mortor 1:3 cement plastered 1:3 ,1/2" thick,inside of wall and 1" over benching and channel i/c fixing C.I manhole cover with frame of clear opening 1-1/2'x1-1/2'(457x457 mm) of 1.75 cwt embaded in plain C.C 1:2:4 and two way reinforced 6" thickness i/c fixing 1"(25 mm) dia M.S steps 6" (150 mm) wide projecting 4" ( 102 mm) from the face of wall at 12" (305 mm) C/C duly painted etc, complete as per standard specification and drawing.(page No 47 itemNo 2-b) 4"to 12" dia 4'-6"x3'x7'-9" | Each | 45049 | 23 | 1036127
10 | M H COVER
| Manufacturing and supplying 0f 24"RCC manhole cover cast in 1:2:4 concrete ratio 3 inch deep at center, reinforced with 1/2" dia tor steel bars at 4" center to center welded to 3/16" thick 2" wide M.S plate two hook of 3/8" dia tor bar including compacting including curing and transportation with in 10 miles.(Page No.31 Item No.1-b) | Each | 1051.25 | 89 | 93561.25
11 | VALVE CHAMBER
| Providing chambers 15" x 9" (inside dimensions) x 24" deep for stop cocks and valve,with 4-1/2" thick burnt brick masonary walls in 1:6 CM 6"thick C.C. 1:4:8 in foundation 1/2"thick cement plaster in 1:3 C.M to all inside wall surface and to top 1" thick C.C 1:2:4 flooring complete with cast iron hinged cover and frame 9" x 6" (inside) clear opening (Wt:1/2 Qr) etc. fixed in cement concrete 1:2:4 including curing, excavation back filling and disposal of earth etc.complete. (page No.20 Item No.3 | Each | 2233.02 | 6 | 13398.12
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.2.1: External Works - Plumbing Works
PLUMBING WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
12 | 2" dia UPVC PIPES
| Providing and laying 2" dia UPVC pipe of class 'D' fixing in trench including cutting fitting and jointing with solvent cement including testing with water to a head of 122 meter or 400ft.(Page No.24 item No.6-f | Rft | 65 | 3230 | 209950
13 | 3" dia UPVC PIPES
| Providing and laying 3" dia UPVC pipe of class 'D' fixing in trench including cutting fitting and jointing with solvent cement including testing with water to a head of 122 meter or 400ft.(Page No.24 item No.6-h | Rft | 226 | 2018 | 456068
14 | 4" dia UPVC PIPES
| Providing and laying 4" diaUPVC pipe of class 'D' fixing in trench including cutting fitting and jointing with solvent cement including testing with water to a head of 122 meter or 400ft.(Page No.24 item No.6-h | Rft | 334 | 807 | 269538
TOTAL COST OF PLUMBING WORKS - SCHEDULE ITEM |  |  |  | * | 7699313.2775
* | This Amount is carried over to sub-summary of Plumbing Work (External Works)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.2.1: External Works - Plumbing Works
PLUMBING WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Natural Gas networking as per drawing and instruction of the Engineer. | Job |  | L.S
TOTAL COST OF PLUMNING WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Plumbing Work (External Works)

## Sum Ext. Electric
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
EXTERNAL WORKS
SUB-SUMMARY OF ELECTRICAL WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
11.3.1 | 125 KVA Pole Mounted Transformer & Assembly | ---- |  |  | ----
11.3.2 | H.T. & L.T. Over Head Distribution System | ---- |  |  | ----
11.3.3 | D.G. Sets & Change Over | ---- |  |  | ----
| Amount of Schedule & Non Schedule Items | ---- | ---- |  | ----
| …………….% Above / Below / At Par | ---- | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items | ---- |  |  | ----
Total Amount of Electrical Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of External Works

## Ext Electrical - PMT
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.3.1: External Works - Electrical Works - 125 KVA Pole Mounted Transformer & Assembly
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Supply, installation of 125 KVA PMT on Pole mounting platform, including following accessories and material, complete as per KESC standard with all respects.
1.1 | TRANSFORMER 125KVA | Each |  | 1
1.2 | H.T. POLE Hot deep Galvanized Tubular | Each |  | 2
1.3 | DOUBLE POLE PLATFORM | Each |  | 1
1.4 | CROSS -ARM | Each |  | 3
1.5 | PIN INSULATEOR | Each |  | 9
1.6 | PIN FOR PIN INSULATOR | Each |  | 9
1.7 | 11 KV DROP OUT CUTOUT | Each |  | 3
1.8 | D-STRIP SHAKLE ASSEMBLY | Each |  | 12
1.9 | SPOOL INSULATOR | Each |  | 12
1.1 | P.G. CONNECTOR TYPE T-150 | Each |  | 12
1.11 | BOLT 6"X5/8" | Each |  | 12
1.12 | BOLT 9" X 5/8" | Each |  | 12
1.13 | BOLT 12" X 5/8" | Each |  | 2
1.14 | ROUND WASHER | Each |  | 20
1.15 | EARTH SET | Each |  | 2
1.16 | GI WIRE 10mm DIA FOR EARTH | Kg |  | 9
1.17 | LIGHTNING ARRESTOR | Each |  | 2
1.18 | AA ANT CONDUCTOR | Meter |  | 25
1.19 | AAC WASP CONDUCTOR FOR LT JUMPERS | Meter |  | 25
1.2 | DANGER PLATE WITH FITTING | Each |  | 2
Total Cost of 125 KVA Pole Mounted Transformer & Assembly (01 No.)
A- | Total Cost of 125 KVA Pole Mounted Transformer & Assembly (05 Nos.)
B- | Cost of installation of 125 KVA Pole Mounted Transformer & Assembly (05 Nos.)
TOTAL COST OF ELECTRICAL WORKS - NON-SCHEDULE ITEM (A+B) |  |  |  | *
* | This Amount is carried over to sub-summary of Electrical Work (External Works)

## Ext Electrical - HT & LT
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.3.2: External Works - Electrical Works - H.T. & L.T. Over Head Distribution System
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Supply, installation of H.T. OVERHEAD Aerial Line, Pole, accessories and material, complete as per WAPDA standard specification with all respects.
1.1 | H.T. POLE Hot deep Galvanized Tubular 36'-0", including foundation etc., as per WAPDA standard | Nos |  | 30
1.2 | CROSS ARM ASSEMBLY | Nos |  | 30
1.3 | PIN INSULATOR | Nos |  | 90
1.4 | INSULATOR PIN WITH NUT, WASHER ETC. | Nos |  | 90
1.5 | DISC INSULATOR | Nos |  | 90
1.6 | DEAD END CLAMP | Nos |  | 10
1.7 | EARTHING ROD 10'-0" | Nos |  | 10
1.8 | STAY SET COMPLETE | Nos |  | 6
1.9 | STAY WIRE 10mm | Kg |  | 150
1.1 | P.G. CONNECTOR | Nos |  | 150
1.11 | NUT & BOLTS 6X5/8" | Nos |  | 100
1.12 | EYE NUT 5/8" | Nos |  | 100
1.13 | SHAKLE INSULATOR | Nos |  | 120
1.14 | M.S. D STRAPS | Nos |  | 120
1.15 | NUT & BOLTS 2"X5/8" | Nos |  | 100
1.16 | NUT & BOLTS 6"X5/8" | Nos |  | 100
1.17 | NUT & BOLTS 14"X5/8" | Nos |  | 100
1.18 | H.T. CONDUCTOR Dog (Km) | Km |  | 1.5
1.19 | H.T. CONDUCTOR RABBIT (Km) | Km |  | 1.5
1.2 | A.A. CONDUCTOR ANT | Km |  | 1.5
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.3.2: External Works - Electrical Works - H.T. & L.T. Over Head Distribution System
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
2 | Supply, installation of L.T. OVERHEAD Aerial Line, Pole, accessories and material, complete as per WAPDA standard specification with all respects.
2.1 | L.T. POLE Hot deep Galvanized Tubular 31'-0", including foundation etc., as per WAPDA standard | Nos |  | 6
2.2 | EARTHING ROD 10'-0" | Nos |  | 8
2.3 | STAY SET COMPLETE | Nos |  | 2
2.4 | STAY WIRE 10mm | Kg |  | 30
2.5 | P.G. CONNECTOR | Nos |  | 50
2.6 | DEAD END CLAMP | Nos |  | 5
2.7 | EYE NUT 5/8" | Nos |  | 20
2.8 | SHAKLE INSULATOR | Nos |  | 60
2.9 | M.S. D STRAPS | Nos |  | 24
2.1 | NUT & BOLTS 2"X5/8" | Nos |  | 100
2.11 | NUT & BOLTS 6"X5/8" | Nos |  | 100
2.12 | A.A. CONDUCTOR WASP (Km) | Km |  | 1.5
2.13 | A.A. CONDUCTOR ANT | Km |  | 1.5
3 | Miscellaneous Items
3.1 | STREET LIGHT FIXTURE WITH 150W SON LAMP | Nos |  | 30
3.2 | BRACKET FOR STREET LIGHT & FITTING | Nos |  | 30
3.3 | 300sq.mm 3- CORE (XLPE) H.T. CABLE | Meter |  | 250
3.4 | H.T. CABLE KIT FOR OUTDOOR | Nos |  | 2
3.5 | CABLE TRENCH EXCAVATION & BACK FILLING | Meter |  | 50
3.6 | 5" DIA UPVC PROTECTIVE PIPE | Meter |  | 70
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.3.2: External Works - Electrical Works - H.T. & L.T. Over Head Distribution System
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
3.7 | 630A VCB PANEL IN KESC SUB-STATION | Set |  | 1
3.8 | 630A VCB PANEL IN GRID STATION | Set |  | 1
3.9 | 300sq.mm 4- CORE PVC/PVC SWA CABLE | Meter |  | 350
3.1 | WEATHER PROOF FEEDER PILLAR BOAD HAVING 200 A MCCB WITH BUSBARS FOR CONNECTION | Set |  | 6
3.11 | Providing WAPDA load, consisting submission application for required electric load, approval of load, coordination with WAPDA including survey, obtaining estimate/ demand note, attending, coordination between WAPDA & Electrical Inspector and payment of installation charges and security deposits, through Client, to obtain electrical supply at 11 KV and provision of energy meters from WAPDA, complete with all respect. Approval of all material is responsibility of the Contractor. (All Payment to WAPDA will be borne by the Client) | Job |  | 1
TOTAL COST OF ELECTRICAL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Electrical Work (External Works)

## Ext Electrical - DG Set
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 11.3.3: External Works - Electrical Works - D.G. Sets & Change Over
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Supply & installation of following rating canopy type Diesel Generator set 3-Phase, 415V, outdoor skid mounting D.G. set, complete with control panel and weather proof Auto-change over switch and all installation parts such as silencer, engine pipe, radiator etc., including loading, unloading on RCC pad etc., complete in all respects as per Engineer instructions.
1.1 | 200KVA Canopy type as required for Academic Block | Set |  | 1
1.2 | 100KVA Canopy type as required for Dinning Hall & Cook Area and Boys Hostel. | Set |  | 2
1.3 | 60KVA Canopy type as required for Admin Block | Set |  | 1
2 | Construction of RCC pad for the above D.G. sets at certain location, as per drawing, complete in all respects. | Nos |  | 4
3 | Obtaining NOC, getting approval from Electrical Inspector for Generator installation and Generation fitness etc. the contractor responsible to inspect site to the electrical inspector if required. | Nos |  | 4
TOTAL COST OF ELECTRICAL WORKS - NON-SCHEDULE ITEM (A+B) |  |  |  | *
* | This Amount is carried over to sub-summary of Electrical Work (External Works)