## Summary
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
SUMMARY OF OVERHEAD WATER TANK
S. No. | Particular | Total Amount
8.1 | Amount of Civil Works
8.2 | Amount of Plumbing Works
8.3 | Amount of Electrical Works
Total Amount of Works | Amount of Building Works | * * *
#REF!
Note : | * * * This amount shall be caried over to Main Summary (Package-II)
|  | Area | 36320
|  | P. Sft. | #VALUE!

## Sum UGT Civil
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
OVERHEAD WATER TANK
SUB-SUMMARY OF CIVIL WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
8.1.1 | Overhead Water Tank | 5602739.4587 |  |  | ----
| Amount of Schedule Items | 5602739.4587 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Civil Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of OHT

## UGT - Civil
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.1.1: Overhead Water Tank (over UGT Tank) - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | REINFORCED CEMENT CONCRETE
Reinforced Cement Concrete work including all labour and material except the cost of reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kind of forms moulds; lifting shuttering curing rendering. (Page No. 16, Item No. 6)
(a) | R.C. Work in Roof Slab, beams columns raft, lintels and other structural members laid in situ or precast laid in position complete in all respects.
(II) | Ratio (1:1-1/2:3)
a | Columns
i | +2'-0'' to +12'-0'' | Cft | 349 | 220 | 76780
(Page No. 16, Item No. 6 a-II)
ii | +12'-0'' to +23'-0'' | Cft | 361.1 | 220 | 79442
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 b)
iii | +23'-0'' to +33'-0'' | Cft | 361.1 | 220 | 79442
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 b)
iv | +33'-0'' to +44'-0'' | Cft | 368.56 | 190 | 70026.4
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b)
v | +44'-0'' to +58'-6'' | Cft | 383.68 | 44 | 16881.92
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b+b)
b | Beam
i | +2'-0'' to +12'-0'' | Cft | 349 | 233 | 81317
(Page No. 16, Item No. 6 a-II)
ii | +12'-0'' to +23'-0'' | Cft | 361.1 | 233 | 84136.3
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 b)
iii | +23'-0'' to +33'-0'' | Cft | 361.1 | 249 | 89913.9
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 b)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.1.1: Overhead Water Tank (over UGT Tank) - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
iv | +33'-0'' to +44'-0'' | Cft | 368.56 | 350 | 128996
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b)
v | +44'-0'' to +58'-6'' | Cft | 383.68 | 475 | 182248
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b+b)
c | Wall
ii | +44'-0'' | Cft | 368.56 | 1089 | 401361.84
d | Slab
i | +33'-0'' to +44'-0'' | Cft | 368.56 | 1045 | 385145.2
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b)
ii | +44'-0'' to +58'-6'' | Cft | 383.56 | 1197 | 459121.32
(Page No. 16, Item No. 6 a-II) + (Page No. 18, Item No. 12 a+b+b)
2 | STEEL REINFORCEMENT
2.1 | Fabrication of tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including the cost of binding wire (also includes removal of rust from bars) (Page No. 17, Item No. 8-b )Tor bar
(b) TOR Steel
i | +2'-0'' to +12'-0'' | Cwt | 5001.7 | 45 | 225076.5
(Page No. 17, Item No. 8-b )
ii | +12'-0'' to +23'-0'' | Cwt | 5152.95 | 45 | 231882.75
(Page No. 17, Item No. 8-b) + (Page No. 19, Item No.29)
iii | +23'-0'' to +33'-0'' | Cwt | 5304.2 | 45 | 238689
(Page No. 17, Item No. 8-b) + (Page No. 19, Item No. 29 +29)
iv | +33'-0'' to +44'-0'' | Cwt | 5455.45 | 235 | 1282030.75
(Page No. 17, Item No. 8-b) + (Page No. 19, Item No.29 +29 +29)
v | +44'-0'' to +58'-6'' | Cwt | 5757.95 | 114 | 656406.3
(Page No. 17, Item No. 8-b) + (Page No. 19, Item No.29 +29 +29+29+29)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.1.1: Overhead Water Tank (over UGT Tank) - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
3 | PLASTERING
3.1 | Ceiling
a | Cement Sand Plaster 1:3 upto 44' height .3/8" thick (Page No. 52, Item No.10a) + (Page No. 54, Item No.29+29+29) | %Sft | 2648.03 | 2042 | 54072.7726
b | Cement Sand Plaster 1:3 upto 58'-6'' height (b).3/8" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29+29+29+29+29) | %Sft | 2929.97 | 3348 | 98095.3956
3.2 | Internal
a | Cement Sand Plaster 1:3 upto 44' height 3/4" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29+29+29) | %Sft | 3218.21 | 950 | 30572.995
3.3 | External
a | Cement Sand Plaster 1:3 upto 12'-6'' height (a).3/4" thick (Page No. 52, Item No. 10-c) | %Sft | 2795.3 | 1505 | 42069.265
b | Cement Sand Plaster 1:3 upto 23'-6'' height (b).3/4" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29) | %Sft | 2936.27 | 1505 | 44190.8635
c | Cement Sand Plaster 1:3 upto 33'-6'' height (c).3/4" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29+29) | %Sft | 3077.24 | 1505 | 46312.462
d | Cement Sand Plaster 1:3 upto 44'-0'' height (d).3/4" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29+29+29) | %Sft | 3218.12 | 1505 | 48432.706
e | Cement Sand Plaster 1:3 upto 58'-6'' height (e).3/4" thick (Page No. 52, Item No. 10-c) + (Page No. 54, Item No.29+29+29+29+29) | %Sft | 3500.15 | 1505 | 52677.2575
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.1.1: Overhead Water Tank (over UGT Tank) - Civil Works
CIVIL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
4 | FLOORING/TOPPING
4.1 | Providing and laying 2'' thick topping cement concrete 1:2:4 including surface finishing and dividing into pannel
(Page No. 42, Item No. 16 C) + (Page No.42, Item No.18+18+18)
a | + 44'-0'' | %Cft | 4183.02 | 1520 | 63581.904
(Page No. 42, Item No. 16 C) Ratio 1:2:4
b | + 58'-6'' | %Cft | 4409.9 | 3040 | 134060.96
(Page No. 42, Item No. 16 C) + (Page No.42, Item No.18+18+18+18+18)
5 | PAINTING WORK
| Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick/sand paper filling the voids with chalk/plaster of paris and then painting with weather coat of approved make. (Page No.56 Item No.38-A) | %Sft | 1328.25 | 12583 | 167133.6975
6 | MISCELLANOUS
6.1 | P/F CI Ventilotor (weight not les than 80lbs/each) in tank roof of approved design with water tight joint i/c painting etc complete. (Page No.55 Item No.4) | Each | 4870 | 6 | 29220
6.2 | Providing and fixing float guage arrangments of M.S angle iron 2" x2" x 1/4" of approved design i/c painting letttrting etc complete. (Page No.55 Item No.5) | Rft | 426 | 7 | 2982
6.3 | Providing C.I Manhole Cover & Frame i/c cost of material etc. (Page No.35 Item No.J-1 PHE) | Kg | 140 | 60 | 8400
6.4 | Providing expansion joint in concrete work of 9" wide corugated PVC waterstop (with bulb) i/c soldering cost of material and labour etc complete. (Page No.56 Item No.B-2) | Rft | 86 | 140 | 12040
TOTAL COST OF CIVIL WORKS - SCHEDULE ITEM |  |  |  | * | 5602739.4587
* | This Amount is carried over to sub-summary of Civil Work (OHT)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.1.1: Overhead Water Tank (over UGT Tank) - Civil Works
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Extra for using SR Cement (Sulphate resistant cement instead of OP cement (Ordinary portland cement) in concrete upto plinth level. | Bag |  | 989
2 | Providing, fabricating and installing in position, M.S. ladder and M.S. pipe safety railing (circular) from pump room to top of OH Tank including welding / fastening arrangements, painting 3 coats with anticorrosive paint, etc. complete in all respect as per design drawings, specifications and as approved and directed by the Engineer. | P.Rft |  | 60
Note: Shop drawing must be got approved from Consultant prior to start of work.
3 | Providing and fixing M.S. rungs (foot rest) using S/S inch dia M.S. bar as approved and directed by the Engineer. | Each |  | 5
4 | Providing, fabricating and installing 2" dia M.S pipe railing around O.H. Tank walls (4' high) including welding / fastening arrangements, painting 3 coats of anti corrosive paints etc. complete in all respect as per design, drawings and as approved and directed by the Engineer. | P.Rft |  | 160
Note: Shop drawing must be got approved from Consultant prior to start of work.
5 | Providing and using water proofing compound Pudlo as per manufacturer's recommondations (in Plastering & Flooring ) | P.Kg |  | 306
TOTAL COST OF CIVIL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Civil Work (OHT)

## Sum Aca Plumbing
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
OVERHEAD WATER TANK
SUB-SUMMARY OF PLUMBING WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
8.2.1 | Overhead Water Tank | ---- |  |  | ----
| Amount of Schedule & Non Schedule Items | ---- | ---- |  | ----
| …………….% Above / Below / At Par | ---- | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items | ---- |  |  | ----
Total Amount of Plumbing Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of Gate House

## UGT - Plumbing
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.2.1: Overhead Water Tank (over UGT Tank) - Plumbing Works
CIVIL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | PUMPS AND MOTORS
| Providing, installing testing and commissioning of centrifugal pumps including cost of motor of approved quality and required H.P. having rpm not exceeding 1450, 80 feet head i/c cost of all fittings, cables, switches, panels i/c cost of delivery pipe, valves, fittings etc. complete in all respect as per drawings and specificatios and as directed by the Engineer Incharge. | Nos. |  | 2
TOTAL COST OF PLUMBING WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Plumbing Work (OHT)

## Sum Academic Electric
ESTABLISHMENT OF CADET COLLEGE KHAIRPUR
PACKAGE-II – COMMUNAL & MISCELLANEOUS FACILITIES
OVERHEAD WATER TANK
SUB-SUMMARY OF ELECTRICAL WORKS
S. No. | Particular | Amount of Schedule Items | Amount of Non Schedule Items | Total Amount
8.3.1 | Overhead Water Tank | 58214 |  |  | ----
| Amount of Schedule & Non Schedule Items | 58214 | ---- |  | ----
| …………….% Above / Below / At Par |  | ---- |  | ----
| Total Amount of Schedule & Non Schedule Items |  |  |  | ----
Total Amount of Electrical Works |  |  |  | * *
Note : | * * This amount shall be caried over to Summary of OHT

## OH & UG Tank - Electric
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.3.1: Overhead Water Tank (over UGT Tank) - Electrical Works
ELECTRICAL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
1 | Providing & Laying (Main or Sub Main) PVC insulated & PVC Sheeted with 4 core copper conducotr 600/1000 volts size 10 mm2 | Per Mter. | 1230 | 25 | 30750
Schedule item no.112 page 13
2 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 3-7/.029 (3x2.5mmsq.) copper conductor in 3/4" dia PVC conduit recessed in the wall or coloumn as required.
(For circuit wiring from DB to switch board & board to boards.)
| Schedule item no.24 page 4 | Per Meter | 294 | 5 | 1470
3 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 3-7/.036 (3x4mmsq.) copper conductor in 1" dia PVC conduit recessed in the wall or coloumn as required.
(For power plug wiring from DB to outlet & outlet to outlet.)
| Schedule item no.25 page 4 | Per Meter | 338 | 5 | 1690
4 | Providing & Laying (Main or Sub Main) PVC insulated & PVC insulated with size 4-7/.044 (4x6mmsq.) copper conductor in 1-1/2" dia PVC conduit recessed in the wall or coloumn as required.
(For Pumps operated DOL Motor starter)
| Schedule item no.40 page 6 | Per Meter | 613 | 15 | 9195
5 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required for (point to switch & point to point wiring.) | Per Point | 1130 | 8 | 9040
Schedule item 124 page no.15
6 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. | Per Point | 985 | 2 | 1970
Schedule item 126 page no.15
7 | Providing and fixing three pin 5Amps plug and socket flush type. | Per No | 151 | 2 | 302
Schedule item 226 page no.33
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.3.1: Overhead Water Tank (over UGT Tank) - Electrical Works
ELECTRICAL WORK - (CSR-2012)
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
8 | Providing and fixing three pin 10/15 Amps plug and socket flush type. | Per No | 162 | 2 | 324
Schedule item 227 page no.33
9 | Providing and fixing bakelite ceiling rose with two terminals | Per No | 72 | 4 | 288
Schedule item 228 page no.33
10 | Providing and fixing brass Ceiling fan 56" (good quality) | Per No | 3185 | 1 | 3185
Schedule item 235 page no.34
TOTAL COST OF ELECTRICAL WORKS - SCHEDULE ITEM |  |  |  | * | 58214
* | This Amount is carried over to sub-summary of Electrical Work (OHT)
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.3.1: Overhead Water Tank (over UGT Tank) - Electrical Works
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
I- Wiring Accessories, Fixture & Fans:
1 | Supply, installation, connecting, testing & commissioning of following 10Amps polycarbonate flame retardant S.P. switch with fancy required gang plate fixed on die fabricated powder coated metal board recessed in wall or column "Clipsal make" or approved equivalent, complete as per specification and drawing.
| a) 4 Gang switch | No. |  | 2
| b) Ceiling Fan Dimmer 400W | No. |  | 1
2 | Supply, installation, connecting, testing and commissioning of following surface / recessed mounting LED light fixture. The Fixture should be Pierlite or approved equivalent .
a) | Wall / surface mounting Fluorescent LED light fixture 30W lamp (2550 lm) with hight polished reflector, Pierlite or approved equivalent. | No. |  | 4
b) | Wall mounting weather proof Bulk Head light Fixture with 11W LED lamp (1050 lm) , Pierlite or approved equivalent. | No. |  | 4
II- Distribution board, power cable, Pipes & Earthing
3 | Supply, installation, connecting, testing and commissioning of wall mounte motor central control panel (MCC-1) that should be factory assembled ready wired and complete as per detail drawing. The short circuit rating should be 15 KA for T.P. MCCB and 10KA for S.P. mcb and Breaker should be Terasaki make Japan or approved equivalent., complete as per specifications and drawing. | Set |  | 1
4 | Supply and installation of following sizes PVC conduit surface/ recessed in wall, beam etc., including all installation accessories as required for power cabling, complete as per specification and drawing.
| a) 1-1/4" dia PVC conduit | Meter |  | 5
| b) 1" dia PVC conduit | Meter |  | 5
Name of Client: Project Director, Cadet College Khairpur
Name of Project: Establishment of Cadet College Khairpur (Package-II - Communal & Miscellaneous Facilities)
Sub Head # 8.3.1: Overhead Water Tank (over UGT Tank) - Electrical Works
ELECTRICAL WORK - NON-SCHEDULE ITEMS
S # | DESCRIPTION | UNIT | RATE | QTY | AMOUNT
5 | Providing and fixing Copper Rod having conical end to be buried after providing 3" dia hole in ground at a depth of 12' -0' or less if water comes out from the ground level, including provoding earth powder fixing copper rod, including earth clamp, eath leads 2x 4SWG in 2" dia G.I. pipe, complete as per drawing with all respects. | Set |  | 1
TOTAL COST OF ELECTRICAL WORKS - NON-SCHEDULE ITEM |  |  |  | *
* | This Amount is carried over to sub-summary of Electrical Work (OHT)