Schedule “B” for

RENOVATION / REHABILITATION OF OLD GYMKHANA CLUB MITHI (E.I)

(ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY | S.# | ITEMS OF WORKS |  |  |  | RATE |  |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 55-Nos | 01 | Wiring for light or fan point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ten only) |  |  |  | 910/- |  |  |  | Each | Rs. 50050/-- |  |
| 20-Nos | 02 | Wiring for Plug point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required.) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seven hundred forty two only). |  |  |  | 742/- |  |  |  | Each | Rs. 14840/- |  |
| 55-Nos | 03 | Providing & fixing A.C one way S.P 10/15 amps switch on surface type . |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Fifty eight only) |  |  |  | 58/-- |  |  |  | Each | Rs. 3190/- |  |
| 20-Nos | 04 | Providing & Fixing 2 pin 5 amps plug & socket. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eighty only). |  |  |  | 80/- |  |  |  | Each | Rs. 1600/- |  |
| 06-Nos. | 05 | Providing & Fixing three pin 10/15 amps plug & socket flush type |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred sixty two Only |  |  |  | 162/- |  |  |  | Each | Rs. 972/- |  |
| 150-Meter | 06 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.029 copper conductor in 3/4" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred seventy one only) |  |  |  | 171/- |  |  |  | P.Meter | Rs. 25650/- |  |
| 150 Meter | 07 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.044 copper conductor in 1" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three hundred five only) |  |  |  | 305/- |  |  |  | P. Meter | Rs. 45750/- |  |
| 104-Meter | 08 | Providing & lying (MAIN or SUB-MAIN)PVC insulated with size 2-7/0.064 (16mm2)copper conductor in 1” dia PVC Conduit on surface |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Six hundred five only) |  |  |  | 605/- |  |  |  | P.Mtr | Rs. 62920/- |  |
| 30-Nos | 09 | P/F Brass batten holder swiveling type. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Sixty nine only) |  |  |  | 69/- |  |  |  | Each | Rs. 2070/- |  |
| 25-Nos | 10 | P/F Backlight ceiling Rose with two terminals. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seventy two only) |  |  |  | 72/- |  |  |  | Each | Rs. 1800/- |  |
| 12-Nos | 11 | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amps S.P(TB-55) on a prepared board as rewired |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred sixteen only) |  |  |  | 916/- |  |  |  | Each | Rs. 10992/- |  |
| 01-No. | 12 | P/F Circuit breaker,15,20,30,40,50 ,60,75 & 100 amps T.P (XS-100NS) on a prepared board as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine thousand two hundred sixty one only) |  |  |  | 9261/- |  |  |  | Each | Rs. 9261/- |  |
| 06-Nos | 13 | P/F Brass Ceiling Fan 56" sweep (Good Quality) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three thousand one hundred eighty five only) |  |  |  | 3185/- |  |  |  | Each | Rs. 19110/- |  |
| 06-Nos. | 14 | Providing & fixing Brass Bracket fan 18” (good quality |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Two thousand seven hundred ninety one only) |  |  |  | 2791/- |  |  |  | Each | Rs. 16746/- |  |
| 01-No. | 15 | P/F ammeters size 96/96mm Direct 15A,30A,50A,60A & 100A as required & as per instruction of EI) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One thousand fifty four only) |  |  |  | 1054/- |  |  |  | Each | Rs. 1054/- |  |
| 01-No. | 16 | P/F Voltmeter size 96/96mm 500 volt as required & as per instruction of EI). |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ninety nine only) |  |  |  | 999/- |  |  |  | Each | Rs. 999/-- |  |
| 01-No. | 17 | P/F D.P I/C Change Over switch 500 volts 200 amps on a prepared board |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eight thousand seven hundred sixty seven only) |  |  |  | 8767/- |  |  |  | Each | Rs. 8767/-- |  |
| 04-Nos. | 18 | Providing & fixing of flood light 250 watts (SON-T) having IP65 classification with 250w lamp, choke, capacitor igniter & internal wiring complete in all respect at the height upto 40ft with the help hydraulic crane and manual labour as per site requirement & instruction of |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Fifteen thousand eight hundred twenty five only) |  |  |  | 15825/- |  |  |  | Each | Rs. 63300/- |  |
| 02-Nos. | 19 | Manufacturing Providing & fixing angle iron bracket in square shape to accommodation 3 to 4 No’s flood lights fitting 250 watts /400 watts with following specification as per site requirement & instruction of EI angle iron 1.5” dia length 2ftx2ft with supporting angles canopy 5” dia 1ft long with nuts |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three thousand two hundred seven only) |  |  |  | 3207/-- |  |  |  | Each | Rs. 6414/- |  |
| 04-Nos. | 20 | Providing & fixing of street light 125 watts (HPMV) having IP54 classification with 125 w lamp, choke, capacitor igniter & internal wiring complete in all respect at the height upto 31ft as per site requirement & instruction of EI Make of the above light is as follow |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Six thousand three hundred sixty five only) |  |  |  | 6365/- |  |  |  | Each | Rs. 25460/- |  |
|  |  |  |  |  |  |  | Total (a) |  |  |  | Rs. 370945/- |  |
|  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  | Rs. ---------- |  |
|  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | (a+b)= Total “A” |  |  |  |  | __________ |  |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |
| 30-Nos. | 01 | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  | @ |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 4.50 Sft | 02. | P/F Distribution panel board of 3/8” thick double shutter to accommodate circuit breakers i/c painting with enameled paint. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | P.Sft |  |  | Rs. _______ |
|  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  |  | :- |  |  |  |  |  |  |  |  |  |
|  |  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |
|  |  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |
|  |  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |
|  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |
|  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |