Schedule “B” for

CONSTRUCTION OF FIRST FLOOR OF CATEGORY 2ND BUNGALOW FOR DISTRICT OFFICER SOCIAL WELFARE THARPARKAR (CONVERTED INTO ANNEXI BUILDING) @ MITHI (INT: & Ext: E.I (ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY | S.# | ITEMS OF WORKS |  |  |  | RATE |  |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 100-Nos | 01 | Wiring for light or fan point with (3/0.029) PVC insulated wire in 20mm(3/4“) PVC conduit recessed in the wall or column as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One thousand one hundred thirty only). |  |  |  | 1130/- |  |  |  | Each | Rs.113000/- |  |
| 21-Nos | 02 | Wiring for plug point with (3/0.029) PVC insulated wire in 20mm(3/4“3) PVC conduit recessed in the wall or column as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred eighty five only). |  |  |  | 985/- |  |  |  | Each | Rs. 20685/-- |  |
| 01-No | 03 | Wiring for call bell point with (3/0.029) PVC insulated wire in 20mm(3/4“) PVC conduit recessed in the wall or column as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One Thousand Seven hundred sixty four only). |  |  |  | 1764/- |  |  |  | Each | Rs. 1764/- |  |
| 100-Nos. | 04 | P/F one way SP 10/15 amp: switch surface type |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. fifty eighty only). |  |  |  | 58/- |  |  |  | Each | Rs. 5800/- |  |
| 21-Nos | 05 | Providing & fixing two pin 5amp plug socket |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. eighty only). |  |  |  | 80/- |  |  |  | Each | Rs. 1680/- |  |
| 230-Meter | 06 | Providing & lying (MAIN or SUB-MAIN)PVC insulated with size 2-7/0.029 copper conductor in ¾” dia PVC conduct recessed in the wall or column as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. two hundred twenty two only). |  |  |  | 222/- |  |  |  | P.Mtr | Rs. 51060/- |  |
| 600-Meter | 07 | Providing & lying (MAIN or SUB-MAIN)PVC insulated with size 2-7/0.044 (6mm2)copper conductor in ¾” dia PVC conduct recessed in the wall or column as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. three hundred forty one only). |  |  |  | 341/- |  |  |  | P.Mtr | Rs.204600/- |  |
| 100-Meter | 08 | Providing & lying (MAIN or SUB-MAIN)PVC insulated with size 2-7/0.064 (10mm2)copper conductor in ¾” dia PVC conduct recessed in the wall or column as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Six hundred forty one only). |  |  |  | 641/- |  |  |  | P.Mtr | Rs. 64100/- |  |
| 23-Nos | 09 | Providing & fixing Bakelite ceiling rose with two terminals. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seventy two only). |  |  |  | 72/- |  |  |  | Each | Rs.1656/- |  |
| 50-Nos. | 10 | Providing & fixing Brass Button holder swiveling type |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. sixty nine only). |  |  |  | 69/- |  |  |  | Each | Rs.3450/- |  |
| 18-Nos. | 11 | Providing & fixing Circuit breaker 6,10,15,20,30,40,50 & 63 amps S.P(TB-5S) on a prepared board as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred sixteen only). |  |  |  | 916/- |  |  |  | Each | Rs.16488/- |  |
| 02-No. | 12 | Providing & fixing circuit breaker 15,20,30,40,50,& 60 Amps T.P (XE-100CS{CB}on prepared borad |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. five thousand five hundred twenty one only). |  |  |  | 5521/- |  |  |  | Each | Rs. 11042/- |  |
| 01-Nos. | 13 | Providing & fixing Circuit breaker 250 amps TP setting 160-250 amps (XS-250 NJ) on a prepared board as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Twenty Seven thousand four hundred eleven only). |  |  |  | 27411/- |  |  |  | Each | Rs. 27411/- |  |
| 16-Nos. | 14 | Providing & fixing Brass Ceiling Fan 56" sweep (good quality) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three thousand one hundred eighty five only). |  |  |  | 3185/- |  |  |  | Each | Rs. 50960/-- |  |
| 08-Nos. | 15 | Providing & fixing Brass Bracket fan 18” (good quality ) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Two thousand seven hundred Ninety one only). |  |  |  | 2791/- |  |  |  | Each | Rs. 22328/- |  |
| 01-Nos. | 16 | P/F Voltmeter size 96/96mm 500 volt as required & as per instruction of EI). |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ninety nine Only ) |  |  |  | 999/- |  |  |  | Each | Rs. 999/-- |  |
| 08-Nos. | 17 | Providing & Fixing three pin 10/15 amps plug & socket flush type. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred sixty two Only) |  |  |  | 162/- |  |  |  | Each | Rs.1296/- |  |
| 01-No. | 18 | P/F D.P I/C Change Over 500 volts 200 Amps: on a prepared board |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eight thousand seven hundred sixty seven Only |  |  |  | 8767/- |  |  |  | Each | Rs. 8767/- |  |
| 04-Nos | 19 | P/F of flood light 400 watts (SON) having IP 165 classification with 400 w lamp, choke, capacitor igniter & internal wiring complete in all respect at the height upto 40’ft with the help hydraulic crane and manual labour as per site requirement and instruction of EI |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seventeen thousand five hundred eighty five Only). |  |  |  | 17585/- |  |  |  | Each | Rs. 70340/-- |  |
| 03-Nos. | 20 | P/F MS Tabular pole 31ft long buried in the ground as per following specification 20ft (6”dia) x 5.5ft (5”dia) x 5.5ft (4”dia) =31ft wall thickness 8SWG base plate 16”x16”x ¾” two coats red oxide as rust preventive two coats oil paint excavation of hard or soil 2’x2’x6’ lean size 2’x2’x6’ with 1:4:8 ratio CC work 1:3:6 cast in situ in one mould of (1 ½’ dia) including form work, rodding, curing etc complete with CC collar abour 21ft high from ground level duly plastered as per site requirement & instruction of E.I |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Twenty six thousand nine hundred fifty six Only). |  |  |  | 26956/- |  |  |  | Each | Rs. 80868/-- |  |
| 03-Nos. | 21 | Construction of RCC foundation as per following specification & instruction of EI for 31ft/40ft long tubular pole excavation of hard or soil 3’x3x5.5’ stone soiling of 3’x3’x6’ making lean in the ratio 1:4:8 ratio Length of MS bolts 7 ½ ‘ (1’dia) 04-Nos & making thread on MS rod Template 16”x16”x ¾” Rings ¾” dia round bar 6 Nos. to the welded with MS rod RCC foundation ration 1:2:4 with appropriate size 2’ x 2x 6.5’ |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nineteen thousand two hundred eighty two Only). |  |  |  | 19282/- |  |  |  | Each | Rs. 57846/- |  |
| 03-Nos. | 22 | Manufacturing Providing & fixing GI single Arm double arch as per site requirement with the help of hydraulic crane instruction of EI with following specification GI pipe 2” dia 10SWG 7’Long 2Nos. MS clamps with nuts & bolts |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Two thousand eight hundred sixty six Only). |  |  |  | 2866/-- |  |  |  | Each | Rs. 8598/- |  |
| 03-Nos. | 23 | Providing & fixing junction box as per following specification size of box 8” x6”x4” size MS plate size 16 SWG thick clamp with nuts & bolts cover plate with screw painting two coats of rust preventive red oxide & two coats of ICI oil paint as per site requirement & instruction of EI |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eight hundred Only). |  |  |  | 800/- |  |  |  | Each | Rs. 2400/- |  |
| 03-Nos. | 24 | Providing & fixing of street light 250 watts (SON-T) having IP 65 classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height with the help of hydraulic crane as per site requirement and instruction of EI |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Sixteen thousand one hundred eighty five Only). |  |  |  | 16100/- |  |  |  | Each | Rs. 48300/- |  |
|  |  |  |  |  |  |  | Total (a) |  |  |  | Rs. 875438/- |  |
|  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  | Rs_______ |  |
|  |  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Total “A” |  |  |  | __________ |  |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |
| 60-Nos. | 01 | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 03-Nos. | 02. | S/F Exhaust fan 12" sweep (Made by Pak Fan)(L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 3.00 Sft | 03. | P/F Distribution board double shutter to accommodate circuit breaker i/c painting with enameled paint & for other similar jobs on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | P.Sft |  |  | Rs. _______ |
| 04-Nos | 04 | S/F mirror light bath i/c carriage & cartage and carriage etc i/c energy saver (L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 12-Nos | 05 | S/F garden light pole 7’ft height plate 1’x 1’ ½ and nut bolts ratio 1:2:4 and plaster 3sft depth i/c energy saver monument type etc.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 03-Nos. | 06 | S/F Bell push batten on a prepared board. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | P.Rft |  |  | Rs. _______ |
| 08-Nos. | 07 | P/F flush type 3-pin 20 amps S.P plug socket switch and shoe unit on metal board recessed in the wall or columns and covered with plastic sheet suitable for air conditioner etc (imported Clipsal shape) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 16-Nos. | 08 | P/F mild steel bar fan clamp 15.8mm(5/8”) dia suitable for R.C.C roof |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 04-Nos. | 09 | P/F T.V, Point i/c 30 meter T.V cable of 120 ohms, TV socket back boxing etc complete (Clipsal shape) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 04-Nos. | 10 | P/F Telephone points i/c 30 meter telephone cable telephone socket , boxing etc complete in all respect (Clipsal shape) |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
|  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  |  | :- |  |  |  |  |  |  |  |  |  |
|  |  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |
|  |  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |
|  |  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |
|  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |
|  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |