Schedule “B” for

RENOVATION / IMPROVEMENT OF OFFICE OF EXECUTIVE ENGINEER BUILDINGS DIVISION THARPARKAR  (E.I)

(ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY | S.# | ITEMS OF WORKS |  |  |  | RATE |  |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 30-Nos | 01 | Wiring for light or fan point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ten only) |  |  |  | 910/- |  |  |  | Each | Rs. 27300/- |  |
| 12-Nos | 02 | Wiring for Plug point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seven hundred forty two only). |  |  |  | 742/- |  |  |  | Each | Rs. 8904/-- |  |
| 30-Nos | 03 | Providing & fixing A.C one way S.P 10/15 amps switch on surface type . |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Fifty eight only) |  |  |  | 58/-- |  |  |  | Each | Rs. 1740/- |  |
| 12-Nos | 04 | Providing & Fixing 2 pin 5 amps plug & socket. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eighty only). |  |  |  | 80/- |  |  |  | Each | Rs. 960/- |  |
| 06-Nos. | 05 | Providing & Fixing three pin 10/15 amps plug & socket flush type |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred sixty two Only |  |  |  | 162/- |  |  |  | Each | Rs. 972/- |  |
| 100-Meter | 06 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.029 copper conductor in 3/4" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred seventy one only) |  |  |  | 171/- |  |  |  | P.Meter | Rs. 17100/- |  |
| 193 Meter | 07 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.044 copper conductor in 1" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three hundred five only) |  |  |  | 305/- |  |  |  | P. Meter | Rs. 58865/- |  |
| 100-Meter | 08 | Providing & lying (MAIN or SUB-MAIN)PVC insulated with size 2-7/0.064 (16mm2)copper conductor in 1” dia PVC Conduit on surface |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Six hundred five only) |  |  |  | 605/- |  |  |  | P.Mtr | Rs. 60500/- |  |
| 50-Meter | 09 | Providing & lying (MAIN or SUB-MAIN)PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 16mm2 |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One Thousand three hundred only) |  |  |  | 1300/- |  |  |  | P.Mtr | Rs. 65000/- |  |
| 01-No. | 10 | P/F Circuit breaker 125,150,200&225 amps T.P(XS-225 NS)) on a prepared board as rewired |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Twenty five thousand five hundred forty one only |  |  |  | 25541/- |  |  |  | Each | Rs. 25541/- |  |
| 01-No. | 11 | P/F D.P I/C Change Over switch 500 volts 200 amps on a prepared board |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eight thousand seven hundred sixty seven only) |  |  |  | 8767/- |  |  |  | Each | Rs. 8767/-- |  |
|  |  |  |  |  |  |  | Total (a) |  |  |  | Rs. 275649/- |  |
|  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  | Rs. ---------- |  |
|  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | (a+b)= Total “A” |  |  |  |  | __________ |  |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |
| 40-Nos. | 01 | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |
|  |  | @ |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
|  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  |  | :- |  |  |  |  |  |  |  |  |  |
|  |  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |
|  |  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |
|  |  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |
|  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |
|  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |