Schedule “B” for

CONSTRUCTION OF MEDICAL DISPENSARIES IN TALUKA ISLAMKOT & MITHI (10-UNITS) DISTRICT THARPARKAR (AT VILLAGE SULEMAN HAJAM (HAKEEM HAJAM & 9 OTHERS((E.I) Village Kakrario U/C Mithrio Bhatti  Taluka Mithi (E.I).

. (ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY | S.# | ITEMS OF WORKS |  |  |  |  | RATE |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 23-Nos | 01 | Wiring for light or fan point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ten only) |  |  |  |  | 910/- |  |  | Each | Rs. 20930/- |  |
| 06-Nos | 02 | Wiring for Plug point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seven hundred forty two only). |  |  |  |  | 742/- |  |  | Each | Rs.4452/- |  |
| 01-No. | 03 | Wiring for Call Bell point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One thousand five hundred Ninety only). |  |  |  |  | 1590/- |  |  | Each | Rs.1590/- |  |
| 23-Nos | 04 | Providing & fixing A.C one way S.P 10/15 amps switch on surface type . |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Fifty eight only). |  |  |  |  | 58/-- |  |  | Each | Rs. 1334/-- |  |
| 06-Nos | 05 | Providing & Fixing 2 pin 5 amps plug & socket. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Eighty only). |  |  |  |  | 80/- |  |  | Each | Rs. 480/- |  |
| 100Meter | 06 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.029 copper conductor in 3/4" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred seventy one only) |  |  |  |  | 171/- |  |  | P.Meter | Rs. 17100/- |  |
| 30Meter | 07 | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.044 copper conductor in 1" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three hundred five only) |  |  |  |  | 305/- |  |  | P. Meter | Rs. 9150/- |  |
| 18-Nos | 08 | P/F Brass batten holder swiveling type. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Sixty nine only) |  |  |  |  | 69/- |  |  | Each | Rs. 1242/- |  |
| 05-Nos | 09 | P/F Backlight ceiling Rose with two terminals. |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Seventy two only) |  |  |  |  | 72/- |  |  | Each | Rs. 360/- |  |
| 05-Nos | 10 | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amps S.P(TB-55) on a prepared board as rewired |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred sixteen only) |  |  |  |  | 916/- |  |  | Each | Rs. 4580/- |  |
| 01-No. | 11 | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amps D.P (TB-55) on a prepared board as required |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Two thousand four hundred fifty six Only) |  |  |  |  | 2456/- |  |  | Each | Rs. 2456/-- |  |
| 05-Nos. | 12 | P/F Brass Ceiling Fan 56" sweep (Good Quality) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Three thousand one hundred eighty five Only) |  |  |  |  | 3185/- |  |  | Each | Rs. 15925/- |  |
| 01-No. | 13 | P/F ammeters size 96/96mm Direct 15A,30A,50A,60A & 100A as required & as per instruction of EI) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One thousand fifty four Only) |  |  |  |  | 1054/- |  |  | Each | Rs. 1054/- |  |
| 01-Nos. | 14 | P/F Voltmeter size 96/96mm 500 volt as required & as per instruction of EI). |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. Nine hundred ninety nine Only ) |  |  |  |  | 999/- |  |  | Each | Rs. 999/-- |  |
| 04-Nos. | 15 | Providing & Fixing three pin 10/15 amps plug & socket flush type.( P-30 S.I.No. 227) |  |  |  |  |  |  |  |  |  |  |
|  |  | (Rs. One hundred sixty two Only |  |  |  |  | 162/- |  |  | Each | Rs. 648/- |  |
|  |  |  |  |  |  |  |  | Total (a) |  |  | Rs. 80590/-- |  |
|  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  | Rs_______ |  |
|  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | (a+b)= Total “A” |  |  |  |  |  | __________ |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |
| 18-Nos. |  | 01 | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |
|  |  |  | @ Rs. |  | ______ |  |  |  |  | Each |  | Rs. _______ |
| 1.50 Sft |  | 02. | P/F Distribution board double shutter to accommodate circuit breaker i/c painting with enameled paint & for other similar jobs on surface. |  |  |  |  |  |  |  |  |  |
|  |  |  | @ Rs. |  | ______ |  |  |  |  | Each |  | Rs. _______ |
| 05-Nos. |  | 03. | P/F Girder Type Fan Clamp. .(L.Q.R) |  |  |  |  |  |  |  |  |  |
|  |  |  | @ Rs. |  | ______ |  |  |  |  | Each |  | Rs. _______ |
|  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  | :- |  |  |  |  |  |  |  |  |  |  |
|  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |  |
|  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |  |
|  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |
|  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |
|  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |