SCHEDULE “B” FOR

RENOVATION / REHABILITATION QUARTERS IN REVENUE COLONY MITHI (E.I).

(ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY | S.# |  | ITEMS OF WORKS |  |  |  |  |  |  | RATE |  |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 121-Nos | 01 |  | Wiring for light or fan point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Nine hundred ten only) |  |  |  |  |  |  | 910/- |  |  |  | Each | Rs. 110110/-- |  |
| 28-Nos | 02 |  | Wiring for Plug point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Seven hundred forty two only). |  |  |  |  |  |  | 742/- |  |  |  | Each | Rs. 20776/-- |  |
| 07-Nos | 03 |  | Wiring for Call Bell point with 1/1.13(3/0.029) PVC insulted wire in 20mm (3/4") Channel Patti on surface as required. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. One thousand five hundred Ninety only) |  |  |  |  |  |  | 1590/- |  |  |  | Each | Rs. 11130/- |  |
| 315-Meter | 04 |  | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.029 copper conductor in 3/4" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. One hundred seventy one only) |  |  |  |  |  |  | 171/- |  |  |  | P.Mtr | Rs. 53865/--- |  |
| 70-Meter | 05 |  | P/L (Main or SUB - MAIN) PVC insulted with size 2-7/0.044 copper conductor in 1" dia PVC Conduit on surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Three hundred five only) |  |  |  |  |  |  | 305/- |  |  |  | P.Mtr | Rs. 21350/-- |  |
| 91-Nos. | 06 |  | P/F Brass batten holder swiveling type. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Sixty nine only) |  |  |  |  |  |  | 69/- |  |  |  | Each | Rs.6279/- |  |
| 14-Nos | 07 |  | P/F Backlight ceiling Rose with two terminals. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Seventy two only) |  |  |  |  |  |  | 72/- |  |  |  | Each | Rs.1008/- |  |
| 21-Nos. | 08 |  | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amps S.P(TB-55) on a prepared board as rewired |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Nine hundred sixteen only) |  |  |  |  |  |  | 916/- |  |  |  | Each | Rs.19236/- |  |
| 07-Nos. | 09 |  | P/F Circuit breaker 6,10,15,20,30,40,50 & 63 amps D.P (TB-55) on a prepared board as required |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Two thousand four hundred fifty six Only) |  |  |  |  |  |  | 2456/-- |  |  |  | Each | Rs.17192/- |  |
| 14-Nos. | 10 |  | P/F Brass Ceiling Fan 56" sweep (Good Quality) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. Three thousand one hundred eighty five Only |  |  |  |  |  |  | 3185/- |  |  |  | Each | Rs. 44590/- |  |
| 07-Nos. | 11 |  | Providing & Fixing three pin 10/15 amps plug & socket flush type. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | (Rs. One hundred sixty two Only |  |  |  |  |  |  | 162/- |  |  |  | Each | Rs. 1134/- |  |
|  |  |  |  |  |  |  |  |  |  |  | Total (a) |  |  |  | Rs. 306670/- |  |
|  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  |  |  |  |  | Rs_______ |  |
|  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | (a+b)= Total “A” |  |  |  |  |  |  |  | __________ |  |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 113-Nos. |  | 01 |  | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ---------- |  |  |  | Each |  |  | Rs.---------- |
| 7.00 Sft |  | 02 |  | P/F Distribution pannel board of 3/8” thick sheeting double shutter to accommodate circuit breakers i/c painting with enameled paint & for other similar jobs on surface. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ---------- |  |  |  | P.Sft |  |  | Rs.---------- |
| 07-Nos. |  | 03 |  | P/F A.C or D.C Electric bell 200/250 volts 70 MM (2-3/4”) Gong |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ---------- |  |  |  | Each |  |  | Rs.---------- |
| 07-Nos. |  | 04 |  | P/F flush type electric bell pushes batten (LQR). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ---------- |  |  |  | Each |  |  | Rs.---------- |
| 07-Nos. |  | 05 |  | P/F mild steel bar fan clamp 15.8mm(5/8”) dia suitable for R. C.C Roof |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | ---------- |  |  |  | Each |  |  | Rs.---------- |
|  |  |  |  |  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  |  |  |  | :- |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |  |