Schedule “B” for

RENOVATION / REHABILITATION OF DEPUTY COMMISSIONER COMPLEX MITHI

(ITEM’S BASED ON COMPOSED SCHEDULE OF RATE)

| QTY |  | S.# |  | ITEMS OF WORKS |  |  |  | RATE |  |  |  | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 80-Meter |  | 01 |  | Providing & Lying (Main or Sub-Main) PVC insulted & PVC sheeted with 4 core armoured copper conductor 600/1000 volts size 16mm2. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | (Rs. One thousand six hundred seventy nine only) |  |  |  | 1679/-- |  |  |  | P.Meter | Rs. 134320/- |  |
| 01-No |  | 02 |  | Providing & fixing DP I/C change Over switch 500volts 600 amps on a prepared board. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | (Rs. Sixty nine thousand fourteen only) |  |  |  | 69014/- |  |  |  | Each | Rs. 69014/- |  |
| 01-No |  | 03 |  | P/F Circuit breaker 400 amps T.P setting 250-400 amps (XS-400 CJ) on a prepared board as rewired. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | (Rs. Thirty nine thousand four hundred one only) |  |  |  | 39401/- |  |  |  | Each | Rs. 39401/- |  |
| 62-Nos |  | 04 |  | Providing & Fixing three pin 10/15 amps plug & socket flush type. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | (Rs. One hundred Sixty Two only) |  |  |  | 162/- |  |  |  | Each | Rs. 10044/- |  |
| 20-Nos. |  | 05 |  | Providing & fixing of street light 125 watts (HPMV) having IP54 classification with 125w lamp, choke, capacitor & internal wiring complete in all respect at the height up to 31 ft as per site requirement and instruction of EI make of the above light is a follow. |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | (Rs. Six thousand three hundred sixty five only) |  |  |  | 6365/- |  |  |  | Each | Rs. 127300/- |  |
|  |  |  |  |  |  |  |  |  | Total (a) |  |  |  | Rs. 380079/- |  |
|  |  | (______________% Above/Below) Amount added /Deducted Total (b) |  |  |  |  |  |  |  |  |  |  | Rs. ---------- |  |
|  |  | (Rupees ____________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | (a+b)= Total “A” |  |  |  |  | __________ |  |
| PART-“B” NON-SCHEDULE ITEMS. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEMS BASED ON MARKET (OFFERED RATES) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40-Nos. | 01 |  | P/F Energy sever superior quality i/c fixing on existing holder etc complete.(L.Q.R) |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | @ |  |  |  | ______ |  |  |  | Each |  |  | Rs. _______ |
| 1.00 Sft | 02 |  | P/F Distribution pannel board of 3/8” thick sheeting double shutter to accommodate circuit breakers i/c painting with enameled paint & for other similar jobs on surface. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | @ |  |  |  | ______ |  |  |  | P.Sft |  |  | Rs. _______ |
|  |  |  |  |  |  |  | Total Part “B” |  |  |  |  |  |  | Rs. _______ |
| SUMMARY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cost of Bids |  |  |  |  | :- |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | i). | A-Cost based on composite Schedule of Rates Rs. _____________________ |  |  |  |  |  |  |  |  |
|  |  |  |  |  | ii). | A-Cost based on Non/Offered Schedule of Rates Rs. __________________ |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Total Cost of Bid (C) Rs. . __________________ |  |  |  |  |  |  |  |  |
| CONTRACTOR |  |  |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | BUILDINGS DIVISION |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | THARPARKAR |  |  |  |  |  |  |  |