No.TC/		/of/2016

OFFICE OF THE

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

TANDO MUHAMMAD KHAN

Dated: -	   /	  /of/2016

# NOTICE INVITING TENDER

Bids are invited from the reputed contractors/Firms registered with PEC having sufficient experience in the related field against work mentioned as under as per Sindh Public Procurement Regularatory Authority Rules 2010 (Amended 2013).

| S # | Name of Work | Estt: Cost (In Million) | Earnest Money | Tender Fee | Time Allow |
| --- | --- | --- | --- | --- | --- |
| 1. | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro (P-I) District Tando Muhammad Khan. | 6.704 | 0.134 | 2000 | 06 Months |
| 2. | Construction of Drains Type A, B & C I/C C.C Block Jenhan Soomro Drainage Scheme (P-II) District Tando Muhammad Khan. | 4.817 | 0.096 | 2000 | 06 Months |
| 3. | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-I) District Tando Muhammad Khan. | 5.691 | 0.138 | 2000 | 06 Months |
| 4. | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-II) District Tando Muhammad Khan. | 5.691 | 0.138 | 2000 | 06 Months |

MANDATORY REQUIREMENTS:-

a)	Valid PEC Registration for the year 2016.

b)	Field of Specialization CE-9 & CE-10.

c)	Affidavit in which the bidder undertakes that it is not involved in any litigation.

d)	The firms / contractors should have successfully completed at least two contracts of equivalent value and of same nature in last Five years.

e)	National Tax Number Certificate.

f)	Affidavit that the bidders has not been black listed by any Government/Semi Government / autonomous body.

g)	Registration Certificate with Sindh Board of Revenue required

h)	Financial turn over for last 3 years being average not less then thrice the cost of work under procurement.

i)	Audited Account Statement for last 3 year.

j)	Current Bank Statement confirming cash availability/credit facility equivalent to 40% of cost of work under procurement.

Tender documents shall only be issued to the firms qualifying the above mention condition.

The Blank Tender Form can be obtained from office of the undersigned up to___________ on payment of tender fee specified against each work. Tenders will be received on same date i.e.____________ upto 1.00 PM & will be opened on same date i.e.___________ at 2.00 PM in the presence of contractor or their authorized agents before tendering committee in this office. In the undersigned is out of head quarter due to any un-avoidable circumstance then tenders will be opened on next working day @ same time or intimated local Corrigendum on the Notice Board. Earnest Money shall be in favour of Executive Engineer, PHE Division Tando Muhammad Khan. The document SPPRA Rules, otherwise the tender will not be entertained without 2% of Bid cost. The contractor are not allowed to with draw their earnest money till be period as specified in agreement is exhausted.

DATE OF RECEIPT AND TIME 2ND ATTEMPT

Date of issue upto ___________ & will be received back on ___________ 2.00 PM and opened on 3.00 P.M

Conditional or telegraphic tenders will not be entertained.

“The Procuring Agency may reject all or any bids subjected to the relevant provisions as per rules (41)3 of SPPRA Rules 2010”

The work order of the successful contract will be issued on receipt of fund from the Government.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG DIVISION

TANDO MUHAMMAD KHAN

CC to the:-

The Director information , Public Relation Department, Government of Sindh, Block # 96 Sindh Secretariat Karachi along with (7) seven Copies for publication in at least three languages leading newspapers.

Director (C.B) Sindh Public Procurement Regulatory Authority (SPPRA) Government of Sindh Barrack # 8 Secretariat # 4 A, Court Road Karachi.

Chief Engineer, Public Health Engineering Department, Government of Sindh Hyderabad.

Superintending Engineer, Public Health Engineering Circle, Hyderabad/ Mirpurkhas.

Copy to Notice board/Drawing Branch

| Address Colachi Para Badin Road Tando Muhammad Khan | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

(ANNEXURE-A)

PROCUREMENT PLAN DEVELOPMENT

| S # ADP & | Name of Scheme & Estimated Cost | Allocation Fund | Cost of On0Going work (Expenditure already Incurred) | Funds on Going works |  | Cost of New Work (Components) |  |  | Funds for New Works | Nature of Procurement | Method of Procurement | Anticipated Actual Date of Advertisement | Anticipated Actual Date of Start | Anticipated Actual Date of Completion |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 2. | 3. | 4. | 5. |  | 6. |  |  | 7. | 8. | 9. | 10. | 11. | 12 |
| PROVINCIAL ANNUAL DEVELOPMENT PROGRAMME 2016-2017 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro (P-I) District Tando Muhammad Khan. |  |  |  |  |  |  |  |  | Execution of Work | NCB through NIT |  |  |  |
| 2. | Construction of Drains Type A, B & C I/C C.C Block Jenhan Soomro Drainage Scheme (P-II) District Tando Muhammad Khan. |  |  |  |  |  |  |  |  | Execution of Work | NCB through NIT |  |  |  |
| 3. | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-I) District Tando Muhammad Khan. |  |  |  |  |  |  |  |  | Execution of Work | NCB through NIT |  |  |  |
| 4. | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-II) District Tando Muhammad Khan. |  |  |  |  |  |  |  |  | Execution of Work | NCB through NIT |  |  |  |

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVISION

TANDO MUHAMMAD KHAN

PUBLIC HEALTH ENGINEERING DEPARTMENT

GOVERNMENT OF SINDH

PUBLIC HEALTH ENGINEERING DIVISION TANDO MUHAMMAD KHAN

BIDDING DOCUMENTS WITH FINANCIAL PROPOSAL

FOR

| NAME OF WORK | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro (P-I) District Tando Muhammad Khan. |
| --- | --- |

| Name of Department: | Public Health Engineering Department. |
| --- | --- |
| Name of Procuring Agency: | Executive Engineer, Public Health Engg: Division Tando Muhammad Khan |

Document  issued to:-  ____________________________________________________________

TENDER FOR THE WORK

Issue to M/s_______________________Tender fee for Rs.___________________ Received Vide.___________________ D.R No.__________Dated:_____________ _______________________________ Dated of opening of Tender_____________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVN:

TANDO MUHAMMAD KHAN

I/We hereby tender the execution for the Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro (P-I) District Tando Muhammad Khan. under written memorandum within the specified time in such memorandum at.

Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to be carried out and in all respect with the specification designed and instructions writing referred to in Rule thereof.

a).	General Description: Drainage Schemes Jenhan Soomro

b).	Estimated Cost:				Rs: 6.704 Millions

c).	Earnest Money 2% Call Deposit:		Rs: 0.134

g).	Time of Completion				6 Months

Should be this tender be accepted I/We hereby agree to abide be the fulfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Tando Muhammad Khan deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division Tando Muhammad Khan on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tender is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Tando Muhammad Khan will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

| BILL OF QUANTITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ( B )DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name Of Work:- |  |  |  |  | CONSTRUCTION OF SURFACE DRAINS TYPE -A ,B & C I/C C.C BLOCK FOR RURAL DRAINAGE SCHEME JENHAN SOOMRO (P-I) DISTT: TANDO MUHAMMAD KHAN. |  |  |  |  |  |  |  |  |  |  |  |  |
| S: # | ITEM |  |  |  |  |  |  |  | QUANTITY |  |  | RATE |  | UNIT |  | AMOUNT |  |
|  | GROUP "A" SURFACE DRAINS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Excavation in foundation of building bridges and other structure i/c dagbelling dressing, filling around the structure with excavated earth wateringand ramming lead upto 5' ft. (b) in ordinary soil) (GSI No. 18(b), P/4). |  |  |  |  |  |  |  | 20284.0 Cft |  |  | Rs:-3176/25 |  | P.%0 Cft |  | Rs:- 64427/- |  |
| 2 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/17). i) 1:4:8 |  |  |  |  |  |  |  | 2431.50 Cft |  |  | Rs:-11288/75 |  | P.% Cft |  | Rs:- 274486/- |  |
| 3 | Pucca brik work in foundation and plinth in cement sand morter 1:6.(G.S.I.No: 4(I) P/3. |  |  |  |  |  |  |  | 10425.0 Cft |  |  | Rs:-11948/36 |  | P.% Cft |  | Rs:- 1245617/- |  |
| 4 | Construction of standrad open drain cunette block of cement concrete (1:2:4) in situ to the design profile I/c cost of mould as per drawing I/c applying of floating coats of cement 1/32" thick to exposed face finished smooth curring etc complete as per detailed rawing. (P.H.S.I.No: D (1) P/58). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Type-I |  |  |  |  |  |  |  | 2500.0 Rft |  |  | Rs:- 94/- |  | P.Rft |  | Rs:- 235000/- |  |
|  | Type-II |  |  |  |  |  |  |  | 1500.0 Rft |  |  | Rs:-174/- |  | P.Rft |  | Rs:- 261000/- |  |
|  | Type-III |  |  |  |  |  |  |  | 1000.0 Rft |  |  | Rs:-309/- |  | P.Rft |  | Rs:- 309000/- |  |
| 5 | Cement plaster 1:4 upto 12' height 1/2" thick . (G.S.I.No: 11 (b) P/57). |  |  |  |  |  |  |  | 16240.0 Sft |  |  | Rs:-2283/93 |  | P.% Sft |  | Rs:- 370910/- |  |
| 6 | R.C.C work I/c all labour & material except the cost of steel reinforcement & its labour of binding bending which will be paid separately. This rate also I/c all kind of forms mould lifting shuttering curing rendering and washing of shinmgle(a) R.C work in roof slab beams columns rafts lintel & other structure members laid in situ or prcast laid in position complete in all respect Ratio1:2:4 90 Lbs cement 2 Cft sand 4Cft shingle 1/8" to 1/4" gauge. (G.S.I.No:6 P/17) |  |  |  |  |  |  |  | 600.0 Cft |  |  | Rs:-337/- |  | P.Cft |  | Rs:- 202200/- |  |
| 7 | Fabrication of mild steel reinforcement for C.C I/c cutting bending laying position making & jointing I/c cost of bending laying in position making fastening I/c cost of binding wire also I/c removal of rust from bars. (G.S.I.No: 7 (ii) P/19). |  |  |  |  |  |  |  | 21.42 Cwt |  |  | Rs:-5001/70 |  | P.Cwt |  | Rs:- 107136/- |  |
|  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  | "A" |  | Rs: 3223416/- |  |
|  | GROUP "B" C.C BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Barrow pit excavation umdressed lead up to 100 ft (a) ordinary Soil.(G.S.I.No:3 P/1. |  |  |  |  |  |  |  | 3956.0 Cft |  |  | Rs:-2117/50 |  | P.%0 Cft |  | Rs:- 8377/- |  |
| 2 | Earth work compection (soft ordinary or hard soil) laying earth in 6" layer levelling & dressing etc complete (b) ordinary Soil.(G.S.I.No: 13 (a) P/3. |  |  |  |  |  |  |  | 24240.0 Cft |  |  | Rs:-354/- |  | P.%0 Cft |  | Rs:- 8581/- |  |
| 3 | Erection &Removal of centering for R.C.C or plain cement concrete work of Partal wood (Second class ) vertical. (Partal wood) (G.S.I.No: 19 P/18). |  |  |  |  |  |  |  | 774.0 Sft |  |  | Rs:-3127/41 |  | P.% Sft |  | Rs:- 48423/- |  |
| 4 | Cement concrete brick or stone ballast 11/2" to 2" gauge ratio 1:4:8.(G.S.I.No:4 P/16). |  |  |  |  |  |  |  | 5333.0 Cft |  |  | Rs:-9416/28 |  | P.% Cft |  | Rs:- 502170/- |  |
| 5 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/16). |  |  |  |  |  |  |  | 4040.0 Cft |  |  | Rs:-14429/25 |  | P.% Cft |  | Rs:- 582944/- |  |
|  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  | "B" |  | Rs:- 1150495/- |  |

|  | Total ( A+B ) Rs:- 4373911/- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ________%Above/Below on the rates of CSR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Amount to be added/deducted on the basis Of premium quoted_______________Total |  |  |  |  |  |  |  |  |  |  |
|  | Total ( A+B) Rs:- _____________________________________________________ _____________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | CONDITION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 |  | Any error provision in description of item,qty and unit will be governed by relevent schdule of rates and relevent rates analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  | The decision of the Superintending Engineer will be install and biding and all the parties in any shape. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 |  | The rate should be inclusive of all taxes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 |  | No separate caring will be paid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 |  | No premium will be allowed on Non-schedule item |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | CONTRACTOR |  |  |  |  |  |  |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |  |  |  |  |  |  |

PUBLIC HEALTH ENGINEERING DEPARTMENT

GOVERNMENT OF SINDH

PUBLIC HEALTH ENGINEERING DIVISION TANDO MUHAMMAD KHAN

BIDDING DOCUMENTS WITH FINANCIAL PROPOSAL

FOR

| NAME OF WORK | Construction of Drains Type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro (P-II) District Tando Muhammad Khan. |
| --- | --- |

| Name of Department: | Public Health Engineering Department. |
| --- | --- |
| Name of Procuring Agency: | Executive Engineer, Public Health Engg: Division Tando Muhammad Khan |

Document  issued to:-  ____________________________________________________________

TENDER FOR THE WORK

Issue to M/s_______________________Tender fee for Rs.___________________ Recieved Vide.___________________ D.R No.__________Dated:_____________ _______________________________ Dated of opening of Tender_____________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVN:

TANDO MUHAMMAD KHAN

I/We hereby tender the execution for the Construction of Drains Type A, B & C I/C C.C Block for Rural Drainage Scheme Jenhan Soomro    (P-II) District Tando Muhammad Khan. under written memorandum within the specified time in such memorandum at.

Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to be carried out and in all respect with the specification designed and instructions writing referred to in Rule thereof.

a).	General Description: Drainage Schemes Jenhan Soomro

b).	Estimated Cost:				Rs: 4.817 Millions

c).	Earnest Money 2% Call Deposit:		Rs: 0.096

g).	Time of Completion				6 Months

Should be this tender be accepted I/We hereby agree to abide be the fulfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Tando Muhammad Khan deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division Tando Muhammad Khan on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tender is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Tando Muhammad Khan will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

| BILL OF QUANTITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ( B )DESCRIPTION AND RATE OF ITEMS BASED ON COMPOSITE SCHEDULE OF RATES. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name Of Work:- |  |  |  |  | CONSTRUCTION OF SURFACE DRAINS TYPE -A ,B & C I/C C.C BLOCK FOR RURAL DRAINAGE SCHEME JENHAN SOOMRO (P-II) DISTT: TANDO MUHAMMAD KHAN. |  |  |  |  |  |  |  |  |  |  |  |
| S: # | ITEM |  |  |  |  |  |  |  | QUANTITY |  | RATE |  | UNIT |  | AMOUNT |  |
|  | GROUP "A" SURFACE DRAINS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Excavation in foundation of building bridges and other structure i/c dagbelling dressing, filling around the structure with excavated earth wateringand ramming lead upto 5' ft. (b) in ordinary soil) (GSI No. 18(b), P/4). |  |  |  |  |  |  |  | 20284.0 Cft |  | Rs:-3176/25 |  | P.%0 Cft |  | Rs:- 64427/- |  |
| 2 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/17). i) 1:4:8 |  |  |  |  |  |  |  | 3387.50 Cft |  | Rs:-11288/75 |  | P.% Cft |  | Rs:- 382406/- |  |
| 3 | Pucca brik work in foundation and plinth in cement sand morter 1:6.(G.S.I.No: 4(I) P/3. |  |  |  |  |  |  |  | 7425.0 Cft |  | Rs:-11948/36 |  | P.% Cft |  | Rs:- 887166/- |  |
| 4 | Construction of standrad open drain cunette block of cement concrete (1:2:4) in situ to the design profile I/c cost of mould as per drawing I/c applying of floating coats of cement 1/32" thick to exposed face finished smooth curring etc complete as per detailed rawing. (P.H.S.I.No: D (1) P/58). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Type-I |  |  |  |  |  |  |  | 2500.0 Rft |  | Rs:- 94/- |  | P.Rft |  | Rs:- 199280/- |  |
|  | Type-II |  |  |  |  |  |  |  | 1500.0 Rft |  | Rs:-174/- |  | P.Rft |  | Rs:- 198360/- |  |
|  | Type-III |  |  |  |  |  |  |  | 1000.0 Rft |  | Rs:-309/- |  | P.Rft |  | Rs:- 309000/- |  |
| 5 | Cement plaster 1:4 upto 12' height 1/2" thick . (G.S.I.No: 11 (b) P/57). |  |  |  |  |  |  |  | 14675.0 Sft |  | Rs:-2283/93 |  | P.% Sft |  | Rs:- 335167/- |  |
| 6 | R.C.C work I/c all labour & material except the cost of steel reinforcement & its labour of binding bending which will be paid separately. This rate also I/c all kind of forms mould lifting shuttering curing rendering and washing of shinmgle(a) R.C work in roof slab beams columns rafts lintel & other structure members laid in situ or prcast laid in position complete in all respect Ratio1:2:4 90 Lbs cement 2 Cft sand 4Cft shingle 1/8" to 1/4" gauge. (G.S.I.No:6 P/17) |  |  |  |  |  |  |  | 397.17 Cft |  | Rs:-337/- |  | P.Cft |  | Rs:- 133846/- |  |
| 7 | Fabrication of mild steel reinforcement for C.C I/c cutting bending laying position making & jointing I/c cost of bending laying in position making fastening I/c cost of binding wire also I/c removal of rust from bars. (G.S.I.No: 7 (ii) P/19). |  |  |  |  |  |  |  | 14.18 Cwt |  | Rs:-5001/70 |  | P.Cwt |  | Rs:- 70947/- |  |
|  |  |  |  |  |  |  |  |  |  |  | TOTAL |  | "A" |  | Rs: 2678959/- |  |
|  | GROUP "B" C.C BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Barrow pit excavation umdressed lead up to 100 ft (a) ordinary Soil.(G.S.I.No:3 P/1. |  |  |  |  |  |  |  | 24240.0 Cft |  | Rs:-2117/50 |  | P.%0 Cft |  | Rs:- 57328/- |  |
| 2 | Earth work compection (soft ordinary or hard soil) laying earth in 6" layer levelling & dressing etc complete (b) ordinary Soil.(G.S.I.No: 13 (a) P/3. |  |  |  |  |  |  |  | 24240.0 Cft |  | Rs:-354/- |  | P.%0 Cft |  | Rs:- 8541/- |  |
| 3 | Erection &Removal of centering for R.C.C or plain cement concrete work of Partal wood (Second class ) vertical. (Partal wood) (G.S.I.No: 19 P/18). |  |  |  |  |  |  |  | 1151.0 Cft |  | Rs:-7000/- |  | P.% Sft |  | Rs:- 80570/- |  |
| 4 | Cement concrete brick or stone ballast 11/2" to 2" gauge ratio 1:4:8.(G.S.I.No:4 P/16). |  |  |  |  |  |  |  | 5333.0 Cft |  | Rs:-9416/28 |  | P.% Cft |  | Rs:- 502170/- |  |
| 5 | Cement concrete plain I/c placing compacting, finishing and curing (I/c acreening washing of stone aggregate without shuttering (G.S.I.No: 5 (f) P/16). |  |  |  |  |  |  |  | 4040.0 Cft |  | Rs:-14429/25 |  | P.% Cft |  | Rs:- 582944/- |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | TOTAL |  | Rs:- 1221558/- |  |
|  | Total ( A+B ) Rs:- 3900517/- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ________%Above/Below on the rates of CSR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Amount to be added/deducted on the basis Of premium quoted_______________Total |  |  |  |  |  |  |  |  |  |
|  | Total ( A+B) Rs:- _____________________________________________________ _____________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | CONDITION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 |  | Any error provision in description of item,qty and unit will be governed by relevent schdule of rates and relevent rates analysis |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 |  | The decision of the Superintending Engineer will be install and biding and all the parties in any shape. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 |  | The rate should be inclusive of all taxes |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 |  | No separate caring will be paid |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 |  | No premium will be allowed on Non-schedule item |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | CONTRACTOR |  |  |  |  |  |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |  |  |  |  |  |  |

PUBLIC HEALTH ENGINEERING DEPARTMENT

GOVERNMENT OF SINDH

PUBLIC HEALTH ENGINEERING DIVISION TANDO MUHAMMAD KHAN

BIDDING DOCUMENTS WITH FINANCIAL PROPOSAL

FOR

| NAME OF WORK | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-I) District Tando Muhammad Khan. |
| --- | --- |

| Name of Department: | Public Health Engineering Department. |
| --- | --- |
| Name of Procuring Agency: | Executive Engineer, Public Health Engg: Division Tando Muhammad Khan |

Document  issued to:-  ____________________________________________________________

TENDER FOR THE WORK

Issue to M/s_______________________Tender fee for Rs.___________________ Recieved Vide.___________________ D.R No.__________Dated:_____________ _______________________________ Dated of opening of Tender_____________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVN:

TANDO MUHAMMAD KHAN

I/We hereby tender the execution for the Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-I) District Tando Muhammad Khan. underwritten memorandum within the specified time in such memorandum at.

Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to be carried out and in all respect with the specification designed and instructions writing referred to in Rule thereof.

a).	General Description: Drainage Schemes Suleman Soomro

b).	Estimated Cost:				Rs: 5.691 Millions

c).	Earnest Money 2% Call Deposit:		Rs: 0.138

g).	Time of Completion				6 Months

Should be this tender be accepted I/We hereby agree to abide be the fulfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Tando Muhammad Khan deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division Tando Muhammad Khan on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tender is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Tando Muhammad Khan will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

| SCHEDULE-B |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAME OF WORK:- CONSTRUCTION OF SURFACE DRAINS I/C C.C BLOCK (PART-I) FOR RURAL DRAINAGE SCHEME SULEMAN SOOMRO DISTRICT TANDO MUHAMMAD KHAN. |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.Excavation in foundation of building bridges and other structure including dug –belling dressing refilling around structure with excavated earth watering and ramming lead up to 5’ft. (In ordinary soil).(GSI.NO:18(b)- P/4). |  |  |  |  |  |  |  |  |  |  |  |  |
| 17147.60 |  | Cft |  | @ Rs: | 3176.25 |  | P.%o Cft |  |  | Rs: | 54465 | /- |
| 2.Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering. (GSI.NO:5 (i) - P/16). Ratio (1:4:8). |  |  |  |  |  |  |  |  |  |  |  |  |
| 3305.00 |  | Cft |  | @ Rs: | 11288.75 |  | P.% Cft |  |  | Rs: | 373093 | /- |
| 3.Pacca brick work in foundation and plinth in cement sand mortar (1:6).(G.S.I.NO:4(e) - P/25). |  |  |  |  |  |  |  |  |  |  |  |  |
| 7920.00 |  | Cft |  | @ Rs: | 11948.36 |  | P.% Cft |  |  | Rs: | 946310 | /- |
| 4.Construction of open drain curette block of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the exposed surface finished smooth curing etc complete as per detailed drawing.(PHES.NO:D (i) - P/58). |  |  |  |  |  |  |  |  |  |  |  |  |
| TYPE-I |  |  |  |  |  |  |  |  |  |  |  |  |
| 3500.00 |  | Rft |  | @ Rs: | 94.00 | P/Rft |  |  |  | Rs: | 329000 | /- |
| TYPE-II |  |  |  |  |  |  |  |  |  |  |  |  |
| 1000.00 |  | Rft |  | @ Rs: | 174.00 | P/Rft |  |  |  | Rs: | 174000 | /- |
| TYPE-III |  |  |  |  |  |  |  |  |  |  |  |  |
| 500.00 |  | Rft |  | @ Rs: | 309.00 | P/Rft |  |  |  | Rs: | 154500 | /- |
| 5.R.C.C work i/c all labor and material except the cost of steel reinforcement and its labor for bending and binding which will be paid separately. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle. RCC work in roof slabs beams columns rafts lintels and other structural member laid in situ or pre-cast lay in position complete in all respect Ratio 1:2:4. (GSI.NO:6 -P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 632.17 |  | Cft |  | @ Rs: | 337.00 | P/Cft |  |  |  | Rs: | 213041 | /- |
| 6.Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire also i/c removal of rust from bars.(G.S.I:NO:8 (b) - P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.57 |  | Cwt |  | @ Rs: | 5001.70 |  | P/Cwt |  |  | Rs: | 112888 | /- |
| 7.Cement plaster (1:4) up to 12’ height ½” thick. (GSI.NO:11(b)-P/58). |  |  |  |  |  |  |  |  |  |  |  |  |
| 17300.00 |  | Sft |  | @ Rs: | 2283.93 |  | P/Cft |  |  | Rs: | 395120 | /- |
|  |  |  |  |  |  |  |  | Total |  | Rs: | 2752417 | /- |
| PART-II- C.C BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.Barrow pit excavation i/c undressing lead up to 100ft. (a) ordinary soil.( G . S . I . NO:3 ( a ) P – 1 ). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 2117.50 |  | P.%o Cft |  |  | Rs: | 29591 | /- |
| 2.Earth work compaction (soft ordinary or hard soil).(b) laying earth ;in 6”layers leveling and dressing and watering for compaction etc complete.(G.S.I.NO:13(b)- P/3). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 354.00 |  | P.%o Cft |  |  | Rs: | 4947 | /- |
| 3.Cement concrete brick or stone ballast 1-1/2” to 2” gauge. Ratio (1:4:8)(GSI.NO:4(b)-P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 6847.00 |  | Cft |  | @ Rs: | 9416.28 | P.% Cft |  |  |  | Rs: | 644733 | /- |
| 4.Erection & removal of centering for RCC or plain cement concrete works of Partial wood (2nd class).(GSI.NO:19(b)-P/18). |  |  |  |  |  |  |  |  |  |  |  |  |
| 1211.00 |  | Sft |  | @ Rs: | 3127.41 | P% Sft |  |  |  | Rs: | 37873 | /- |
| 5.Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering.(GSI.NO:5(i)- P/16). |  |  |  |  |  |  |  |  |  |  |  |  |
| 5187.00 |  | Cft |  | @ Rs: | 14429.25 | P%Cft |  |  |  | Rs: | 748445 | /- |
| 6.Extra for every 50 ft additional lead or part thereof for earth work (soft, ordinary, hard and very hard. (GSI.No.8(a)-P/2). This rate shall apply to lead up to half mile. When the lead is more than half mile the lead shall be paid as carriage of material.( Lead 2 Miles ). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 502.52 | P% Cft |  |  |  | Rs: | 70224 | /- |
|  |  |  |  |  |  |  |  |  |  |  | 1535813 | /- |
| TERMS AND CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |
| 1- | The rates should be inclusive of all taxes i,e sale tax, octori, royalties etc if any. |  |  |  |  |  |  |  |  |  |  |  |
| 2- | No separate carriage will be allowed to the Firm/Contractor. |  |  |  |  |  |  |  |  |  |  |  |
| 3- | No premium will be allowed on non schedule items. |  |  |  |  |  |  |  |  |  |  |  |
| 4- | The testing of work will be arranged by the Firm/Contractor at his on cost. No separate payment will be made. |  |  |  |  |  |  |  |  |  |  |  |
| 5- | Sweet water will be used in construction work. |  |  |  |  |  |  |  |  |  |  |  |
| 6- | Any error or omission in the specification item will be governed by the relevant specification & schedule of rates. |  |  |  |  |  |  |  |  |  |  |  |
|  | CONTRACTOR/FIRM |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |
|  |  |  |  |  |  | PUBLIC HEALTH ENGG: DIVISION |  |  |  |  |  |  |
|  |  |  |  |  |  | TANDO MUHAMMAD KHAN |  |  |  |  |  |  |

PUBLIC HEALTH ENGINEERING DEPARTMENT

GOVERNMENT OF SINDH

PUBLIC HEALTH ENGINEERING DIVISION TANDO MUHAMMAD KHAN

BIDDING DOCUMENTS WITH FINANCIAL PROPOSAL

FOR

| NAME OF WORK | Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-II) District Tando Muhammad Khan. |
| --- | --- |

| Name of Department: | Public Health Engineering Department. |
| --- | --- |
| Name of Procuring Agency: | Executive Engineer, Public Health Engg: Division Tando Muhammad Khan |

Document  issued to:-  ____________________________________________________________

TENDER FOR THE WORK

Issue to M/s_______________________Tender fee for Rs.___________________ Recieved Vide.___________________ D.R No.__________Dated:_____________ _______________________________ Dated of opening of Tender_____________

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG:DIVN:

TANDO MUHAMMAD KHAN

I/We hereby tender the execution for the Construction of Drains type A, B & C I/C C.C Block for Rural Drainage Scheme Suleman Soomro (P-II) District Tando Muhammad Khan. under written memorandum within the specified time in such memorandum at.

Percent ABOVE/BELOW the Estimate rated entered in the Schedule “B” Memorandum showing items of work to be carried out and in all respect with the specification designed and instructions writing referred to in Rule thereof.

a).	General Description: Drainage Schemes Suleman Soomro

b).	Estimated Cost:				Rs: 5.691 Millions

c).	Earnest Money 2% Call Deposit:		Rs: 0.138

g).	Time of Completion				6 Months

Should be this tender be accepted I/We hereby agree to abide be the fulfill all the terms and provisions of the conditions of contract annexed hereto so as applicable and in default hereof to forfeit any pay the__________ the sum of money mentioned in the said conditions.

Receipt No.___________________ Dated:___________ from the Government Treasury / Sub-Treasury / ____________________ in respect of the sum of the Rs._____________________ is her with forwarded representing the earnest money

a).	The full value of which is to be absolutely forfeited to PHE Division Tando Muhammad Khan deposited the full amount of Security Deposit specified in the above memorandum in accordance with Clause of the said conditions otherwise the sum of Rs.____________ shall be remained by the PHE Division Tando Muhammad Khan on account of such Security Deposit specified in relevant Clause of the conditions/agreement.

N.B 	The Tender is required to undertake that all terms and conditions of the printed B-I Forms inclusive of the additional conditions etc approved by the Executive Engineer PHE Division Tando Muhammad Khan will be binding on him and these will be includes and signed by him in the even acceptance of his tender.

|  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION TANDO MUHAMMAD KHAN |
| --- | --- |

| SCHEDULE-B |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NAME OF WORK:- CONSTRUCTION OF SURFACE DRAINS I/C C.C BLOCK (PART-II) FOR RURAL DRAINAGE SCHEME SULEMAN SOOMRO DISTRICT TANDO MUHAMMAD KHAN. |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.Excavation in foundation of building bridges and other structure including dug –belling dressing refilling around structure with excavated earth watering and ramming lead up to 5’ft. (In ordinary soil).(GSI.NO:18(b)- P/4). |  |  |  |  |  |  |  |  |  |  |  |  |
| 17147.60 |  | Cft |  | @ Rs: | 3176.25 |  | P.%o Cft |  |  | Rs: | 54465 | /- |
| 2.Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering. (GSI.NO:5 (i) - P/16). Ratio (1:4:8). |  |  |  |  |  |  |  |  |  |  |  |  |
| 3305.00 |  | Cft |  | @ Rs: | 11288.75 |  | P.% Cft |  |  | Rs: | 373093 | /- |
| 3.Pacca brick work in foundation and plinth in cement sand mortar (1:6).(G.S.I.NO:4(e) - P/25). |  |  |  |  |  |  |  |  |  |  |  |  |
| 7920.00 |  | Cft |  | @ Rs: | 11948.36 |  | P.% Cft |  |  | Rs: | 946310 | /- |
| 4.Construction of open drain curette block of cement concrete (1:2:4) in situ to the design profile i/c cost of mould as per drawing i/c applying floating coat of cement 1/32” thick to the exposed surface finished smooth curing etc complete as per detailed drawing.(PHES.NO:D (i) - P/58). |  |  |  |  |  |  |  |  |  |  |  |  |
| TYPE-I |  |  |  |  |  |  |  |  |  |  |  |  |
| 3500.00 |  | Rft |  | @ Rs: | 94.00 | P/Rft |  |  |  | Rs: | 329000 | /- |
| TYPE-II |  |  |  |  |  |  |  |  |  |  |  |  |
| 1000.00 |  | Rft |  | @ Rs: | 174.00 | P/Rft |  |  |  | Rs: | 174000 | /- |
| TYPE-III |  |  |  |  |  |  |  |  |  |  |  |  |
| 500.00 |  | Rft |  | @ Rs: | 309.00 | P/Rft |  |  |  | Rs: | 154500 | /- |
| 5.R.C.C work i/c all labor and material except the cost of steel reinforcement and its labor for bending and binding which will be paid separately. This rate also i/c all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface i/c screening and washing of shingle. RCC work in roof slabs beams columns rafts lintels and other structural member laid in situ or pre-cast lay in position complete in all respect Ratio 1:2:4. (GSI.NO:6 -P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 632.17 |  | Cft |  | @ Rs: | 337.00 | P/Cft |  |  |  | Rs: | 213041 | /- |
| 6.Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire also i/c removal of rust from bars.(G.S.I:NO:8 (b) - P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.57 |  | Cwt |  | @ Rs: | 5001.70 |  | P/Cwt |  |  | Rs: | 112888 | /- |
| 7.Cement plaster (1:4) up to 12’ height ½” thick. (GSI.NO:11(b)-P/58). |  |  |  |  |  |  |  |  |  |  |  |  |
| 17300.00 |  | Sft |  | @ Rs: | 2283.93 |  | P/Cft |  |  | Rs: | 395120 | /- |
|  |  |  |  |  |  |  |  | Total |  | Rs: | 2752417 | /- |
| PART-II- C.C BLOCK |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.Barrow pit excavation i/c undressing lead up to 100ft. (a) ordinary soil.( G . S . I . NO:3 ( a ) P – 1 ). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 2117.50 |  | P.%o Cft |  |  | Rs: | 29591 | /- |
| 2.Earth work compaction (soft ordinary or hard soil).(b) laying earth ;in 6”layers leveling and dressing and watering for compaction etc complete.(G.S.I.NO:13(b)- P/3). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 354.00 |  | P.%o Cft |  |  | Rs: | 4947 | /- |
| 3.Cement concrete brick or stone ballast 1-1/2” to 2” gauge. Ratio (1:4:8)(GSI.NO:4(b)-P/17). |  |  |  |  |  |  |  |  |  |  |  |  |
| 6847.00 |  | Cft |  | @ Rs: | 9416.28 | P.% Cft |  |  |  | Rs: | 644733 | /- |
| 4.Erection & removal of centering for RCC or plain cement concrete works of Partial wood (2nd class).(GSI.NO:19(b)-P/18). |  |  |  |  |  |  |  |  |  |  |  |  |
| 1211.00 |  | Sft |  | @ Rs: | 3127.41 | P% Sft |  |  |  | Rs: | 37873 | /- |
| 5.Cement concrete plain i/c placing compacting finishing and curing complete i/c screening and washing of stone aggregate without shuttering.(GSI.NO:5(i)- P/16). |  |  |  |  |  |  |  |  |  |  |  |  |
| 5187.00 |  | Cft |  | @ Rs: | 14429.25 | P%Cft |  |  |  | Rs: | 748445 | /- |
| 6.Extra for every 50 ft additional lead or part thereof for earth work (soft, ordinary, hard and very hard. (GSI.No.8(a)-P/2). This rate shall apply to lead up to half mile. When the lead is more than half mile the lead shall be paid as carriage of material.( Lead 2 Miles ). |  |  |  |  |  |  |  |  |  |  |  |  |
| 13974.40 |  | Cft |  | @ Rs: | 502.52 | P% Cft |  |  |  | Rs: | 70224 | /- |
|  |  |  |  |  |  |  |  |  |  |  | 1535813 | /- |
| TERMS AND CONDITIONS |  |  |  |  |  |  |  |  |  |  |  |  |
| 1- | The rates should be inclusive of all taxes i,e sale tax, octori, royalties etc if any. |  |  |  |  |  |  |  |  |  |  |  |
| 2- | No separate carriage will be allowed to the Firm/Contractor. |  |  |  |  |  |  |  |  |  |  |  |
| 3- | No premium will be allowed on non schedule items. |  |  |  |  |  |  |  |  |  |  |  |
| 4- | The testing of work will be arranged by the Firm/Contractor at his on cost. No separate payment will be made. |  |  |  |  |  |  |  |  |  |  |  |
| 5- | Sweet water will be used in construction work. |  |  |  |  |  |  |  |  |  |  |  |
| 6- | Any error or omission in the specification item will be governed by the relevant specification & schedule of rates. |  |  |  |  |  |  |  |  |  |  |  |
|  | CONTRACTOR/FIRM |  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |  |
|  |  |  |  |  |  | PUBLIC HEALTH ENGG: DIVISION |  |  |  |  |  |  |
|  |  |  |  |  |  | TANDO MUHAMMAD KHAN |  |  |  |  |  |  |