## Machinery
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work |  | PROVIDING, INSTALLING & TESTING A.C ELECTRIC MOTOR 5.5 BHP I/C SUCTION & DELIVERY FOR RURAL DRAINAGE SCHEME FATOOHAL ZARDARI TALUKA SAKRAND DISTRICT SHAHEED BENAZIR ABAD (OPERATION & MAINTENANCE)
Item No. | Description of item to be executed at site | [5 empty] | Unit | Quantity | Rate | Amount in Rupees
1 | Supplying, Installing & Testing A.C Electric Motor 5.5 BHP Type (ILA7-130-4AA-60) 3 phase 50 cycles 400/ 420 volts of 1450 RPM 4 pole (Rate approved) | [5 empty] | P:Set | 1 | 49764 | 49764
2 | Motor control unit Automatic Star delta Starter consists of circuit breaker, magnetic contractor over load protection, under/ over voltage protection, phase failure protection Ammeter with current transformer voltmeters with potential transformer automatic star delta charge over switch, control and power cables indicating lights and all these components are fixed in a metallic dust and smoke proof box (MEECO Pak) (M.R). | [5 empty] | Each | 1 | 27800 | 27800
3 | Manufacturing installing M.S Pipe 3" & 4" made out M.S sheet 3/16” (4.8 mm thick) i/c cutting folding proper curvature shape i/c welding etc complete (R.A approved Based on Schedule rates)
|  |  | For suction & delivery |  |  | 4" dia | P: Rft: | 92 | 506.6 | 46607.2
|  |  | For suction & delivery |  |  | 6" dia | P: Rft: | 12 | 749.34 | 8992.08
4 | Manufacturing installing M.S Flanged 3/8” (12 mm thick) M.S sheet of required size drilling holes i/c cutting bending to correct shape welding etc complete (R.A approved Based on Schedule rates)
[6 empty] | 4" dia | Each | 8 | 596.75 | 4774
[6 empty] | 6" dia | Each | 8 | 804.77 | 6438.16
5 | C.I Reflex valve heavy pattern (Test pressure) 21 kg per sq: or 300 Lbs:/ Sq: inch (SMI No. 6 (b) P-12)
[6 empty] | 4" dia | Each | 2 | 1706.25 | 3412.5
8 | C.I Bend with flanged and with holes i/c turning and facing of flanges for all sizes (PHSI No. 8 P-12)
[5 empty] | Bend 6" & 4" dia |  | P: Kg | 33.4 | 120 | 4008
[9 empty] | TOTAL | 151795.94
| TOTAL AMOUNT |  | Rs. | 151795.94
| TOTAL (a) |  | Rs. | 151795.94
--------- | % above/ below on the rates of CSR. |  |  |  | Amount to be added/ deducted on the basis of
[5 empty] | of premium quoted |  |  | Total (b) | __________________
Total (A) = a + b in words & figures
|  |  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION SHAHEED BENAZIR ABAD