(B) Description and rate of Item based on Market (offered Rates)

| S.NO | DESCRIPTION OF WORK / ITEM |  | QTY. | RATE |  | PER | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Rate in Rupees | Rate in Words |  |  |
|  | Excavation for pipeline in trenches and pits in wet soil clay or mud i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joints holes and directed by engineer in-charge, providing fence guards, light, flags temporary crossing for non vehicular traffic where ever required lift up to 5ft and lead up to one chain. 0’ to 5’ 5’ to 8’ | 3940 Cft 2364 Cft |  |  |  | % 0 Cft % 0 Cft |  |
|  | Manufacturing supplying & Fixing Black Steel MS Pipe made out of M.S Sheet confirming to API 5L grade x. 42 SPL Spirally welded & externally asphalt coasted with fiber glass 5mm thick (3 Layers) & internally C.C linning 8 mm thick (AWWA specification) i/c laying jointing with Hilical welding in trenches i/c cost of bends of any degree & testing with water specified pressure for different dia of pipes as below (Spirally welded) | 60 Mtr |  |  |  | P/Mtr |  |
|  | P/F M.S bend fabricated with 3/8” thick MS plate having on outer length & total weight as maintained against each items. | 02 Nos |  |  |  | each |  |
|  | P/F MS Flange 16” dia made of MS plate having thickness & total weight as mentioned against item. It includes the cost of making holes facing welding nuts bolts rubber packing white lead fitter cartage etc complete as per instruction of E/I. 16” dia Net weight = 7.27 kg. | 06 Nos |  |  |  | Each |  |
|  | C.I Sluice valve heavy pattern (Test pressure) 21. Kg/sq.cm or 300 Lb/sq.inch (Imported) (dia 15”). | 01 No |  |  |  | Each |  |
|  | Refilling the excavated stuff in trenches 6” thick layers i/c watering remaining to full compaction etc complete. | 6030.47 Cft |  |  |  | % 0 Cft |  |
|  | Total |  |  |  |  |  |  |

EXECUTIVE ENGINEER (SPD-I)

KW&SB.

I /we hereby quoted   amounting Rs.____________________ In words) ______________________________________________

Signature & stamp of Contractor	…………………………………………………………………………………………………………………………………………………

Address: ______________________________________________________

Contact#_______________