..Secton:-AB/TC/

SCHEDULE “B”

Name of Work: -	Construction of Surface Drains i/c C.C topping and Brick Pavement for Munwar Colony Naushahro Feroze Taluka & District Naushahro Feroze.

| ###### S.No | Description of Item | Qty | # Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

PART-I.		SURFACE DRAINS.

1.	Excavation in foundation of building Bridges and other structure

Include Dug bailing dressing refilling around the structure with

Excavated earth watering and ramming etc.complete.Lead up to

1 chain lift up to 5’ft (CSI No.18 P.No.4).

Qty: 8077.00 Cft Rs.3176/25 	P.%0 Cft					Rs.25655/=

2.	Cement concrete plain including placing compacting and curing

complete i/c  screening and washing of stone aggregate without

shuttering and washing of stone (CSI No.5 P.No.15)

i. Ratio  1:4:8.

Qty: 1719.25.00 cft at Rs.11288/75 P.% cft 			         		Rs.194082/=

3.	Pacca Brick Work in foundation upto Plinth in cement 							sand mortar.( Ratio 1:6) (CSI No:4 P.No:20).

Qty:4575.00 cft  at  Rs.11948/36 P.% cft 	       				Rs.546638/=

4.	Construction of Standard Open Drain cunette block of Cement 				concrete (1:2:4) cost in situ to design profile i/c cost of mold as 					per drawing i/c applying floating coat of cement 1/32” thick be					the exposed face finished along with curing etc complete as per				detailed drawing (PHSI No.5 D  P.No.58).

Type I:      Qty: 1850.00 Rft @ Rs.94/00  	P.Rft.					Rs.173900/=

Type II:     Qty: 800.00 Rft @  Rs.174/00  	P.Rft.					Rs.139200/=

5.	Cement plaster (1:4) upto 12’ height ½” thick (CSI No.11 P.51).

Qty: 2690.00 sft @  Rs.2283/93  P.% sft.   	       			 	Rs.61438/=

6.	RCC work in all labour and material except the cost of steel reinforcement and its				labour for B/B which will be paid separetely. The rate also i/.c all kinds of forms				moulds lifting, shutting, curing rendering and finsihsing the exposed surface i/c  				S/W of shingle) (a) RCC work in Roof slab beams columns rafts lintels and other 		structure member lad in situe or pre-cost laid in position Complete in all respects

(CSI  No.6 A Page No.17).(Ratio 1:2:4).

Qty: 1719.25 Cft at Rs.337/=  		P.cft 	          			Rs.579387/=

7.	Fabrication of Mild Steel reinforcement concrete for CC i/c

Cutting, Bending Laying in position making joints and fastening

i/c Cost of binding wire also including removal of rust from bars

(CSI No.8 (a)P.No.16) (using tar bars).

Qty: 68.77  Cwt. at Rs.5001/70    	P/Cwt.	       				Rs.343967/=

Total 	Rs.2064267/=

PART-II.	CC TOPPING.

1.	Barrow Pit excavation un dressed lead upto 100 ft.

(CSI No.3  Page No.1).

Qty: 38123.00  cft at RS.2117/50 P.%0 cft.					Rs.80725/=

2.	Earth Work compaction soft ordinary or hard soil (d) ramming earth

work all type of soil i.e laying earth 6"layers leveling and dressing etc

complete (CSI No.       P-       ).

Qty: 46200.00 cft @ RS.263/=              P%0 Cft.				Rs.12150/=

3.	Extra for every 50’ additional lead is part thereof ordinary soil 						(CSI No.8 Page No.3).

Qty: 38123.00 cft @ Rs.5039/=    	P%0 Cft.				Rs.192102/=

4.	Cement concrete brick or stone ballast 11/2" to 2" gauge							(CSI No.b  Page No.15) Ratio 1:4;8.

Qty: 10164.00 cft @ RS.9416/28    	P% Cft.				Rs.957071/=

5.	Cement concrete plain including placing compacting and curing

complete i/c  screening and washing of stone aggregate without

shuttering and washing of stone (GSI No.5 P.No.15)

i. Ratio  1:2:4.

Qty: 7700.00 cft at Rs.14429/25 	P.% cft 		         		Rs.1111052/=

6.	Errection and removal of centering for R.C.C. or plain CC work of Deodar					wood 2nd class for partial wood (Vertical) (GSi No.19 b Page No.17).

Qty: 1925.00 Sft at Rs.3127/41  	P.% Sft 		         		Rs.60203/=

Total	Rs.2413303/=.

PART-III.	BRICK PAVEMENT.

1.	Barrow Pit excavation un dressed lead upto 100 ft.

(CSI No.3  Page No.1).

Qty: 68400.00  cft at RS.2117/50 P.%0 cft.					Rs.144837/=

2.	Earth Work compaction soft ordinary or hard soil (d) ramming earth

work all type of soil i.e laying earth 6"layers leveling and dressing etc

complete (CSI No.13 D P-01).

Qty: 68400.00 cft @ RS.263/=      P%0 Cft.					Rs.17989/=

3.	Extra for every 50’ additional lead is thereof.

Qty:68400.00 cft @ RS.5039/=     P%0 Cft.					Rs.344668/=

4.	Dry brick on age paving sand grouted including preparation of Bed by watering				ramming and bringing same to proper chamber by ½” thick Mud Plaster.

Qty: 34200.00 sft @ Rs.3823/57       P% sft.					Rs.1307661/=

Total         Rs. 1815155/=.

ABSTRACT OF SCHEDULE B”.

| S.NO. | NAME OF WORK | SCHEDULE ITEMS | NON SCHEDULE ITEMS | TOTAL |
| --- | --- | --- | --- | --- |
| 1 | Surface Drainse. | Rs.2064267/= | - | Rs.2064267/= |
| 2 | CC Topping. | Rs.2413303/=. | - | Rs.2413303/=. |
| 3 | Brick Pavement. | Rs. 1815155/=. | - | Rs. 1815155/=. |
|  | Total | Rs. 6292725/= | - | Rs. 6292725/= |

CERTIFICATE.

- Any error or omission in the description of items or rates the original estimate schedule of rates will be referred to correct accordingly.

- No premium will be allowed on non-schedule items.

- The work will be carried out according to the drawing design and specifications

shown in the estimate.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG; DIVISION

NAUSHAHRO FEROZE