## Schedule B
SCHEDULE “B”
IMPROVEMENT & EXTENSION URBAN WATER SUPPLY SCHEME MRHRABPUR DISTRICT N.FEROZE (FUNDED BY UNICEF)
1 | PART -1 FEEDING CHANNEL
1 | Excavation in foundation of building Bridges and other structureInclude Dug bailing dressing refilling around the structure withExcavated earth watering and ramming etc.complete in ordinary soil.Lead up to 1 chain lift up to 5’ft (CSI No.18 P.No.4).
|  | Qty | 7650 | cft @ Rs. |  | 3176.25 | P%0 Cft |  | Rs. | 24298.3125
2 | C.C. Plain i/c placing compacting finishing and curing complete i/c Screening and Washing of stone aggregate without shuttering ( C.S.I No.5 Page No.18).Ratio 1:4:8
Ratio 1:4:8
|  | Qty | 1051.88 | cft @ Rs. |  | 11288.75 | P% Cft |  | Rs. | 118744.1035
Ratio 1:2:4
|  | Qty | 240 | cft @ Rs. |  | 14429.25 | P% Cft |  | Rs. | 34630.2
3 | Pacca Brick Work in foundation upto Plinth in cement sand mortar.( Ratio 1:6) (CSI No:4 P.No:22).
|  | Qty | 4200 | cft @ Rs. |  | 11948.36 | P%0 Cft |  | Rs. | 501831.12
4 | Cement plaster 1:4 upto 12’ height 3/4” thick (CSI No.11 P.51).
|  | Qty | 6930 | sft @ Rs. |  | 3015.76 | P%0 sft |  | Rs. | 208992.168
5 | , (a) RCC work in roof slab beams columns raft lintels and other structural members laid in situe or pre cos laid in positive complete in ( Ratio 1:2:4) (C.S.I No.6 P.No.18)
|  | Qty | 25.5 | cft @ Rs. |  | 337 | P Cft |  | Rs. | 8593.5
Fabrication of Mild Steel reinforcement concrete for CC i/c Cutting, Bending Laying in position making joints and fastening i/c Cost of binding wire also including removal of rust from bars (CSI No.8 P.No.16).
|  | Qty | 1.02 | Cwt @ Rs. |  | 5001.7 | P% Cwt |  | Rs. | 5101.734
[9 empty] | Rs. | 902191.138
PART - II- Storage Tank (1 No)
1 | Excavation for tanks and reservoirs in Soft soil / i/c trimming and dressing sides to true alignment/design sections profiles and shape leveling of beds of tanks to correct level and grade i/c laying of earth in 6”layer for construction of banks and dressing and disposal of surplus. Excavated earth within one chain as directed by Engineer In charge i/c providing fence guards. Flags where ever required lift upto 5 feet (1.52 M) and lead upto one chain (30.5 M). ( PHS.I No. 1 Page 67 ).From 0 to 5’ft
|  | Qty | 227886.75 | cft @ Rs. |  | 3000 | P%0 Cft |  | Rs. | 683660.25
2 | Excavation for tanks and reservoirs in wet soil / i/c trimming and dressing sides to true alignment/design sections profiles and shape leveling of beds of tanks to correct level and grade i/c laying of earth in 6”layer for construction of banks and dressing and disposal of surplus. Excavated earth within one chain as directed by Engineer In charge i/c providing fence guards. Flags where ever required lift upto 5 feet (1.52 M) and lead upto one chain (30.5 M). ( PHS.I No. 14 Page 74 ).From 0 to 5’ft
|  | Qty | 72656.25 | cft @ Rs. |  | 4800 | P%0 Cft |  | Rs. | 348750
Earth work compaction by sheep foot Roller & Power Roller with optimum moisture content (c) from 85% modified AASHO Density. (Sch. Of High ways work No 4c Page No.2).
|  | Qty | 71487 | cft @ Rs. |  | 1445.58 | P%0 Cft |  | Rs. | 103340.1775
Extra for every 50’ additional lead is part there off ordinary soil (CSI No.8 P.No.3). Lead Up To 500 Rft
|  | Qty | 229056 | cft @ Rs. |  | 1007.8 | P%0 Cft |  | Rs. | 230842.6368
5 | Excavation in foundation of building Bridges and other structure including dug bailing dressing refilling around the structure with excavated earth watering and ramming etc. complete. Lead upto 1 chain lift upto 5’ft (CSI No.18 No.4).
|  | Qty | 1689 | cft @ Rs. |  | 3176.25 | P%0 Cft |  | Rs. | 5364.6862
7 | Pacca Brick Work in foundation upto Plinth in cement sand mortar.( Ratio 1:6) (CSI No:4 P.No:22).
|  | Qty | 2264.65 | cft @ Rs. |  | 11948.36 | P% Cft |  | Rs. | 270588.5347
8 | C.C plain i/c placing compacting finishing and curing complete i/c Screening and Washing of Stone Aggregate without shuttering (CSI No.5 Page NO.17). Ratio 1:4:8
|  | Qty | 4664.44 | cft @ Rs. |  | 11288.75 | P% Cft |  | Rs. | 526556.9705
9 | Brick lining (9”x 41/2” x 3”) in (1: 3) in cement sand mortar.(CSI No:8 P.No:94).
|  | Qty | 5253.53 | cft @ Rs. |  | 14204.44 | P% Cft |  | Rs. | 746234.5167
Cement Pointing struck joints on walls (CSI No.19 P/53).
|  | Qty | 14198.86 | sft @ Rs. |  | 1213.58 | P% sft |  | Rs. | 172314.5252
Cement plaster 1:4 upto 20’ height ½” thick (CSI No.11 P.51).
|  | Qty | 4480 | sft @ Rs. |  | 2283.93 | P%0 sft |  | Rs. | 102320.064
10 | Dry Brick on age paving sand grouted including i/c Preparation of Bed by watering ramming and bringing Same to proper chamber by ½ “thick Mud Plaster (CSI No.5 Page No.39).
|  | Qty | 5232 | Sft @ Rs. |  | 3823.57 | P% Sft |  | Rs. | 200049.1824
[9 empty] | Rs. | 3390023
R.C.C. SUMP WELL 6’ DIA I/C INTER CONNECTION.
1 | Excavation for pipe line in trenches trimming dressing sides to true alignment and shape leveling of bed of trenches to collect level and grade cutting joints holes and disposal of surplus earth within one chain as directed by Engineer Incharge fence guards lights flags and temporary crossing for non vehicular traffic wherever required lift upto 5’ and lead upto one chain (PHSI No.11Page NO.30).
|  | Qty | 2400 | cft @ Rs. |  | 3600 | P% Cft |  | Rs. | 8640
2 | Cement Concrete Brick or Stone ballast 1.1/2 to 2” gauge (CSI No.18 No.4). Ratio 1:4:8
|  | Qty | 240 | cft @ Rs. |  | 9416.28 | P% Cft |  | Rs. | 22599.072
3 | Providing RCC Pipes of ASTM C-76.62 t/c 76-70 wall B and fixing trenches i/c fitting and jointing with rubber ring i/c testing with water to specified pressure (PHSI No.1 Page No.18).
24" DIA
|  | Qty | 48 | Rft @ Rs. |  | 918 | P Rft |  | Rs. | 44064
15" DIA
|  | Qty | 96 | Rft @ Rs. |  | 618 | P Rft |  | Rs. | 59328
6 | Refilling excavated stuff in trenches 6”thick layers i/c watering ramming to full compaction (PHSI No.16 P-49)
|  | Qty | 1714.29 | Cft @ Rs. |  | 2760 | P%0 Cft |  | Rs. | 4731.4404
[9 empty] | Rs. | 3529385
PART - 111- Repair of Storage Tank (3 Nos)
1 | Jungle clearance and removing with in 100 ft (CSI No.4 P.No.95).
|  | Qty | 40320 | Sft @ Rs. |  | 75.63 | P% Sft |  | Rs. | 30494.016
2 | Full hire charges of the pumping set per day inclusive of wages of driver and assistant fuel or electric energy plate forms required for placing pumps etc at lower depth with suction and delivery pipes for pumping out water found at various depths from trenches i/c the cost of erection and dismantling after complation of the job(PHSI No.23 P.No.76).
10 BHP FOR 10 FT Depth
|  | Qty | 15 | Days @ Rs. |  | 1500 | P% Days |  | Rs. | 22500
3 | Earth Work Excavation in ASHES, SAND ,Soft Soil or silt clearance un dessed lead upto 50 ft (CSI No.2 P.No.1).
|  | Qty | 263132.5 | cft @ Rs. |  | 1663.75 | P%0 Cft |  | Rs. | 437786.6969
4 | Rehandling of Earth work lead upto 200 Rft
|  | Qty | 263132.5 | cft @ Rs. |  | 4235 | P%0 Cft |  | Rs. | 1114366.1375
5 | Excavation in foundation of building Bridges and other structure including dug bailing dressing refilling around the structure with excavated earth watering and ramming etc. complete. Lead upto 1 chain lift upto 5’ft (CSI No.18 No.4).
|  | Qty | 1728 | cft @ Rs. |  | 3176.25 | P%0 Cft |  | Rs. | 5488.56
7 | Pacca Brick Work in foundation upto Plinth in cement sand mortar.( Ratio 1:6) (CSI No:4 P.No:22).
|  | Qty | 2520 | cft @ Rs. |  | 11948.36 | P% Cft |  | Rs. | 301098.672
8 | C.C plain i/c placing compacting finishing and curing complete i/c Screening and Washing of Stone Aggregate without shuttering (CSI No.5 Page NO.17). Ratio 1:4:8
|  | Qty | 4603.08 | cft @ Rs. |  | 11288.75 | P% Cft |  |  | 519630.1935
9 | Brick lining (9”x 41/2” x 3”) in (1:3) in cement sand mortar.(CSI No:8 P.No:94).
|  | Qty | 4255 | cft @ Rs. |  | 14204.44 | P% Cft |  | Rs. | 604398.922
10 | Dry Brick on age paving sand grouted including i/c Preparation of Bed by watering ramming and bringing Same to proper chamber by ½ “thick Mud Plaster (CSI No.5 Page No.39).
|  | Qty | 5760 | cft @ Rs. |  | 3823.57 | P% Cft |  | Rs. | 220237.632
11 | Cement plaster 1:4 upto 20’ height ½” thick (CSI No.11 P.51).
|  | Qty | 4176 | sft @ Rs. |  | 2283.93 | P% sft |  | Rs. | 95376.9168
12 | Cement Pointing struck joints on walls (CSI No.19 P/59).
|  | Qty | 11500.32 | sft @ Rs. |  | 1213.58 | P% sft |  | Rs. | 139565.5835
[9 empty] | Rs. | 3490943.3301
PART –IV- P.E .PIPE 18”DIA Rising Main/ Main line
1 | Dismantling and removing road mantling (CSI No 51 Page No 14)
P.E. Pipe 18”Dia
|  | Qty | 33750 | cft @ Rs. |  | 605 | P% Cft |  | Rs. | 204187.5
1 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of Surplus Earth within one chain as directed by Engineer Incharge fence guards, lights, flags and temporary crossing for non vehicular traffic wherever required lift up to 5’ft and lead upto one chain ( P.H.S.I No.11 P.No.30).
P.E. Pipe 18”Dia
|  | Qty | 45000 | cft @ Rs. |  | 3600 | P%0 Cft |  | Rs. | 162000
2 | Excavation for pipe lines in trenches and pits in wet soil trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of Surplus Earth within one chain as directed by Engineer In charge fence guards, lights, flags and temporary crossing for non vehicular traffic wherever required lift up to 5’ft and lead upto one chain ( P.H.S.I No.14 P.No.48).
P.E. Pipe 18”Dia
|  | Qty | 22500 | cft @ Rs. |  | 5400 | P%0 Cft |  | Rs. | 121500
3 | Providing Laying & Fixing in trench i/c fitting jointing & testing Etc complete in all respect the high density polyethylene PE Pipes (HDPE-100) for w/s confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 ( P.H.S.I No. F-1 P.No.25). 500 mm
P.E. Pipe 18”Dia
|  | Qty | 7500 | Rft @ Rs |  | 4205 | P / Rft |  | Rs. | 31537500
4 | Specials for P.E ( PHSM No.15 Page NO.112).
i | Elbow 45 Dia |  | P.N-8
|  | Qty | 5 | Nos Rs |  | 27667 | P / No |  | Rs. | 138335
ii | Elbow 90 Dia
For P.E. Pipe 18”Dia
|  | Qty | 3 | Nos Rs |  | 33201 | P / No |  | Rs. | 99603
iii | Butt fusion join 18” dia
18”Dia
|  | Qty | 8 | Nos Rs |  | 3200 | P / No |  | Rs. | 25600
5 | Refilling excavated stuff in trenches as 6”thick layers i/c watering ramming to full compacting etc complete (PHSI No.24 P.No.77).
|  | Qty | 81000 | cft @ Rs. |  | 2760 | P% Cft |  | Rs. | 223560
[9 empty] | Rs. | 32512285.5
PART-VI. Hypochlorinar
Supplying fixing & testing CHEM-TECK USA Series 100 Model 0.30 Hypochlorinaror Chemical meteringPump Positive Sisplacement Diaphragm type capasity 0-30 Gallons/day @ 100 PSIMax injection Pressure fitted with 1/60 HP Air Cooled Heavy duty Electric Moter 220v 50 Gz Single Phase thru life time lubricated Sealed self Maintaining Gear Train with following Standard Accessories asper atteched Bulletin # CTI-001
|  | Qty | 1 | No Rs |  | 60600 | P / No |  | Rs. | 60600
[9 empty] | Rs. | 60600
PART –VII- PUMPING MACHINERY 2 Sates
1 | Providing and installing i/c transportation & testing of KSB deep well Turbine Pump type DWT B 12 D /4 + 75 /4 Pole (2900 RPM)KSB Standerd V1 Sold Shaft Moter totally enclosed Fan Cooled tropical insulated. Three Phase 50 cycles 400 +/- 5 with reverse ratchet make KSB insulation class F & Temprature upto 35 C. Protection class IP-55 i/c KSB MCU/SD 75 Capable given discharge 1035 GPM at a total head of 150 ft & setting depth 40 ft pump essembly of 4 stages with mixed flow type impuller, column assembly of 4 internal dia with flanged (discharge piece) joint with shaft 35 mm dia each 10 ft /3050 mmlength 3 VN 1342 a flange Prelubtication arrangement mounting clamps for 4 inch column 4 halves i/c installation of pumping set on CC Foundation with nuts builts and providing laying (Main or Sub Main) PVC Insulated with size 3-7/.044 (6mm2) copper conductor in 1" dia PVC conduit on surface and Providing Fixing set 2'x2'x 1/2" copper plate buried in ground at a depth of 12' less if water comes out from the ground level with salt & charcoal etc i/c making the pit deep by excavation of all type of soil earth plate to be connected with No-8 SWG bor copper with run in 1/2" G I pipe straight from the earth plate and testing of pumping set againest 72 hours etc complete
|  | Qty | 2 | Nos Rs |  | 2271500 | P / No |  | Rs. | 4543000
2 | Providing Laying & Fixing in trench i/c fitting jointing & testing Etc complete in all respect the high density polyethylene PE Pipes (HDPE-100) for w/s confirming ISO 4427/DIN8074/8075 B.S 3580& PSI 3051 ( P.H.S.I No. F-1 P.No.25).
M.S pipe 12” dia
|  | Qty | 40 | Rft @ Rs |  | 1998 | P / Rft |  | Rs. | 79920
3 | Mild steel Flanges made out of 3/8 thick M.S Sheet cutting Drilling holes etc complete (S M I No 1 P-33).
M.S pipe 12” dia
|  | Qty | 18 | Nos Rs |  | 2952 | P / No |  | Rs. | 53136
4 | Supplying C.I sluice value heavy pattern test pressure (P.H.S.I. of material 1 No.2 P.9).
12”dia
|  | Qty | 2 | Nos Rs |  | 78000 | P / No |  | Rs. | 156000
Supplying C.I. Reflex value heavy pattern test pressure (P.H.S.I of material 1 No.2 P-11).
12”dia
|  | Qty | 2 | Nos Rs |  | 21937 | P / No |  | Rs. | 43874
Supplying C.I. Bend with flanged ends with holes i/c turning and Facing of flanges for all size (SMI NO.8 Page No.11). 12”dia
|  | Qty | 147.96 | Kgs Rs |  | 120 | P / kg |  | Rs. | 17755.2
Butt Fusion Joint (SMI NO.1 Page No.20)
12” dia
|  | Qty | 18 | Nos Rs |  | 2200 | P / No |  | Rs. | 39600
Flanged Adopter
12” dia
|  | Qty | 18 | Nos Rs |  | 12150 | P / No |  | Rs. | 218700
Jointing C.I M.S flanged pipes and special and flanged and in sidetrenches i/c supplying rubber packing of the required thickness nuts bolts w. washers etc complete and other tools required for jointing and testing the joint to the specified pressure etc complete (PHSI No.1 Page No.35).
12” dia
|  | Qty | 18 | Nos Rs |  | 2239 | P / No |  | Rs. | 40302
[9 empty] | Rs. | 5192287.2
PART –VIII- P.E .PIPE Distributions 12",10" 8” 6” 4” 3” DIA
1 | Dismantling and removing road mantling (CSI No 51 Page No 14)
|  | Qty | 102140 | cft @ Rs. |  | 605 | P% Cft |  | Rs. | 617947
1 | Excavation for pipe lines in trenches and pits in soft soil i/c trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of Surplus Earth within one chain as directed by Engineer Incharge fence guards, lights, flags and temporary crossing for non vehicular traffic wherever required lift up to 5’ft and lead upto one chain ( P.H.S.I No.11 P.No.30).
|  | Qty | 153210 | cft @ Rs. |  | 3600 | P%0 Cft |  | Rs. | 551556
2 | Excavation for pipe lines in trenches and pits in wet soil clay or mud trimming dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting joint holes and disposal of Surplus Earth within one chain as directed by Engineer In charge fence guards, lights, flags and temporary crossing for non vehicular traffic wherever required lift up to 5’ft and lead upto one chain ( P.H.S.I No.14 P.No.48).
|  | Qty | 95820 | cft @ Rs. |  | 5400 | P%0 Cft |  | Rs. | 517428
3 | Providing Laying & Fixing in trench i/c fitting jointing & testing Etc complete in all respect the high density polyethylene PE Pipes (HDPE-100) for w/s confirming ISO 4427/DIN8074/8075 B.S 3580 & PSI 3051 ( P.H.S.I No. F-1 P.No.25).
For P.E. Pipe 12”Dia 315 mm
|  | Qty | 2500 | Rft @ Rs |  | 1635 | P / Rft |  | Rs. | 4087500
For P.E. Pipe 10”Dia 250 mm
|  | Qty | 4000 | Rft @ Rs |  | 1043 | P / Rft |  | Rs. | 4172000
For P.E. Pipe 8”Dia 225 mm
|  | Qty | 6000 | Rft @ Rs |  | 860 | P / Rft |  | Rs. | 5160000
For P.E. Pipe 6”Dia 160 mm
|  | Qty | 8000 | Rft @ Rs |  | 440 | P / Rft |  | Rs. | 3520000
For P.E Pipe4”Dia 110 mm
|  | Qty | 10500 | Rft @ Rs |  | 224 | P / Rft |  | Rs. | 2352000
For P.E Pipe 3”Dia 90 mm
|  | Qty | 15320 | Rft @ Rs |  | 148 | P / Rft |  | Rs. | 2267360
5 | Specials for P.E ( PHSM No.15 Page NO.112). |  |  |  |  | Elbow 45 Dia
For P.E. Pipe 12”Dia 315 mm
|  | Qty | 3 | Nos Rs |  | 10753 | P / No |  | Rs. | 32259
For P.E. Pipe 10”Dia 250 mm
|  | Qty | 6 | Nos Rs |  | 6775 | P / No |  | Rs. | 40650
For P.E. Pipe 8”Dia 225 mm
|  | Qty | 4 | Nos Rs |  | 5500 | P / No |  | Rs. | 22000
For P.E. Pipe 6”Dia 160 mm
|  | Qty | 8 | Nos Rs |  | 2784 | P / No |  | Rs. | 22272
For P.E Pipe4”Dia 110 mm
|  | Qty | 12 | Nos Rs |  | 1324 | P / No |  | Rs. | 15888
For P.E Pipe 3”Dia 90 mm
|  | Qty | 15 | Nos Rs |  | 894 | P / No |  | Rs. | 13410
Elbow 90 Dia
For P.E. Pipe 12”Dia 315 mm
|  | Qty | 2 | Nos Rs |  | 13441 | P / No |  | Rs. | 26882
For P.E. Pipe 10”Dia 250 mm
|  | Qty | 4 | Nos Rs |  | 8469 | P / No |  | Rs. | 33876
For P.E. Pipe 8”Dia 225 mm
|  | Qty | 6 | Nos Rs |  | 6874 | P / No |  | Rs. | 41244
For P.E. Pipe 6”Dia 160 mm
|  | Qty | 6 | Nos Rs |  | 3480 | P / No |  | Rs. | 20880
For P.E Pipe4”Dia 110 mm
|  | Qty | 8 | Nos Rs |  | 1655 | P / No |  | Rs. | 13240
For P.E Pipe 3”Dia 90 mm
|  | Qty | 12 | Nos Rs |  | 1118 | P / No |  | Rs. | 13416
Tee Equal P-E
For 10”x10"
|  | Qty | 2 | Nos Rs |  | 10163 | P / No |  | Rs. | 20326
For 8”x 8'
|  | Qty | 4 | Nos Rs |  | 8249 | P / No |  | Rs. | 32996
For 6”x 6"
|  | Qty | 8 | Nos Rs |  | 4175 | P / No |  | Rs. | 33400
For 4”x4'
|  | Qty | 8 | Nos Rs |  | 1986 | P / No |  | Rs. | 15888
For 3”x3"
|  | Qty | 15 | Nos Rs |  | 1341 | P / No |  | Rs. | 20115
Tee Un-Equal C-I
18”x 12”Dia
|  | Qty | 2 | Nos Rs |  | 24059 | P / No |  | Rs. | 48118
18”x 10”Dia
|  | Qty | 2 | Nos Rs |  | 24059 | P / No |  | Rs. | 48118
18”x 8”Dia
|  | Qty | 3 | Nos Rs |  | 23279 | P / No |  | Rs. | 69837
12”x 10”Dia
|  | Qty | 4 | Nos Rs |  | 12144 | P / No |  | Rs. | 48576
12” x 8”Dia
|  | Qty | 4 | Nos Rs |  | 12144 | P / No |  | Rs. | 48576
10”x 6”Dia
|  | Qty | 8 | Nos Rs |  | 7437 | P / No |  | Rs. | 59496
8” x 6”Dia
|  | Qty | 10 | Nos Rs |  | 7437 | P / No |  | Rs. | 74370
8” x 4”Dia
|  | Qty | 10 | Nos Rs |  | 7437 | P / No |  | Rs. | 74370
| 6”x4”Dia |  | N.S
|  | Qty | 12 | Nos Rs |  | 9100 | P / No |  | Rs. | 109200
| 6” x3”Dia |  | N.S
|  | Qty | 12 | Nos Rs |  | 8690 | P / No |  | Rs. | 104280
| 4” x3”Dia |  | N.S
|  | Qty | 15 | Nos Rs |  | 4870 | P / No |  | Rs. | 73050
Refilling excavated stuff in trenches as 6”thick layers i/c watering ramming to full compacting etc complete (PHSI No.24 P.No.77).
|  | Qty | 280953 | Cft @ Rs. |  | 2760 | P%0 Cft |  | Rs. | 775430.28
Butt fusion join 6” dia
18”Dia
|  | Qty | 7 | Nos Rs |  | 2800 | P / No |  | Rs. | 19600
12”Dia
|  | Qty | 15 | Nos Rs |  | 2200 | P / No |  | Rs. | 33000
10”Dia
|  | Qty | 24 | Nos Rs |  | 1800 | P / No |  | Rs. | 43200
8”Dia
|  | Qty | 31 | Nos Rs |  | 1800 | P / No |  | Rs. | 55800
6”Dia
|  | Qty | 38 | Nos Rs |  | 1000 | P / No |  | Rs. | 38000
4”Dia
|  | Qty | 46 | Nos Rs |  | 1000 | P / No |  | Rs. | 46000
3”Dia
|  | Qty | 59 | Nos Rs |  | 600 | P / No |  | Rs. | 35400
End Cap NSI
6”Dia
|  | Qty | 4 | Nos Rs |  | 2350 | P / No |  | Rs. | 9400
4”Dia
|  | Qty | 6 | Nos Rs |  | 1955 | P / No |  | Rs. | 11730
3”Dia
|  | Qty | 8 | Nos Rs |  | 1634 | P / No |  | Rs. | 13072
[9 empty] | Rs. | 25503156.28
PART-IX COMPOUND WALL.
1 | Excavation in foundation of building Bridges and other structure including dug bailing dressing refilling around the structure with excavated earth watering and ramming etc. Complete. Lead upto 1 chain lift upto 5’ft (CSI No.18 No.4).
|  | Qty | 2352 | Cft @ Rs. |  | 3176.25 | P%0 Cft |  | Rs. | 7470.54
2 | Cement concrete brick or stone ballast 11/2”to 2”gauage. (CSI No.(b) P.No.16) Ratio 1:4:8.
|  | Qty | 588 | Cft @ Rs. |  | 9416.28 | P% Cft |  | Rs. | 55367.7264
3 | Random rubble masonry un coursed in cement sand mortar1:6; (CSI No.3d Page No.27).
|  | Qty | 1323 | Cft @ Rs. |  | 17723 | P% Cft |  | Rs. | 234475.29
4 | Coursedrubble masonry i/c Hammer Dressing in cement sand mortar1:6; (CSI No.4diii Page No.27).
|  | Qty | 1837.5 | Cft @ Rs. |  | 25321 | P% Cft |  | Rs. | 465273.375
6 | Pacca Brick Work other than building i/c stricking of joints up to 20’ height in cement sand mortar 1:6 (CSI NO.7 P.No.26).
|  | Qty | 3897.75 | Cft @ Rs. |  | 11948.36 | P% Cft |  | Rs. | 465717.2019
7 | RCC work i/c all labour and material except the cost of steel Reinforcement and its labour for bending binding, which will be Paid Separately This rate also including all kind of forms moulds lifting Shuttering curing rendering and finishing to be exposed Surface i/c Screening and Washing of Stone. RCC work in Roof slab beams columns rafts lintels and other structure member lad in situe or pre-cost laid in position Complete in all respects (CSI No.6 Page No.16).(Ratio 1:2:4).
|  | Qty | 946.7 | cft @ Rs. |  | 337 | P Cft |  |  | 319037.9
8 | Fabrication of Mild Steel reinforcement concrete for CC i/c Cutting, Bending Laying in position making joints and fastening i/c Cost of binding wire also including removal of rust from bars (CSI No.8 P.No.16).
|  | Qty | 38.03 | Cwt @ Rs. |  | 5001.7 | P/ Cwt |  | Rs. | 190214.651
9 | Cement plaster 1:6: ½” thick upto 20’ height (CSI NO.11 P.N.58).
|  | Qty | 11283 | sft @ Rs. |  | 2206.6 | P% sft |  | Rs. | 248970.678
Cement plaster 1:4: 3/8” thick upto 20’ height (CSI NO.11 P.N.58).
|  | Qty | 11283 | sft @ Rs. |  | 2197.52 | P% sft |  | Rs. | 247946.1816
10 | Pointing flash onstone (CSI No.20 P/52).
|  | Qty | 1764 | sft @ Rs. |  | 1758.08 | P% sft |  | Rs. | 31012.5312
11 | Cement Pointing struck joints on walls (CSI No.19 P/59).
|  | Qty | 8400 | sft @ Rs. |  | 1213.58 | P% sft |  | Rs. | 101940.72
12 | Making and fixing steel grated door 1/16” thick sheet i/c angle iron frame 2x2”x 3/8” thick and ¾”Thick an box at4” C/C with locking arrangement etc (CSI NO.28 P.No.91).
|  | Qty | 60 | sft @ Rs. |  | 726.72 | P% sft |  | Rs. | 43603.2
13 | Preparing Surface and Painting guards bars gates of iron Bars Getting Railing i/c standard brasses etc and similar Open works (CSI No.5 Page No.68).(Two coat).
|  | Qty | 120 | sft @ Rs. |  | 2116.41 | P% sft |  | Rs. | 2539.692
14 | White washing 2 coats (CSI No.26 P.No.55).
|  | Qty | 11283 | sft @ Rs. |  | 425.84 | P% sft |  | Rs. | 48047.5272
15 | Color wash in 2 coats (CSI No.25 P.No.55).
|  | Qty | 11283 | sft @ Rs. |  | 859.9 | P% sft |  | Rs. | 97022.517
[9 empty] | Rs. | 2558639.7313
ABSTRACT OF SCHEDULE B”.
| S.No | Name of Work |  | SCHEDULE ITEMS |  | NON SCHEDULE ITEMS |  | TOTAL SCH:B
| 1 | Feeding Channel |  | 902191 |  |  |  | 902191.138
| 2 | Storage Tank |  | 3529385 |  |  |  | 3529385
| 3 | Repair of Storage Tank |  | 3490943 |  |  |  | 3490943.3301
| 4 | DELIVERY MAIN |  | 32512286 |  |  |  | 32512285.5
| 5 | Pump House |  | 984547 |  |  |  | 984547
| 6 | Hypochlorinar |  | 60600 |  |  |  | 60600
| 7 | Pumping Machinery. |  | 5192287 |  |  |  | 5192287.2
| 8 | DISTRIBUTION SYSTEM |  | 25503156 |  |  |  | 25503156.28
| 9 | Repair Compound Wall |  | 2558640 |  |  |  | 2558639.7313
|  | Total |  | 74734035 |  |  |  | 74734035.1794
CERTIFICATE.
| 1 | Any error or omission in the description of items or rates the original estimate schedule of rates will be referred to correct accordingly.
| 2 | No premium will be allowed on non-schedule items.
| 3 | The work will be carried out according to the drawing design and specifications shown in the estimate.
|  | CONTRACTOR |  |  | EXECUTIVE ENGINEER
PUBLIC HEALTH ENGINEERING DIVISION
NAUSHAHRO FEROZE

## SUM WELL PUMP
| PART-VI. SUMP WELL I/C PUMP HOUSE |  |  |  |  | 20 | x | 14
1 | Excavation for tanks and reservoirs in soft soil / caly or mud i/c trimming and dressing sides to true alignment/design sections profiles and shape leveling of beds of tanks to correct level and grade i/c laying of earth in 6”layer for construction of banks and dressing and disposal of surplus. Excavated earth within one chain as directed by Engineer In charge i/c providing fence guards. Flags where ever required lift upto 5 feet (1.52 M) and lead upto one chain (30.5 M). ( PHS.I No. 1 Page 67).
| Qty | 2375 | cft | @ | Rs. | 3000 |  | P%0 Cft |  | Rs. | 7125
2 | Excavation for tanks and reservoirs in wet soil / caly or mud i/c trimming and dressing sides to true alignment/design sections profiles and shape leveling of beds of tanks to correct level and grade i/c laying of earth in 6”layer for construction of banks and dressing and disposal of surplus. Excavated earth within one chain as directed by Engineer In charge i/c providing fence guards. Flags where ever required lift upto 8 feet (2.432 M) and lead upto one chain (30.5 M). ( PHS.I No.14 Page 74).
| Qty | 1662.5 | cft | @ | Rs. | 5350 |  | P%0 Cft |  | Rs. | 8894.375
3 | Cement concrete brick or stone ballast 11/2”to 2”gauage.(CSI No.(b) P.No.16) Ratio 1:4:8.
| Qty | 362.85 | cft | @ | Rs. | 9416.28 |  | P% Cft |  | Rs. | 34166.972
4 | RCC work i/c all labour and material except the cost of steel Reinforcement and its labour for bending binding, which will be Paid Separately This rate also including all kind of forms moulds lifting Shuttering curing rendering and finishing to be exposed Surface i/c Screening and Washing of Stone. RCC work in Roof slab beams columns rafts lintels and other structure member lad in situe or pre-cost laid in position Complete in all respects (CSI No.6 Page No.16).(Ratio 1:2:4).
| Qty | 1451.78 | cft | @ | Rs. | 337 |  | P/ Cft |  | Rs. | 489249.86
5 | Fabrication of Mild Steel reinforcement concrete for CC i/c Cutting, Bending Laying in position making joints and fastening i/c Cost of binding wire also including removal of rust from bars (CSI No.8 P.No.16).
|  | Qty | 58.33 | cwt | Rs. | 5001.7 | P/cwt |  |  | Rs. | 291749.161
6 | Pacca Brick Work in ground floor i/c stricking of joints in cement sand mortar 1:6 (CSI NO.5 P.No.22).
| Qty | 407.44 | cft | @ | Rs. | 12674.36 |  | P%0 Cft |  | Rs. | 51640.4124
7 | Pacca Brick work in foundation and plinth in cement sand mortar Ratio 1:6: (CSI NO:4 Page No.23)
| Qty | 22.5 | cft | @ | Rs. | 11948.36 |  | P%0 Cft |  | Rs. | 2688.381
8 | P/L 1”thick topping cement concrete 1:2:4 i/c surface finishing and dividing into panels 3”thick (CSI No.16 © P.No.42).
| Qty | 320 | cft | @ | Rs. | 4411.82 |  | P% Cft |  | Rs. | 14117.824
10 | Fabrication of heavy steel work with angle tees flat iron round iron sheets iron for making trenches handing girders tanks etc i/c cutting drilling riveting assembling and fixing but including errection in position (C.S.I No.16 Page No.89).
| Qty | 5.429 | sft | @ | Rs. | 4928.49 |  | P cwt |  | Rs. | 26756.7722
11 | Supplying and Fixing in position in iron steel grill of ¾” x ¼” Size flat Iron of approved design i/c painting Three coats etc complete ( weight not less than 3.7 Lbs p.Sq ft of finishing) ( CSI No. 31` Page No.99).
| Qty | 36 | sft | @ | Rs. | 180.5 |  | P sft |  | Rs. | 6498
12 | Cement plaster 1:6: ½” thick upto 20’ height (CSI NO.11 P.N.58).
| Qty | 683.5 | sft | @ | Rs. | 2206.6 |  | P sft |  | Rs. | 15082.111
13 | Cement plaster 1:4: 3/8” thick upto 20’ height (CSI NO.11 P.N.58).
| Qty | 683.5 | sft | @ | Rs. | 2197.52 |  | P sft |  | Rs. | 15020.0492
14 | Cement Pointing struck joints on walls (CSI No.19 P/59).
| Qty | 716 | sft | @ | Rs. | 1213.58 |  | P sft |  | Rs. | 8689.2328
15 | Preparing Surface and Painting guards bars gates of iron Bars Getting Railing i/c standard brasses etc and similar Open works (CSI No.5 Page No.68).(Two coat).
|  |  | Qty | 128 | Sft | Rs. | 2116.41 |  | P% sft | Rs. | 2709.0048
16 | Primery coat of chalk distemper 1 coats (CSI No.23 P.No.54).
|  |  | Qty | 683.5 | Sft | Rs. | 442.75 |  | P% sft | Rs. | 3026.1962
17 | Distempering 2 coats (CSI No.25 P.No.55).
Qty same as item No = 13 ie
|  |  | Qty | 683.5 | Sft | Rs. | 1043.9 |  | P% sft | Rs. | 7135.0565
[10 empty] | Rs. | 984548.4081