Name of work: M & R TO SECRETARY BUNGALOW NO.02 TOWN HOUSES GOR III KARACHI. (ELECTRIC WORK).

Schedule B

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S.No. | Description | Qty | Rate | Unit | Amount |
| 1 | P/F Horizentaal dolly switch imported quality 10-amps as approved quality 10-A)(3-Gang Switch) | 24-Nos |  | Each |  |
| 2 | P/F fancy wall bracket light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 29-Nos |  | Each |  |
| 3 | P/F fancy Hanging light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 12-Nos |  | “ |  |
| 4 | P/F fancy Ceiling light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 17-Nos |  | “ |  |
| 5 | P/F fancy Mirror light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 12-Nos |  | “ |  |
| 6 | P/F fancy Gate light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 2-Nos |  | “ |  |
| 7 | P/F Tube Light double 2-40 fancy shade i/c chowk starter i/c necessary electric c | 18-Nos |  |  |  |
| 8 | P/F fancy Schandlier light i/c fancy glass lamp holder & fancy jhoummar i/c electric connection as directed by the E.I | 3-No |  |  |  |
| 9 | P/F Universal light Plug 10-Amps Imported quality etc complete. | 88-Nos |  |  |  |
| 10 | P/F Power Plug 15 amps with board etc c | 11-Nos |  |  |  |
| 11 | P/F Energy Saver 25 watt i/c holder as per approved quality i/c necessary electric connection etc complete. | 63-Nos |  |  |  |
| 12 | M/F Electric Pannel Board as directed E.I | 3.68 |  | Sft |  |
| 13 | P/F Energy Saver bulb GV10 as per approved quality i/c necessary electric connection etc complete. | 18-Nos |  | Each |  |
| 14 | P/F Ceiling Fan 56” Sweep make Pak or equelent quality i/c necessary electric connection etc complete. | 10-Nos |  | Each |  |
| 15 | P/F Exhaust Fan Plastic Body equelent quality i/c necessary electric connection as per approved quality etc complete. | 4-Nos |  | “ |  |
|  | **G Total** |  |  |  |  |

TERMS & CONDITION

1. Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.
2. Arbitraction clause stands deleted from the agreement.
3. No Premium shall be paid on Non Schedule Items
4. 100% well Graded crushed bajri shall be used in items of work without any extra payment.
5. No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.
6. All sample of items should be got approved by the Executive Engineer

Contractor

Assistant Engineer,

Provincial Electrical sub Division-XII,

Karachi