**BILL OF QUANTITIES**

**(A) Description and rate of Items based on Composite Schedule of Rates.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item No** | **Quantities** | **Description of item to be executed at site** | **Rate** | **Unit** | **Amount in Rupees** |
| **1** | **2** | **3** | **4** | **5** | **6** |
| 1 | 15000 | Excavation of Pipe Line in trenches and Pits in soft soil i/c trimming and dressing sides to ture alignment etc.  (P.H.E.I NO. A/1- P/60) | 3600.00 | P%oCft | 54000 |
| 1 | 50 | Standard Main Hole | 14748.00 | Each | 737400 |
| 1 | 2000 | Providing, laying RCC Pipe and Collars of Clas "B" and fixing in trench i/c cutting, fitting and jointing with maxphalt composition and cement mortar (1:1) i/c testing with water to a head of 22.5 meter or 75ft.  (P.H.E.I NO. 2/i - P/16) | 617.00 | P.Rft | 1234000 |
| 1 | 13500 | Refilling the Excavation stuff in trenches 6" Thick layer i/c watering remming to full compaction etc complete  (P.H.E.I NO. 24- P/77) | 2760.000 | P%oCft | 37260 |

**Amount TOTAL (a) (Rs: 2062660/-)**

**--------------------- % above/below on the rates of CSR.** **Amount to be added/deducted on the basis**

**Of premium quoted.** **TOTAL (b)**

**Total (A) = a+b in words & figures:**

**Contractor Municipal Engineer/Procuring Agency**